Hierarchical MOF@MOF Ratiometric Probe for Ultrasensitive On-Site Detection of Norfloxacin in Food and Environmental Samples

Xinlou Li1†, Ganghui Wang1†, Haoxiang Wang1, Aijia Wang1, Hongxu Guo1, 2 *

*1 College of Chemistry, Chemical Engineering and Environment, Minnan Normal University, Zhangzhou, 363000, P.R. China.

*2 Fujian Province Key Laboratory of Modern Analytical Science and Separation

Technology, Minnan Normal University, Zhangzhou, 363000, China

*Corresponding author(s). E-mail(s): guohx@mnnu.edu.cn

Contributing authors: 2643867886@qq.com; 2397910365@qq.com;

2750597899@qq.com; 2584694160@qq.com;

† These authors contributed equally to this work.

Abstract

Norfloxacin (NFX) residues in food and environmental samples threaten human health, necessitating rapid on-site detection. A hierarchical MOF@MOF probe (Ag-MOF-74/NH2-MIL-53(Al) for ratiometric NFX sensing has been fabricated, in which NH2-MIL-53(Al) enhances NFX emission via hydrogen bonding and energy transfer, while Ag-MOF-74 provides a stable reference, enabling self-calibration. The probe achieves ultrasensitive detection (6 nM) with high selectivity and reproducibility. A smartphone-based platform was designed for on-site quantification within minutes. Validated in milk, soil, and water, it showed excellent accuracy (98-102% recovery) and precision (RSD < 2.86%). This MOF@MOF strategy offers a robust on-site screening tool and a versatile design paradigm for food safety and environmental monitoring.