Supplementary Table 1 :

- Comparison of the 7 lots of CSCM-NXC® media used to test disposable devices and their associations.

|  | CSCM-NXC® Lot (10)0000015060 n=111 | CSCM-NXC® Lot (10)0000015372 n=45 | CSCM-NXC® Lot (10)0000015420 n=30 | CSCM-NXC® Lot (10)0000018512 n=15 | CSCM-NXC® Lot (10)0000018536 n=30 | CSCM-NXC® Lot (10)0000018761 n=15 | CSCM-NXC® Lot (10)0000018848 n=15 | P-Value | P-Value* | Pool of 6 CSCM-NXC® Lots except Lot (10)0000018848 n=246 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Embryological rates |  |  |  |  |  |  |  |  |  |  |
| E1.5 Cleavage rate (n, %) | 111 (100.0) | 45 (100.0) | 30 (100.0) | 15 (100.0) | 30 (100.0) | 15 (100.0) | 15 (100.0) | 1.0000a | 1.0000 a | 246 (100.0) |
| E4.0 Blastulation rate (n, %) | 103 (92.8) | 43 (95.6) | 26 (86.7) | 13 (86.7) | 30 (100.0) | 15 (100.0) | 14 (93.3) | 0.4107b | 0.3018b | 230 (93.5) |
| E4.0 GQ Blastocysts rate (n, %) | 90 (87.4) | 37 (86.0) | 24 (92.3) | 12 (92.3) | 28 (93.3) | 15 (100.0) | 5 (35.7) | 0.0007b | 0.7474b | 206 (89.6) |
| E5.0 Blastulation rate (n, %) | 108 (97.3) | 43 (95.6) | 28 (93.3) | 15 (100.0) | 30 (100.0) | 15 (100.0) | 15 (100.0) | 0.9012b | 0.8264b | 239 (97.2) |
| E5.0 GQ Blastocysts rate (n, %) | 75 (69.4) | 34 (79.1) | 22 (78.6) | 12 (80.0) | 28 (93.3) | 13 (86.7) | 13 (86.7) | 0.1504b | 0.1154b | 184 (77.0) |
| E5.0 Hatched Blastocysts rate (n, %) | 63 (56.8) | 22 (48.9) | 15 (50.0) | 5 (33.3) | 18 (60.0) | 6 (40.0) | 5 (33.3) | 0.3430b | 0.4422b | 129 (52.4) |
| Cell number per blastocyst |  |  |  |  |  |  |  |  |  |  |
| E5.0 stained blastocysts (n) | 103 | 39 | 14 | 15 | 29 | 15 | 14 | 0.1803c | 0.1803c | 215 |
| Mean (SD) | 167 (40) | 164 (36) | 161 (20) | 168 (46) | 168 (27) | 187 (20) | 122 (34) |  |  | 167.6 (36.2) |
| Min; Max | [25;250] | [63;223] | [120;189] | [41;229] | [94;221] | [160;230] | [36;163] |  |  | [25;250] |

This table presents the comparison of the embryological parameters among the 7 lots of CSCM-NXC (Irvine Scientific, Irvine, California, USA) used as controls for the MEAs.

Comparisons were performed using Fisher’s exact test a, the Likelihood Ratio b, and the Kruskal-Wallis test c
*P-value calculated excluding Lot (10)0000018848, MEA : Mouse Embryo Assay; GQ: Good quality

B. Comparison of the 5 lots of EmbryoMax® KSOM media used to test disposable devices and their associations

|  | EmbryoMax® KSOM Lot 3824971 n=15 | EmbryoMax® KSOM Lot 3925106 n=27 | EmbryoMax® KSOM Lot 3925107 n=45 | EmbryoMax® KSOM Lot 3989108 Pool n=30 | EmbryoMax® KSOM Lot 3925108 Control C n=15 | EmbryoMax® KSOM Lot 3925108 Control Q n=15 | P-Value | P-Value* | Pool of 4 lots of EmbryoMax® KSOM except controls C and Q n=117 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Embryological rates |  |  |  |  |  |  |  |  |  |
| E1.5 Cleavage rate (n, %) | 15 (100.0) | 27 (100.0) | 45 (100.0) | 29 (96.7) | 15 (100.0) | 15 (100.0) | 0.9990a | 0.9932 a | 116 (99.1) |
| E4.0 Blastulation rate (n, %) | 15 (100.0) | 27 (100.0) | 44 (97.8) | 26 (86.7) | 15 (100.0) | 15 (100.0) | 0.6619 a | 0.5474 a | 112 (95.7) |
| E4.0 GQ Blastocysts rate (n, %) | 14 (93.3) | 26 (96.3) | 39 (88.6) | 21 (80.8) | 13 (86.7) | 10 (66.7) | 0.4147 a | 0.6165 a | 100 (89.3) |
| E5.0 Blastulation rate (n, %) | 15 (100.0) | 27 (100.0) | 44 (97.8) | 26 (86.7) | 15 (100.0) | 15 (100.0) | 0.6619 a | 0.5474 a | 112 (95.7) |
| E5.0 GQ Blastocysts rate (n, %) | 11 (73.3) | 24 (88.9) | 39 (88.6) | 22 (84.6) | 14 (93.3) | 13 (86.7) | 0.9642 a | 0.9367 a | 96 (85.7) |
| E5.0 Hatched Blastocysts rate (n, %) | 6 (40.0) | 12 (44.4) | 23 (51.1) | 15 (50.0) | 4 (26.7) | 10 (66.7) | 0.7000 a | 0.9725 a | 56 (47.9) |
| Cell number per blastocyst |  |  |  |  |  |  |  |  |  |
| E5.0 stained blastocysts (n) | 15 | 27 | 44 | 12 | 15 | 15 | <.0001b | 0.1570b | 98 |
| Mean (SD) | 165 (29) | 175 (26) | 181 (38) | 152 (43) | 119 (14) | 145 (38) |  |  | 174 (35) |
| Min;Max | [95;199] | [106;231] | [70;257] | [66;228] | [93;137] | [73;186] |  |  | [66;257] |

This table presents a comparison of the embryological parameters among the different lots of EmbryoMax® KSOM (Millipore, Billerica, Massachusetts, USA) used as controls for the MEAs.

Comparisons were performed using the Likelihood Ratioa and the ANOVAb.
*P-value calculated excluding controls C and Q, MEA : Mouse Embryo Assay; GQ: Good quality