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Table S1. P value between axial, decentration, and tilt in distance/intermediate/near focus of one IOL at 3.0mm
	IOL Name
	P Value@3.0mm

	
	Distance
	Intermediate
	Near

	
	A-D
	A-T
	A-D
	A-T
	A-D
	A-T

	PanOptix
	0.000 
	0.000 
	0.000 
	0.798 
	0.504 
	0.800 

	AT LISA Tri 839MP
	0.562 
	0.000 
	0.859 
	0.000 
	0.018 
	0.000 

	PMEA60
	0.329 
	0.031 
	0.363 
	0.382 
	0.968 
	0.002 



Table S2. P value between axial, decentration, and tilt in distance/intermediate/near focus of one IOL at 4.5mm
	IOL Name
	P Value@4.5mm

	
	Distance
	Intermediate
	Near

	
	A-D
	A-T
	A-D
	A-T
	A-D
	A-T

	PanOptix
	0.000 
	0.000 
	0.000 
	0.000 
	0.027 
	0.000 

	AT LISA Tri 839MP
	0.000 
	0.000 
	0.000 
	0.000 
	0.882 
	0.000 

	PMEA60
	0.000 
	0.000 
	0.000 
	0.000 
	0.619 
	0.000 



