## 1
Supplier | Product | Order No
Bioline London UK | SensiFast SYBR No-ROX | BIO-98050
Bioline London UK | SensiFast Probe No-ROX | BIO-86050
BioRad Watford UK | ddPCR probe supermix (-dUTP) | 186-3024
BioRad Watford UK | 1-Step RT-ddPCR Advanced Kit for Probes | 186-4021
BioRad Watford UK | CFX Connect qPCR instrument | N/A
BioRad Watford UK | C1000 Touch Thermal cycler | N/A
BioRad Watford UK | ddPCR 96 well plates | 12001925
BioRad Watford UK | ddPCR Plate Heat Seal, foil, pierceable | 1814040
BioRad Watford UK | qPCR plates | HSS9665
BioRad Watford UK | qPCR Plate Heat Seal | 1814030
BMS London UK | Mic qPCR instrument | N/A
Copan Diagnostics Murietta USA | Copan Xpert Nasopharyngeal collection kit | 305C
MWE Corsham UK | Sigma Virocult | MW951S
PCRBio London UK | 1step Go | PB092613
PCRMax Stone UK | Eco qPCR instrument | N/A
Premier Biosoft San Francisco USA | Beacon Designer 8.2 | N/A
Premier Biosoft San Francisco USA | Allele ID 7.84 | N/A
Sansure Biotech Changsha China | RT/PCR enzyme Mix | S3120E
Takara Saint-Germain-en-Laye France | One Step PrimeScript III | RR600A
Techne Stone UK | Prime Pro qPCR instrument | N/A
ThermoFisher Scientific Paisley UK | SS4 Vilo | 11756050
ThermoFisher Scientific Paisley UK | Remel M4RT | R12552
ThermoFisher Scientific Paisley UK | Nuclease-free water | R0582
TSC Ltd Heywood UK | TSC TS/5-34A PROVIR | TS/5-34A
Viasure Zaragoza Spain | SARS-CoV-2 real time PCR detection kit | VS-NCO296T

## 2
final concentration (µM)
| F primer | 0.3 | 0.3 | 0.3 | 0.6 | 0.6 | 0.6 | 1 | 1 | 1
| R primer | 0.3 | 0.6 | 1 | 0.3 | 0.6 | 1 | 0.3 | 0.6 | 1
msp10 | Cq1 | 36.07 | 32.9058 | 31.8587 | 37.36 | 32.6959 | 31.4745 | 32.7618 | 31.9652 | 31.3845
| Cq1 | 35.7256 | 32.6029 | 31.5691 | 37.3857 | 32.4248 | 31.23 | 32.4802 | 31.6385 | 31.1747
| Average Cq | 35.8978 | 32.7544 | 31.7139 | 37.3728 | 32.5603 | 31.3522 | 32.621 | 31.8018 | 31.2796
N-gene | Cq1 | 26.6467 | 26.277 | 25.5013 | 24.4654 | 26.0328 | 25.1491 | 25.2116 | 25.6088 | 24.2948
| Cq1 | 26.5501 | 26.2365 | 26.1025 | 24.3405 | 25.8634 | 25.082 | 25.8776 | 24.6783 | 24.4977
| Average Cq | 26.5984 | 26.2568 | 25.8019 | 24.403 | 25.9481 | 25.1155 | 25.5446 | 25.1436 | 24.3963
msp12 | Cq1 | 35.4403 | 35.1403 | 34.0987 | 34.4232 | 34.4588 | 34.1426 | 34.9998 | 34.532 | 33.5234
| Cq1 | 35.4793 | 35.0465 | 33.9998 | 34.2613 | 34.3008 | 33.9606 | 34.72 | 34.3716 | 33.3797
| Average Cq | 35.4598 | 35.0934 | 34.0492 | 34.3423 | 34.3798 | 34.0516 | 34.8599 | 34.4518 | 33.4516
JUN/EICAS2 | Cq1 | 34.2554 | 32.0084 | 31.8889 | 33.6578 | 31.1567 | 31.2853 | 33.2982 | 32.6446 | 31.8252
| Cq1 | 34.4633 | 31.3243 | 31.5919 | 33.9755 | 31.2992 | 31.1781 | 33.0946 | 31.7304 | 31.5113
| Average Cq | 34.3593 | 31.6664 | 31.7404 | 33.8167 | 31.228 | 31.2317 | 33.1964 | 32.1875 | 31.6682
EICAS1 | Cq1 | 33.6578 | 31.1567 | 31.2853 | 34.6609 | 31.8252 | 31.7436 | 33.2982 | 32.6446 | 31.23
| Cq1 | 33.9755 | 31.2992 | 31.1781 | 34.2065 | 31.5113 | 31.8381 | 33.0946 | 31.7304 | 31.08
| Average Cq | 33.8167 | 31.228 | 31.2317 | 34.4337 | 31.6682 | 31.7908 | 33.1964 | 32.1875 | 31.155
nM final concentration
| Probe | 400 | 800
msp10 | Cq1 | 31.02 | 29.68
(FAM) | Cq1 | 30.84 | 29.95
| Average Cq | 30.93 | 29.815
N-gene | Cq1 | 27.14 | 27.32
(Texas Red) | Cq1 | 27.06 | 27.12
| Average Cq | 27.1 | 27.22
msp12 | Cq1 | 30.1593 | 29.7326
FAM | Cq1 | 30.3999 | 30.2319
| Average Cq | 30.2796 | 29.9823
JUN | Cq1 | 34.07 | 35.64
(Cy5) | Cq1 | 36.08 | 35.64
| Average Cq | 35.075 | 35.64
EICAS | Cq1 | 32.12 | 32.09
(HEX) | Cq1 | 32.01 | 31.97
| Average Cq | 32.065 | 32.03

## 3
60ºC-70ºC |  | Temperature (ºC)
|  | 60 | 60.7 | 62 | 64 | 66.4 | 68.4 | 69.5 | 70
Nsp10 | Cq1 | 31.1576 | 30.5566 | 29.1596 | 29.6075 | 29.9013 | 28.3124 | 30.2324 | 32.2381
| Cq2 | 30.1983 | 30.3507 | 30.6277 | 29.6271 | 29.986 | 28.7703 | 29.4595 | 32.5325
| Average Cq | 30.678 | 30.4537 | 29.8937 | 29.6173 | 29.9436 | 28.5414 | 29.8459 | 32.3853
| SD | 0.67835 | 0.14561 | 1.0381 | 0.013863 | 0.059871 | 0.32377 | 0.54652 | 0.20821
N-gene | Cq1 | 19.1524 | 17.9061 | 18.2425 | 18.6623 | 18.4384 | 18.1465 | 18.6178 | 19.4831
| Cq2 | 18.8403 | 18.4719 | 17.9489 | 18.523 | 19.2798 | 19.4214 | 19.7532 | 20.0012
| Average Cq | 18.9964 | 18.189 | 18.0957 | 18.5927 | 18.8591 | 18.7839 | 19.1855 | 19.7421
| SD | 0.22068 | 0.40007 | 0.20765 | 0.09844 | 0.59495 | 0.9015 | 0.80283 | 0.36638
Nsp12 | Cq1 | 22.3602 | 22.6147 | 22.2249 | 23.3111 | 23.265 | 25.5621 | 29.7507 | 30.0919
| Cq2 | 22.2435 | 22.1894 | 22.4649 | 22.8166 | 23.2286 | 25.4622 | 28.9305 | 29.6259
| Average Cq | 22.3018 | 22.402 | 22.3449 | 23.0639 | 23.2468 | 25.5122 | 29.3406 | 29.8589
| SD | 0.082521 | 0.30076 | 0.16969 | 0.34963 | 0.025756 | 0.070633 | 0.57997 | 0.32951
JUN | Cq1 | 22.9183 | 23.3489 | 23.801 | 23.9009 | 26.1927 | 23.9297 | 24.7969 | 23.6417
| Cq2 | 21.7542 | 22.5943 | 23.0052 | 22.0594 | 25.2381 | 23.0369 | 23.7887 | 24.5791
| Average Cq | 22.3363 | 22.9716 | 23.4031 | 22.9801 | 25.7154 | 23.4833 | 24.2928 | 24.1104
| SD | 0.82317 | 0.53361 | 0.5627 | 1.3021 | 0.67498 | 0.63134 | 0.71295 | 0.66288
EICAS1 | Cq1 | 20.1519 | 18.8938 | 19.2257 | 19.1649 | 19.4795 | 19.0682 | 19.1043 | 19.7328
| Cq2 | 19.1932 | 17.7353 | 19.6234 | 19.0989 | 19.9881 | 18.8783 | 19.0151 | 18.1292
| Average Cq | 19.6726 | 18.3145 | 19.4245 | 19.1319 | 19.7338 | 18.9733 | 19.0597 | 18.931
| SD | 0.67787 | 0.81918 | 0.28119 | 0.046664 | 0.3596 | 0.13428 | 0.063052 | 1.1339
60ºC-65ºC |  | Temperature (ºC)
|  | 60.0 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0
Nsp10 | Cq1 | 24.9802 | 24.7492 | 24.5294 | 24.5253 | 24.2542 | 24.0454 | 24.1954 | 24.4006
| Cq2 | 25.17 | 24.8153 | 25.061 | 25.0245 | 24.3149 | 24.3053 | 24.2697 | 24.2717
| Cq3 | 24.9907 | 24.8101 | 24.9198 | 24.9929 | 24.4068 | 24.1964 | 24.4139 | 24.3128
| Average Cq | 25.047 | 24.7915 | 24.8367 | 24.8476 | 24.3253 | 24.1824 | 24.293 | 24.3283
| SD | 0.10665 | 0.036761 | 0.27541 | 0.27956 | 0.076851 | 0.13049 | 0.1111 | 0.065835
N-gene | Cq1 | 21.415 | 20.9889 | 21.4525 | 21.2365 | 21.2234 | 21.488 | 21.8175 | 21.5846
| Cq2 | 21.2948 | 20.9451 | 21.0004 | 21.0658 | 21.3421 | 21.8244 | 21.8713 | 21.7931
| Cq3 | 21.2803 | 20.813 | 21.0634 | 21.3246 | 21.3397 | 21.5746 | 21.7816 | 21.9636
| Average Cq | 21.33 | 20.9157 | 21.1721 | 21.209 | 21.3017 | 21.629 | 21.8235 | 21.7804
| SD | 0.073909 | 0.091561 | 0.24484 | 0.1316 | 0.06785 | 0.17466 | 0.045122 | 0.18979
Nsp12 | Cq1 | 30.4483 | 30.1794 | 30.6786 | 29.5431 | 30.0065 | 30.3965 | 30.3949 | 31.0223
| Cq2 | 29.8469 | 29.6951 | 29.8074 | 29.4975 | 30.5164 | 30.6857 | 30.1777 | 31.4056
| Cq3 | 30.1936 | 30.0865 | 30.3109 | 30.2723 | 30.7023 | 30.3488 | 30.1488 | 31.4193
| Average Cq | 30.1629 | 29.987 | 30.2657 | 29.771 | 30.4084 | 30.477 | 30.2405 | 31.2824
| SD | 0.30191 | 0.25703 | 0.43735 | 0.43482 | 0.36023 | 0.18232 | 0.13452 | 0.22535
EICAS1 | Cq1 | 20.571 | 20.5049 | 20.7846 | 20.5808 | 20.8622 | 21.0459 | 20.8355 | 21.1372
| Cq2 | 20.6693 | 20.5256 | 20.5358 | 20.4672 | 20.8671 | 21.0376 | 21.0739 | 21.7064
| Cq3 | 21.186 | 20.5349 | 20.9379 | 20.7713 | 20.9312 | 21.1014 | 21.1261 | 21.1223
| Average Cq | 20.8088 | 20.5218 | 20.7528 | 20.6064 | 20.8868 | 21.0616 | 21.0118 | 21.322
| SD | 0.3304 | 0.015351 | 0.2029 | 0.15368 | 0.038512 | 0.034688 | 0.15491 | 0.33299
Mutant primers |  | 60.0 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0
MT41226 | Cq1 | 23.1326 | 22.4778 | 21.8199 | 22.1367 | 22.5656 | 22.4844 | 21.7596 | 22.3345
| Cq2 | 22.8629 | 22.1904 | 22.1209 | 21.9236 | 22.4129 | 22.1254 | 22.317 | 22.396
| Average Cq | 22.9978 | 22.3341 | 21.9704 | 22.0302 | 22.4892 | 22.3049 | 22.0383 | 22.3653
| SD | 0.19073 | 0.20321 | 0.21285 | 0.15071 | 0.10796 | 0.25385 | 0.39416 | 0.043468
NA | Cq1 | 23.4994 | 23.5743 | 23.5443 | 23.8439 | 24.5673 | 24.6614 | 24.7628 | 24.245
| Cq2 | 24.768 | 24.0611 | 23.8221 | 23.6949 | 24.0184 | 24.1369 | 23.9017 | 24.5125
| Average Cq | 24.1337 | 23.8177 | 23.6832 | 23.7694 | 24.2929 | 24.3991 | 24.3322 | 24.3787
| SD | 0.89701 | 0.34421 | 0.19638 | 0.1054 | 0.38813 | 0.37085 | 0.60893 | 0.18919
NB | Cq1 | 25.5174 | 25.2981 | 25.3321 | 25.2483 | 25.9107 | 25.503 | 26.0861 | 25.6704
| Cq2 | 27.9695 | 25.0412 | 25.2332 | 25.2416 | 25.3431 | 25.5692 | 26.0043 | 25.9422
| Average Cq | 26.7435 | 25.1696 | 25.2826 | 25.2449 | 25.6269 | 25.5361 | 26.0452 | 25.8063
| SD | 1.7339 | 0.18167 | 0.069951 | 0.0046766 | 0.40137 | 0.046866 | 0.057847 | 0.19221

## 4
qPCR Figure 2A | [5 empty] | qPCR Figure 2B
Nsp10 | 10 copies | 5 copies | 2 copies | 1 copy | NTC | Nsp12 | 5 copies | 1 copy | NTC
Cq1 | 32.2 | 34.6825 | 36.3 | 37.2395 | N/A | Cq1 | 34.5499 | 37.498 | N/A
Cq2 | 31.88 | 31.9039 | 36.26 | N/A | N/A | Cq2 | 34.7238 | N/A | N/A
Cq3 | 33.59 | 35.2599 | 36.63 | 37.6759 | N/A | Cq3 | 34.0657 | 35.0533 | N/A
Cq4 | 30.84 | 34.6413 | 35.79 | N/A | N/A | Cq4 | 33.4301 | 36.8218 | N/A
Cq5 | 31.61 | 34.5946 | 37.12 | 36.2414 | N/A | Cq5 | 34.4116 | 38.2679 | N/A
Cq6 | 32.68 | 34.1777 | 32.9 | N/A | N/A | Cq6 | 34.5336 | N/A | N/A
Cq7 | 31.56 | 34.4696 | 35.8 | N/A | N/A | Cq7 | 33.5945 | 37.3872 | N/A
Cq8 | 31.3 | 34.1015 | 34.39 | 36.8773 | N/A | Cq8 | 33.6446 | N/A | N/A
Cq9 | 32.68 | 35.6605 | 36.27 | 37.9448 | N/A | Cq9 | 34.1998 | 37.1605 | N/A
Cq10 | 32.15 | 33.4991 | 35.4 | 37.8756 | N/A | Cq10 | 33.7267 | 37.1971 | N/A
Cq11 | 32.59 | 33.9833 | N/A | 37.9443 | N/A | Average Cq | 34.088 | 37.0551 | N/A
Cq12 | 33.13 | 34.7037 | N/A | 37.929 | N/A
Average Cq | 32.1842 | 34.3065 | 35.686 | 37.466 | N/A
qPCR Figure 2C
Nsp10 | 5 copes | 2 copies | NTC
Cq1 | 33.6305 | 35.6828 | N/A
Cq2 | 32.9816 | 35.8367 | N/A
Cq3 | 33.2324 | 36.6249 | N/A
Cq4 | 33.4193 | 37.0616 | N/A
Cq5 | 33.4182 | 34.4826 | N/A
Cq6 | 33.2424 | 35.1815 | N/A
Cq7 | 32.1943 | 34.5256 | N/A
Cq8 | 33.2459 | 34.3403 | N/A
Cq9 | 34.2409 | 36.1962 | N/A
Cq10 |  | 35.551 | N/A
Cq11 |  | 36.8705 | N/A
Cq12 |  | 35.0034 | N/A
Cq13 |  | 35.2493
Cq14 |  | 35.0095
Cq15 |  | 35.1256
Cq16 |  | 34.3221
Cq17 |  | 34.5899
Cq18 |  | 35.1216
Cq19 |  | 35.2548
Cq20 |  | 34.9252
Cq21 |  | 35.1483
Cq22 |  | 34.8693
Cq23 |  | 32.9274
Cq24 |  | 34.9512
Average Cq | 33.2895 | 35.2021 | N/A

## 5
478
| ORF1ab single | ORF1ab 4plex | N single | N 4plex | Jun single | Jun 4plex | EICAS2 single | EICAS2 4plex
Cq1 | 26.21 | 26.23 | 25.7686 | 25.0555 | 23.8007 | 26.1915 | 25.2246 | 25.2008
Cq2 | 26.86 | 25.77 | 26.1148 | 25.2256 | 23.7869 | 25.3887 | 25.1449 | 25.5391
Cq3 | 26.29 | 26.06 | 25.8605 | 26.2438 | 23.9237 | 25.634 | 25.3307 | 25.38
Average Cq | 26.4533 | 26.02 | 25.9146 | 25.5083 | 23.8371 | 25.7381 | 25.2334 | 25.3733
SD | 0.35445 | 0.23259 | 0.17934 | 0.64262 | 0.075306 | 0.41139 | 0.093228 | 0.16922

## 5a
Primer concentration | 1µM |  | 1.3µM
Target | JUN | JUN+EICAS | JUN | JUN+EICAS
Cq1 | 30.0169 | 33.0772 | 29.9219 | 30.3679
Cq2 | 30.182 | 31.8971 | 29.8447 | 30.1141
Average Cq | 30.0995 | 32.4872 | 29.8833 | 30.241
∆Cq JUN+EICAS (1.3µM F&R) vs JUN (1µM F&R) only
|  | 2.39±0.64 |  | 0.14±0.13

## 6
RT-qPCR 1 | Nsp10/12 | JUN | N-gene | EICAS1 | Nsp10/12 | JUN | N-gene | EICAS2
Cq1 | 24.2789 | 25.7891 | 26.2861 | 23.6 | 24.2604 | 24.8154 | 25.9023 | 23.401
Cq2 | 24.5991 | 24.8225 | 26.6138 | 23.855 | 24.247 | 25.4557 | 25.704 | 23.4094
Average Cq | 24.439 | 25.3058 | 26.4499 | 23.7275 | 24.2537 | 25.1355 | 25.8032 | 23.4052
SD | 0.22637 | 0.68354 | 0.23171 | 0.18032 | 0.0095106 | 0.45275 | 0.1402 | 0.0059165
RT-qPCR 2 | Nsp10/12 | JUN | N-gene | EICAS1 | Nsp10/12 | JUN | N-gene | EICAS2
Cq1 | 24.9051 | 24.5379 | 26.1443 | 24.2089 | 24.4017 | 24.2309 | 25.0111 | 23.4821
Cq2 | 25.0334 | 25.7519 | 25.9597 | 24.083 | 24.5063 | 24.6683 | 24.9212 | 23.4625
Average Cq | 24.9693 | 25.1449 | 26.052 | 24.1459 | 24.454 | 24.4496 | 24.9661 | 23.4723
SD | 0.090706 | 0.85841 | 0.13054 | 0.089044 | 0.073989 | 0.3093 | 0.063573 | 0.013858
RT-qPCR 3 | Nsp10/12 | JUN | N-gene | EICAS1 | Nsp10/12 | JUN | N-gene | EICAS2
Cq1 | 24.8678 | 24.8328 | 25.4586 | 24.3433 | 24.3161 | 24.581 | 24.8032 | 23.4118
Cq2 | 24.4535 | 24.9623 | 25.1702 | 23.7719 | 24.5305 | 24.7509 | 24.6535 | 23.704
Average Cq | 24.6607 | 24.8976 | 25.3144 | 24.0576 | 24.4233 | 24.6659 | 24.7283 | 23.5579
SD | 0.29294 | 0.091603 | 0.2039 | 0.40404 | 0.15159 | 0.12013 | 0.10584 | 0.20662
RT-qPCR 4 | Nsp10/12 | JUN | N-gene | EICAS1 | Nsp10/12 | JUN | N-gene | EICAS2
Cq1 | 23.3416 | 25.0601 | 25.1157 | 22.496 | 23.6713 | 25.2927 | 25.1489 | 23.4327
Cq2 | 23.6137 | 24.4054 | 25.23 | 23.4787 | 23.5531 | 24.7268 | 24.9087 | 23.3143
Average Cq | 23.4776 | 24.7327 | 25.1729 | 22.9873 | 23.6122 | 25.0098 | 25.0288 | 23.3735
SD | 0.19238 | 0.46292 | 0.080846 | 0.69483 | 0.083591 | 0.40015 | 0.16986 | 0.083706

## 7
|  |  | Viasure |  |  | COV2-ID |  |  |  | Sansure |  |  | Correlations | Nsp10 vs N-gene | Nsp10 vs JUN | N-gene vs JUN | Nsp10 vs EICAS | N-gene vs EICAS | JUN vs EICAS
Sample | Date | D614G status | ORF1ab | N | IC | Nsp10 | N | Jun | EICAS | ORF1ab | N | IC | Spearman r | 0.9555 | 0.7332 | 0.8587 | 0.258 | 0.1028 | 0.0906
A1 | 2020-04-24 | Mutant (G) | 18.77 | 20.56 | 23.93 | 30.8748 | 31.6667 | 33.3674 | 28.1637 | - | - | - | 95% confidence interval | 0.8938 to 0.9817 | 0.4498 to 0.8825 | 0.6843 to 0.9402 | -0.1851 to 0.6139 | -0.3347 to 0.5038 | -0.3029 to 0.4577
A2 | 2020-04-29 | Mutant (G) | 19.96 | 21.77 | 24.51 | 26.4575 | 27.3258 | 29.3598 | 27.465 | - | - | - | P (two-tailed) | <0.0001 | <0.0001 | <0.0001 | 0.2347 | 0.6407 | 0.6466
A3 | 2020-04-30 | Mutant (G) | 25.62 | 28.38 | 24.88 | 28.5207 | 25.3172 | 25.5727 | 28.2713 | - | - | - | P value summary | **** | **** | **** | ns | ns | ns
A4 | 2020-05-01 | Mutant (G) | 14.5 | 18.37 | 24.17 | 18.1037 | 16.7815 | 17.2916 | 26.4449 | 29 | 29.47 | 31.28 | Significant? (alpha = 0.05) | Yes | Yes | Yes | No | No | No
A5 | 2020-05-01 | Mutant (G) | 25.36 | 26.69 | 20.67 | 27.9653 | 24.1792 | 24.4339 | 28.1004 | - | - | -
A6 | 2020-05-03 | Mutant (G) | 27.68 | 30.11 | 24.99 | 31.533 | 28.0608 | 26.9153 | 28.1596 | - | - | - | Number of XY Pairs | 23 | 23 | 23 | 23 | 23 | 28
A7 | 2020-05-03 | Mutant (G) | 36.72 | 39.72 | 25.31 | 34.5957 | 33.5006 | 34.3857 | 27.3753 | - | - | -
A8 | 2020-05-03 | Mutant (G) | N.D. | 35.9 | 25.14 | 34.4092 | 31.0306 | 31.45 | 28.9464 | - | - | -
B1 | 2020-04-14 | Mutant (G) | 32.37 | 35.41 | 23.73 | 35.05 | 36.2805 | 26.2609 | 28.4671 | N.D. | 36.55 | 28.15
B2 | 2020-04-26 | Mutant (G) | 27.57 | 30.27 | 24.03 | 31.5156 | 32.6288 | 32.3277 | 27.0969 | 31.38 | 29.8 | 28.53 | Linear regression | Nsp10 vs N-gene | Nsp10 vs JUN | N-gene vs JUN | Nsp10 vs EICAS | N-gene vs EICAS | JUN vs EICAS
B3 | 2020-04-26 | Mutant (G) | 19.31 | 21.95 | 24.02 | 25.9003 | 26.1841 | 27.5421 | 26.9057 | 23.9 | 22.18 | 23.94 | Best-fit values
B4 | 2020-04-26 | Mutant (G) | 23.08 | 26.1 | 24.07 | 25.7134 | 23.4314 | 23.3439 | 28.1284 | 27.05 | 25.45 | 27.28 | Slope | 0.9586 | 0.7227 | 0.8037 | 0.03803 | 0.01462 | -0.01955
B5 | 2020-04-27 | Mutant (G) | 21.38 | 24.66 | 23.77 | 26.97 | 28.0515 | 30.0847 | 26.9013 | 25.31 | 23.95 | 25.96 | Y-intercept | 0.333 | 7.136 | 5.676 | 26.76 | 27.36 | 28.21
C1 | 2020-04-14 | Mutant (G) | 17.86 | 20.26 | 23.01 | 20.29 | 18.6937 | 19.861 | 28.3137 | - | - | - | X-intercept | -0.3474 | -9.873 | -7.063 | -703.6 | -1871 | 1443
C2 | 2020-04-15 | Mutant (G) | 19.45 | 22.7 | 23.61 | 22.3151 | 20.6122 | 21.0982 | 28.9945 | - | - | - | 1/slope | 1.043 | 1.384 | 1.244 | 26.29 | 68.4 | -51.14
C3 | 2020-04-15 | Mutant (G) | 14.1 | 17.5 | 22.92 | 16.4644 | 15.7308 | 16.7455 | 27.7433 | - | - | -
C4 | 2020-04-15 | Mutant (G) | 16.23 | 19.15 | 23.16 | 18.4356 | 17.4876 | 19.0408 | 27.4842 | - | - | - | Std. Error
C5 | 2020-04-17 | Mutant (G) | 19.19 | 22.38 | 23.88 | 22.2334 | 20.0594 | 21.1153 | 27.8747 | - | - | - | Slope | 0.06626 | 0.1256 | 0.09722 | 0.03004 | 0.03083 | 0.03346
C6 | 2020-04-17 | Mutant (G) | 16.38 | 18.79 | 23.34 | 17.7863 | 17.0424 | 17.5905 | 29.003 | - | - | - | Y-intercept | 1.702 | 3.227 | 2.432 | 0.7717 | 0.7712 | 0.8629
C7 | 2020-04-19 | Mutant (G) | 14.84 | 17.78 | 23.09 | 17.0583 | 16.1795 | 17.2355 | 27.1919 | - | - | -
D1 | 2020-06-13 | Mutant (G) | 17.64 | 19.82 | 22.82 | 19.9221 | 21.9886 | 27.6027 | 25.566 |  |  |  | 95% Confidence Intervals
D2 | 2020-04-27 | Mutant (G) | 17.21 | 20.18 | 23.7 | 21.033 | 23.2876 | 28.8563 | 26.7472 |  |  |  | Slope | 0.8208 to 1.096 | 0.4615 to 0.9840 | 0.6015 to 1.006 | -0.02444 to 0.1005 | -0.04950 to 0.07874 | -0.08914 to 0.05004
D3 | 2020-06-13 | Mutant (G) | 19.11 | 20.48 | 22.8 | 21.9704 | 23.4446 | 28.2777 | 28.047 |  |  |  | Y-intercept | -3.206 to 3.873 | 0.4247 to 13.85 | 0.6191 to 10.73 | 25.16 to 28.37 | 25.75 to 28.96 | 26.41 to 30.00
E1 | N/A | N/A | N/A | N/A | 24.02 | N/A | N/A | 26.0233 | 28.0887 | N/A | N/A | 29.16 | X-intercept | -4.700 to 2.936 | -29.80 to -0.4347 | -17.75 to -0.6189 | -infinity to -250.7 | -infinity to -327.6 | 336.1 to +infinity
E2 | N/A | N/A | N/A | N/A | 23.94 | N/A | N/A | 31.4393 | 29.1188 | N/A | N/A | 33.51
E3 | N/A | N/A | N/A | N/A | 20.28 | N/A | N/A | 31.4085 | 28.5213 | - | - | - | Goodness of Fit
E4 | N/A | N/A | N/A | N/A | 20.44 | N/A | N/A | 30.6791 | 28.8736 | N/A | N/A | 30.83 | R squared | 0.9088 | 0.6118 | 0.7649 | 0.07091 | 0.01059 | 0.016
E5 | N/A | N/A | N/A | N/A | 20.5 | N/A | N/A | 31.8119 | 28.844 | N/A | N/A | 36.56 | Sy.x | 1.87 | 3.545 | 2.759 | 0.8477 | 0.8748 | 0.8724
n= | 28
Is slope significantly non-zero?
[13 empty] | F | 209.3 | 33.1 | 68.33 | 1.603 | 0.2249 | 0.3414
[13 empty] | DFn, DFd | 1, 21 | 1, 21 | 1, 21 | 1, 21 | 1, 21 | 1, 21
[13 empty] | P value | <0.0001 | <0.0001 | <0.0001 | 0.2194 | 0.6402 | 0.5652
D614G genotyping | [12 empty] | Deviation from zero? | Significant | Significant | Significant | Not Significant | Not Significant | Not Significant
| WT | MU
A1 | N/A | 32.1209 | [10 empty] | Equation | Y = 0.9586*X + 0.3330 | Y = 0.7227*X + 7.136 | Y = 0.8037*X + 5.676 | Y = 0.03803*X + 26.76 | Y = 0.01462*X + 27.36 | Y = -0.01955*X + 28.21
A2 | N/A | 31.5772
A3 | N/A | 30.6364 | [10 empty] | Data
A4 | N/A | 36.0645 | [10 empty] | Number of X values | 23 | 23 | 23 | 23 | 23 | 23
A5 | N/A | 31.2004 | [10 empty] | Maximum number of Y replicates | 1 | 1 | 1 | 1 | 1 | 1
A6 | N/A | 33.92 | [10 empty] | Total number of values | 23 | 23 | 23 | 23 | 23 | 23
A7 | N/A | 29.375 | [10 empty] | Number of missing values | 0 | 0 | 0 | 0 | 0 | 0
A8 | N/A | 24.7578
B1 | N/A | 36.31
B2 | N/A | 35.4291
B3 | N/A | 29.0445
B4 | N/A | 20.9936
B5 | N/A | 29.3242
C1 | N/A | 29.6081
C2 | N/A | 31.6086
C3 | N/A | 22.9308
C4 | N/A | 24.4386
C5 | N/A | 33.19
C6 | N/A | 24.2893
C7 | N/A | 23.1266
D1 | N/A | 26.9711
D2 | N/A | 22.6182
D3 | N/A | 26.2121
NTC | N/A | N/A
NTC | N/A | N/A
Clinical sample | 28.0501 | N/A
Cq1 | 27.3334 | N/A
Cq2
Twist control 1
Cq1 | 28.9031 | N/A
Cq2 | 29.279 | N/A

## 7a
Sample | EICAS |  | EICAS water control
A1 | 28.1637 | Cq1 | 27.54
A2 | 27.465 | Cq2 | 26.91
A3 | 28.2713 | Cq3 | 26.79
A4 | 26.4449
A5 | 28.1004
A6 | 28.1596
A7 | 27.3753
A8 | 28.9464
B1 | 28.4671
B2 | 27.0969
B3 | 26.9057
B4 | 28.1284
B5 | 26.9013
C1 | 28.3137
C2 | 28.9945
C3 | 27.7433
C4 | 27.4842
C5 | 27.8747
C6 | 29.003
C7 | 27.1919
D1 | 25.566
D2 | 26.7472
D3 | 28.047
E1 | 28.0887
E2 | 29.1188
E3 | 28.5213
E4 | 28.8736
E5 | 28.844
Median Cq | 28.0945 |  | 27.08
Min Cq | 25.566
Max Cq | 29.1188
Range | 3.5528 | ∆Cq Control-Samples | -1.0145

## 8
Techne
| WT DNA |  | MT DNA |  | WT DNA |  |  | NA DNA |  | NB DNA |  | NTC
| WT F primer | MT F primer | WT F primer | MT F primer | WT N-gene pri | NA pri | NB pri | WT N-gene pri | NA pri | WT N-gene pri | NB pri | WT Nsp10 pri | MT pri | WT N-gene pri | NA pri | NB pri
Cq1 | 26.767 | 25.4863 | 28.5557 | 29.0691 | 27.2859 | 27.5258 | 27.4431 | 30.1944 | 30.0908 | 30.5666 | 31.2137 | 45 | 45 | 45 | 45 | 45
Cq2 | 26.6528 | 25.7078 | 28.8563 | 28.9902 | 27.3785 | 27.4711 | 27.754 | 29.9538 | 29.6773 | 30.8378 | 30.9204
CFX
| WT DNA |  | MT DNA |  | WT DNA |  |  | NA DNA |  | NB DNA |  | NTC
| WT F primer | MT F primer | WT F primer | MT F primer | WT N-gene pri | NA pri | NB pri | WT N-gene pri | NA pri | WT N-gene pri | NB pri | WT Nsp10 pri | WT N-gene pri
Cq1 | 25.0687 | 25.0624 | 27.0614 | 27.6257 | 27.2069 | 27.7727 | 27.192 | 27.8935 | 27.8893 | 28.8497 | 29.0912 | 45 | 45
Cq2 | 25.0547 | 25.0244 | 27.0034 | 27.841 | 27.3319 | 27.8508 | 27.0945 | 28.0151 | 27.7355 | 28.7505 | 29.6092
Repeat | CFX
| WT DNA |  | MT DNA |  | WT DNA |  |  | NA DNA |  | NB DNA |  | NTC
| WT F primer | MT F primer | WT F primer | MT F primer | WT N-gene pri | NA pri | NB pri | WT N-gene pri | NA pri | WT N-gene pri | NB pri | WT Nsp10 pri | MT pri | WT Nsp10 pri | MT pri | WT N-gene pri | NA pri | NB pri | WT N-gene pri | NA pri | WT N-gene pri | NB pri
Cq1 | 28.1774 | 28.9279 | 24.2165 | 22.9815 | 28.7429 | 29.1121 | 27.991 | 25.7521 | 25.4897 | 29.1326 | 27.1852 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
Cq2 | 28.1543 | 28.9574 | 24.3523 | 22.773 | 28.8576 | 28.5713 | 27.6073 | 25.5443 | 25.3833 | 29.0383 | 27.2029
Cq3 | 28.0931 | 28.9158 | 24.3064 | 22.6655 | 28.7683 | 28.5827 | 27.6029 | 25.5063 | 25.4942 | 28.8203 | 27.195
Repeat (2) | CFX
| WT DNA |  | MT DNA |  | WT DNA |  |  | NA DNA |  | NB DNA |  | NTC
| WT F primer | MT F primer | WT F primer | MT F primer | WT N-gene pri | NA pri | NB pri | WT N-gene pri | NA pri | WT N-gene pri | NB pri | WT Nsp10 pri | MT pri | WT Nsp10 pri | MT pri | WT N-gene pri | NA pri | NB pri | WT N-gene pri | NA pri | WT N-gene pri | NB pri
Cq1 | 27.3613 | 26.9874 | 24.6263 | 23.5804 | 25.8995 | 26.9007 | 26.9749 | 25.4851 | 25.576 | 25.9666 | 26.6382 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
Cq2 | 26.9353 | 27.0778 | 24.5859 | 23.6018 | 26.4924 | 27.05 | 27.1247 | 25.4426 | 25.216 | 25.9433 | 26.7014
Cq3 | 27.3236 | 27.164 | 24.5817 | 22.321 | 25.9589 | 26.8212 | 27.1189 | 25.7358 | 25.4228 | 25.853 | 26.5869
Cq4 | 26.7421 | 26.6139 | 24.0048 | 23.5394 | 26.1622 | 27.0508 | 27.0876 | 25.4745 | 25.2746 | 25.9126 | 26.6523

## 8a
ddPCR | WT DNA |  | MT DNA |  | WT DNA |  |  | NA DNA |  | NB DNA
| WT F primer | MT F primer | WT F primer | MT F primer | WT N-gene pri | NA pri | NB pri | WT N-gene pri | NA pri | WT N-gene pri | NB pri
Copies 1 | 726 | 692 | 13920 | 33460 | 1666 | 670 | 2900 | 2700 | 5160 | 268 | 1760
Copies 2 | 928 | 760 | 15420 | 33040 | 1662 | 992 | 2574 | 2760 | 5300 | 238 | 1760
ddPCR | WT DNA |  | MT DNA |  | WT DNA |  |  | NA DNA |  | NB DNA
| WT F primer | MT F primer | WT F primer | MT F primer | WT N-gene pri | NA pri | NB pri | WT N-gene pri | NA pri | WT N-gene pri | NB pri
Copies 1 | 964 | 556 | 11160 | 20760 | 2740 | 1640 | 1880 | 6300 | 13940 | 1240 | 2320
Copies 2 | 820 | 626 | 11960 | 28720 | 3080 | 1560 | 2620 | 5600 | 14320 | 1520 | 3820
Sample | Target | Concentration | CopiesPer20uLWell | PoissonConfMax | PoissonConfMin | Positives | Negatives | AcceptedDroplets
WT Nsp10 | WT F primer | 36.3 | 726 | 40.1 | 34.3 | 346 | 11050 | 11396
WT Nsp10 | WT F primer | 46.4 | 928 | 50.7 | 44.2 | 455 | 11309 | 11764
WT Nsp10 | MT F primer | 34.6 | 692 | 38.6 | 32.5 | 289 | 9692 | 9981
WT Nsp10 | MT F primer | 38 | 760 | 41.6 | 36.2 | 426 | 12975 | 13401
Mu Nsp10 | WT F primer | 696 | 13920 | 717 | 676 | 4620 | 5723 | 10343
Mu Nsp10 | WT F primer | 771 | 15420 | 791 | 751 | 5895 | 6370 | 12265
Mu Nsp10 | MT F primer | 1673 | 33460 | 1713 | 1636 | 8570 | 2723 | 11293
Mu Nsp10 | MT F primer | 1652 | 33040 | 1686 | 1618 | 10569 | 3442 | 14011
WT N | WT N-gene pri | 83.3 | 1666 | 89.4 | 80.2 | 715 | 9742 | 10457
WT N | WT N-gene pri | 83.1 | 1662 | 89.1 | 80.1 | 748 | 10221 | 10969
WT N | NA pri | 33.5 | 670 | 37.4 | 31.5 | 280 | 9704 | 9984
WT N | NA pri | 49.6 | 992 | 53.9 | 47.5 | 526 | 12203 | 12729
WT N | NB pri | 145 | 2900 | 153 | 140 | 1153 | 8816 | 9969
WT N | NB pri | 128.7 | 2574 | 135.3 | 125.3 | 1465 | 12677 | 14142
NA | WT N-gene pri | 135 | 2700 | 143 | 130 | 1073 | 8857 | 9930
NA | WT N-gene pri | 138 | 2760 | 145 | 134 | 1438 | 11555 | 12993
NA | NA pri | 258 | 5160 | 270 | 252 | 1920 | 7822 | 9742
NA | NA pri | 265 | 5300 | 276 | 259 | 2201 | 8710 | 10911
NB | WT N-gene pri | 92 | 1840 | 16.3 | 12.1 | 96 | 8377 | 8473
NB | WT N-gene pri | 103 | 1580 | 14.1 | 10.8 | 113 | 11100 | 11213
NB | NB pri | 79 | 2060 | 95 | 84 | 621 | 8031 | 8652
NB | NB pri | 113 | 2260 | 94 | 84 | 638 | 8258 | 8896
Sample | Target | Concentration | CopiesPer20uLWell | PoissonConfMax | PoissonConfMin | Positives | Negatives | AcceptedDroplets
WT Nsp10 | WT F primer | 27.8 | 964 | 32.6 | 25.4 | 128 | 5352 | 5480
WT Nsp10 | WT F primer | 31.3 | 820 | 37.4 | 28.2 | 101 | 3746 | 3847
WT Nsp10 | MT F primer | 48.2 | 556 | 54 | 45.3 | 268 | 6407 | 6675
WT Nsp10 | MT F primer | 41 | 626 | 48 | 37 | 128 | 3610 | 3738
Mu Nsp10 | WT F primer | 558 | 11160 | 582 | 546 | 2221 | 3659 | 5880
Mu Nsp10 | WT F primer | 598 | 11960 | 636 | 579 | 977 | 1475 | 2452
Mu Nsp10 | MT F primer | 1038 | 20760 | 1072 | 1021 | 3961 | 2796 | 6757
Mu Nsp10 | MT F primer | 1436 | 28720 | 1495 | 1408 | 2758 | 1154 | 3912
WT N | WT N-gene pri | 137 | 2740 | 148 | 131 | 566 | 4588 | 5154
WT N | WT N-gene pri | 154 | 3080 | 166 | 147 | 632 | 4532 | 5164
WT N | NA pri | 82 | 1640 | 90 | 77 | 364 | 5071 | 5435
WT N | NA pri | 78 | 1560 | 88 | 73 | 240 | 3512 | 3752
WT N | NB pri | 94 | 1880 | 104 | 89 | 362 | 4351 | 4713
WT N | NB pri | 131 | 2620 | 141 | 125 | 565 | 4812 | 5377
NA | WT N-gene pri | 315 | 6300 | 334 | 306 | 1132 | 3682 | 4814
NA | WT N-gene pri | 280 | 5600 | 298 | 270 | 884 | 3293 | 4177
NA | NA pri | 697 | 13940 | 730 | 681 | 1795 | 2220 | 4015
NA | NA pri | 716 | 14320 | 756 | 697 | 1350 | 1610 | 2960
NB | WT N-gene pri | 62 | 1240 | 71 | 58 | 210 | 3870 | 4080
NB | WT N-gene pri | 76 | 1520 | 87 | 70 | 187 | 2811 | 2998
NB | NB pri | 116 | 2320 | 128 | 109 | 323 | 3127 | 3450
NB | NB pri | 191 | 3820 | 207 | 175 | 572 | 3246 | 3818
Repeat
Sample | Target | Concentration | CopiesPer20uLWell | PoissonConfMax | PoissonConfMin | Positives | Negatives | AcceptedDroplets
Mu Nsp10 | WT F primer | 37.3 | 746 | 42.5 | 34.7 | 204 | 6329 | 6533
Mu Nsp10 | MT F primer | 53 | 1060 | 60 | 49 | 179 | 3908 | 4087
Mu Nsp10 | WT F primer | 46 | 920 | 51.4 | 43.3 | 287 | 7191 | 7478
Mu Nsp10 | MT F primer | 53.4 | 1068 | 59.1 | 50.4 | 334 | 7198 | 7532

## 8b
Probe | N-Pr-2 | MuN | N-Pr-2 | MuN
Cq1 | 26.099 | 26.1967 | 28.59 | 28.47
Cq2 | 26.3498 | 26.3536 | 29.35 | 29.21
Sample | A1 |  | A7 |  | C3 |  | C4 |  | C6 |  | C7
Probe | N-gene Pr1 | N-gene Pr2 | N-gene Pr1 | N-gene Pr2 | N-gene Pr1 | N-gene Pr2 | N-gene Pr1 | N-gene Pr2 | N-gene Pr1 | N-gene Pr2 | N-gene Pr1 | N-gene Pr2
Cq1 | 32.559 | 31.5419 | 32.266 | 31.6333 | 22.8418 | 20.9703 | 25.7363 | 22.79 | 22.8698 | 23.4043 | 22.1544 | 22.3762
Cq2 | 32.2016 | 31.7191 | 32.0452 | 31.5832 | 22.897 | 20.6302 | 25.4956 | 22.7597 | 23.0053 | 23.1807 | 21.9642 | 22.258

## 8c
WT target | Temperature (ºC)
Primers | 60 | 60.7 | 62 | 64 | 66.4 | 68.4 | 69.5 | 70
Nsp10 (NC_045512 ) | 24.7408 | 24.2761 | 24.2804 | 23.8208 | 23.476 | 23.8633 | 23.3988 | 23.395
Nsp10 (MT412262) | 26.8966 | 29.483 | 27.7127 | 27.782 | 29.1402 | 29.0183 | 35.0008 | 35.6264
N | 20.62 | 20.7143 | 21.3281 | 20.6181 | 20.6673 | 20.8687 | 21.1419 | 21.353
NA | 21.4696 | 21.3871 | 21.7386 | 20.4626 | 22.3364 | 21.7994 | 22.4896 | 23.1675
NB | 21.0556 | 21.2472 | 20.7033 | 20.7646 | 21.4328 | 22.4118 | 24.0241 | 25.1269
MT DNA target
Nsp10 WT | [7 empty] | MT41226 F pri
60.0 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0 | 60.0 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0
23.6525 | 23.7598 | 23.5795 | 23.8489 | 23.7751 | 22.3642 | 24.42 | 25.2062 | 23.1326 | 22.4778 | 21.8199 | 22.1367 | 22.5656 | 22.4844 | 21.7596 | 22.3345
23.9429 | 23.6612 | 23.4966 | 23.5031 | 23.1095 | 23.6933 | 25.0275 | 24.6665 | 22.8629 | 22.1904 | 22.1209 | 21.9236 | 22.4129 | 22.1254 | 22.317 | 22.396
23.7977 | 23.7105 | 23.538 | 23.676 | 23.4423 | 23.0288 | 24.7238 | 24.9364 | 22.9978 | 22.3341 | 21.9704 | 22.0302 | 22.4892 | 22.3049 | 22.0383 | 22.3653
MT DNA target repeat
Nsp10 WT | [7 empty] | MT41226 F pri
60 | 60.3 | 61 | 62 | 63.2 | 64.2 | 64.7 | 65 | 60 | 60.3 | 61 | 62 | 63.2 | 64.2 | 64.7 | 65
22.3884 | 22.3685 | 22.0805 | 22.1751 | 22.4844 | 23.6977 | 24.0222 | 24.851 | 23.4578 | 22.6157 | 22.5662 | 22.8271 | 22.3198 | 22.346 | 22.376 | 23.846
NA DNA target
WT F primer | [7 empty] | NA F primer
60 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0 | 60.0 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0
24.6866 | 24.1493 | 24.149 | 24.3591 | 24.4432 | 24.5667 | 24.8025 | 24.5524 | 23.4994 | 23.5743 | 23.5443 | 23.8439 | 24.5673 | 24.6614 | 24.7628 | 24.245
25.7748 | 24.5172 | 24.2242 | 24.4048 | 23.9955 | 24.1931 | 24.3175 | 24.4267 | 24.768 | 24.0611 | 23.8221 | 23.6949 | 24.0184 | 24.1369 | 23.9017 | 24.5125
25.2307 | 24.3332 | 24.1866 | 24.3819 | 24.2193 | 24.3799 | 24.56 | 24.4896 | 24.1337 | 23.8177 | 23.6832 | 23.7694 | 24.2929 | 24.3991 | 24.3322 | 24.3787
NA DNA target repeat
WT F primer | [7 empty] | NA F primer
60 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0 | 60.0 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0
23.8193 | 23.3077 | 23.361 | 23.297 | 23.3798 | 23.8208 | 23.785 | 23.8 | 23.8752 | 23.6653 | 23.6585 | 23.5796 | 23.8206 | 23.7069 | 24.0115 | 24.0998
NB DNA target
WT F primer | [7 empty] | NB F primer
60 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0 | 60.0 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0
24.6921 | 24.9701 | 26.1888 | 25.946 | 26.6138 | 27.351 | 27.8305 | 26.1335 | 25.5174 | 25.2981 | 25.3321 | 25.2483 | 25.9107 | 25.503 | 26.0861 | 25.6704
24.72 | 25.3641 | 25.7907 | 25.5983 | 26.0627 | 26.497 | 27.1546 | 27.5829 | 27.9695 | 25.0412 | 25.2332 | 25.2416 | 25.3431 | 25.5692 | 26.0043 | 25.9422
24.7061 | 25.1671 | 25.9897 | 25.7722 | 26.3383 | 26.924 | 27.4926 | 26.8582 | 26.7435 | 25.1696 | 25.2826 | 25.2449 | 25.6269 | 25.5361 | 26.0452 | 25.8063
NB DNA target repeat
WT F primer | [7 empty] | NB F primer
60 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0 | 60.0 | 60.3 | 61.0 | 62.0 | 63.2 | 64.2 | 64.7 | 65.0
25.7906 | 25.6743 | 26.254 | 26.7163 | 27.6773 | 28.2172 | 28.8776 | 29.3078 | 25.0361 | 24.7009 | 24.8033 | 24.5186 | 24.6573 | 24.7787 | 24.7361 | 25.1826

## 9
ddPCR
Sample | Nsp10 single | Nsp12 single | Nsp10+12
Conc(copies/µL) | 1777.1671 | 1815.2032 | 3242.8108
Copies/20µLWell | 35543.3438 | 36304.0664 | 64856.2148
Accepted Droplets | 11473 | 11719 | 11634
Positives | 8940 | 9214 | 10895
Negatives | 2533 | 2505 | 739
qPCR
| Nsp10 single | Nsp12 single | Nsp10+12
Cq1 | 16.7143 | 18.2849 | 15.8803
Cq2 | 16.8368 | 17.8885 | 15.794
Cq3 | 16.983 | 18.2046 | 15.9454
Cq4 | 16.9273 | 18.0787 | 15.8422
Cq5 | 17.0061 | 18.302 | 15.9007
Avereage Cq | 16.8935 | 18.1517 | 15.8725
SD | 0.11954 | 0.17158 | 0.05755

## 10
| Nsp10 single | 4plex Nsp10 | 5plex Nsp10/12 | 4plex N | 5plex N | 4plex Jun | 5plex Jun | 4plex EICAS | 5plex EICAS
Cq1 | 28.6609 | 28.6547 | 27.0233 | 28.9246 | 29.2595 | 34.1061 | 32.5336 | 28.72 | 27.76
Cq2 | 28.0974 | 28.0991 | 27.6322 | 28.9876 | 28.6319 | 33.0873 | 32.8416 | 28.56 | 27.42
Cq3 | 28.0012 | 28.0715 | 27.2714 | 28.954 | 29.2727 | 33.0147 | 32.7914 | 27.53 | 28.28
Cq4 | 27.9231 | 27.9303 | 27.2403 | 29.055 | 29.2769 | 34.4788 | 34.3973 | 28.2 | 27.76
Cq5 | 28.0134 | 28.0571 | 26.3972 | 28.943 | 29.2291 | 33.684 | 32.7385
Cq6 | 28.1875 | 28.0543 | 27.6244 | 28.6963 | 29.7401 | 32.5263 | 34.4018
Average Cq | 28.1473 | 28.1445 | 27.1981 | 28.9267 | 29.2351 | 33.4829 | 33.284 | 28.2525 | 27.805
SD | 0.26739 | 0.25666 | 0.45812 | 0.1219 | 0.35292 | 0.7364 | 0.8704 | 0.52848 | 0.35492

## 11
C3
| Nsp10 4plex | Nsp10/12 5plex | N 4plex | N 5 plex | Jun 4plex | Jun 5plex | EICAS 4plex | EICAs 5 plex
Cq1 | 22.653 | 21.4491 | 21.6943 | 21.8735 | 22.3315 | 22.5428 | 22.3198 | 22.8988
Cq2 | 22.5793 | 21.4758 | 21.6643 | 21.6712 | 22.528 | 21.8927 | 22.1083 | 22.9926
Cq3 | 22.4738 | 21.1949 | 21.4357 | 21.5196 | 21.7035 | 21.6851 | 22.0633 | 22.4185
Average | 22.5687 | 21.3733 | 21.5981 | 21.6881 | 22.1876 | 22.0402 | 22.1638 | 22.77
SD | 0.090085 | 0.155 | 0.14143 | 0.17752 | 0.43067 | 0.44745 | 0.13695 | 0.30798
C4
| Nsp10 4plex | Nsp10/12 5plex | N 4plex | N 5 plex | Jun 4plex | Jun 5plex | EICAS 4plex | EICAs 5 plex
Cq1 | 24.3119 | 22.8096 | 23.684 | 23.7395 | 23.5847 | 24.1304 | 23.9086 | 24.2311
Cq2 | 24.1152 | 22.9299 | 23.5591 | 23.8981 | 24.0941 | 24.0318 | 23.7383 | 24.179
Cq3 | 24.1904 | 22.926 | 23.5756 | 23.6668 | 23.1525 | 23.3253 | 23.6951 | 24.2873
Average | 24.2058 | 22.8885 | 23.6062 | 23.7681 | 23.6104 | 23.8292 | 23.7807 | 24.2324
SD | 0.099209 | 0.068342 | 0.067859 | 0.11827 | 0.47136 | 0.43914 | 0.11288 | 0.05414
C6
| Nsp10 4plex | Nsp10/12 5plex | N 4plex | N 5 plex | Jun 4plex | Jun 5plex | EICAS 4plex | EICAs 5 plex
Cq1 | 24.1801 | 22.7011 | 23.6322 | 23.428 | 23.1744 | 22.9201 | 23.813 | 24.016
Cq2 | 24.0715 | 22.7017 | 23.3397 | 23.3796 | 24.0474 | 23.6109 | 23.4427 | 24.06
Cq3 | 24.9592 | 22.7737 | 24.4594 | 23.4591 | 30.8595 | 23.603 | 24.2692 | 24.0364
Average | 24.4036 | 22.7255 | 23.8105 | 23.4222 | 26.0271 | 23.378 | 23.8417 | 24.0375
SD | 0.48424 | 0.041753 | 0.58074 | 0.040028 | 4.2076 | 0.39659 | 0.41402 | 0.02204
C7
| Nsp10 4plex | Nsp10/12 5plex | N 4plex | N 5 plex | Jun 4plex | Jun 5plex | EICAS 4plex | EICAs 5 plex
Cq1 | 23.0916 | 21.8406 | 23.1691 | 22.9515 | 23.4868 | 25.2456 | 22.7191 | 23.2282
Cq2 | 23.1487 | 21.7706 | 23.0125 | 23.1677 | 25.1921 | 25.641 | 22.627 | 23.1879
Cq3 | 23.1446 | 22.0048 | 22.8936 | 23.3171 | 23.6279 | 25.8898 | 22.4738 | 23.4178
Average | 23.1283 | 21.872 | 23.0251 | 23.1454 | 24.1023 | 25.5921 | 22.6066 | 23.278
SD | 0.031849 | 0.12021 | 0.13822 | 0.18385 | 0.94648 | 0.3249 | 0.12394 | 0.12272
NTC
| Nsp10 4plex | Nsp10/12 5plex | N 4plex | N 5 plex | Jun 4plex | Jun 5plex | EICAS 4plex | EICAs 5 plex
Cq1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Cq2 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Cq3 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## 12
qPCR
Sample C4 | NSP10 single | NSP12 single | N-gene single | NSP10 in 4plex | NSP10 12 and N FAM | NTC
Cq1 | 24.6459 | 24.2394 | 24.661 | 23.8068 | 23.3361 | N/A
Cq2 | 24.352 | 24.2425 | 24.5529 | 23.6927 | 22.8717 | N/A
Cq3 | 24.3739 | 24.0332 | 24.4803 | 23.656 | 22.8583 | N/A
Cq4 | 24.2646 | 24.1503 | 24.5447 | 23.5878 | 22.8683 | N/A
| 24.4091 | 24.1663 | 24.5597 | 23.6858 | 22.9836
ddPCR
Target | NSP10 single | NSP12 single | N-gene single | NSP10 in 4plex | NSP10 12 and N FAM | NTC
Conc(copies/µL) | 46.4837 | 45.1687 | 45.9319 | 98.8104 | 187.6874 | 0.16183
Copies/20µLWell | 929.6735 | 903.3735 | 918.639 | 1976.2072 | 3753.7476 | 3.2365
Accepted Droplets | 13500 | 12372 | 11648 | 11532 | 15645 | 14541
Positives | 523 | 466 | 446 | 929 | 2307 | 2
Negatives | 12977 | 11906 | 11202 | 10603 | 13338 | 14539

## 13
RT | Denaturation | Anneal/pol | Target
(min) | (sec) | (sec) | Nsp10 | N | Nsp12
10 | 5 | 10 | 29.22 | 29.38 | 30.36
5 | 5 | 10 | 28.16 | 27.89 | 30
5 | 3 | 10 | 28.65 | 29.82 | 30.13
5 | 1 | 10 | 29.29 | 29.17 | 30.43
5 | 1 | 5 | 28.95 | 29.3 | 29.97
5 | 1 | 1 | 29.83 | 29.32 | 30.92
0 | 1 | 1 | N/A | N/A | N/A

## 13b
5 min RT | 5 sec denaturation - 10 sec annealing/polymerisation |  |  |  | 5 sec denaturation - 10 sec annealing/polymerisation
Cq1 | Nsp10+12 | N | Jun | EICAS 2 | Nsp10+12 | N | Jun | EICAS 2
Cq2 | 25.6278 | 27.7354 | 27.7456 | 25.31 | 24.9714 | 27.3699 | 27.4672 | 24.45
Average Cq | 25.3319 | 28.251 | 28.1216 | 25.74 | 24.4796 | 28.5029 | 27.2326 | 24.29
5 min RT | 1 sec denaturation - 1 sec annealing/polymerisation |  |  |  | 1 sec denaturation - 1 sec annealing/polymerisation
Cq1 | Nsp10+12 | N | Jun | EICAS 2 | Nsp10+12 | N | Jun | EICAS 2
Cq2 | 25.87 | 27.9477 | 27.9521 | 25.2224 | 24.83 | 27.4092 | 27.1317 | 24.2521
Average Cq | 25.97 | 27.7788 | 28.4969 | 25.0222 | 25.05 | 27.6267 | 27.2987 | 24.2165

## 14
1 sec denaturation - 1 sec annealing/polymerisation
5 min RT | Nsp10 | N | Nsp12 | JUN | EICAS
Cq1 | 31.0542 | 30.2782 | 32 | 30.3068 | 28.9246 | Nsp10 | N | Nsp12
Cq2 | 29.3015 | 29.0598 | 32.77 | 29.1642 | 27.3214 | 31.1024 | 31.7153 | 30.2522
Average Cq | 30.1778 | 29.669 | 32.385 | 29.7355 | 28.123 | 31.0273 | 31.6504 | 30.221
3 min RT | Nsp10 | N | Nsp12 | JUN | EICAS
Cq1 | 31.576 | 30.064 | 31.92 | 30.1088 | 30.7712
Cq2 | 31.7422 | 30.4173 | 32.3 | 29.9126 | 30.284
Average Cq | 31.6591 | 30.2406 | 32.11 | 30.0107 | 30.5276
2 min RT | Nsp10 | N | Nsp12 | JUN | EICAS
Cq1 | 33.0952 | 30.9686 | 32.62 | 31.5389 | 29.6294
Cq2 | 33.368 | 31.0611 | 32.86 | 31.5111 | 29.6078
Average Cq | 33.2316 | 31.0148 | 32.74 | 31.525 | 29.6186
1 min RT | Nsp10 | N | Nsp12 | JUN | EICAS | Nsp10 | N | Nsp12
Cq1 | 31.4073 | 30.0313 | 32.33 | 30.5192 | 30.2999 | 30.9477 | 31.352 | 29.0233
Cq2 | 31.7526 | 30.0516 | 33.08 | 30.2686 | 30.4802 | 30.8922 | 31.5637 | 29.2041
Average Cq | 31.58 | 30.0414 | 32.705 | 30.3939 | 30.3901
0.5 min RT | Nsp10 | N | Nsp12 | JUN | EICAS
Cq1 | 39.3516 | 32.7662 | 32.38 | 32.8589 | N/A
Cq2 | 37.1176 | 32.1432 | 32.99 | 30.6261 | N/A
Average Cq | 38.2346 | 32.4547 | 32.685 | 31.7425 | N/A
0 min RT | Nsp10 | N | Nsp12 | JUN | EICAS
Cq1 | N/A | 38.9634 | N/A | N/A | N/A
Cq2 | N/A | 38.7162 | N/A | N/A | N/A
Average Cq | N/A | 38.8398 | N/A | N/A | N/A
NTC | Nsp10 | N | Nsp12 | JUN | EICAS
Cq1 | N/A | N/A | N/A | N/A | N/A
Cq2 | N/A | N/A | N/A | N/A | N/A
Average Cq | N/A | N/A | N/A | N/A | N/A

## 14a
BioRad CFX 10 minutes RT; 95ºC/5 seconds - 60ºC/20 seconds
Slow | Nsp10 | NSP12 | N | NA | NB | MT | EICAS
Cq1 | 29.2866 | 20.8508 | 23.9242 | 24.0954 | 23.1039 | 19.4669 | 30.5474
Cq2 | 30.4758 | 20.8726 | 24.1144 | 24.8961 | 23.5244 | 19.8527 | 32.4136
Cq3 | 30.0062 | 20.6599 | 23.9041 | 24.308 | 23.2918 | 19.497 | 31.4268
Cq4 | 29.7061 | 20.4572 | 23.8911 | 23.8727 | 23.1845 | 19.0755 | 29.518
Average | 29.8687 | 20.7101 | 23.9585 | 24.2931 | 23.2762 | 19.473 | 30.9765
SD | 0.50093 | 0.1938 | 0.10485 | 0.43958 | 0.18252 | 0.3177 | 1.2355
BioRad CFX 1 minute RT; 95ºC/1 second - 60ºC/1 second
Fast | Nsp10 | NSP12 | N | NA | NB | MT | EICAS
Cq1 | 29.1708 | 20.7258 | 24.275 | 23.7944 | 23.4035 | 19.088 | 31.1295
Cq2 | 28.8628 | 20.4293 | 24.097 | 23.7718 | 23.258 | 19.2819 | 30.5443
Cq3 | 28.9745 | 20.4612 | 24.0596 | 23.4246 | 22.8738 | 19.0982 | 30.4922
Cq4 | 29.3951 | 20.2435 | 23.99 | 23.5067 | 22.2519 | 19.1009 | 29.2498
Average | 29.1008 | 20.465 | 24.1054 | 23.6244 | 22.9468 | 19.1423 | 30.354
SD | 0.23388 | 0.19863 | 0.12145 | 0.18652 | 0.51432 | 0.093245 | 0.79078
∆Cq | -0.76786 | -0.24518 | 0.14694 | -0.6687 | -0.32937 | -0.33073 | -0.62248
SD | 0.55284 | 0.27751 | 0.16044 | 0.47752 | 0.54575 | 0.3311 | 1.4669

## 15
Expt 1 | Denaturation and annealing/polymerisation temperatures (ºC)
| 95 60 | 95 64 | 93 64 | 93 65 | 92 66 | 95 60 | 95 64 | 93 64 | 93 65 | 92 66 | 95 60 | 95 64 | 93 64 | 93 65 | 92 66 | 95 60 | 95 64 | 93 64 | 93 65 | 92 66
| nsp10 |  |  |  |  | N gene |  |  |  |  | c-Jun |  |  |  |  | EICAS
Cq1 | 28.8852 | 29.0637 | 28.7622 | 28.766 | 28.8605 | 23.1869 | 24.2247 | 24.3286 | 24.6235 | 25.5262 | 21.8907 | 22.2298 | 22.4983 | 23.0824 | 23.8354 | 23.4134 | 24.1635 | 24.3258 | 24.5069 | 25.1919
Cq2 | 29.0192 | 28.7335 | 28.6703 | 28.7295 | 29.7797 | 23.1573 | 24.207 | 24.0675 | 24.6157 | 25.1339 | 22.5681 | 22.128 | 22.4875 | 22.957 | 23.4936 | 23.5543 | 24.1798 | 24.1151 | 24.726 | 25.1759
Cq3 | 28.9522 | 28.8986 | 28.7162 | 28.7477 | 29.3201 | 23.1721 | 24.2158 | 24.1981 | 24.6196 | 25.3301 | 22.2294 | 22.1789 | 22.4929 | 23.0197 | 23.6645 | 23.4838 | 24.1717 | 24.2205 | 24.6165 | 25.1839
Average Cq | 28.9522 | 28.8986 | 28.7162 | 28.7477 | 29.3201 | 23.1721 | 24.2158 | 24.1981 | 24.6196 | 25.3301 | 22.2294 | 22.1789 | 22.4929 | 23.0197 | 23.6645 | 23.4838 | 24.1717 | 24.2205 | 24.6165 | 25.1839
SD | 0.066978 | 0.16512 | 0.045937 | 0.018247 | 0.45962 | 0.014802 | 0.0088627 | 0.13057 | 0.00394 | 0.19618 | 0.33867 | 0.05088 | 0.0054158 | 0.062658 | 0.17092 | 0.070453 | 0.0081858 | 0.10532 | 0.10955 | 0.0080023
Denaturation and annealing/polymerisation temperatures (ºC)
Expt 2 | nsp12
| 95 60 | 95 64 | 94 64 | 93 64 | 93 65 | 92 64 | 92 66 | 90 64
Cq1 | 23.0463 | 23.5813 | 24.6415 | 23.5299 | 24.0172 | 24.5716 | 24.947 | 24.6947
Cq2 | 23.1282 | 23.5256 | 24.1616 | 23.5208 | 24.1493 | 23.9486 | 25.3352 | 25.2989
Cq3 | 23.9034 |  |  |  |  | 24.3048 |  | 25.6309
Cq4 | 23.6874 |  |  |  |  | 23.879 |  | 25.2226
Average Cq | 23.4413 | 23.5534 | 24.4016 | 23.5254 | 24.0832 | 24.176 | 25.1411 | 25.2118
SD | 0.41958 | 0.039427 | 0.33933 | 0.0064032 | 0.09338 | 0.32302 | 0.27451 | 0.38763

## 16
Rating | 5 | [5 empty] | 4 | [5 empty] | 3 | [5 empty] | 2 | [5 empty] | 1 | [5 empty] | NTC
Cycle | 9 | 15 | 20 | 25 | 30 | 35 | 9 | 15 | 20 | 25 | 30 | 35 | 9 | 15 | 20 | 25 | 30 | 35 | 9 | 15 | 20 | 25 | 30 | 35 | 9 | 15 | 20 | 25 | 30 | 35 | 9 | 15 | 20 | 25 | 30 | 35
Cq1 | 6932.9242 | 7160.2031 | 8528.7216 | 9585.138 | 10229.4635 | 10646.3039 | 10118.7628 | 10174.8291 | 11193.5802 | 12467.726 | 13357.0944 | 13976.3344 | 7052.887 | 7044.2106 | 7062.0374 | 7315.8716 | 7977.5438 | 8756.13 | 7137.6343 | 7133.9459 | 7138.8784 | 7165.2947 | 7289.3936 | 7634.6695 | 6963.8344 | 6975.4586 | 6973.6781 | 6992.9004 | 7016.9938 | 7097.8294 | 7038.4508 | 7036.1859 | 7037.8966 | 7038.5243 | 7043.2603 | 7063.3706
Cq2 | 7283.0931 | 7481.0663 | 8683.4884 | 9733.3066 | 10380.7987 | 10830.3014 | 10205.7393 | 10320.4633 | 11350.1724 | 12859.7309 | 13843.7296 | 14480.6138 | 7451.3943 | 7443.178 | 7462.5272 | 7837.2722 | 8550.8828 | 9422.6049 | 7697.4957 | 7706.358 | 7704.0287 | 7729.004 | 7867.2657 | 8257.9394 | 7584.287 | 7656.9202 | 7627.2483 | 7654.863 | 7691.8227 | 7856.1648 | 7880.7654 | 7901.5784 | 7908.1197 | 7916.5121 | 7919.0384 | 7936.4447
Cq3 | 7558.5259 | 7812.3225 | 9278.8146 | 10478.5226 | 11198.2516 | 11660.7874 | 10597.6515 | 10664.3057 | 11545.0494 | 12955.8031 | 13899.5351 | 14528.824 | 7572.3002 | 7572.2825 | 7595.2079 | 7916.9279 | 8663.9742 | 9498.0482 | 7755.7468 | 7765.5843 | 7764.9952 | 7802.7092 | 7951.141 | 8444.2664 | 7807.6032 | 7867.6082 | 7814.2353 | 7838.138 | 7879.6484 | 8008.6887 | 7901.581 | 7895.4495 | 7890.66 | 7888.0664 | 7887.0183 | 7900.5992
Cq4 | 7531.4931 | 7779.436 | 9200.5752 | 10372.8142 | 11116.8901 | 11589.7717 | 11667.6226 | 11696.8435 | 12715.5715 | 14197.6603 | 15231.0692 | 15998.4552 | 7743.1451 | 7736.0652 | 7771.5307 | 8120.9991 | 8970.5932 | 9861.0702 | 7797.331 | 7799.6585 | 7802.1024 | 7848.0506 | 8105.9993 | 8607.1508 | 7932.1002 | 7966.8394 | 7985.3467 | 7985.7339 | 7995.409 | 8093.7216 | 7908.4343 | 7825.1227 | 7796.2235 | 7800.102 | 7813.9823 | 7872.5912

## 17
qPCR
EICAS2 | 0.09 | 0.02 | 0.002
Cq1 | 33.89 | 29.6947 | 25.18
Cq2 | 34.91 | 28.5978 | 26.09
Cq3 | 35.51 | 29.979 | 26.11
Cq4 | 34.95 | 29.7022 | 26.74
Average Cq | 34.815 | 29.4934 | 26.03
SD | 0.67476 | 0.61154 | 0.64203
ddPCR
Target | Concentration | CopiesPer20μLWell | PoissonConfMax | PoissonConfMin | Positives | Negatives | AcceptedDroplets
EICAS 2 | 54.533 | 1090.6598 | 59.5006 | 49.5863 | 10266 | 465 | 9801
EICAS 2 | 56.904 | 1138.0801 | 61.3283 | 52.4963 | 13512 | 638 | 12874
EICAS 2 | 62.6331 | 1252.6625 | 67.7734 | 57.5153 | 11052 | 573 | 10479
EICAS 2 | 58.9184 | 1178.3678 | 63.8399 | 54.0174 | 11321 | 553 | 10768