Reusing of Real Textile Wastewater After Treatment by Gamma Irradiation: Implications on the Growth of Capsicum frutescens Plant

Md. Ariful Ahsan1*, M. Safiur Rahman3, Md. Abdul Quaiyum Bhuiyan1, Md. Saifur Rahaman2, Mir Tamzid Rahman4, Mubarak Ahmad Khan5, 6

1 Isotope Hydrology Division, Institute of Nuclear Science and Technology, Atomic Energy Research Establishment, Bangladesh Atomic Energy Commission, Savar, Dhaka, Bangladesh

2 Nuclear and Radiation Chemistry Division, Institute of Nuclear Science and Technology, Atomic Energy Research Establishment, Bangladesh Atomic Energy Commission, Savar, Dhaka, Bangladesh

3Chemistry Division, Atomic Energy Centre, Bangladesh Atomic Energy Commission, Savar, Dhaka, Bangladesh

4Department of Chemistry, Jahangirnagar University, Savar, Dhaka-1342, Bangladesh

5 Institute of Radiation and Polymer Technology, Atomic Energy Research Establishment, Bangladesh Atomic Energy Commission, Savar, Dhaka, Bangladesh

6 Bangladesh Jute Mills Corporation, Bangladesh

*Corresponding author: e-mail: arifulahsan634@gmail.com, Tel: +88-02-7789250, Fax: +88-02-7790700

Table 1 Change of Physicochemical parameters of the irradiated and unirradiated samples of textile wastewater.

| Parameters | Unit | Raw / Unirradiated wastewater | Wastewater irradiated at different doses |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3 KGy | 5 KGy | 8 KGy | 10 KGy |
| pH | - | 10.48 | 9.72 | 9.18 | 8.64 | 8.19 |
| Turbidity | FTU | 167.22 | 153.83 | 139.29 | 118.56 | 116.68 |
| EC | µS/cm | 4010 | 3640 | 2980 | 2160 | 1690 |
| TDS | mg/L | 3346 | 2752 | 2460 | 1725 | 1540 |
| TSS | mg/L | 486 | 362 | 294 | 245 | 217 |
| DO | mg/L | 0.3 | 2.4 | 3.8 | 4.9 | 5.7 |
| BOD5 | mg/L | 178 | 154 | 135 | 95 | 73 |
| COD | mg/L | 595 | 480 | 376 | 240 | 169 |
| Biodegradability Index (BOD5/COD) | - | 0.299 | 0.321 | 0.359 | 0.396 | 0.432 |
| Total Nitrogen (N) | mg/L | 32.6 | 36.2 | 44.5 | 55 | 63.4 |
| Ammonium (NH4+) | mg/L | 18.5 | 24.7 | 28.4 | 32.8 | 34.6 |
| Nitrate (NO3-) | mg/L | 124.43 | 116.14 | 109.24 | 98.12 | 85.12 |

Table 2 Growth promotion effect of irradiated textile wastewater on Capsicum plants and fruits.

| Sample ID | Avg. Plant Height / per week (cm) | Avg. No. of Leaves (per week) | Root Length (cm) | Moisture Content (%) | Dry Mass (g) | Fruit growing Time (Days) | No. of fruits |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Control | 2.42 | 14 | 13.21 | 91.35 | 2.25 | 41 | 25 |
| 0 KGy | 1.00 | 8 | 8.33 | 93.20 | 0.17 | 59 | 2 |
| 3 KGy | 2.55 | 12 | 14.16 | 90.81 | 1.50 | 47 | 19 |
| 5 KGy | 2.37 | 11 | 12.40 | 91.65 | 0.90 | 53 | 14 |
| 8 KGy | 4.07 | 14 | 16.56 | 92.62 | 3.02 | 38 | 40 |
| 10 KGy | 2.62 | 16 | 15.24 | 90.54 | 1.34 | 29 | 16 |

Table 3 Metal concentration (in mg/L) for raw and gamma irradiated textile wastewater.

| Metal Name | Raw wastewater (0 KGy) | 3 KGy | 5 KGy | 8 KGy | 10 KGy |
| --- | --- | --- | --- | --- | --- |
| Arsenic (As) | <0.0003 | <0.0003 | <0.0003 | <0.0003 | <0.0003 |
| Cadmium (Cd) | <0.004 | <0.004 | <0.004 | <0.004 | <0.004 |
| Calcium (Ca) | 0.2348 | 0.3562 | 0.3498 | 0.4028 | 0.3853 |
| Chromium (Cr) | 0.0791 | 0.0827 | 0.0848 | 0.0965 | 0.0950 |
| Cobalt (Co) | <0.004 | 0.0077 | 0.0080 | 0.0086 | 0.0089 |
| Copper (Cu) | 0.0544 | 0.0630 | 0.0661 | 0.0863 | 0.0825 |
| Iron (Fe) | 0.0099 | 0.0217 | 0.0190 | 0.0364 | 0.0383 |
| Lead (Pb) | 0.0317 | 0.0402 | 0.0446 | 0.0505 | 0.0527 |
| Magnesium (Mg) | 0.0957 | 0.1883 | 0.1627 | 0.2199 | 0.2577 |
| Manganese (Mn) | 0.1605 | 0.2484 | 0.2347 | 0.2775 | 0.2914 |
| Mercury (Hg) | 0.0011 | 0.0012 | 0.0013 | 0.0015 | 0.0015 |
| Nickel (Ni) | <0.004 | 0.0093 | 0.0103 | 0.0127 | 0.0133 |
| Potassium (K) | 0.3752 | 0.7229 | 0.9294 | 1.1403 | 1.2546 |
| Sodium (Na) | 0.1938 | 0.6570 | 0.5860 | 0.8274 | 0.9483 |
| Zinc (Zn) | 0.0120 | 0.0172 | 0.0166 | 0.0185 | 0.0188 |

Table 4 Metal concentration (mg/kg) in soil for plant cultivation.

| Metal Name | Concentration (mg/kg) |
| --- | --- |
| Arsenic (As) | 1.33 |
| Cadmium (Cd) | 0.55 |
| Chromium (Cr) | 1.33 |
| Calcium (Ca) | 0.55 |
| Cobalt (Co) | 42.14 |
| Copper (Cu) | 168.78 |
| Iron (Fe) | 6.67 |
| Lead (Pb) | 18.26 |
| Magnesium (Mg) | 34.46 |
| Manganese (Mn) | 26.68 |
| Mercury (Hg) | 82.68 |
| Nickel (Ni) | 126.22 |
| Potassium (K) | <0.003 |
| Sodium (Na) | 39.64 |
| Zinc (Zn) | 142.84 |

Table 5 Metal concentrations (mg/kg) in Capsicum fruits.

| Metal Name | Control | 0 KGy | 3 KGy | 5 KGy | 8 KGy | 10 KGy |
| --- | --- | --- | --- | --- | --- | --- |
| Calcium (Ca) | 1.288 | 1.371 | 1.541 | 1.147 | 1.932 | 1.449 |
| Chromium (Cr) | 0.055 | 0.076 | 0.067 | 0.060 | 0.048 | 0.040 |
| Copper (Cu) | 0.028 | 0.045 | 0.043 | 0.042 | 0.023 | 0.016 |
| Iron (Fe) | 0 | 0 | 0 | 0 | 0 | 0 |
| Lead (Pb) | 0.186 | 0.396 | 0.290 | 0.271 | 0.163 | 0.160 |
| Magnesium (Mg) | 0.558 | 0.369 | 0.758 | 0.732 | 0.865 | 0.914 |
| Mercury (Hg) | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 |
| Nickel (Ni) | <0.004 | 0.925 | <0.004 | <0.004 | <0.004 | <0.004 |
| Potassium (K) | 4.791 | 4.516 | 4.664 | 4.923 | 5.187 | 5.917 |
| Sodium (Na) | 0.269 | 0.052 | 0.266 | 0.139 | 0.291 | 0.398 |
| Zinc (Zn) | 0.131 | 0.162 | 0.149 | 0.138 | 0.126 | 0.109 |