## Sheet1
Supplementary File 6. Detailed physicochemical characterization of the soil samples from the three differently managed vineyard sites
Parameters | Abandoned | Conventional | Bio-organic
pH (KCl 1:2,5) [-] | 7.05 | 7.37 | 7.11
Arany plasticity index [KA] | 51.7241 | 40 | 40.5405
Total water-soluble salt [m/m%] | 0.033026 | <0,02 | <0,02
CaCO3 [m/m%] | 4 | 5.5 | 6.5
Humus [m/m%] | 1.6097 | 0.86493 | 1.1789
KCl-soluble N-NO₂⁻+NO₃⁻ [mg/kg] | 5.1886 | 5.9755 | 8.8086
KCl-soluble Mg [mg/kg] | 75.36 | 98.46 | 73.35
KCl-soluble S [mg/kg] | 1.64 | 1.75 | 2.51
Al-soluble K2O (mg/kg) [mg/kg] | 635.5082 | 401.6054 | 245.5602
Al-soluble Na (mg/kg) [mg/kg] | 21.1743 | 25.5953 | 22.077
Al-soluble P2O5 [mg/kg] | 481.7213 | 740.5717 | 475.7775
EDTA-soluble Cu [mg/kg] | 12.01 | 6.383 | 9.204
EDTA-soluble Mn [mg/kg] | 177.4 | 66.25 | 102
EDTA-soluble Zn [mg/kg] | 4.371 | 2.504 | 2.871
Measurement methodologies
Test name | Method | Device
pH (KCl 1:2,5) | MSZ-08-0206-2:1978 2.1. section | WTW inolab pH7310 pH meter
Arany plasticity index [KA] | MSZ-08-0205:1978 5. chapter | VOS PB S40 Mixing motor
Total water-soluble salt [m/m%] | MSZ-08-0206-2:1978 2.4. section | WTW Cond 7110 conductivity meter TetraCon 325/S electrode
CaCO3 [m/m%] | MSZ-08-0206-2:1978 2.2. section | K-10 calcimeter
Humus [m/m%] | MSZ 08-0210:1977 MSZ-08-0452: 1980 | Thermo Scientific Evolution 60s UV-Visible spectrometer
KCl-soluble N-NO₂⁻+NO₃⁻ [mg/kg] | MSZ 20135:1999. 4.2.2. section EPA 353.1:1978 | Thermo Scientific Gallery discrete analyzer
KCl-soluble Mg [mg/kg] | MSZ 20135:1999 4.2.2., 5.1. section | Thermo Scientific iCAP 6300 Radial View ICP-OES spectrometer
KCl-soluble S [mg/kg] | MSZ 20135:1999 4.2.2., 5.1. section
Al-soluble K2O (mg/kg) [mg/kg] | MSZ 20135:1999 4.2.1., 5.1. section
Al-soluble Na (mg/kg) [mg/kg] | MSZ 20135:1999. 4.2.1., 5.1. section
Al-soluble P2O5 [mg/kg] | MSZ 20135:1999. 4.2.1., 5.1. section
EDTA-soluble Cu [mg/kg] | MSZ 20135:1999 4.2.3., 5.1. section
EDTA-soluble Mn [mg/kg] | MSZ 20135:1999 4.2.3., 5.1.section
EDTA-soluble Zn [mg/kg] | MSZ 20135:1999 4.2.3., 5.1. section
Sample preparation (drying, grinding) | MSZ-08-0206-1:1978 | Traceable digital humidity and temperature meter Hammer mill