Cryo-EM data collection, refinement and validation statistics

	
	(EMDB-73305)
	

	Data collection and processing
	
	

	Magnification   
	81,000
	

	Voltage (kV)
	300
	

	Electron exposure (e–/Å2)
	50.0
	

	Defocus range (μm)
	-1 to -2.5
	

	Pixel size (Å)
	1.07
	

	Symmetry imposed
	None
	

	Initial particle images (no.)
	1,631,271
	

	Final  particle images (no.)
	40,377
	

	Map resolution (Å)

    FSC threshold
	7.14
	

	
	
	

	
	
	


