Table 2: Optimized GC conditions:

| GC System |  |  | GC with an FID Detector. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Column |  |  | Rtx-1301, length (30 m) x ID (0.53 mm), and film thickness (3 µm) |  |  |  |  |  |
| Temperature (°C) |  | Injector | 200 |  |  |  |  |  |
|  |  | Detector | 250°C |  |  |  |  |  |
| Carrier gas |  |  | Helium (He) |  |  |  |  |  |
| He Flow Rate (mL /min) |  |  | 4.5 (Constant Flow) |  |  |  |  |  |
| Injection Volume |  |  | 2.0 µL |  |  |  |  |  |
| Air (mL/min) |  |  | 450 |  |  |  |  |  |
| Hydrogen (mL/min) |  |  | 45 |  |  |  |  |  |
| (He) Flow (mL/min) |  |  | 25 |  |  |  |  |  |
| Liner |  |  | Topaz Liner, Split (4mm x 6.3 x 78.5) ; Cat No:23305 |  |  |  |  |  |
| Split ratio |  |  | 10:1 |  |  |  |  |  |
| Oven Temperature | Initial Temperature (°C) |  |  |  | Rate (°C/minutes) |  | Final Temperature (°C) | Hold Time (minutes) |
|  | 50 |  |  |  |  |  |  | 5.0 |
|  | 50 |  |  | 25 |  | 220 |  | 8.2 |