Supplementary material

Methods

GC-MS analysis

Gas chromatography–mass spectroscopy (GC–MS) analyses were conducted with a Shimadzu GCMS–QP2010 gas chromatograph–mass spectrometer (Shimadzu Corp., Tokyo, Japan), using a DB–5MS (5% phenyl, 95% methyl siloxane) capillary column (30 m length × 0.25 mm, with a film thickness of 1 µm) from Agilent technologies (Torrance, CA, USA). Helium was the carrier gas at a flow rate of 36.3 cm/s. Samples were dissolved in n-hexane (0.01 g/mL), and the injection volume was 0.1 µL a yield to a split ratio of 25:1. The injector and detector temperatures were adjusted to 250 °C. The oven temperature program was set between 80 °C and 250 °C at 5 °C/min and then held at 250 °C for 10min. The transfer line and ion source temperatures were set at 250 °C and 200 °C, respectively. The MS was operated in electron impact (EI) mode with an ionization energy of 70 eV and a mass scan range of 40–300 amu with a scan time of 0.3 s.

Quantitative method used SIM mode (δ-cadinene; target ion; 161 m/z, reference ion; 139,204,119 m/z) (cis-ccalamene; target ion; 159 m/z, reference ion; 160,202,129 m/z). The oven temperature program, transfer line, ion source temperatures, and flow rate were same as the above described. Specimens of δ-cadinene were purchased, cis-calamenen were isolated from cis-calamenene and standard curve draw seven plots.

RNA extraction, RT-PCR, and Real-Time PCR

For a measure of BDNF RNA was extracted from the hippocampus using ISOGEN2, according to the manufacturer’s instruction (NIPPON GENE CO., LTD., 311-07361). RNA concentration was measured by Bio Spec-nano (SHIMADZU) and adjusted with sterile water to 1 ng/mL.

The RNA was transcribed into cDNA using ReverTra Ace® qPCR RT Master Mix with gDNA Remover (TOYOBO, FSQ-301). Real-time PCR reactions were performed TB Green® Premix Ex TaqTM II (Tli RNaseH Plus) (Takara, RR820S). Samples were duplicated and mRNA levels were normalized to the housekeeping gene β-actin. The real-time PCR results were compared between groups using the ΔΔCt method. Primers sequence used in this study were: β-actin forward 5’-GGCTGTATTCCCCTCCATCG-3’ and reverse 5’-CCAGTTGGTAACAATGCCATGT-3’; BDNF forward 5’-TGGCTGACACTTTTGAGCACGTC-3’ and reverse 5’-GCTCCAAAGGCACTTGACTGCTGA-3’.

Western blot

The hippocampus removed from the mouse were lysed with radioimmunoprecipitation assay (RIPA) buffer containing protease inhibitor cocktail by Bead type cell disruption device (TOMY, MS-100) at 4000 rpm for 30 sec. Protein concentrations were measured using a Bradford protein assay kit (Takara, T9300A) and BSA solution as a standard. Tissue lysates were loaded at 20 µg of protein per lane and separated by sodium dodecyl sulfate-polyacrylamide gel electrophoresis (SDS-PAGE ) on 10% polyacrylamide gel. Proteins were subsequently transferred onto a polyvinylidene difluoride (PVDF) membrane (Immobilon Transfer Membranes, Merck Millipore) using a semi-dry transfer system (Atto) run at 150 mA for 30 min. The membrane was blocked by 5% BSA in tris-buffered saline Tween20 (TBST) at room temperature for 3 h. After washing, the membranes were incubated with dilution of rabbit polyclonal anti-βactin (1:5000) (wako,013-24553), rabbit polyclonal anti-BDNF (1:1000) (Gene tex, GTX132621). Following incubation for overnight at 4℃, the membranes were washed and incubated with HPR-conjugated secondary antibody for 2h. After washing the membranes, it was incubated with 600 µl of Luminata Forte Western HRP Substrate for 1min at room temperature. Protein density was visualized using enhanced chemiluminescence (ECL) detection system (LAS3000, Fujifilm, Tokyo) and quantified using the image j ROI manager.

Immunohistochemistry

Paraffin‑embedded hippocampus sections were subsequently deparaffinized, hydrated, washed. After hydrating, samples were epitope retrieval in citrate buffer at 500 W for 15 min. Following blocked of endogenous peroxidase 3% H2O2 in MeOH for 20 min at room temperature, these samples were incubated with dilution of rabbit polyclonal anti-BDNF(1:500) (anti-BDNF Gene tex, GTX132621) for overnight at 4℃. After washing of its antibody, incubated with amino acid polymers with peroxidase and Fab' secondary antibody for 30 min (Histofine Simple Stain Max-PO; NICHIREI) at room temperature. After washing the secondary antibody, 3 drops of 3,3′-diaminobenzidine solution (DAB Chromogen/Substrate Kit, SCY; ACH500) was added and incubated for 15 minutes at room temperature.

Extraction and separation of Sugi essential oil

Essential oil of Sugi wood (9.2 mL) was collected by steam distillation from Sugi (Cryptomeria japonica) wood chips (10 kg) owned by the laboratory. The essential oil (6296.9 mg) was subjected to silica gel CC with a step gradients system of n-hexane: EtOAc(95:5 - 3:2, v/v) to yield fourteen fraction(Fr.1-12). Fr4 contained epi-cubenol (1) (425 mg), and Fr.3 contained cubenol (2) (230.5 mg). Fr.1 (2593.3 mg) was chromatographed on a C18 column with a MeOH-Water (9:1 v/v) to obtain cis-calamenene (3) (99.6 mg) and cadinene fraction (742.2 mg). 1D and 2D NMR spectroscopic data were recorded on JIM-ECA 600 (JEOL) instrument.

Isolated compounds NMR data

Com.1 cubenol: [α]25D -11.6°;1H-NMR δH 0.709(3H, d, J=7.2 Hz, H-14), 0.89(3H, d, J=6.0 Hz, H-13), 0.904(3H, d, J=7.2 Hz, H-14), 1.675(3H, s, H-15), 1.595(1H, m, H-1a), 1.790(1H, dd, J=7.2 Hz, , 20 Hz, H-1b), 1.984(1H, m,H-11), 1.31(2H, m, H-7), 1.906(1H, m, H-2a), 2.093(1H, m, H-2b), 1.373(2H, m,H-8), 1.986(1H, dd, J=6.6 Hz,13.8 Hz, H-9), 1.022(1H, m, H-6), 2.03(1H, m, H-5), 5.382(1H, bs,H-4); δC 14.97(C-14), 15.06(C-13), 21.41(C-12), 23.689(C-15), 24.199(C-1), 25.997(C-11), 26.906(C-7), 30.25(C-14), 32.168 (C-8), 39.892 (C-9), 46.108 (C-5), 70.732 (C-10), 119.872 (C-4), 135.1(C-3);

Com.2 epi-cubenol: [α]25D -80.6°;1H-NMR δH 0.78 (3H, d, J=7.0 Hz, H-13), 1.10 (3H, d, J=7.0 Hz, H-14), 0.83 (3H, d, J=7.0 Hz, H-12), 1.585 (2H, m, H-1), 1.682 (3H, s, H-15), 1.047 (1H, m, H-7a), 1.518 (1H, m,H-7b), 1.991 (1H, dd, J=7.2 Hz, 18 Hz, H-2a), 2.08 (1H, m, H-2b), 1.934 (1H, ddd, J=3.0 Hz, 6.6 HZ, 13.8 HZ, H-2b), 1.062 (1H, m,H-8a), 1.533 (1H, m, 8b), 1.643 (1H, m, H-9), 1.14 (1H, m, H-6), 1.660 (1H, m,H-5), 5.433 (1H, m,H-4); δC 15.306 (C-13), 15.273 (C-14), 21.726 (C-12), 22.121 (C-1), 23.627 (C-15), 24.132 (C-7), 26.791 (C-2), 27.002 (C-11), 31.241 (C-8), 42.001 (C-9), 48.17 2(C-6), 49.328(C-5), 72.777 (C-10), 122.225 (C-4), 133.945 (C-3);

Com.3 cis-calamenene; 1H-NMR δH 6.996(1H, d, J=7.2 Hz, H-2), 7.172 (1H, d, J=7.2 Hz, H-3), 7.07(1H, brs, H-5), 2.801 (1H, m, H-7), 1.369 (1H, m, H-8a), 1.638 (1H, m, H-8b), 1.880 (1H, m,H-9a), 1.999 (1H, m, H-9b), 2.748 (1H, m, H-10), 2.294 (1H, m, H-11), 1.310(1H, d, J=6.6 Hz, H-12), 1.052 (1H, d, J=6.6 Hz H-13),2.334 (3H, s, 14), 0.763 (3H, d, J=7.2 Hz); δC 140.192 (C-1), 126.91 (C-2), 126.341 (C-3), 134.584 (C-4), 128.87 (C-5), 140.035 (C-6), 43.947 (C-7), 21.286 (C-8), 30.983 (C-9), 32.658 (C-10), 32.053 (C-11), 17.489 (C-12), 21.638 (C-12), 22.464 (C-14), 21.286 (C-15);

Table S1. Annotated compounds contained each sample by GC-MS analysis

| SEO |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Peak# | Ret.Time | Proc.From | Proc.To | Mass | Area | Height | A/H | Conc. | Name |
| 1 | 19.73 | 19.665 | 19.8 | TIC | 749684 | 234291 | 3.2 | 1.12 | α-cubebene |
| 2 | 20.674 | 20.61 | 20.735 | TIC | 336294 | 108954 | 3.09 | 0.5 | Copaene |
| 3 | 20.956 | 20.885 | 21.05 | TIC | 833662 | 255675 | 3.26 | 1.25 | Elemene |
| 4 | 22.043 | 21.97 | 22.105 | TIC | 836666 | 250419 | 3.34 | 1.25 | cis-Caryophyllene |
| 5 | 22.786 | 22.71 | 22.865 | TIC | 905203 | 269033 | 3.36 | 1.35 | t-Murrol |
| 6 | 23.038 | 22.965 | 23.115 | TIC | 754889 | 227552 | 3.32 | 1.13 | Humulene |
| 7 | 23.339 | 23.26 | 23.46 | TIC | 2577940 | 670721 | 3.84 | 3.85 | Calamenen-3,5(10)-diene |
| 8 | 23.685 | 23.63 | 23.735 | TIC | 158572 | 55457 | 2.86 | 0.24 | .beta.-copaene |
| 9 | 24.007 | 23.905 | 24.185 | TIC | 14894560 | 3722782 | 4 | 22.26 | muuroene |
| 10 | 24.511 | 24.405 | 24.6 | TIC | 19823447 | 4712622 | 4.21 | 29.62 | δcadinene |
| 11 | 24.645 | 24.6 | 24.675 | TIC | 1749693 | 478446 | 3.66 | 2.61 | cis-Calamenene |
| 12 | 24.693 | 24.675 | 24.795 | TIC | 1512327 | 545925 | 2.77 | 2.26 | Guaijol, acetate |
| 13 | 24.949 | 24.88 | 25.025 | TIC | 921051 | 288359 | 3.19 | 1.38 | β-cadinenene |
| 14 | 25.219 | 25.165 | 25.255 | TIC | 121278 | 39273 | 3.09 | 0.18 | α-Calacorene |
| 15 | 25.76 | 25.685 | 25.8 | TIC | 367599 | 77337 | 4.75 | 0.55 | α-Calacorene |
| 16 | 25.98 | 25.8 | 26.105 | TIC | 1908997 | 143958 | 13.26 | 2.85 | 2,2,4-Trimethyl-1,3-pentanediol diisobutyrate |
| 17 | 26.332 | 26.27 | 26.4 | TIC | 724335 | 224765 | 3.22 | 1.08 | gleenol |
| 18 | 26.465 | 26.4 | 26.535 | TIC | 109296 | 27068 | 4.04 | 0.16 | Caryophyllene oxide |
| 19 | 26.565 | 26.535 | 26.605 | TIC | 174830 | 50181 | 3.48 | 0.26 | (+)-epi-Bicyclosesquiphellandrene |
| 20 | 26.635 | 26.605 | 26.715 | TIC | 235983 | 73134 | 3.23 | 0.35 | 4-epi-Cubebol |
| 21 | 27.47 | 27.37 | 27.565 | TIC | 4905719 | 1478404 | 3.32 | 7.33 | Cubenol |
| 22 | 27.853 | 27.705 | 27.96 | TIC | 4863987 | 1127893 | 4.31 | 7.27 | Epicubenol |
| 23 | 28.124 | 28.05 | 28.2 | TIC | 684732 | 200399 | 3.42 | 1.02 |  |
| 24 | 28.26 | 28.205 | 28.29 | TIC | 150634 | 50921 | 2.96 | 0.23 | 7-epi-β-Eudesmol |
| 25 | 28.34 | 28.29 | 28.38 | TIC | 104892 | 28404 | 3.69 | 0.16 | Neointermedeol |
| 26 | 29.639 | 29.57 | 29.745 | TIC | 798727 | 224499 | 3.56 | 1.19 | (R)-2-Methyl-5-(6-methylhepta-1,5-dien-2-yl)cyclohex-2-enone |
| 27 | 30.723 | 30.665 | 30.77 | TIC | 108998 | 36082 | 3.02 | 0.16 | geranyl-.alpha.-terpinene |
| 28 | 33.667 | 33.6 | 33.75 | TIC | 409472 | 114040 | 3.59 | 0.61 | 6,10-Dodecadien-1-yn-3-ol, 3,7,11-trimethyl- |
| 29 | 35.648 | 35.585 | 35.715 | TIC | 273719 | 78963 | 3.47 | 0.41 | ent-pimara-8(14), 15-diene |
| 30 | 36.491 | 36.435 | 36.55 | TIC | 118455 | 35373 | 3.35 | 0.18 | 8,13-Abietadiene |
| 31 | 37.396 | 37.33 | 37.47 | TIC | 282133 | 74181 | 3.8 | 0.42 | Dehydroabietan |
| 32 | 38.327 | 38.235 | 38.44 | TIC | 3113399 | 714499 | 4.36 | 4.65 | Abitadiene |
| 33 | 41.171 | 41.07 | 41.285 | TIC | 920742 | 171263 | 5.38 | 1.38 | sandaracopimarinol |
| 34 | 42.369 | 42.285 | 42.49 | TIC | 492834 | 86490 | 5.7 | 0.74 | Kaur-16-ene, (8.beta.,13.beta.)- |

| Cadinenes fraction |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Peak# | Ret.Time | Proc.From | Proc.To | Mass | Area | Height | A/H | Conc. | Name |
| 1 | 20.68 | 20.62 | 20.75 | TIC | 304227 | 98850 | 3.08 | 0.44 | Copaene |
| 9 | 24.009 | 23.905 | 24.095 | TIC | 20369685 | 6467006 | 3.15 | 29.5 | α-ｍuurolene |
| 10 | 24.517 | 24.395 | 24.61 | TIC | 36533781 | 11278022 | 3.24 | 52.91 | δ-cadinene |
| 11 | 24.645 | 24.6 | 24.675 | TIC | 1338044 | 419500 | 3.19 | 1.94 | Cadina-3,9-diene |
| 13 | 24.96 | 24.865 | 25.025 | TIC | 9204448 | 2865521 | 3.21 | 13.33 | β-Cadinene |
| 14 | 25.219 | 25.165 | 25.255 | TIC | 1090961 | 362028 | 3.01 | 1.58 | Muurola-4,9-diene |
|  | 25.346 | 25.28 | 25.405 | TIC | 209577 | 67194 | 3.12 | 0.3 | No estimation |

| cis-calamenene |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Peak# | Ret.Time | Proc.From | Proc.To | Mass | Area | Height | A/H | Conc. | Name |
| 3 | 20.967 | 20.88 | 21.055 | TIC | 4295824 | 1363389 | 3.15 | 13.5 | Elemene |
| 4 | 22.056 | 21.98 | 22.135 | TIC | 906309 | 279512 | 3.24 | 2.85 | Caryophyllene |
|  | 22.416 | 22.34 | 22.5 | TIC | 427075 | 137835 | 3.1 | 1.34 | No estimation |
| 6 | 23.049 | 22.97 | 23.13 | TIC | 1783911 | 556587 | 3.21 | 5.61 | Humulene |
| 11 | 24.653 | 24.56 | 24.67 | TIC | 24010769 | 18765690 | 1.28 | 75.48 | cis-calamenene |
| 14 | 25.233 | 25.165 | 25.3 | TIC | 385365 | 121750 | 3.17 | 1.21 | α-Calacorene |