Table 1: Assay parameters and method validation obtained by applying the proposed spectrophotometric methods

| Parameter | OLA | FLU |
| --- | --- | --- |
| D0 (nm) | 226 | 226 |
| Range (µg/mL) | 1.5-14 | 3.5-35 |
| Slope | 0.0766 | 0.0378 |
| Intercept | 0.019 | 0.0316 |
| Correlation coefficient (r) | 0.9999 | 0.9999 |
| Accuracy (Mean ±SD) | 99.65 ± 0.48 | 100.27 ± 0.70 |
| Intraday Precision (%RSDa) | 0.090 | 0.249 |
| Interday Precision (%RSDb) | 0.639 | 0.756 |
| LOD (µg/mL) | 0.15 | 0.38 |
| LOQ (µg/mL) | 0.47 | 1.15 |

%RSDa & %RSDb: Intraday and interday precision were evaluated at three concentration levels for each drug (OLA: 4, 6, 12 µg/mL; FLU: 4, 14, 30 µg/mL), with each measured in triplicate (n = 3).

Table 2. Determination of OLA and FLU in laboratory prepared mixtures using the proposed spectrophotometric methods

| Concentration (µg/mL) | OLA |  | FLU |  |
| --- | --- | --- | --- | --- |
|  | CM D0 226 nm | FZM D0 226 nm | CM D0 226 nm | FZM D0 226 nm |
| Lab mixture concentration (FLU:OLA) | Recovery % ± SD |  |  |  |
| 20:7 | 100.33 ±0.22 | 100.96 ±0.22 | 99.24 ±0.20 | 98.80 ±0.20 |
| 25:6* | 99.85 ±0.34 | 100.31 ±0.35 | 100.49 ±0.32 | 100.27 ±0.32 |
| 35:3 | 99.86 ±0.34 | 100.75 ±0.98 | 99.99 ±0.31 | 99.59 ±0.31 |
| 10:10 | 99.87 ±0.66 | 100.24 ±0.67 | 99.86 ±0.59 | 99.10 ±0.59 |
| 15:5 | 99.46 ±0.36 | 100.30 ±0.37 | 99.69 ±0.33 | 99.13 ±0.33 |
| Dosage form (Psycholanz®) 25:6 | Recovery % ± SD |  |  |  |
|  | 99.80 ±0.33 | 100.26 ±0.33 | 100.44 ±0.31 | 100.22 ±0.31 |

*Dosage form ratio

Table 3. Statistical comparison between results obtained by the proposed methods and the USP official methods for the determination of OLA and FLU in pure form

|  | OLA |  | FLU |  |
| --- | --- | --- | --- | --- |
| Parameters | D0 226 nm | USP Official Methoda | D0 226 nm | USP Official Methodb |
| Mean | 100.35 | 100.19 | 99.98 | 100.01 |
| S.D. | 1.45 | 0.76 | 0.61 | 0.55 |
| N | 6 | 6 | 6 | 6 |
| Variance | 2.1025 | 0.5776 | 0.3721 | 0.3025 |
| F test (5.05) | 3.64 | -------- | 1.23 | -------- |
| Student's t-test (2.23) | 0.24 | -------- | 0.10 | -------- |

a HPLC conditions: Mobile phase: acetonitrile : buffer [prepared by dissolving 6.9 g of monobasic sodium phosphate in 1 L of water, adjusting the pH to 2.5 with phosphoric acid, and dissolving 12 g of sodium dodecyl sulfate in the resulting solution] (47:53, v/v); column: C18, 4.6 mm × 150 mm, 5 µm particle size; detection: UV at 260 nm.

b HPLC conditions: Mobile phase: tetrahydrofuran : methanol : buffer [triethylamine : water (1:98), adjusted to pH 6.0 with phosphoric acid] (30:10:60, v/v/v); column: C18, 4.6 mm × 250 mm, 5 µm particle size; detection: UV at 227 nm.

The figures in parenthesis are the corresponding theoretical values at P = 0.05.

Table 4: One way ANOVA testing of the proposed methods and the USP official methods [4] for the determination of OLA and FLU in pure form:

|  | Source of Variation | Sum of squares | Degree of freedom | Mean square | F | F critical |
| --- | --- | --- | --- | --- | --- | --- |
| OLA | Between Groups | 0.07 | 1.00 | 0.07 | 0.06 | 4.96 |
|  | Within Groups | 13.37 | 10.00 | 1.34 |  |  |
|  | Total | 13.45 | 11.00 |  |  |  |
| FLU | Between Groups | 0.003 | 1.00 | 0.003 | 0.01 | 4.96 |
|  | Within Groups | 3.42 | 10.00 | 0.34 |  |  |
|  | Total | 3.42 | 11.00 |  |  |  |