## Spaciousness ventilation Fig3d
Table 1. Required spaciousness for targeted effective clean airflow with two exposure periods when clean air equivalent is 1 L/s person.
Clean air equivalent (L/s.p) | 1
Effective clean flow rate (L/s.p) | exposure time: 1 hr |  | exposure time: 4 hr
| required VTAC (L/s.p) | required spaciousness (m3/person) | required VTAC (L/s.p) | required spaciousness (m3/person)
1 | 0 | 0 | 0 | 0
2 | 1.2927 | 2.3269 | 1.2927 | 9.3076
3 | 2.3749 | 4.2748 | 2.3749 | 17.0994
4 | 3.4235 | 6.1624 | 3.4235 | 24.6494
5 | 4.4574 | 8.0234 | 4.4574 | 32.0936
6 | 5.4832 | 9.8697 | 5.4832 | 39.4787
7 | 6.5037 | 11.7066 | 6.5037 | 46.8266
8 | 7.5207 | 13.5372 | 7.5207 | 54.1488
9 | 8.5351 | 15.3631 | 8.5351 | 61.4526
10 | 9.5475 | 17.1856 | 9.5475 | 68.7423
11 | 10.5585 | 19.0053 | 10.5585 | 76.0211
12 | 11.5682 | 20.8228 | 11.5682 | 83.2911
13 | 12.577 | 22.6385 | 12.577 | 90.5541
14 | 13.5849 | 24.4528 | 13.5849 | 97.8111
15 | 14.5921 | 26.2658 | 14.5921 | 105.0631
16 | 15.5987 | 28.0777 | 15.5987 | 112.3109
17 | 16.6049 | 29.8888 | 16.6049 | 119.555
18 | 17.6105 | 31.699 | 17.6105 | 126.7959
19 | 18.6158 | 33.5085 | 18.6158 | 134.0341
20 | 19.6208 | 35.3174 | 19.6208 | 141.2698
21 | 20.6255 | 37.1258 | 20.6255 | 148.5032
22 | 21.6298 | 38.9337 | 21.6298 | 155.7348
23 | 22.634 | 40.7411 | 22.634 | 162.9645
24 | 23.6379 | 42.5482 | 23.6379 | 170.1927
25 | 24.6416 | 44.3549 | 24.6416 | 177.4194
26 | 25.6451 | 46.1612 | 25.6451 | 184.6448
27 | 26.6485 | 47.9673 | 26.6485 | 191.869
28 | 27.6517 | 49.773 | 27.6517 | 199.0921
29 | 28.6547 | 51.5785 | 28.6547 | 206.3142
30 | 29.6577 | 53.3838 | 29.6577 | 213.5353