ADDITIONAL FILES

Additional File 1.

Figure 1. Evaluation of image quality - levels of gradability based on the proportion of the image which can be graded

Additional File 1 - Figure 2. Two retinal images captured

Additional File 1. DR Classification system

Table 1. Adapted diabetic retinopathy classification for the validation study

| Signs | No DR (R0) | Mild BDRd / NPDRe (R1) | Moderate BDR / NPDR (R2) | Severe NPDR (R3) | Proliferative DR (PDRf) (R4) |
| --- | --- | --- | --- | --- | --- |
| Microaneurysms | No | Few | Multiple | Multiple | Present |
| Hard Exudates a | No | Few | Multiple | Multiple | Present |
| Cotton wool spots | No | Occasional | Multiple | Multiple | Present |
| Intra retinal haemorrhage a | No | Few | >20 in 1-3 quadrants | >20 in 4 quadrants | Present |
| Venous beading | No | Occasional | Present in 1-2 quadrants | Present in >2 quadrants | Present |
| IRMA b | No | No | Present ~1 quadrant | Prominent >1 quadrant | Present |
| NVD c | No | No | No | No | Present |
| NVE c | No | No | No | No | Present |
| Vitreous / pre-retinal haemorrhage | No | No | No | No | Present - advanced PDR |
| Traction | No | No | No | No | Present - advanced PDR |
| Fibrosis | No | No | No | No | Present - advanced PDR |

a Not within the definition of maculopathy

b Intra retinal microvascular abnormalities

c Neo-vascularisations over the disc / elsewhere

d Background DR, e NPDR – Non-proliferative DR, f PDR-Proliferative DR

Table 2. Macular signs classification

|  | Maculopathy absent (M0) | Maculopathy present (M1) |
| --- | --- | --- |
| Signs up to 2-disc diameters from the centre of fovea | No signs | Presence of hard exudate/s and / or blot haemorrhage/s (Referable) |

Additional File 2. Detailed flow chart of the number of participants and image sets used in the analysis

(Gr 1-Grader 1, Gr2-Grader 2, Nonmyd-Nonmydriatic, Myd-Mydriatic, DNA-did not attend, ^for any DR, DR+ any DR positive, DR- no DR, *I-Inconclusive) (According to the STARD guidelines)

Potentially eligible participants n=826

n=

Excluded n=126 (persons)

-No consent (n=69)

-Did not attend (n=57)

Reference standard

Gr 1 Nonmyd n=790

Gr 2 Nonmyd n=865

Gr1 Myd n=998

Gr 2 Myd n=1026

Final diagnosis

Gr 1 Nonmyd (DR+ 143, DR- 34)

Gr 2 Nonmyd (DR+ 142, DR- 38)

Gr1 Myd (DR+ 224, DR- 59)

Gr 2 Myd (DR+ 221, DR- 61)

Final diagnosis

Gr 1 Nonmyd (^DR+ 58, DR- 732)

Gr2 Nonmyd (DR+ 72, DR- 792)

Gr1 Myd (DR+ 70, DR- 928)

Gr 2 Myd (DR+ 73, DR- 952)

-

Final diagnosis

Gr 1 Nonmyd (DR+ 98, DR- 274, *I-37)

Gr 2 Nonmyd (DR+ 85, DR- 209, I-37)

Gr 1 Myd (DR+ 7, DR- 54, I-37)

Gr 2 Myd (DR+ 6, DR- 28, I -37)

Reference standard

Gr 1 Nonmyd n=409

Gr 2 Nonmyd n=330

Gr 1 Myd n=98

Gr 2 Myd n=70

Reference standard

Gr 1 Nonmyd n=177

Gr 2 Nonmyd n=180

Gr1 Myd n=283

Gr 2 Myd n=281

No reference test n=2-3 (image sets)

-DNA

n=12

-Reason 1 (n=)

-Reason 2 (n=)

No reference test n=1-2 (image sets)

-DNA

n=12

-Reason 1 (n=)

-Reason 2 (n=)

No reference test n=2-12 (image sets)

-DNA

n=12

-Reason 1 (n=)

-Reason 2 (n=)

Index test - Inconclusive

Gr 1 Nonmyd n=412

Gr 2 Nonmyd n=332

Gr 1 Myd n=98

Gr 2 Myd n=70

Index test - Positive

Gr 1 Nonmyd n=178

Gr 2 Nonmyd n=182

Gr 1 Myd n=283

Gr 2 Myd n=282

Index test - Negative

Gr1 Nonmyd n=802

Gr 2 NonMyd n=877

Gr1 Myd n=1000

Gr 2 Myd n=1028

Index test - Number underwent nonmydriatic screening n=700 (persons)

Grader 1 n=1392 (image sets)

Grader 2 n=1391 (image sets)

Losses n=8-20 (image sets)

-Technical errors in storage or losses track PwDM

Index test – Number underwent mydriatic screening n=700 (persons)

Grader 1 n=1381 (image sets)

Grader 2 n=1380 (image sets)

Additional File 3.

Table 1. Prevalence of lens opacity and other condition that would affect image gradability and reference test examination

|  | Nonmydriatic imaging | Mydriatic imaging | Reference test -Mydriatic | Prevalence of DR and Macular signs among ungradable |
| --- | --- | --- | --- | --- |
|  | Grader 1* | Grader 1 |  |  |
| Number gradable | 980 (70%) | 1283 (91.6%) | 1342 (95.8%) |  |
| Number ungradable | 412 (29.4%) | 98 (7.0%) | 40 (2.8%) |  |
| Missing image files or data | 8 (0.6%) | 19 (1.4%) | 18 (1.3%) (did not attend for reference test) |  |
| Lens status | Lens opacity 285 (69.2%) Nuclear opalescence NO 1 – 41 NO 2 – 60 NO 3 – 108 NO 4 – 40 NO 5 – 14 NO 6 – 8 Mature 12 Congenital 2 Posterior subcapsular opacity 218 P1 – 21 P2 – 22 P3 – 15 P4 – 5 P 5 – 4 Cortical cataract C1 – 4 C2 – 7 C3 – 2 | Lens opacity 78 (79.6%) Nuclear opalescence NO 1 – 4 NO 2 – 5 NO 3 – 24 NO 4 – 16 NO 5 – 9 NO 6 – 8 Mature – 12 Posterior subcapsular opacity 58 P1 – 3 P2 – 3 P 3 – 6 P 4 – 4 P 5 – 4 Cortical cataract C2 - 1 | Lens opacity 37 (92.5%) Nuclear opalescence NO 6 only – 10 NO 5 only – 3 NO 4 only – 4 Other combinations NO5 and P2 – 2 NO4 and P4 – 4 NO 4 and P 3 – 1 NO 3 and P3 – 1 Mature cataract 12 | Prevalence of DR among the ungradable images (non-mydriatic) R0 274 66.5% R1 82 19.9% R2 7 1.7% R3 3 0.7% R4 6 1.5% R9 37 9.0% Missing 3 0.7% Prevalence of maculopathy among the ungradable images in nonmydriatic M0 336 81.6% M1 29 7.0% M9 44 10.7% Total 409 99.3% Missing 3 0.7% |
|  | Lens clear 122 (29.6%) clear phakic 40 Aphakic 2 Pseudophakik 80 | Lens clear 15 (15.3%) Clear phakic 5 Pesudophakic 10 | N/A | Prevalence of DR among the ungradable images (mydriatic) R0 54 55.1 R1 4 4.1 R4 3 3.1 R9 37 37.8 Prevalence of maculopathy among the ungradable images in mydriatic M0 57 58.2 M1 1 1.0 M9 40 40.8 |
| Posterior capsule status | PCO+ 20 | PCO+ 3 | PCO + 1 |  |
| Corneal status | Corneal opacity 02 (minor) | No | No |  |
| Other conditions | Phthysical 1 | Phthysical 1 | Phthysical 1 |  |
|  | Eviscerated 1 | Eviscerated 1 | Eviscerated 1 |  |
| Mean pupil diameter | 2.01 mm SE 0.004 (95% CI 2.007 – 2.026) mm | 6.023 mm SE 0.032 (95% CI 5.96 – 6.08) mm |  |  |

*The image set of highest ungradability proportion recorded by the grader 1 considered here.

Additional File 4.

Table 1. DTA for two step grading process - (DTA for gradable nonmydriatic images and nonmydriatic ungradable eyes classified based on mydriatic grading)

| Index Test |  | Sensitivity (95% CI) (%) | Specificity (95% CI) (%) | PPV (95% CI) (%) | NPV (95% CI) (%) | Kappa (95% CI) (%) |
| --- | --- | --- | --- | --- | --- | --- |
| Any DR grading |  |  |  |  |  |  |
| Two Step Grading * |  |  |  |  |  |  |
|  | Grader 1 | 75.6 (70.8, 79.98) | 90.8 (85.6, 92.4) | 72.5 (67.7, 77.1) | 92.0 (90.2, 93.6) | 0.65 (0.61, 0.70) |
|  | Grader 2 | 72.5 (67.6, 77.1) | 93.5 (91.8, 94.8) | 78.1 (73.3, 82.5) | 91.4 (89.6, 92.9) | 0.68 (0.63, 0.72) |
| Referable DR grading ^ |  |  |  |  |  |  |
| Two Step Grading |  |  |  |  |  |  |
|  | Grader 1 | 81.1 (72.9, 87.8) | 95.4 (94.2, 96.5) | 59.7 (51.6, 67.5) | 98.4 (97.6, 98.9) | 0.66 (0.59, 0.73) |
|  | Grader 2 | 82.1 (74.0, 88.6) | 97.1 (96.1, 97.9) | 70.2 (61.8, 77.7) | 98.5 (97.7, 99.1) | 0.73 (0.67, 0.80) |

*All non-mydriatic imaging ungradable eyes were replaced by mydriatic grading. The ungradable images even after dilating pupils considered as screen positive.

^ Moderate NPDR and above. Maculopathy not considered.

Additional File 5.

Table 1. Intra-grader agreement analysis of double grading

(sample size 15% of each 100 image sets)

|  | Grader 1 vs Grader 1 (1st vs 2nd) | Grader 1 vs Grader 2 (1st attempt) | Grader 2 vs Grader 2 (1st vs 2nd) | Grader 2 vs Grader 1 (2nd attempt) |
| --- | --- | --- | --- | --- |
| Binary gradability of images (irrespective of the pupil status) (kappa) (95% CI) | 0.48 (0.34,0.62) | 0.83 (0.71, 0.95) | 0.85 (0.72, 0.97) | 0.51 (0.37, 0.64) |
| Retinopathy grading agreement (at each level of R1, 2, 3 and 4; Weighted linear kappa) (k) (95% CI) | 0.69 (0.60, 0.78) | 0.82 (0.76, 0.89) | 0.66 (0.58, 0.73) | 0.74 (0.66, 0.83) |
| Agreement of detection of macular signs (k) (95% CI) | 0.58 (0.45, 0.72) | 0.75 (0.65, 0.85) | 0.71 (0.59, 0.82) | 0.75 (0.65, 0.85) |