Supplement 3: CHECKLIST ON SELF-TESTING PROCESS

Usability and acceptability of oral-based HCV self-testing among key populations: A mixed-methods evaluation in Tbilisi, Georgia

Emmanuel Fajardo, Victoria Watson, Moses Kumwenda, Dali Usharidze, Sophiko Gogochashvili, David Kakhaberi, Ana Giguashvili, Cheryl C Johnson, Muhammad S Jamil, Russell Dacombe, Ketevan Stvilia Philippa Easterbrook, Elena Ivanova Reipold.

Review during THE proceedure

Name of the reviewer:

- CHECKLIST. - Did the study participant open the pouch and take all of the contents out?; Yes No If no, why: _________________________. - Did the study participant read/use the instructions for use before the testing?; Yes No If no, why: _________________________. - Did the study participant read/use the instructions for use during the testing?; Yes No If no, why: _________________________. - Did the study participant to remove the test tube from the test pack?; Yes No If no, why: _________________________. - Did the study participant remove the cap from the test tube?; Yes No If no, why: _________________________. - Did the study participant place the test tube in the test stand?; Yes No If no, why: _________________________. - Was the study participant able to remove the test device from the test pack?; Yes No If no, why: _________________________. - Did the study participant touch the flat pad?; Yes No If yes, why: _________________________. - Did the study participant collect the sample correctly (1x upper and 1x lower swab of gums)?; Yes No If no, why: _________________________. - Did the study participant place the test device in the test tube correctly?; Yes No If no, why: _________________________. - Did the study participant use a time keeping device (Clock, watch, timer)?; Yes No If no, why: _________________________. - Did the study participant read the device results between 20 and 40 minutes after placing the device in the test tube?; Yes No If no, why: _________________________.

- ADDITIONAL DESCRIPTION DURING THE TEST

1. Mark ALL the problems or mistakes observed when performing the test

Difficulties with opening the pouch Touched the flat pad Rubbed the wrong part of the mouth Rubbed only upper or lower gums and not both Spilt the fluid from the tube Poured the fluid from the tube into the stand Difficulties with sliding the tube into the stand Test device came out of the tube while testing Test results read before time Not able to identify the test line or the control line Interpreted test results wrongly No problems or mistakes observed Any other Specify:___________________________________________________________________________________

2. Which part of self-testing you observed was the most difficult to perform? (Mark one or two)

Opening the pouch Opening the tube Swabbing the mouth Sliding the tube into the stand Placing the test device into the tube Reading the results All the steps were easy All the steps were difficult

3. Was the testing procedure completed?

Yes No

4. Was assistance provided? If yes, at which step:

No Yes, opening the pouch Yes, opening the tube Yes, sliding the tube into the stand Yes, placing the test device into the tube Yes, reminding the test incubation time Yes, reading the results Any other Specify:___________________________________________________________________________________