Table S.1. Analytical procedures applied for mechanistic insights into BSF processing and BJ cultivation.

| Process / Parameter | Methodology | Instrument / Reagent | Reference(s) |
| --- | --- | --- | --- |
| Stage I – BSF Processing |  |  |  |
| Larval ingestion & metal partitioning | Rearing 14 d (200 larvae kg⁻¹ soil), separation of larvae/frass/residual substrate, drying (60 °C, 48 h), acid digestion (HNO₃/H₂O₂, 4:1 v/v), ICP–MS quantification | ICP–MS (Agilent 7900) | (Jiu et al., 2023) |
| Subcellular fractionation | Differential centrifugation: 1,000 × g (cell wall), 12,000 × g (mitochondria), 100,000 × g (microsomal/soluble) | Ultracentrifuge; ICP–MS | (Lu et al., 2020) |
| Metallothioneins | Ellman’s reagent (DTNB) assay | Spectrophotometer (412 nm) | (Li et al., 2023) |
| Antioxidant enzymes (GST, SOD, CAT) | GST (CDNB conjugation, 340 nm); SOD (NBT inhibition, 560 nm); CAT (H₂O₂ decomposition, 240 nm) | UV–Vis spectrophotometer | Bradford, 1976; Wang & Shelomi, 2017 |
| Frass pH & composition | pH in 1:2.5 suspension; Ca, P by ICP–MS after digestion | pH electrode; ICP–MS | Bulak et al., 2020 |
| Exchangeable fractions | Extraction with 1 M MgCl₂ (pH 7.0) | ICP–MS | Lalander et al., 2016 |
| TCLP leachability | EPA Method 1311, acetic acid buffer (pH 4.93) | ICP–MS | U.S. EPA, 1992 |
| Stage II – BJ Cultivation |  |  |  |
| Plant growth | 30 d in BSF-processed soil (25 ± 2 °C, 16/8 h photoperiod, 65% RH) | Greenhouse | Singh & Prasad, 2019 |
| Antioxidant enzymes (SOD, CAT, POD) | Leaf extract (phosphate buffer, pH 7.0); SOD (NBT inhibition, 560 nm); CAT (H₂O₂, 240 nm); POD (guaiacol oxidation, 470 nm) | UV–Vis spectrophotometer | Sharma et al., 2020 |
| Osmoprotectants | Proline (acid-ninhydrin, 520 nm); soluble sugars (anthrone, 625 nm) | UV–Vis spectrophotometer | Bates et al., 1973; Gill et al., 2016 |
| Root exudates (organic acids) | Hydroponic exudate collection (24 h), filtration (0.22 µm), HPLC analysis | HPLC (Agilent 1260 Infinity, C18, UV 210 nm) | Gupta et al., 2018; Wang et al., 2021 |
| Subcellular sequestration | Fractionation into cell wall, organelle, soluble fractions; metal analysis by ICP–MS | Ultracentrifuge; ICP–MS | Weigel & Jäger, 1980; Clemens & Ma, 2016 |