Table 3.b Sex measure characteristics, including development sample and samples used in

| Measure; country of development/countries of use | Frequency of use by diff team of investigators (after development)/ frequency of use by same team of investigators | Cost/no cost, details for critical evaluation/replication | - Sensitivity (true-positive rate; clinical descriptive target: ≥ 90% is typically expected for a predictive or predictive assay, ≥ 95% is ideal if the assay is used to rule out high-risk disease (to minimize false negatives); - Specificity (true-negative rate; for clinical tests ≥ 80–90% is acceptable; for screening, slightly lower specificity may be tolerated if sensitivity is very high); - Reproducibility (precision; intra-measure coefficient of variation target ≤ 10%, inter-measure coefficient of variation (different days) target ≤ 15%) - Measurement error - Researchers’ notes | Quality score |
| --- | --- | --- | --- | --- |
| - Gene Expression Score - NR/ USA [1] - Identify obstructive coronary artery disease (CAD) according to sex [2] | 3/0 | Cost: $1245 (in US) [3] | - 85% at score threshold of 14.75 (disease likelihood 20%); neg predictive value = 83%/ non diabetic obs CAD patients [2] - 43% at score threshold of 14.75 (disease likelihood 20%); pos predictive value = 46%/ non diabetic obs CAD patients [2] - CV MSE = 0.00613 (SD 0.00051) [4] - Interpretation challenges due to circadian, lifestyle, and medication influence [5,6] - Expression patterns vary with developmental stage, puberty, aging, and immune status [5,6] | 2+ 2 + 1 = 5 |
| - Prostate Health Index (PHI) - Europe [7]/ Europe [8] - identify clinically significant prostate cancer and aid in distinguishing from benign prostatic conditions [7] | 1/0 | Cost: $72-130 [9] | - PHI 24 or greater = 91.8% (validation sample)/ biopsy naïve males [10] - PHI 24 or greater = 30% (validation sample)/ biopsy naïve males [10] - NR - Hormonal therapy can significantly impact PSA levels; PSA has a diurnal rhythm [11] - Blood tests need to be collected in the morning, most relevant for males >50; PSA and PHI levels increase with age due to BPH [7] | 1 + 2 +1 = 4 |
| - Semen quality scores - USA [12]/USA [13] - Assess male fertility and reproductive capacity [12] | 1/0 | Cost: $100–200 (basic); up to $300 (with CASA and advanced morphology) [14] | - Highest for predicting pregnancy at DI-SQ score >110 = 35.8; for predicting live birth= 39.0 / sperm donors - As predictor of pregnancy: DI-SQ score >120 prefreeze = 93.4, >120 postthaw = 99.1, >115 prefreeze= 71.7, >115 postthaw=92.4, >110 prefreeze = 35.1, >110 postthaw= 71.2/sperm donors - CV(volume)= 36%, CV (density) = 63%, CV (count) = 69%, CV (motility) = 36%, CV (TMC) = 82%/ male youth at risk for infertility [15] - High intra-individual variability; influenced by abstinence period, lifestyle, and temperature [16] - Abnormal semen parameters correlate with subfertility but do not confirm infertility (some males with poor semen parameters conceive) [17] | 1 + 2 + 1 = 4 |
| - Androgen receptor function - USA, UK [18,19]/ Switzerland [20] - Evaluate genetic sensitivity of AR. Shorter AR-CAG repeats assoc w higher AR sensitivity, longer corr w reduced sensitivity[21] | 1/0 | Cost: $149 for cheek swab test, general genetic test cost is $100- $2000 [21] | - 0.48 at cutoff point in 19 rpt sequences (CAG19)/ Mexican men [22] - 0.70 at cutoff point in 19 rpt sequences (CAG19) - NR/ Mexican men [22] - Receptor expression is tissue-dependent [23] - Morning collection, fasting, androgen lvs varies with age and condition [24] | 1 + 2 + 1 = 4 |
| - Testosterone levels - Germany [25]/ Italy [26], USA [27], UK, Finland [28], Switzerland [20] - Assess testosterone levels, diagnose hyper and hypogonadism [25] | 5/0 | Cost: $55 (TT and cFT combined) [29] | - LOQ = ≤0.5 ng/dL/ men with infertility or sexual dysfunction [30] - AMR = 2–1200 ng/dL/ men with infertility or sexual dysfunction [30] - CV ≤ 15%; cut-off of 350 ng/dl should be used with LC-MS/MS for 2nd measurement/men with infertility or sexual dysfunction [29,31] - Varies diurnally, intra-individually, affected by SHBG levels, age, and assay variability [32], lifestyle factors, geography, genetics [33] - cFT clinically relevant more than TT in older adults and in conditions with altered SHBG (e.g., obesity, liver disease) [34] | 2 + 2 + 1 = 5 |
| - Dehydroepiandrosterone sulfate (DHEAS) levels - Germany [35]/ Switzerland [20] - Assess adrenal gland function for disorder, tumor dx [36] | 1/0 | Cost: $69 [36] | - LOQ= 0.05 ng/mL [37] - Avg accuracy = 105 % [37] - CV= <5%, ICC = >99% [37] - small sample sizes in existing validation studies, variation in assays and cutoffs [38] - Morning collection, fasting, androgen lvs varies with age and condition [24] | 1 + 2 + 2 = 5 |
| - Sex hormone binding globulin (SHBG) levels - NR/UK, Finland [28], USA [27] - Assess reasons for abnormal testosterone levels [39] | 2/0 | Cost: $50-$150 [39] | - 0.656 w cutoff point at 26.75/ Chinese women w PCOS [40] - 0.698 w cutoff point at 26.75/ Chinese women w PCOS [40] - COBAS e411 CLIA w sandwich method: Intra-assay CVs are 2.1%, 2.4%, and 2.7% at 14, 44, and 204 nmol/L, respectively. Inter-assay CVs are 2.7% at 14 nmol/L and 5.6% at 204 nmol/L./ healthy men [41] - Varies diurnally, with age and condition, peaks in afternoon hour [33] | 2 + 2 + 1 = 5 |
| - Free Androgen Index; - NR [42]/ Switzerland [20] - assessing the circulating testosterone availability in female hirsutism [42] | 1/0 | Cost: depends on TT and SHBG costs | - 90% at cut-off value 3.45, 89% at cut-off 6.15/adolescent females w PCOS [43] - 84% at cut-off value 3.45, 77% at cut-off 6.15/ adolescent females w PCOS [43] - CV = 20.5%/ healthy and androgen deficient women [44] - Poor correlation with FT at low levels, relies on accuracy of TT and SHBG [33] - Can only be used in females since SHGB binding capacity must exceed testosterone conc, morning collection, fasting, androgen lvs varies with age and condition [24] | 1 + 1 + 1 = 3 |

Abbreviations: A, androstenedione; AMR, analytical measurement range; AR, androgen receptor; BPH, benign prostatic hyperplasia; CASA, computer-assisted semen analysis; cFT, calculated free testosterone; Conc, concentration; CAG19, 19 CAG repeats in androgen receptor gene; CAD, coronary artery disease; CLIA, Clinical Laboratory Improvement Amendments; COBAS, automated immunoassay system; CV, coefficient of variation; DHEAS, dehydroepiandrosterone sulfate; DI-SQ, diagnostic semen quality score; FAI, free androgen index; ICC, intraclass correlation coefficient; LC-MS/MS, liquid chromatography–tandem mass spectrometry; LOQ, limit of quantitation; NM, not mentioned/not reported; OHIP, Ontario Health Insurance Plan; PBMC, peripheral blood mononuclear cells; PHI, Prostate Health Index; PCOS, polycystic ovary syndrome; PSA, prostate-specific antigen; SHBG, sex hormone-binding globulin; T, testosterone; TMC, total motile count; TT, total testosterone; w/o, without.