## Slide 1: Supplemental Figures and Tables Chan et al

## Slide 2
Creation of calibrator Cell Line Microarray (CMA)
LC-MS/MS
Antibody Titration and Assay Limit Definition
Different Antibody Concentrations Test
Validation on WTS and ROI Selection
40 WTS staining
CMA Construction
Analytical Validation of Assay
Accuracy
Precision
ROIs Annotation & Scanning
Reproducibility Test of Optimal Concentration
Unit Transformation into amol/mm2
LOD/LOQ Determination
Quantitative analysis in QuPath-Qymia Software
Reference Interval and Reportable Range
Acceptance Criteria of Assay
Supplemental Figure 1: Schematic diagram of new laboratory test development process for TROPLEX assay optimization and validation

## Slide 3: Consort Flow Diagram
Prospectively collected Breast Cancer Specimens enrolled in Yale New Haven Hospital from 2023 to 2024 (n=166)
Supplemental Figure 2. Consort flow diagram of TROPLEX prospective study
Assessed clinicopathological information including ER, PR status and HER2 IHC scores (n=166)
Subjected to TROPLEX assay on Leica BOND RX (n=166)
Age Range: 31 to 96 (Average Age: 60) ER Status: Positive (n=136), Negative (n=23), Unknown (n=1) PR Status: Positive (n=115), Negative (n=44), Unknown (n=1) HER2 IHC scores: Zero (n=45), 1+ (n=49 ), 2+/FISH- (n=50 ), 2+/FISH+ (n=3 ), 3+ (n= 11), Unknown (n=2)
Included in QuPath-Qymia quantification and final statistical analysis (n=160)
Exclusion (n= 6): Not sufficient tumor or tissue fold after staining

## Slide 4
Supplemental Figure 3. Representative images of fluorescent and chromogenic staining on the index CMA (cell line microarray)
CMA625 Array Map
HER2 (upper) & TROP2 (lower) Staining Pattern in Different Standard Cell Lines

## Slide 5
Convert Qymia Score to
Report Quantitative Measurements in pathologist-annotated ROIs
Cell line array standard
HER2 & TROP2 Quantification:
LC-MS/MS (protein per cell)
Immunofluorescence Assay
Cell Segmentation
to
Supplemental Figure 4. Overview of Quantitative High-sensitivity HER2 & TROP2 Multiplex Immunofluorescence assay
Molecular Compartmentalization
+
Tumor (CK+)
HER2-TROP2 in CK Mask
Cy3
Notes: Change the TMAs to conceptual figures.
Make “report” look more like a report.
Change lime green to a darker green for calibration curves.
Capitalize TROP2.
Use fmol instead of amol.

## Slide 6
Supplemental Figure 5: A regression showing levels of HER2 in amol/mm2 in the HS-HER2 single-plex assay compared to HER2 measured in the Troplex assay
Chart: Inter-Assay Test between HS-HER2 Assay & Troplex Assay HER2 Protein Comparison in Validation Cohort (n=40)
| 15.2796 | 11.092599999999999 | 22.538499999999999 | 32.951799999999999 | 35.105499999999999 | 40.125599999999999 | 43.527900000000002 | 50.3217 | 30.9422 | 72.070300000000003 | 76.606700000000004 | 80.380600000000001 | 89.210899999999995 | 89.346000000000004 | 79.359399999999994 | 109.54365 | 95.940700000000007 | 77.356999999999999 | 151.9299 | 87.895449999999997 | 183.71520000000001 | 170.79949999999999 | 172.09289999999999 | 212.7585 | 115.6995 | 233.36609999999999 | 253.6986 | 196.41829999999999 | 261.23509999999999 | 318.08339999999998 | 335.64920000000001 | 351.53210000000001 | 215.72489999999999 | 613.65110000000004 | 444.04289999999997 | 892.0009 | 511.89445000000001 | 1010.7605 | 802.54079999999999 | 839.40440000000001
 | 45.54 | 212.2448 | 67.0374 | 164.1083 | 65.11 | 40.56 | 40.06 | 35.2934 | 41.0527 | 163.89 | 173.022 | 61.6633 | 373.335 | 79.22 | 276.4768 | 253.32 | 262.777 | 97.05 | 300.6606 | 177.7456 | 100.9788 | 210.87 | 264.8236 | 310.0628 | 195.8266 | 264.0849 | 216.7382 | 361.1644 | 372.11 | 285.7877 | 406.5177 | 297.3002 | 522.13 | 557.3115 | 519.45 | 605.6584 | 451.08 | 723.3566 | 594.0494 | 737.7621
Revised

## Slide 7
Supplemental Table 1. HER2 & TROP2 measurements of each cell line
Cell Lines | HER2 protein (amol/mm2) | TROP2 protein (amol/mm2)
Jurkat | 0 | 0
TT | 0 | 0
VCaP | 105.3 | 933.2
DLD-1 | 438.9 | 2990.2
BT-483 | 2660.5 | 5546.3
T47D | 678.8 | 8296.5
ZR-75-1 | 3346.9 | 10285.8
BT-20 | 412.4 | 23505.1
A431 | 457.9 | 36557.9
Mass Spec Data of Selected Cell Lines