## Supplementary material

A novel non-invasive method allowing for discovery of
pathologically relevant proteins from small airways.

Östling et. al. 2021

## PExA sampling method

The PExA method and PExA 1.0 instrument herein used have previously been described in detail [1]. In short, the PExA 1.0 instrument report amount of PEx in real-time and counts exhaled particles in seven diameter intervals between 0.41 and 4.55 µm, (Grimm model 1.108; Grimm Aerosol Technik GmbH & Co., Ainring, Germany) and sample them by impaction (Dekati Ltd., Tampere, Finland) on a removable substrate made of hydrophilic PTFE-membrane (Millipore FHLC02500, Merck, Darmstadt, Germany). The exhalation flow and volume is monitored using an ultrasonic flow meter (OEM flow sensor; Spiroson-AS, Medical Technologies, Zürich, Switzerland).

Subjects were asked to perform a standardized breathing manoeuvre, initiated by an full exhalation to residual volume and followed by breath-holding for five seconds, a maximal inhalation to total lung capacity and finalized by a normal exhalation to functional residual capacity.

Subjects were breathing HEPA-filtered air via a mouthpiece and a two-way, non-re-breathing valve into the instrument. To avoid contamination of particles from ambient air, the air present in the airways before sampling was diluted out by a minimum of three breaths of HEPA filtered air before sampling was initiated. All subjects wore a nose clip throughout the sampling session.

## PEx sample preparation

Protein were extracted from the PEx substrate by adding sample buffer (proprietary SomaLogic SB17 buffer with addition of Tween-20 to 0.1% final concentration) to the centrifugal filter insert (Millipore Ultrafree-MC LH Centrifugal Filter) containing the PEx substrate membrane. The volume of sample buffer was adjusted to reach a final concentration of PEx at either 1 or 2 µg/ml, as stated elsewhere. After addition of sample buffer, the sample tubes were briefly vortexed and placed in a thermal rotary shaker for 1 h at 30 °C and 400 rpm. After incubation on the thermal shaker, protein extracts were retrieved in the lower part of the centrifugal filter unit by centrifugation at 10,000 g for 10 min. Protein extracts were stored at -80 °C before sent to SomaLogic (Boulder, Co, USA) for analysis. Blank samples were made by extraction of the material on PEx substrates subjected to the same sampling and sample preparation procedure as all other samples, omitting the breathing manoeuvre.

## SOMAscan analysis

The SOMAscan assay (SomaLogic Inc, Boulder, USA) uses slow off-rate modified DNA aptamers (SOMAmers [2] as high affinity protein capture reagents to simultaneously quantify more than 1100 human proteins in only 150 µl of serum, plasma or equally small amounts of a variety of other biological matrices. SOMAscan allows measurement of proteins across a very broad dynamic range, from low abundant cytokines to albumin, with excellent reproducibility [3-6]. To account for systematic differences due to possible variability in final PEx concentration as well as potential pipetting errors etc, the set of detected proteins were subjected to group median based normalization and log2 transformation before statistical analysis was performed.

## References

1.	Larsson P, Larstad M, Bake B, Hammar O, Bredberg A, Almstrand AC, Mirgorodskaya E, Olin AC. Exhaled particles as markers of small airway inflammation in subjects with asthma. Clin Physiol Funct Imaging 2017: 37(5): 489-497.

2.	Ngo D, Sinha S, Shen D, Kuhn EW, Keyes MJ, Shi X, Benson MD, O'Sullivan JF, Keshishian H, Farrell LA, Fifer MA, Vasan RS, Sabatine MS, Larson MG, Carr SA, Wang TJ, Gerszten RE. Aptamer-Based Proteomic Profiling Reveals Novel Candidate Biomarkers and Pathways in Cardiovascular Disease. Circulation 2016: 134(4): 270-285.

3.	Gold L, Ayers D, Bertino J, Bock C, Bock A, Brody EN, Carter J, Dalby AB, Eaton BE, Fitzwater T, Flather D, Forbes A, Foreman T, Fowler C, Gawande B, Goss M, Gunn M, Gupta S, Halladay D, Heil J, Heilig J, Hicke B, Husar G, Janjic N, Jarvis T, Jennings S, Katilius E, Keeney TR, Kim N, Koch TH, Kraemer S, Kroiss L, Le N, Levine D, Lindsey W, Lollo B, Mayfield W, Mehan M, Mehler R, Nelson SK, Nelson M, Nieuwlandt D, Nikrad M, Ochsner U, Ostroff RM, Otis M, Parker T, Pietrasiewicz S, Resnicow DI, Rohloff J, Sanders G, Sattin S, Schneider D, Singer B, Stanton M, Sterkel A, Stewart A, Stratford S, Vaught JD, Vrkljan M, Walker JJ, Watrobka M, Waugh S, Weiss A, Wilcox SK, Wolfson A, Wolk SK, Zhang C, Zichi D. Aptamer-based multiplexed proteomic technology for biomarker discovery. PLoS One 2010: 5(12): e15004.

4.	SomaLogic_Inc. SOMAscan Proteomic Assay Technical White Paper; 2016 12/1/2017.

5.	Keeney TR, Bock C, Gold L, Kraemer S, Lollo B, Nikrad M, Stanton M, Stewart A, Vaught JD, Walker JJ. Automation of the SomaLogic Proteomics Assay: A Platform for Biomarker Discovery. JALA: Journal of the Association for Laboratory Automation 2009: 14(6): 360-366.

6.	Kraemer S, Vaught JD, Bock C, Gold L, Katilius E, Keeney TR, Kim N, Saccomano NA, Wilcox SK, Zichi D, Sanders GM. From SOMAmer-based biomarker discovery to diagnostic and clinical applications: a SOMAmer-based, streamlined multiplex proteomic assay. PLoS One 2011: 6(10): e26332.

Table S1A. - Proteins considered being detected in PEx samples using the SOMAscan 1.3K platform

| Target Full Name | Entrez Gene Symbol | Target, alternative name | SomaId | UniProt |
| --- | --- | --- | --- | --- |
| 14-3-3 protein epsilon | YWHAE | 14-3-3E | SL004984 | P62258 |
| 6-phosphogluconate dehydrogenase, decarboxylating | PGD | 6-Phosphogluconate dehydrogenase | SL000247 | P52209 |
| Adapter molecule crk | CRK | CRK | SL013240 | P46108 |
| Adhesion G protein-coupled receptor E2 | ADGRE2 | EMR2 | SL008822 | Q9UHX3 |
| Adiponectin | ADIPOQ | Adiponectin | SL004258 | Q15848 |
| Advanced glycosylation end product-specific receptor, soluble | AGER | sRAGE | SL003680 | Q15109 |
| Afamin | AFM | Afamin | SL004742 | P43652 |
| Agouti-related protein | AGRP | ART | SL006924 | O00253 |
| Alcohol dehydrogenase [NADP(+)] | AKR1A1 | AK1A1 | SL008039 | P14550 |
| Alpha-1-antichymotrypsin | SERPINA3 | a1-Antichymotrypsin | SL000248 | P01011 |
| Alpha-1-antichymotrypsin complex | SERPINA3 | alpha-1-antichymotrypsin complex | SL018548 | P01011 |
| Alpha-1-antitrypsin | SERPINA1 | a1-Antitrypsin | SL000249 | P01009 |
| Alpha-2-antiplasmin | SERPINF2 | a2-Antiplasmin | SL000250 | P08697 |
| Alpha-2-HS-glycoprotein | AHSG | a2-HS-Glycoprotein | SL000251 | P02765 |
| Angiostatin | PLG | Angiostatin | SL000268 | P00747 |
| Angiotensinogen | AGT | Angiotensinogen | SL000271 | P01019 |
| Ankyrin-2 | ANK2 | ANK2 | SL014896 | Q01484 |
| Antithrombin-III | SERPINC1 | Antithrombin III | SL000272 | P01008 |
| Apolipoprotein E (isoform E2) | APOE | Apo E2 | SL000277 | P02649 |
| Apolipoprotein E (isoform E3) | APOE | Apo E3 | SL004668 | P02649 |
| Apolipoprotein E (isoform E4) | APOE | Apo E4 | SL004669 | P02649 |
| Apolipoprotein L1 | APOL1 | Apo L1 | SL005699 | O14791 |
| Beta-2-microglobulin | B2M | b2-Microglobulin | SL000283 | P61769 |
| Beta-Ala-His dipeptidase | CNDP1 | CNDP1 | SL006694 | Q96KN2 |
| C3a anaphylatoxin | C3 | C3a | SL000313 | P01024 |
| C3a anaphylatoxin des Arginine | C3 | C3adesArg | SL003220 | P01024 |
| cAMP-dependent protein kinase catalytic subunit alpha | PRADA | PRADA | SL010513 | P17612 |
| Carbohydrate sulfotransferase 15 | CHST15 | ST4S6 | SL007502 | Q7LFX5 |
| Carboxypeptidase B2 | CPB2 | TAFI | SL004015 | Q96IY4 |
| Cathepsin G | CTSG | Cathepsin G | SL000345 | P08311 |
| Cathepsin H | CTSH | Cathepsin H | SL000346 | P09668 |
| Cathepsin Z | CTSZ | CATZ | SL008380 | Q9UBR2 |
| Cation-independent mannose-6-phosphate receptor | IGF2R | IGF-II receptor | SL003679 | P11717 |
| C-C motif chemokine 18 | CCL18 | PARC | SL003323 | P55774 |
| C-C motif chemokine 23 | CCL23 | MPIF-1 | SL003302 | P55773 |
| CD166 antigen | ALCAM | ALCAM | SL003166 | Q13740 |
| CD226 antigen | CD226 | CD226 | SL011100 | Q15762 |
| Cell adhesion molecule-related/down-regulated by oncogenes | CDON | CDON | SL014092 | Q4KMG0 |
| Chitinase-3-like protein 1 | CHI3L1 | YKL-40 | SL003340 | P36222 |
| CMRF35-like molecule 6 | CD300C | CLM6 | SL014270 | Q08708 |
| Coagulation factor IX | F9 | Coagulation Factor IX | SL000357 | P00740 |
| Coagulation factor IXab | F9 | Coagulation Factor IXab | SL004400 | P00740 |
| Coagulation Factor X | F10 | Coagulation Factor X | SL000360 | P00742 |
| Coagulation factor Xa | F10 | Coagulation Factor Xa | SL003324 | P00742 |
| Collectin-12 | COLEC12 | COLEC12 | SL007471 | Q5KU26 |
| Complement C1q subcomponent | C1QA C1QB C1QC | C1q | SL000309 | P02745, P02746, P02747 |
| Complement C1s subcomponent | C1S | C1s | SL000311 | P09871 |
| Complement C2 | C2 | C2 | SL002525 | P06681 |
| Complement C3 | C3 | C3 | SL000312 | P01024 |
| Complement C3b, inactivated | C3 | iC3b | SL000456 | P01024 |
| Complement C3d fragment | C3 | C3d | SL003362 | P01024 |
| Complement C4 | C4A C4B | C4 | SL000316 | P0C0L4, P0C0L5 |
| Complement C4b | C4A C4B | C4b | SL000318 | P0C0L4, P0C0L5 |
| Complement C5 | C5 | C5 | SL000319 | P01031 |
| Complement C5b-C6 complex | C5 C6 | C5b, 6 Complex | SL000321 | P01031, P13671 |
| Complement component C1q receptor | CD93 | C1QR1 | SL007696 | Q9NPY3 |
| Complement component C6 | C6 | C6 | SL000322 | P13671 |
| Complement component C7 | C7 | C7 | SL000323 | P10643 |
| Complement component C9 | C9 | C9 | SL000325 | P02748 |
| Complement decay-accelerating factor | CD55 | DAF | SL004556 | P08174 |
| Complement factor B | CFB | Factor B | SL000414 | P00751 |
| Complement factor D | CFD | Factor D | SL003327 | P00746 |
| Complement factor H | CFH | Factor H | SL000415 | P08603 |
| Complement factor I | CFI | Factor I | SL003328 | P05156 |
| Connective tissue-activating peptide III | PPBP | CTAP-III | SL004708 | P02775 |
| Contactin-1 | CNTN1 | contactin-1 | SL004855 | Q12860 |
| Contactin-4 | CNTN4 | Contactin-4 | SL010454 | Q8IWV2 |
| C-type mannose receptor 2 | MRC2 | MRC2 | SL008416 | Q9UBG0 |
| C-X-C motif chemokine 16 | CXCL16 | CXCL16, soluble | SL004016 | Q9H2A7 |
| Cytoskeleton-associated protein 2 | CKAP2 | CKAP2 | SL006675 | Q8WWK9 |
| Desmocollin-2 | DSC2 | DSC2 | SL008631 | Q02487 |
| Desmoglein-2 | DSG2 | Desmoglein-2 | SL004857 | Q14126 |
| Dickkopf-related protein 3 | DKK3 | DKK3 | SL009412 | Q9UBP4 |
| Ectonucleoside triphosphate diphosphohydrolase 5 | ENTPD5 | ENTP5 | SL014028 | O75356 |
| EGF-containing fibulin-like extracellular matrix protein 1 | EFEMP1 | FBLN3 | SL006527 | Q12805 |
| Endostatin | COL18A1 | Endostatin | SL000403 | P39060 |
| Endothelial cell-selective adhesion molecule | ESAM | ESAM | SL005160 | Q96AP7 |
| Endothelin-converting enzyme 1 | ECE1 | Endothelin-converting enzyme 1 | SL004060 | P42892 |
| Ephrin-B1 | EFNB1 | EFNB1 | SL008614 | P98172 |
| Epidermal growth factor receptor | EGFR | ERBB1 | SL002644 | P00533 |
| Eukaryotic translation initiation factor 4 gamma 2 | EIF4G2 | IF4G2 | SL011211 | P78344 |
| Extracellular matrix protein 1 | ECM1 | ECM1 | SL006550 | Q16610 |
| Extracellular superoxide dismutase [Cu-Zn] | SOD3 | SOD3 | SL003672 | P08294 |
| Fatty acid-binding protein, heart | FABP3 | FABP | SL001774 | P05413 |
| Ferritin | FTH1 FTL | Ferritin | SL000420 | P02794, P02792 |
| Fetuin-B | FETUB | FETUB | SL006777 | Q9UGM5 |
| Fibroblast growth factor receptor 1 | FGFR1 | bFGF-R | SL003060 | P11362 |
| Fibroblast growth factor receptor 3 | FGFR3 | FGFR-3 | SL004063 | P22607 |
| Fibronectin | FN1 | Fibronectin | SL000426 | P02751 |
| Fibronectin Fragment 3 | FN1 | FN1.3 | SL010349 | P02751 |
| Fibronectin Fragment 4 | FN1 | FN1.4 | SL010348 | P02751 |
| Follistatin-related protein 1 | FSTL1 | FSTL1 | SL009349 | Q12841 |
| Follistatin-related protein 3 | FSTL3 | FSTL3 | SL009324 | O95633 |
| Fructose-bisphosphate aldolase A | ALDOA | aldolase A | SL004910 | P04075 |
| Gelsolin | GSN | Gelsolin | SL005572 | P06396 |
| Glycerol-3-phosphate dehydrogenase [NAD(+)], cytoplasmic | GPD1 | GPDA | SL007151 | P21695 |
| Granulins | GRN | GRN | SL007173 | P28799 |
| Heat shock protein HSP 90-alpha/beta | HSP90AA1 HSP90AB1 | HSP 90a/b | SL017612 | P07900, P08238 |
| Heat shock protein HSP 90-beta | HSP90AB1 | HSP 90b | SL000454 | P08238 |
| Hemopexin | HPX | Hemopexin | SL000440 | P02790 |
| Heparin cofactor 2 | SERPIND1 | Heparin cofactor II | SL004466 | P05546 |
| Hepatocyte growth factor activator | HGFAC | HGFA | SL006512 | Q04756 |
| Hepatocyte growth factor receptor | MET | Met | SL000134 | P08581 |
| Hepatocyte growth factor-like protein | MST1 | MSP | SL005202 | P26927 |
| HERV-H LTR-associating protein 2 | HHLA2 | HHLA2 | SL020171 | Q9UM44 |
| Heterogeneous nuclear ribonucleoprotein A/B | HNRNPAB | hnRNP A/B | SL009791 | Q99729 |
| High affinity immunoglobulin gamma Fc receptor I | FCGR1A | FCGR1 | SL010461 | P12314 |
| Histidine triad nucleotide-binding protein 1 | HINT1 | HINT1 | SL009431 | P49773 |
| Histidine-rich glycoprotein | HRG | HRG | SL006448 | P04196 |
| Immunoglobulin G | IGHG1 | IgG | SL000467 | P01857 |
| Immunoglobulin M | IGHM | IgM | SL000468 | P01871 |
| Inhibin beta A chain | INHBA | Activin A | SL001938 | P08476 |
| Inhibin beta A chain:Inhibin beta B chain heterodimer | INHBA INHBB | Activin AB | SL004837 | P08476, P09529 |
| Inorganic pyrophosphatase | PPA1 | PPase | SL004914 | Q15181 |
| Insulin-like growth factor-binding protein 2 | IGFBP2 | IGFBP-2 | SL000466 | P18065 |
| Insulin-like growth factor-binding protein 3 | IGFBP3 | IGFBP-3 | SL000045 | P17936 |
| Insulin-like growth factor-binding protein 4 | IGFBP4 | IGFBP-4 | SL005171 | P22692 |
| Insulin-like growth factor-binding protein 6 | IGFBP6 | IGFBP-6 | SL005172 | P24592 |
| Inter-alpha-trypsin inhibitor heavy chain H4 | ITIH4 | ITI heavy chain H4 | SL004739 | Q14624 |
| Intercellular adhesion molecule 1 | ICAM1 | sICAM-1 | SL002922 | P05362 |
| Intercellular adhesion molecule 5 | ICAM5 | sICAM-5 | SL005169 | Q9UMF0 |
| Interferon alpha/beta receptor 1 | IFNAR1 | IFN-a/b R1 | SL004475 | P17181 |
| Interleukin-1 Receptor accessory protein | IL1RAP | IL-1 R AcP | SL004588 | Q9NPH3 |
| Interleukin-6 receptor subunit alpha | IL6R | IL-6 sRa | SL001943 | P08887 |
| Interleukin-6 receptor subunit beta | IL6ST | gp130, soluble | SL003872 | P40189 |
| Kallistatin | SERPINA4 | Kallistatin | SL004876 | P29622 |
| Kininogen-1 | KNG1 | Kininogen, HMW | SL017189 | P01042 |
| Lactadherin | MFGE8 | MFGM | SL006523 | Q08431 |
| Leucine-rich repeat transmembrane protein FLRT3 | FLRT3 | FLRT3 | SL008372 | Q9NZU0 |
| Leukocyte immunoglobulin-like receptor subfamily B member 1 | LILRB1 | ILT-2 | SL005190 | Q8NHL6 |
| Leukocyte immunoglobulin-like receptor subfamily B member 2 | LILRB2 | ILT-4 | SL005191 | Q8N423 |
| Leukotriene A-4 hydrolase | LTA4H | LKHA4 | SL007100 | P09960 |
| Lipopolysaccharide-binding protein | LBP | LBP | SL003309 | P18428 |
| Lithostathine-1-alpha | REG1A | PSP | SL005357 | P05451 |
| L-lactate dehydrogenase B chain | LDHB | LDH-H 1 | SL000493 | P07195 |
| Low affinity immunoglobulin gamma Fc region receptor III-B | FCGR3B | FCG3B | SL008609 | O75015 |
| Low-density lipoprotein receptor-related protein 1B | LRP1B | LRP1B | SL013872 | Q9NZR2 |
| L-Selectin | SELL | sL-Selectin | SL002823 | P14151 |
| Lumican | LUM | Lumican | SL006230 | P51884 |
| Lymphocyte antigen 86 | LY86 | LY86 | SL007059 | O95711 |
| Macrophage colony-stimulating factor 1 receptor | CSF1R | M-CSF R | SL004153 | P07333 |
| Macrophage mannose receptor 1 | MRC1 | Macrophage mannose receptor | SL004579 | P22897 |
| Macrophage-capping protein | CAPG | CAPG | SL008099 | P40121 |
| Metalloproteinase inhibitor 2 | TIMP2 | TIMP-2 | SL000592 | P16035 |
| Myoglobin | MB | Myoglobin | SL000164 | P02144 |
| Neurexin-3-beta | NRXN3 | NRX3B | SL008728 | Q9HDB5 |
| Neurogenic locus notch homolog protein 1 | NOTCH1 | Notch 1 | SL005703 | P46531 |
| Neurogenic locus notch homolog protein 3 | NOTCH3 | Notch-3 | SL005209 | Q9UM47 |
| Neuropilin-1 | NRP1 | NRP1 | SL006397 | O14786 |
| Nucleoside diphosphate kinase B | NME2 | NDP kinase B | SL004921 | P22392 |
| Phosphoglycerate kinase 1 | PGK1 | phosphoglycerate kinase 1 | SL003653 | P00558 |
| Pigment epithelium-derived factor | SERPINF1 | PEDF | SL003066 | P36955 |
| Plasma kallikrein | KLKB1 | Prekallikrein | SL000545 | P03952 |
| Plasma protease C1 inhibitor | SERPING1 | C1-Esterase Inhibitor | SL000308 | P05155 |
| Plasma serine protease inhibitor | SERPINA5 | PCI | SL000550 | P05154 |
| Plasminogen | PLG | Plasminogen | SL000541 | P00747 |
| Plexin-B2 | PLXNB2 | PLXB2 | SL009948 | O15031 |
| Polymeric immunoglobulin receptor | PIGR | PIGR | SL005797 | P01833 |
| Pro-opiomelanocortin | POMC | Corticotropin-lipotropin | SL009210 | P01189 |
| Properdin | CFP | Properdin | SL003192 | P27918 |
| Proprotein convertase subtilisin/kexin type 9 | PCSK9 | PCSK9 | SL012707 | Q8NBP7 |
| Protein kinase C alpha type | PRKCA | PKC-A | SL000551 | P17252 |
| Protein Rev_HV2BE | Human-virus | HIV-2 Rev | SL000445 | P18093 |
| Prothrombin | F2 | Prothrombin | SL000558 | P00734 |
| Ras GTPase-activating protein 1 | RASA1 | RASA1 | SL013754 | P20936 |
| Ras-related C3 botulinum toxin substrate 1 | RAC1 | RAC1 | SL004009 | P63000 |
| Repulsive guidance molecule A | RGMA | RGMA | SL010467 | Q96B86 |
| Reticulon-4 | RTN4 | RTN4 | SL008309 | Q9NQC3 |
| Reticulon-4 receptor | RTN4R | Nogo Receptor | SL005208 | Q9BZR6 |
| Retinoic acid receptor responder protein 2 | RARRES2 | TIG2 | SL005152 | Q99969 |
| RGM domain family member B | RGMB | RGMB | SL010468 | Q6NW40 |
| Scavenger receptor class F member 1 | SCARF1 | SREC-I | SL005221 | Q14162 |
| Scavenger receptor cysteine-rich type 1 protein M130 | CD163 | sCD163 | SL005764 | Q86VB7 |
| Secreted and transmembrane protein 1 | SECTM1 | SECTM1 | SL005430 | Q8WVN6 |
| Serine/threonine-protein kinase WNK3 | WNK3 | WNK3 | SL010524 | Q9BYP7 |
| Serotransferrin | TF | Transferrin | SL000601 | P02787 |
| Serum albumin | ALB | Albumin | SL000254 | P02768 |
| Serum amyloid P-component | APCS | SAP | SL000573 | P02743 |
| Sex hormone-binding globulin | SHBG | SHBG | SL005102 | P04278 |
| Sialic acid-binding Ig-like lectin 14 | SIGLEC14 | SIG14 | SL014292 | Q08ET2 |
| Sialic acid-binding Ig-like lectin 7 | SIGLEC7 | Siglec-7 | SL005218 | Q9Y286 |
| Signal transducer and activator of transcription 3 | STAT3 | STAT3 | SL007221 | P40763 |
| SPARC | SPARC | ON | SL000532 | P09486 |
| Stanniocalcin-1 | STC1 | Stanniocalcin-1 | SL005789 | P52823 |
| Tartrate-resistant acid phosphatase type 5 | ACP5 | TrATPase | SL004118 | P13686 |
| Testican-2 | SPOCK2 | Testican-2 | SL010471 | Q92563 |
| Thrombospondin-4 | THBS4 | TSP4 | SL007207 | P35443 |
| Thyroxine-binding globulin | SERPINA7 | Thyroxine-Binding Globulin | SL000590 | P05543 |
| Tissue factor pathway inhibitor | TFPI | TFPI | SL001998 | P10646 |
| Transforming growth factor beta receptor type 3 | TGFBR3 | TGF-b R III | SL005059 | Q03167 |
| Transforming growth factor-beta-induced protein ig-h3 | TGFBI | BGH3 | SL006544 | Q15582 |
| Transgelin-2 | TAGLN2 | Transgelin-2 | SL004811 | P37802 |
| Tropomyosin alpha-4 chain | TPM4 | Tropomyosin 4 | SL003646 | P67936 |
| Tumor necrosis factor receptor superfamily member 10B | TNFRSF10B | TRAIL R2 | SL004157 | O14763 |
| Tumor necrosis factor receptor superfamily member 1A | TNFRSF1A | TNF sR-I | SL001992 | P19438 |
| Tumor necrosis factor receptor superfamily member 1B | TNFRSF1B | TNF sR-II | SL001800 | P20333 |
| Tumor necrosis factor receptor superfamily member 21 | TNFRSF21 | DR6 | SL004871 | O75509 |
| Tumor necrosis factor receptor superfamily member 25 | TNFRSF25 | DR3 | SL004791 | Q93038 |
| Urokinase plasminogen activator surface receptor | PLAUR | suPAR | SL002506 | Q03405 |
| Vascular endothelial growth factor A, isoform 121 | VEGFA | VEGF121 | SL003310 | P15692 |
| Vascular endothelial growth factor D | FIGF | VEGF-D | SL003320 | O43915 |
| Vitamin K-dependent protein C | PROC | Protein C | SL000048 | P04070 |
| Vitamin K-dependent protein S | PROS1 | Protein S | SL000049 | P07225 |
| Vitronectin | VTN | Vitronectin | SL000616 | P04004 |
| von Willebrand factor | VWF | vWF | SL000017 | P04275 |
| Wnt inhibitory factor 1 | WIF1 | WIF-1 | SL004652 | Q9Y5W5 |
| WNT1-inducible-signaling pathway protein 1 | WISP1 | WISP-1 | SL004689 | O95388 |

## Names of the 207 proteins that were detected with SOMAscan 1.3K platform, in the 30 PEx samples used for assessment of pathological relevance of proteins detected in PEx samples, as described in Material and Methods.

Table S1B. - Result from differential abundance analysis

|  |  | A-hLCI vs. NA |  |  |  | A_hLCI vs. A-nLCI |  |  |  | A-hLCI vs. A-nLCI + NA |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Target Full Name | Entrez Gene Symbol | p-value | q-value | Fold change |  | p-value | q-value | Fold change |  | p-value | q-value | Fold change |
| Vascular endothelial growth factor D | FIGF | 0.0003 | 0.069 | 1.184 |  | n.s | n.s | 1.099 |  | 0.001 | 0.038 | 1.147 |
| Alpha-1-antitrypsin | SERPINA1 | 0.0008 | 0.083 | 1.182 |  | 0.002 | n.s | 1.283 |  | 0.001 | 0.038 | 1.202 |
| Complement component C1q receptor | CD93 | 0.0017 | 0.120 | 1.320 |  | 0.017 | n.s | 1.291 |  | 0.001 | 0.038 | 1.286 |
| C-C motif chemokine 18 | CCL18 | 0.0034 | 0.152 | 1.917 |  | n.s | n.s | 1.457 |  | 0.021 | 0.167 | 1.718 |
| Fructose-bisphosphate aldolase A | ALDOA | 0.0037 | 0.152 | 0.631 |  | 0.018 | n.s | 0.615 |  | 0.002 | 0.040 | 0.650 |
| Complement C4 | C4A, C4B | 0.0052 | 0.170 | 0.633 |  | n.s. | n.s | 0.704 |  | 0.002 | 0.043 | 0.660 |
| Coagulation Factor X | F10 | 0.0068 | 0.170 | 1.305 |  | 0.038 | n.s | 1.265 |  | 0.007 | 0.092 | 1.277 |
| Immunoglobulin M | IGHM | 0.0070 | 0.170 | 1.216 |  | 0.007 | n.s | 1.303 |  | 0.001 | 0.038 | 1.247 |
| Interleukin-1 Receptor accessory protein | IL1RAP | 0.0074 | 0.170 | 1.260 |  | 0.020 | n.s | 1.292 |  | 0.001 | 0.038 | 1.275 |

Statistics for proteins found to be differentially abundant when comparing SOMAscan data for 207 proteins between the Asthma with high LCI (A-hLCI, n=10) and Non-asthma control group (NA, n=10), using a significance criteria including p-value below 0.05 and Benjamini–Hochberg corrected p-value (q) below 0.2, as described in Material and Methods. Statistics for comparison with asthma with normal LCI (A-nLCI) is also shown. Significance values above the threshold are indicated with n.s. Fold change was defined as 2 to the power of the difference difference being defined as the difference of the mean log2 of "group1" data and mean log2 of "group2" data. Fold change values >1 and < 1 indicate higher and lower levels in the first mentioned group, respectively. No significant difference were found for the A-nLCI vs. NA group comparison. Uniprot protein IDs and synonyms can be found in Table S1A

Table S2.

Result from manual reviewing the scientific literature on proteins found to be differentially abundant in A-hLCI as compared to NA group.

| Protein name Entrez symbol and synonyms (Uniprot ID) | Abundance profile# | Relevant literature findings, summary and reference |
| --- | --- | --- |
| Alpha-1-antitrypsin SERPINA1 A1AT (P01009) | NA L A-nLCI L A-hLCI H | - Found to be the major inhibitor of neutrophil elastase in the lower respiratory system [1, 2]. - Associated with an increased risk of pulmonary and extrapulmonary disease [3]. - Protects alveoli against the destructive effects of neutrophil elastase, proteinase 3 and cathepsin G [4]. - Increased levels in circulation is associated with pathology localised to the Small airway and alveolar space [5]. |
| Interleukin-1 receptor accessory protein IL1RAP IL1R3 IL-1 R AcP (Q9NPH3) | NA L A-nLCI L A-hLCI H | - Localized to the cytosol & vesicles. Involved in e.g, immune and inflammatory response, innate immune response, IL-1 and IL-33-mediated signalling (GO annotations) [6, 7]. - Soluble isoform exist (sIL1RAP) [8]. - Elevated levels is associated with reduced FEV1/FVC. Suggested to be a marker and potential therapeutic target in patients with neutrophilic asthma and airflow obstruction [9]. - Elevated in patients with COPD [10]. - Is required for IL-33 signalling which is important in promoting and maintaining the asthma phenotype [11]. |
| C-C motif chemokine 18 CCL18 (P55774) | NA L A-nLCI IM A-hLCI H | - mRNA particularly abundant in lung (Protein Atlas) [12, 13] - Levels in serum, BALF and Alveolar macrophage culture supernatant are markedly increased in various interstitial lung diseases [14]. - Suggested to play a predominant role in allergic asthma [15, 16]. - Suggested to serve as a circulating biomarker in non-small cell lung cancer diagnosis [17]. |
| Complement component C1q receptor CD93 C1QR1 (Q9NPY3) | NA L A-nLCI IM A-hLCI H | - mRNA and protein particularly abundant in lung (Protein Atlas) [12, 13]. - Involved in e.g. macrophage activation and neutrophil degranulation (GO annotations) [6, 7]. - Have been observed to be expressed at high levels in lung and at elevated levels in circulation of asthmatics. - Have been suggested as a circulating biomarker with potential to aid in asthma diagnosis [18, 19]. |
| IgM IGHM (P01871) | NA L A-nLCI IM A-hLCI H | - Involved in innate immune response & complement activation, classical pathway (GO annotations) [6, 7]. - Play role in host defence, immune regulation and immunological tolerance. Locally synthetized in airways. - Elevated levels have been observed in RTLF from asthmatic subjects. Suggested to play role in pathogenesis of asthma. [20, 21]. |
| Vascular endothelial growth factor D FIGF VEGF-D (O43915) | NA L A-nLCI IM A-hLCI H | - Localized to the extracellular space, platelet alpha granule lumen. Involved in platelet degranulation (GO annotations) [6, 7]. - Contributes to the small-airway remodelling in a rat model of COPD [22]. - Increased levels of vascular endothelial growth factor in induced sputum of asthmatics.. Suggested to play important role in the pathogenesis of bronchial asthma [23]. |
| Coagulation Factor X FX F10 (P00742) | NA L A-nLCI IM A-hLCI H | - Uncontrolled activation of the coagulation cascade contributes to the pathophysiology of several conditions, including acute and chronic lung diseases. Protease-activated receptors have been implicated as the molecular link between coagulation and allergic inflammation in asthma [24]. - In contradiction with our finding showing lower levels of FX in PEx from asthmatic subjects as compared healthy controls, some studies report increased levels of FX in BALF. However, other studies report similar result with significantly decreased levels in airways in severe asthma and intermediate levels in moderate asthma, as compared to healthy controls [25]. |
| Fructose-bisphosphate aldolase A ALDOA ALDA (P04075) | NA H A-nLCI IM A-hLCI L | - Localized to the extracellular region, platelet alpha granule lumen, extracellular exosome. Involved in platelet degranulation, neutrophil degranulation (GO annotations) [6, 7]. - Patients with asthma have high presence of nitrotyrosine in both the airways and the lung parenchyma [25]. - Has been observed to undergo post-translational regulation by protein tyrosine nitration in mast cells. Suggested to be an important pathway that regulates mast cell phenotype and function [26-28]. - Nitrotyrosine formation in airway epithelial and inflammatory cells is elevated in asthma and COPD [37]. - The ability to detect post-translational modifications is an important advantage of aptamers as tools for identification and detection of biomarkers, as exemplified by Ray. P et al [29]. The lower levels of ALDOA in ASAD group may be explained by tyrosine nitration of ALDOA proteins in mast cells in the ASAD group, resulting in weaker binding of the SOMAscan aptamer to the nitrated isoform of ALDOA, giving rise to weaker signal in ASAD group. |
| Complement C4 C4A (P0C0L4) | NA H A-nLCI IM A-hLCI L | - Localized to extracellular region, blood microparticle. Involved in innate immune response, inflammatory response, complement activation (GO annotations) [6, 7]. - Pulmonary alveolar type II epithelial cells synthesize and secrete complement proteins C2, C3, C4, C5, and Factor B. Studies have demonstrated that complement may serve as a key link between innate and adaptive immunity in a variety of pulmonary conditions [30]. |

# Footnote; Abundance profile indicate the level of the protein in PEx in one group in relation to the other groups; Non-Asthma (NA), Asthma with normal LCI (A-nLCI), Asthma with high LCI (A-hLCI ), higher level (H), intermediate level (IM), lower level (L). Reference in brackets refer to references below and not to references in the main article.

References specific for Table S2

1.	Gadek JE, Fells GA, Zimmerman RL, Rennard SI, Crystal RG. Antielastases of the human alveolar structures. Implications for the protease-antiprotease theory of emphysema. The Journal of Clinical Investigation 1981: 68(4): 889-898.

2.	Janoff A. Elastases and emphysema. Current assessment of the protease-antiprotease hypothesis. Am Rev Respir Dis 1985: 132(2): 417-433.

3.	da Costa Dias de Sousa C, Meira L, Sucena M. Alpha-1 antitrypsin deficiency – a potentially fatal disease. European Respiratory Journal 2017: 50(suppl 61): PA4463.

4.	Suárez-Lorenzo I, de Castro FR, Cruz-Niesvaara D, Herrera-Ramos E, Rodríguez-Gallego C, Carrillo-Diaz T. Alpha 1 antitrypsin distribution in an allergic asthmatic population sensitized to house dust mites. Clinical and Translational Allergy 2018: 8(1): 44.

5.	Welle I, Bakke PS, Eide GE, Fagerhol MK, Omenaas E, Gulsvik A. Increased circulating levels of α<sub>1</sub>-antitrypsin and calprotectin are associated with reduced gas diffusion in the lungs. European Respiratory Journal 2001: 17(6): 1105-1111.

6.	Consortium TGO. The Gene Ontology Resource: 20 years and still GOing strong. Nucleic Acids Res 2019: 47(D1): D330-d338.

7.	Ashburner M, Ball CA, Blake JA, Botstein D, Butler H, Cherry JM, Davis AP, Dolinski K, Dwight SS, Eppig JT, Harris MA, Hill DP, Issel-Tarver L, Kasarskis A, Lewis S, Matese JC, Richardson JE, Ringwald M, Rubin GM, Sherlock G. Gene ontology: tool for the unification of biology. The Gene Ontology Consortium. Nat Genet 2000: 25(1): 25-29.

8.	Smith DE, Hanna R, Della F, Moore H, Chen H, Farese AM, MacVittie TJ, Virca GD, Sims JE. The soluble form of IL-1 receptor accessory protein enhances the ability of soluble type II IL-1 receptor to inhibit IL-1 action. Immunity 2003: 18(1): 87-96.

9.	Evans MD, Esnault S, Denlinger LC, Jarjour NN. Sputum cell IL-1 receptor expression level is a marker of airway neutrophilia and airflow obstruction in asthmatic patients. The Journal of allergy and clinical immunology 2018: 142(2): 415-423.

10.	Xia J, Zhao J, Shang J, Li M, Zeng Z, Zhao J, Wang J, Xu Y, Xie J. Increased IL-33 expression in chronic obstructive pulmonary disease. Am J Physiol Lung Cell Mol Physiol 2015: 308(7): L619-627.

11.	Palmer G, Lipsky BP, Smithgall MD, Meininger D, Siu S, Talabot-Ayer D, Gabay C, Smith DE. The IL-1 receptor accessory protein (AcP) is required for IL-33 signaling and soluble AcP enhances the ability of soluble ST2 to inhibit IL-33. Cytokine 2008: 42(3): 358-364.

12.	Human Protein Atlas.  [cited; June, 2020:[Web site, database]. Available from: http://www.proteinatlas.org

13.	Uhlen M, Fagerberg L, Hallstrom BM, Lindskog C, Oksvold P, Mardinoglu A, Sivertsson A, Kampf C, Sjostedt E, Asplund A, Olsson I, Edlund K, Lundberg E, Navani S, Szigyarto CA, Odeberg J, Djureinovic D, Takanen JO, Hober S, Alm T, Edqvist PH, Berling H, Tegel H, Mulder J, Rockberg J, Nilsson P, Schwenk JM, Hamsten M, von Feilitzen K, Forsberg M, Persson L, Johansson F, Zwahlen M, von Heijne G, Nielsen J, Ponten F. Proteomics. Tissue-based map of the human proteome. Science 2015: 347(6220): 1260419.

14.	Cai M, Bonella F, He X, Sixt SU, Sarria R, Guzman J, Costabel U. CCL18 in serum, BAL fluid and alveolar macrophage culture supernatant in interstitial lung diseases. Respir Med 2013: 107(9): 1444-1452.

15.	de Nadai P, Charbonnier AS, Chenivesse C, Senechal S, Fournier C, Gilet J, Vorng H, Chang Y, Gosset P, Wallaert B, Tonnel AB, Lassalle P, Tsicopoulos A. Involvement of CCL18 in allergic asthma. J Immunol 2006: 176(10): 6286-6293.

16.	Tsicopoulos A, Chang Y, Ait Yahia S, de Nadai P, Chenivesse C. Role of CCL18 in asthma and lung immunity. Clin Exp Allergy 2013: 43(7): 716-722.

17.	Huang H, Li J, Hu W-j, Chen C, Luo H-q, Tang X-d, Zhou K-y, Zhong W-t, Li X-y. The serum level of CC chemokine ligand 18 correlates with the prognosis of non-small cell lung cancer. The International Journal of Biological Markers 2019: 34(2): 156-162.

18.	Park HJ, Oh E-Y, Han H-J, Park KH, Jeong K-Y, Park J-W, Lee J-H. Potential Role of Soluble CD93 in Allergic Asthma. Journal of Allergy and Clinical Immunology 2019: 143(2): AB216.

19.	Park HJ, Oh E-Y, Han H-J, Park KH, Jeong K-Y, Park J-W, Lee J-H. Soluble CD93 in allergic asthma. Scientific Reports 2020: 10(1): 323.

20.	Hol BE, van de Graaf EA, Out TA, Hische EA, Jansen HM. IgM in the airways of asthma patients. Int Arch Allergy Appl Immunol 1991: 96(1): 12-18.

21.	Peebles RS, Jr., Liu MC, Lichtenstein LM, Hamilton RG. IgA, IgG and IgM quantification in bronchoalveolar lavage fluids from allergic rhinitics, allergic asthmatics, and normal subjects by monoclonal antibody-based immunoenzymetric assays. J Immunol Methods 1995: 179(1): 77-86.

22.	Wang L, Xu Z, Chen B, He W, Hu J, Zhang L, Liu X, Chen F. The Role of Vascular Endothelial Growth Factor in Small-airway Remodelling in a Rat Model of Chronic Obstructive Pulmonary Disease. Scientific Reports 2017: 7(1): 41202.

23.	Asai K, Kanazawa H, Kamoi H, Shiraishi S, Hirata K, Yoshikawa J. Increased levels of vascular endothelial growth factor in induced sputum in asthmatic patients. Clin Exp Allergy 2003: 33(5): 595-599.

24.	de Boer JD, Majoor CJ, van 't Veer C, Bel EHD, van der Poll T. Asthma and coagulation. Blood 2012: 119(14): 3236-3244.

25.	Sergei A. Kharitonov KI. Nitric Oxide. In: Peter J. Barnes JMD, Stephen I. Rennard, Neil C. Thomson, ed. Asthma and COPD: Basic Mechanisms and Clinical Management. Elsevier. , 2009; pp. 363-365.

26.	Pejler G. The emerging role of mast cell proteases in asthma. European Respiratory Journal 2019: 1900685.

27.	Sekar Y, Chul Moon T, Slupsky CM, Befus AD. Effects of nitric oxide-induced aldolase nitration on the glycolytic metabolites of mast cell. Allergy, Asthma & Clinical Immunology 2010: 6(1): P21.

28.	Sekar Y, Moon TC, Slupsky CM, Befus AD. Protein tyrosine nitration of aldolase in mast cells: a plausible pathway in nitric oxide-mediated regulation of mast cell function. J Immunol 2010: 185(1): 578-587.

29.	Ray P, Sullenger BA, White RR. Further characterization of the target of a potential aptamer biomarker for pancreatic cancer: cyclophilin B and its posttranslational modifications. Nucleic Acid Ther 2013: 23(6): 435-442.

30.	Pandya PH, Wilkes DS. Complement system in lung disease. Am J Respir Cell Mol Biol 2014: 51(4): 467-473.

Table S3. Demographic and clinical characteristics of groups based on smoking history

| Parameter | Nevers smokers | Ex-smokers |  |
| --- | --- | --- | --- |
| Number | 16 | 14 |  |
| Asthma y/n | 7/9 | 11/3 |  |
| Packyear | - | 3.36 (1.29) [0-12] |  |
| Gender (Male/Female) | 8/8 | 8/6 |  |
| Age | 40.1 (3.38) [20-63] | 52.4 (3.5) [28-68] |  |
| Age at onset of asthma, yrs | - | 17.4 (5.16) [5-55] |  |
| BMI | 24.9 (0.73) [19.3-31.2] | 24.7 (0.7) [21.2-29.1] |  |
| Allergy y/n | 11/5 | 8/6 |  |
| FEV1 (% pred) | 91.6 (3.05) [77-117] | 82.6 (6.13) [39-123] |  |
| FEV1/FVC (%) | 74.3 (4.84) [7.8-93.8] | 69.2 (3.74) [35-88] |  |
| Reversibility (%) | 8.1 (2.08) [-5-24] | 9.7 (2.24) [2-28] |  |
| ACQ, mean (1-6) >1 (y/n) | 3/4 | 5/5 |  |
| B-neutrophils (%) | 3.26 (0.27) [1.5-5.4] | 4.37 (0.4) [2.2-7.3] |  |
| B-eosinophils (%) | 0.22 (0.04) [0.06-0.6] | 0.29 (0.05) [0.1-0.6] |  |
| FENO, ppb | 39.64 (7.13) [6-113] | 30 (7.7) [10-103] |  |
| hsCRP (n=29) | 0.81 (0.26) [0.14-4.2] | 1.47 (0.48) [0.14-5.4] (n=13) |  |
| Average mass pg/particle | 0.21 (0.01) [0.18-0.29] | 0.23 (0.01) [0.17-0.3] |  |

Data are presented as means with standard error given in parenthesis and range given in brackets. Incomplete data is indicated by n-number given in parenthesis. Dash (-) indicate "not applicable"