## SARA
[8 empty] | UNICEF PROJECT SITES |  |  |  | SHF PROJECT SITES |  | GAC PROJECT SITES
|  |  | Abugebiha locality | [6 empty] | Dellami locality | Abukarshola locality | Elleri Locality
Department | Item | reqiurement on site | Kunjara | Alrhmania | Darjam | Albetera | Alsesaban | Aldelebat | Jandeel | Kukaya | NoorElhuda | Darbatty | Kurondy | TALO | TIBSA | TOMRIA | AVE
Waiting shelter | Plastic table | 2 | 2 | 2 | 1 | 2 | 1 | 2 | 2 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 1.1429
| Office chair | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 0.57143
| Plastic mates | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Plastic chairs | 20 | 6 | 5 | 2 | 2 | 8 | 10 | 3 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 2.8571
| Patient benches | 10 | 3 | 2 | 1 | 3 | 1 | 0 | 2 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1.0714
| Water collar | 1 | 1 | 1 | 1 | 1 | 2 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.57143
| Water cups | 4 | 4 | 0 | 4 | 1 | 3 | 4 | 4 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 1.6429
| Board for advertisement | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Timer | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Thermometer | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Weight scale | 1 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0.78571
| MUAC tape | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 1 | 1 | 2 | 0 | 0 | 0 | 0 | 0 | 1.0714
| Manuals for health education | 2 | 1 | 0 | 0 | 0 | 1 | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35714
| Dust bin different size and color | 3 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21429
| File box | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28571
| Water tank | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.5
| HMIS Tools | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.5
| Sign board | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.42857
[17 empty] | 0 | 12.0714 | 20.46 | 59
Medical assistant | Office table | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Office chair | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0.92857
| Patient chair | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 2 | 2 | 2 | 0 | 0 | 1
| Cupboard | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0.78571
| Sphygmomanometer | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.78571
| Stethoscope | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0.71429
| Thermometer | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0.42857
| Respiratory timer | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Screen | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0.57143
| Examination bed | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0.57143
| Hand washing facility | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0.28571
| Towels | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0.14286
| Gloves (Box) | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0.28571
| Soap | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Torch | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Lab coat | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0.35714
| Tongue depressor (Box) | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0.21429
| Scale | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0.35714
| Treatment protocols | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.21429
| File box | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0.21429
| IEC Materials | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.28571
| HMIS Tools | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 1 | 1 | 0.5
| Prescription paper | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Office table | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.35714
[17 empty] | 0 | 10.2143 | #DIV/0! | 27
Midwife | Midwife protocols | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Office chair | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.28571
| Examination bed | 1 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.35714
| Screen | 2 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.28571
| Delivery bed | 1 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.21429
| Delivery set | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Trolley | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Ambo bag | 1 | 0 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21429
| Patient bed | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Mattresses | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Bed sheets | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cupboard | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.28571
| Drip stand | 2 | 0 | 1 | 0 | 1 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0.42857
| Kidney dish | 2 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0.21429
| Urine basin | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Plastic basin | 3 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0.21429
| Plastic buckets | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Plastic sheets | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hand washing facility | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Clean delivery kits | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Lab coat | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gloves (Box) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Chlorhexidine | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Iodine | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Spirit | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fefol | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Folic acid | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catgut suture | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sterile gauze | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cotton wool | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Sphygmomanometer | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.21429
| Stethoscope | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.28571
| Fetoscope | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.28571
| Baby scale | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Baby bed | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Patient chair | 2 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.21429
| Soap | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cazerameel | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Urine catheter | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Urinary metallic catheter | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Canula | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Lidocaine | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Adult scale | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Towels | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mosquito nets | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sucker | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Safety box | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| File box | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HMIS Tools | 1 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.35714
| IEC materials protocols | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Dust bin | 2 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14286
[17 empty] | 0 | 5.0714 | 4.3346 | 117
Nursing room | Autoclave | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Stove | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Gas cylinder | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cupboard | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Patient bed | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Drip stand | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Plastic table | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.21429
| Plastic chair | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dressing set | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Cazerameel | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Lidocaine | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Lab coat | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gloves | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chlorhexidine | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Iodine | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Spirit | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Catgut suture | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Mattresses | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Bed sheets | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gauze roll | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gauze bandage | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Crept bandage | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Urine catheter | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Urinary bag | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Canula | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Safety box | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| File box | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HMIS Tools | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dust bin | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0.5 | 0.43478 | 115
Lab Department | Microscope | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Colorimeter | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Chair | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Lab table | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cupboard | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Power | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Hand washing facility | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Electronic centrifuge | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Gluco-meter | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Haemometer | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Blood container (EDTA) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Blood lancet | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ESR RACKS | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ESR tubes | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Urine container | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Stool container | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Urine strips | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HCG test strip | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rapid test VDRL | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Rapid test Malaria | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Test tubes | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Slides | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cover glass | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Oil emersion | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HCL solution | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Tube racks | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Patient chair | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Lab coat | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| WBC chamber | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Automatic pipette | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Safety box | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HMIS Tools | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| File box | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Dust bin | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 0.35714 | 0.54113 | 66
Pharmacy | Shelves | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Cupboard | 2 | 2 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28571
| Office chair | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.21429
| Office table | 2 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Box file | 3 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Lap coat | 2 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Marker pen | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Different type of drugs | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Drugs bags | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Registration form | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Tea spoon | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| HMIS Tools | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Labeling of the drugs | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Dust bin | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[17 empty] | 0 | 1.5714 | 30
Vaccination room | Refrigerator | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Vaccines | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Vaccination syringes | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Cold chain boxes | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0.28571
| Safety box | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14286
| Office chair | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Patient chair | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Office table | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Cupboard | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| File box | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Sprit | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cotton | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HMIS Tools | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
| Dust bin | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| IEC Materials | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071429
[18 empty] | 1 | 3.125 | 32
Community Health initiatives | CHWs | 8 | [11 empty] | 0 | 0 | 0 | 0
| Lead Mothers | 4 | [11 empty] | 0 | 0 | 0 | 0
| Mother Care Groups | 4 | [11 empty] | 0 | 0 | 0 | 0
| CHW teaching aid | 8 | [11 empty] | 0 | 0 | 0 | 0
| CHW referal booklet | 8 | [11 empty] | 0 | 0 | 0 | 0
| CHW reporting book | 8 | [11 empty] | 0 | 0 | 0 | 0
| Lead Mother Job aid | 4 | [11 empty] | 0 | 0 | 0 | 0
| Lead Mother referal booklet | 4 | [11 empty] | 0 | 0 | 0 | 0
| Lead Mother reporting book | 4 | [11 empty] | 0 | 0 | 0 | 0
| HF outreach plan | 1 | [11 empty] | 0 | 0 | 0 | 0
| HF catchment area | 1 | [11 empty] | 0 | 0 | 0 | 0
| Community Midwives | 4 | [11 empty] | 0 | 0 | 0 | 0
| Community Midwives repports | 4 | [11 empty] | 0 | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 | 62
Nutrition Services | Thermometers | 4 | [11 empty] | 0 | 0 | 0 | 0
| Salter scale (25 kg) (plus pants or plastic basin) or mother & child Electronic | 1 | [11 empty] | 0 | 0 | 0 | 0
| scale | 1 | [11 empty] | 0 | 0 | 0 | 0
| Height/Length board | 3 | [11 empty] | 0 | 0 | 0 | 0
| MUAC tapes (child) | 1 | [11 empty] | 0 | 0 | 0 | 0
| MUAC tapes (mother) | 1 | [11 empty] | 0 | 0 | 0 | 0
| Plastic matts (# 3) or Benches (# 6) in mothers waiting area | 1 | [11 empty] | 0 | 0 | 0 | 0
| Plastic matts in appetite test place | 1 | [11 empty] | 0 | 0 | 0 | 0
| Water container (# 3) | 3 | [11 empty] | 0 | 0 | 0 | 0
| Cups (# 15) | 15 | [11 empty] | 0 | 0 | 0 | 0
| Sugar | 1 | [11 empty] | 0 | 0 | 0 | 0
| Hand washing facility and water | 1 | [11 empty] | 0 | 0 | 0 | 0
| Amoxicillin | 1 | [11 empty] | 0 | 0 | 0 | 0
| Folic acid | 1 | [11 empty] | 0 | 0 | 0 | 0
| Vit A | 1 | [11 empty] | 0 | 0 | 0 | 0
| Measles vaccine | 1 | [11 empty] | 0 | 0 | 0 | 0
| Mebendazole | 1 | [11 empty] | 0 | 0 | 0 | 0
| Malaria diagnoses kit | 1 | [11 empty] | 0 | 0 | 0 | 0
| Urine analysis tool | 1 | [11 empty] | 0 | 0 | 0 | 0
| Stool analysis tool | 1 | [11 empty] | 0 | 0 | 0 | 0
| Water | 1 | [11 empty] | 0 | 0 | 0 | 0
| Latrine | 1 | [11 empty] | 0 | 0 | 0 | 0
| Soap | 1 | [11 empty] | 0 | 0 | 0 | 0
| Detergents | 1 | [11 empty] | 0 | 0 | 0 | 0
| Brooms | 1 | [11 empty] | 0 | 0 | 0 | 0
| Garbage /trash basket | 1 | [11 empty] | 0 | 0 | 0 | 0
| Incinerator | 1 | [11 empty] | 0 | 0 | 0 | 0
| Laminated sheet weight for height | 1 | [11 empty] | 0 | 0 | 0 | 0
| RUTF ration sheet | 1 | [11 empty] | 0 | 0 | 0 | 0
| Stationaries | 1 | [11 empty] | 0 | 0 | 0 | 0
| Child follow-up card (admission) | 1 | [11 empty] | 0 | 0 | 0 | 0
| Child registration book for out patient | 1 | [11 empty] | 0 | 0 | 0 | 0
| Health Education book | 1 | [11 empty] | 0 | 0 | 0 | 0
| Monitoring & supervision book (field monitoring visit) | 1 | [11 empty] | 0 | 0 | 0 | 0
| Referral card (child) | 1 | [11 empty] | 0 | 0 | 0 | 0
| Discharge card (child) | 1 | [11 empty] | 0 | 0 | 0 | 0
| Monthly report form 43 | 1 | [11 empty] | 0 | 0 | 0 | 0
| Supply form | 1 | [11 empty] | 0 | 0 | 0 | 0
| Ration card (RUTF) | 1 | [11 empty] | 0 | 0 | 0 | 0
| Home visit sheets | 1 | [11 empty] | 0 | 0 | 0 | 0
| Map of catchment area | 1 | [11 empty] | 0 | 0 | 0 | 0
| Chart with target and admission per month | 1 | [11 empty] | 0 | 0 | 0 | 0
| Poster of Assessment and Classification of Children 6 to 59 months with Acute malnutrition | 1 | [11 empty] | 0 | 0 | 0 | 0
| Flow up chart for Assessment and Action for children between 6 to 59 months | 1 | [11 empty] | 0 | 0 | 0 | 0
| Basic messages for management of acute malnutrition | 1 | [11 empty] | 0 | 0 | 0 | 0
| Ready to use therapeutic food (RUTF) | 1 | [11 empty] | 0 | 0 | 0 | 0
| Ready to use supplementary food (RUSF | 1 | [11 empty] | 0 | 0 | 0 | 0
[18 empty] | 0 | 0 | 68
TOTAL FUNCTIONALITY |  | 576 | 44 | 55 | 17 | 71 | 28 | 51 | 31 | 14 | 63 | 20 | 16 | 11 | 4 | 6
PERCENTAGE FUNCTIONALITY |  |  | 10.5769 | 13.2212 | 4.0865 | 17.0673 | 6.7308 | 12.2596 | 7.4519 | 3.3654 | 15.1442 | 4.8077 | 3.8462 | 1.9097 | 0.69444 | 1.0417 | 7.3003
MINIMUM RECOMMENDED FUNCTIOALITY |  |  | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
GAP TO ATTAIN MRF |  |  | 64.4231 | 61.7788 | 70.9135 | 57.9327 | 68.2692 | 62.7404 | 67.5481 | 71.6346 | 59.8558 | 70.1923 | 71.1538 | 73.0903 | 74.3056 | 73.9583 | 67.6997
[11 empty] | 9.9893 |  | 4.3269 |  |  | 1.2153

## GAC SN
GAC
|  | Reqiurements | TALO PHU | TIBSA PHU | TOMRIA PHU
PHU | Medical Doctor | 1 | 0 | 0 | 0 | 0
| Specailist Physicians(Please specify) family medicine specialist | 1 | 0 | 0 | 0 | 0
| Medical Assistant | 3 | 0 | 0 | 0 | 0
0
| Pharmacy assistant | 2 | 0 | 0 | 0 | 0
| Midwife | 4 | 3 | 1 | 0 | 1.3333
| Health visitors | 1 | 0 | 0 | 0 | 0
| EPI technicians | 1 | 0 | 0 | 0 | 0
| Nurses | 4 | 0 | 0 | 0 | 0
| Lab technician | 1 | 0 | 0 | 0 | 0
| Lab Assistant | 1 | 0 | 0 | 0 | 0
| Health promoters | 1 | 0 | 0 | 0 | 0
| Nutrition assistant | 1 | 0 | 0 | 0 | 0
| Community health workers | 1 | 1 | 1 | 1 | 1
| Pharmacist | 1 | 0 | 0 | 0 | 0
| Radio-technican | 1 | 0 | 0 | 0 | 0
| Psychologist | 1 | 0 | 0 | 0 | 0
| Dentist | 1 | 0 | 0 | 0 | 0
| Dentist technican | 1 | 0 | 0 | 0 | 0
| Optimologist | 1 | 0 | 0 | 0 | 0
| Storekeeper | 1 | 0 | 0 | 0 | 0
| Cleaner | 3 | 0 | 0 | 0 | 0
| Volunteer | 8 | 1 | 0 | 0 | 0.33333
| Supervisor | 1 | 0 | 0 | 0 | 0
[7 empty] | 2.6667 | 6.5041 | 41
Nutrition | Medical Assistant | 1 | 0 | 0 | 0 | 0
| Nutritionist | 1 | 0 | 0 | 0 | 0
| Nutrition assistant | 4 | 0 | 0 | 0 | 0
| Community health workers | 1 | 0 | 0 | 0 | 0
| Optimologist | 1 | 0 | 0 | 0 | 0
| Storekeeper | 1 | 0 | 0 | 0 | 0
| Cleaner | 1 | 0 | 0 | 0 | 0
| Volunteer | 8 | 0 | 0 | 0 | 0
| Supervisor | 1 | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 19
Total Functionality |  | 60 | 5 | 2 | 1
Percentage Functionality |  |  | 8.3333 | 3.3333 | 1.6667 |  |  | 4.4444
Minimuim Recommended Functionality |  |  | 75 | 75 | 75
Gap to attian minimum |  |  | 71.6667 | 73.3333 | 73.3333