Table 1

Summary of the linear regression and validation findings in pure form of the investigated drugs simultaneously

| Parameters | CTN | TSN |
| --- | --- | --- |
| RF | 0.57 | 0.84 |
| Linearity range (µg/bandl)a | 0.005-1.25 | 0.12-2.5 |
| Slope ± SD | 0.0004±1.9 | 0.0081±0.000037 |
| Intercept ± SD | 0.003 ±0.00034 | 0.01642±0.0174 |
| Determination coefficient (r) | 0.9999 | 0.9999 |
| Limit of quantitation (LOQs), | 0.043 | 0.107 |
| Limit of detection (LODs), | 0.014 | 0.035 |
| Robustness |  |  |
| PH=4 ± 0.2 | 99.76±0.88 |  |
| Saturation time of the mobile phase |  |  |
| 20 min ± 3min | 100.44±0.67 |  |
| Composition of mobile phase |  |  |
| Phosphate buffer 70ml±1% | 98.88±1.01 |  |
| Methanol 30ml±1% | 100.31±0.59 |  |

SD standard deviation, RF retardation factor

(a) volume of injection equal to 5 µl

Table 6

Comparison of the developed TLC method with some reported Chromatographic methods

| Variable | TLC-UV | TLC [3] | HPTLC [12] |
| --- | --- | --- | --- |
| Technique used |  |  |  |
| Mobile phase | phosphate buffer and methanol in a 70:30 (v/v). | Ammonia: ethyle acetate:triethyle amine [6:3.5:0.5,v/v] | Acetonitril:ethyle acetate:Briton-ribonson buffer [50:20:20,v/v v] |
| Linearity range | (0.,05-1.25µg/band)for CTN and (0.12-2.5 µg/band)for TSN | (60-220 µg/mL)of CTN | (10-100 µg/mL) of TSN |
| Analytes | CTN and TSN | CTN | TSN and tryptophan |
| Application | Dosage form and spiked human plasma and urine | Dosage form | Serum sample |
| GAPI assessment |  |  |  |
| AGREE assessment |  |  |  |
| BAGI assessment |  |  |  |