| Study | Study design | Patients (Infected/ Total) according to the reference standard criteria | Age | LFT kit | Reference standard | Site (Hip/Knee/Shoulder/Elbow) | Cutoff | Sensitivity | Specificity | AUC | LR+ | LR- | PPV | NPV | DOR (IC 95%) | Mean calprotectin concentration in septic VS aseptic joints |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Wouthuyzen-Bakker et al. (2017) [23] Netherlands | Prospective | 19/61 (31%) | Septic 65 (24–87) Aseptic 60 (23–90) | Quantum Blue® fCAL stool test kit [BÜHLMANN, Laboratories AG, Basel, Switzerland] | MSIS 2011 | 45/10/5/1 | > = 50 mg/L | 0.89 | 0.9 | 0.94 | 8.9 | 0.1 | 0.81 | 0.95 | 80.75 (13.47-484.21) | 991mg/L vs 11mg/L |
| Wouthuyzen-Bakker et al. (2018) [24] Netherlands | Prospective | 15/52 (29%) | N/A | Quantum Blue® fCAL stool test kit [BÜHLMANN, Laboratories AG, Basel, Switzerland] | MSIS 2011 | 32/17/3/0 | > = 50 mg/L | 0.867 | 0.917 | 0.94 | 10.9 | 0.14 | 0.813 | 0.944 | 73.66 (11.02-492.51) | 859 mg/L vs 7 mg/L |
| Trotter et al. (2020) [25] UK | Retrospective | 24/69 (35%) | 74.3 (45-89) | Lyfstone synovial test kit [Lyfstone AS, Oslo, Norway] | ICM 2018 | 52/17/0/0 | > = 14 mg/L | 0.75 | 0.7556 | 0.78 | 3.07 | 0.33 | 0.6207 | 0.85 | 9.27 (2.94-29.20) | N/A |
| Warren et al. (2021) [15] USA | Retrospective | 53/123 (43%) | Septic 66.9 ± 10.6 Aseptic 65.4 ± 10.6 | Lyfstone synovial test kit [Lyfstone AS, Oslo, Norway] | MSIS 2013 | 0/123/0/0 | > = 50 mg/L | 0.981 | 0.957 | 0.969 | 22.89 | 0.018 | 0.945 | 0.985 | 1161.33 (117.37-11491.26 | N/A |
| Grassi et al. (2022) [16] Italy | Prospective | 39/89 (44%) | 77 | CalFast-NeXT stool test kit [Eurospital, Trieste, Italy] | ICM 2018 | 0/89/0/0 | > = 50 mg/L | 0.974 | 0.94 | 0.957 | 16.239 | 0.027 | 0.927 | 0.979 | 595.33 (59.49-5957.30) | N/A |
| Warren et al. (2022) [26] USA | Prospective | 55/123 (45%)1 | Septic 68.8 ± 10.2 Aseptic 65.1 ± 10.6 | Lyfstone synovial test kit [Lyfstone AS, Oslo, Norway] | MSIS 2013 ICM 2018 Proposed EBJIS 2019 | 0/123/0/0 | > = 50 mg/L | 0.982 | 0.985 | 0.984 | 66.8 | 0.02 | 0.982 | 0.985 | 3588.00 (219.25-58716.75) | N/A |
| Lazic et al. (2022) [27] Germany | Prospective | 17/33 (51%) | 65.1 ± 13.9 | Lyfstone synovial test kit [Lyfstone AS, Oslo, Norway] | EBJIS 2021 | 21/12/0/0 | 70.5 mg/ dl | 0.88 | 0.88% | 0.89 | 7.06 | 0.13 | 0.8824 | 0.875 | 52.50 (6.4974–424.86) | N/A |
| Lazic et al. (2022) [28] Germany | Prospective | 14/30 (46%) | 72.3 ± 14.8 | Lyfstone synovial test kit [Lyfstone AS, Oslo, Norway] | EBJIS 2021 | 23/7/0/0 | 76 mg/dl | 0.77 | 0.81 | 0.77 | 3.81 | 0.35 | 0.77 | 0.76 | 10.83 (1.96-59.84) | N/A |
| Suren et al. (2023) [29] Germany | Prospective | 34/137 (25%) | Septic 70 ± 11 Aseptic 67 ± 13 | Lyfstone synovial test kit [Lyfstone AS, Oslo, Norway] | ICM 2018 | 53/84/0/0 | 85.5 mg/L | 0.92 | 0.95 | 0.94 | 23.48 | 0.09 | 0.8857 | 0.9706 | 255.75 (54.26-1205.41) | N/A |
| Bottagisio et al. (2023) [30] Italy | Prospective | 12/55 (22%) | Septic 70 ± 15 Aseptic 72 ± 10 | Quantum Blue® fCAL stool test kit [BÜHLMANN, Laboratories AG, Basel, Switzerland] | MSIS 2013 ICM 2018 | N/A | 529.5 µg/g | 0.80 | 0.944 | 0.852 | 11.7 | 0.179 | N/A | N/A | 40.00 (6.91-231.60) | 874 µg/g vs 30 µg/g |
| Lazic et al. (2023) [31] Germany | Prospective | 10/33 (30%) | 73.3 ± 11.4 | Lyfstone synovial test kit [Lyfstone AS, Oslo, Norway] | EBJIS 2021 | 15/18/0/0 | 70 mg/dl | 0.60 | 0.78 | 0.71 | 2.76 | 0.51 | 0.5455 | 0.8182 | 5.40 (1.08-26.93) | N/A |
| Alkadhem et al. (2024) [32] The Netherlands | Retrospective | 19/137 (14%)2 | 71 (42-92) | Quantum Blue® fCAL stool test kit [BÜHLMANN, Laboratories AG, Basel, Switzerland] | EBJIS 2021 | 62/75/0/0 | > = 50 mg/L | 1,00 | 0.79 | 0.96 | 4.7 | 0,00 | 0.43 | 1,00 | 143.10 (8.35- 2450.16) | N/A |
| Macheras et al. (2024) [33] Greece | Prospective | 26/48 (54.1%) | 65.8 (51-79) | Lyfstone synovial test kit [Lyfstone AS, Oslo, Norway] | EBJIS 2021 | 48/0/0/0 | > = 50 mg/L | 0.962 | 0.909 | 0.917 | 10.6 | 0.04 | 0.926 | 0.952 | 250.00 (21.12- 2959.81) | 119.9 mg/L vs 31.6 mg/L |
| Pooled |  | 337/990 (34%) |  |  |  |  |  | 0.88 (0.82-0.92) | 0.89 (0.83-0.93) | 0.94 (0.91-0.96) | 7.9 (5.2-12.0) | 0.14 (0.09-0.21) | 0.83 (0.76-0.88) | 0.93 (0.89-0.96) | 56.10 (28.40-110.80) |  |

1 Three system criteria were analyzed, but only the ICM 2018 that had the best performance was included in the analysis.

2 Calprotectin LFT was used in 88 out of 137 cases, while the remaining 49 were examined using a calprotectin ELISA kit. Nevertheless, the authors included both test results in their analysis.

Table 1 Characteristics of the studies included in the meta-analysis [LFT; Lateral Flow Test, DOR; Diagnostic Odds Ratio, PPV; Positive Predictive Value, NPV; Negative Predictive Value, LR+; Positive Likelihood Ratio, LR-; Negative Likelihood Ratio, AUC; Area Under the Curve, MSIS; Musculoskeletal Infection Society, ICM; International Consensus Meeting, EBJIS; European Bone and Joint Infection Society]

| Subgroup | Studies (n) | Sensitivity (95% CI) | Specificity (95% CI) | LR+ (95% CI) | LR- (95% CI) | AUC (95% CI) | DOR (95% CI) | I² (DOR) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| All studies | 13 | 0.88 (0.82–0.92) | 0.89 (0.83–0.93) | 7.9 (5.2–12.0) | 0.14 (0.09–0.21) | 0.94 (0.91–0.96) | 56.1 (28.4–110.8) | 74.1% |
| By LFT Kit |  |  |  |  |  |  |  |  |
| Quantum Blue® | 4 | 0.91 (0.82–0.96) | 0.88 (0.76–0.95) | 8.1 (4.3–15.4) | 0.10 (0.05–0.21) | 0.95 (0.91–0.98) | 73.3 (22.1–243.2) | 68.0% |
| Lyfstone | 8 | 0.86 (0.78–0.92) | 0.90 (0.84–0.94) | 7.8 (4.8–12.6) | 0.16 (0.10–0.25) | 0.93 (0.89–0.96) | 48.5 (22.4–105.1) | 75.0% |
| By Cutoff |  |  |  |  |  |  |  |  |
| ≥50 mg/L | 7 | 0.90 (0.84–0.94) | 0.91 (0.85–0.95) | 9.8 (6.1–15.8) | 0.11 (0.07–0.18) | 0.95 (0.92–0.97) | 68.9 (31.2–152.1) | 70.3% |
| Other cutoffs | 6 | 0.83 (0.72–0.90) | 0.85 (0.76–0.91) | 5.4 (3.3–8.8) | 0.20 (0.12–0.33) | 0.91 (0.86–0.94) | 32.4 (11.2–93.7) | 74.8% |

Table 2 Subgroup analysis of calprotectin for PJI diagnosis [DOR; Diagnostic Odds Ratio, LR+; Positive Likelihood Ratio, LR-; Negative Likelihood Ratio, AUC; Area Under the Curve, I2; I-squared statistic]