Table 2. Model parameters and fit obtained with different calibration materials (single-chemical solutions, mixtures, and fermentation broth samples) to predict glucose and citramalate concentrations. Although the majority of them present acceptable correlation coefficients, the best option after testing against an independent fermentation was a calibration model established using fermentation broth from a continuous fermentation.

| Model Type | Chemical | Wavenumber Range (cm-1) | Slope | Intercept | R2 Calibration | R2 Test |
| --- | --- | --- | --- | --- | --- | --- |
| Single-Chemical | Glucose | 932 – 1,032 | -0.00399 | -0.15458 | 0.86 | 0.77 |
|  |  | 992 – 1,092 | 0.004195 | -0.05507 |  |  |
|  | Citramalate | 1,364 – 1,432 | 0.003014 | -0.00292 | 0.96 | 0.92 |
|  |  | 1,548 – 1,584 | 0.001701 | -0.0283 |  |  |
| Mixtures | Glucose | 932 – 1,032 | -0.00344 | -0.16016 | 0.95 | 0.75 |
|  |  | 992 – 1,092 | 0.004525 | -0.06149 |  |  |
|  | Citramalate | 1,364 – 1,432 | 0.002423 | -0.00431 | 0.99 | 0.99 |
|  |  | 1,548 – 1,584 | 0.001365 | -0.02884 |  |  |
| Fermentation (Option 1) | Glucose | 932 – 1,032 | -0.00367 | -0.1617 | 0.86 | 0.91 |
|  |  | 992 – 1,092 | 0.00425 | -0.06683 |  |  |
|  | Citramalate | 1,364 – 1,432 | 0.003622 | -0.01043 | 0.28 | 0.86 |
|  |  | 1,548 – 1,584 | 0.001362 | -0.02657 |  |  |
| Fermentation (Option 2) | Glucose | 932 – 1,032 | -0.00477 | -0.16348 | 0.34 | 0.80 |
|  |  | 992 – 1,092 | 0.00559 | -0.05927 |  |  |
|  | CM | 1,364 – 1,432 | 0.001672 | -0.00552 | 0.61 | 0.80 |
|  |  | 1,548 – 1,584 | 0.001379 | -0.02828 |  |  |