# Neuroimaging acquisition details

Different MRI scanner systems were used at each hospital study site. Specific details of the acquisition parameters are as follows.

HCSC: 1.5T GE; TR: 10.148 ms; TE: 4.2 ms; FA: 20; 248 Sagittal Slices; Thickness: 0.6 mm; FOV: 250x250; Acquisition matrix: 256x256; Reconstruction Matrix: 256x256; Voxel size: 0.97x0.97x0.6 mm. HUG: 1.5T SIEMENS; TR: Minimum; TE: 4.2 ms; FA: Variable; 192 Sagittal Slices; Thickness: 0.98 mm; FoV: 250x250; Acquisition Matrix: 256x256; Reconstruction Matrix: 256x256; Voxel size: Variable (1x1x1 aprox). In HUGM: 1.5T PHILIPS; TR: 11 ms; TE: 4.89 ms; FA: 8; 176 Axial Slices; Thickness: 1 mm; FoV: 250x250; Acquisition Matrix: 256x254; Reconstruction Matrix: 704x704; Voxel size: 0.36x0.36x1 mm. H12O: 1.5T PHILIPS; TR: Minimum; TE: Min Full; FA: 8; Variable Sagittal Slices; Thickness: 0.6 mm; FoV: 250/240; Acquisition Matrix: Variable; Reconstruction Matrix: 240x240; Voxel size: Variable (0.6x1/1.04 mm). In HULP: 1.5T SIEMENS; TR: 2200 ms; TE: 2.8 ms; FA: 8; Variable Sagittal Slices; Thickness: 1 mm; FoV: 256; Acquisition Matrix: 256x256; Reconstruction Matrix: 256x256; Voxel Size: 1x1x1 mm