Bioaerosol Sensing for Respiratory Viruses using a Smartphone-based Multichannel Magnetoelastic Immunosensor

Authors:Luyuan Wang1, 2, Zhongyun Yuan1, 2*, Yunxuan Zhang1, Xiu Dong2, Kai Zhuo1, Lei Sun1, Wenlei Zhang1, 2, Hongpeng Zhang3, and Chun Zhao4

Affiliation of authors:

1 College of Integrated Circuits, Taiyuan University of Technology, Taiyuan, 030024, China

2 Key Lab of Advanced Transducers and Intelligent Control System of the Ministry of Education, Taiyuan University of Technology, Taiyuan, 030024, China

3 Department of Vascular Surgery, Chinese PLA General Hospital, 100853, Beijing, China

4 Department of Electrical and Computer Engineering Sungkyunkwan University Suwon, South Korea

1st author: Luyuan Wang1,2

*Corresponding author: Zhongyun Yuan1,2*

*Corresponding Address:

1College of Integrated Circuits, Taiyuan University of Technology, Taiyuan, 030024, China

2 Key Lab of Advanced Transducers and Intelligent Control System of the Ministry of Education, Taiyuan University of Technology, Taiyuan, 030024, China

Tel: +86-155-3632-8195;

- E-mail: yuanzhongyun@tyut.edu.cn

Postal Address: No. 209, University Street, Yuci District, Jinzhong City

Supporting Information

Supporting video file S1: A video of ME sensing detection device operation.

Fig. S1 A. Sampling platform for bioaerosols in simulated environment. B. Color reaction of kit detection for bioaerosol Sampling verification..

Table S1. One-way ANOVA results of SARS-CoV-2 frequency responses at different time points

|  |  | Sum of Squares | df | Mean Square | Mean Square | Sig. |
| --- | --- | --- | --- | --- | --- | --- |
| R10min | Between Groups | 260121.821 | 3 | 86707.274 | 66.760 | .000 |
|  | Within Groups | 31171.143 | 24 | 1298.798 |  |  |
|  | Total | 291292.964 | 27 |  |  |  |
| R20min | Between Groups | 610407.536 | 3 | 203469.179 | 85.918 | .000 |
|  | Within Groups | 56836.571 | 24 | 2368.190 |  |  |
|  | Total | 667244.107 | 27 |  |  |  |
| R30min | Between Groups | 936392.107 | 3 | 312130.702 | 98.322 | .000 |
|  | Within Groups | 76190.000 | 24 | 3174.583 |  |  |
|  | Total | 1012582.107 | 27 |  |  |  |
| R40min | Between Groups | 1115987.000 | 3 | 371995.667 | 121.532 | .000 |
|  | Within Groups | 73461.429 | 24 | 3060.893 |  |  |
|  | Total | 1189448.429 | 27 |  |  |  |
| R50min | Between Groups | 1340355.821 | 3 | 446785.274 | 252.141 | .000 |
|  | Within Groups | 42527.143 | 24 | 1771.964 |  |  |
|  | Total | 1382882.964 | 27 |  |  |  |

Table S2. LSD multiple comparisons between SARS-CoV-2 concentration groups at different time points

| LSD |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dependent Variable | (I) concentration | (J) concentration | Mean Difference (I-J) | Std. Error | Sig. | 95% Confidence Interval |  |
|  |  |  |  |  |  | Lower Bound | Upper Bound |
| R10min | 5 | 10 | 127.00000* | 19.26357 | .000 | 87.2420 | 166.7580 |
|  |  | 15 | 230.42857* | 19.26357 | .000 | 190.6705 | 270.1866 |
|  |  | 20 | 237.57143* | 19.26357 | .000 | 197.8134 | 277.3295 |
|  | 10 | 5 | -127.00000* | 19.26357 | .000 | -166.7580 | -87.2420 |
|  |  | 15 | 103.42857* | 19.26357 | .000 | 63.6705 | 143.1866 |
|  |  | 20 | 110.57143* | 19.26357 | .000 | 70.8134 | 150.3295 |
|  | 15 | 5 | -230.42857* | 19.26357 | .000 | -270.1866 | -190.6705 |
|  |  | 10 | -103.42857* | 19.26357 | .000 | -143.1866 | -63.6705 |
|  |  | 20 | 7.14286 | 19.26357 | .714 | -32.6152 | 46.9009 |
|  | 20 | 5 | -237.57143* | 19.26357 | .000 | -277.3295 | -197.8134 |
|  |  | 10 | -110.57143* | 19.26357 | .000 | -150.3295 | -70.8134 |
|  |  | 15 | -7.14286 | 19.26357 | .714 | -46.9009 | 32.6152 |
| R20min | 5 | 10 | 138.14286* | 26.01203 | .000 | 84.4567 | 191.8291 |
|  |  | 15 | 257.14286* | 26.01203 | .000 | 203.4567 | 310.8291 |
|  |  | 20 | 400.28571* | 26.01203 | .000 | 346.5995 | 453.9719 |
|  | 10 | 5 | -138.14286* | 26.01203 | .000 | -191.8291 | -84.4567 |
|  |  | 15 | 119.00000* | 26.01203 | .000 | 65.3138 | 172.6862 |
|  |  | 20 | 262.14286* | 26.01203 | .000 | 208.4567 | 315.8291 |
|  | 15 | 5 | -257.14286* | 26.01203 | .000 | -310.8291 | -203.4567 |
|  |  | 10 | -119.00000* | 26.01203 | .000 | -172.6862 | -65.3138 |
|  |  | 20 | 143.14286* | 26.01203 | .000 | 89.4567 | 196.8291 |
|  | 20 | 5 | -400.28571* | 26.01203 | .000 | -453.9719 | -346.5995 |
|  |  | 10 | -262.14286* | 26.01203 | .000 | -315.8291 | -208.4567 |
|  |  | 15 | -143.14286* | 26.01203 | .000 | -196.8291 | -89.4567 |
| R30min | 5 | 10 | 161.00000* | 30.11684 | .000 | 98.8419 | 223.1581 |
|  |  | 15 | 267.14286* | 30.11684 | .000 | 204.9848 | 329.3010 |
|  |  | 20 | 503.42857* | 30.11684 | .000 | 441.2705 | 565.5867 |
|  | 10 | 5 | -161.00000* | 30.11684 | .000 | -223.1581 | -98.8419 |
|  |  | 15 | 106.14286* | 30.11684 | .002 | 43.9848 | 168.3010 |
|  |  | 20 | 342.42857* | 30.11684 | .000 | 280.2705 | 404.5867 |
|  | 15 | 5 | -267.14286* | 30.11684 | .000 | -329.3010 | -204.9848 |
|  |  | 10 | -106.14286* | 30.11684 | .002 | -168.3010 | -43.9848 |
|  |  | 20 | 236.28571* | 30.11684 | .000 | 174.1276 | 298.4438 |
|  | 20 | 5 | -503.42857* | 30.11684 | .000 | -565.5867 | -441.2705 |
|  |  | 10 | -342.42857* | 30.11684 | .000 | -404.5867 | -280.2705 |
|  |  | 15 | -236.28571* | 30.11684 | .000 | -298.4438 | -174.1276 |
| R40min | 5 | 10 | 171.14286* | 29.57264 | .000 | 110.1079 | 232.1778 |
|  |  | 15 | 320.71429* | 29.57264 | .000 | 259.6794 | 381.7492 |
|  |  | 20 | 543.28571* | 29.57264 | .000 | 482.2508 | 604.3206 |
|  | 10 | 5 | -171.14286* | 29.57264 | .000 | -232.1778 | -110.1079 |
|  |  | 15 | 149.57143* | 29.57264 | .000 | 88.5365 | 210.6064 |
|  |  | 20 | 372.14286* | 29.57264 | .000 | 311.1079 | 433.1778 |
|  | 15 | 5 | -320.71429* | 29.57264 | .000 | -381.7492 | -259.6794 |
|  |  | 10 | -149.57143* | 29.57264 | .000 | -210.6064 | -88.5365 |
|  |  | 20 | 222.57143* | 29.57264 | .000 | 161.5365 | 283.6064 |
|  | 20 | 5 | -543.28571* | 29.57264 | .000 | -604.3206 | -482.2508 |
|  |  | 10 | -372.14286* | 29.57264 | .000 | -433.1778 | -311.1079 |
|  |  | 15 | -222.57143* | 29.57264 | .000 | -283.6064 | -161.5365 |
| R50min | 5 | 10 | 190.71429* | 22.50057 | .000 | 144.2754 | 237.1532 |
|  |  | 15 | 384.28571* | 22.50057 | .000 | 337.8468 | 430.7246 |
|  |  | 20 | 587.71429* | 22.50057 | .000 | 541.2754 | 634.1532 |
|  | 10 | 5 | -190.71429* | 22.50057 | .000 | -237.1532 | -144.2754 |
|  |  | 15 | 193.57143* | 22.50057 | .000 | 147.1325 | 240.0103 |
|  |  | 20 | 397.00000* | 22.50057 | .000 | 350.5611 | 443.4389 |
|  | 15 | 5 | -384.28571* | 22.50057 | .000 | -430.7246 | -337.8468 |
|  |  | 10 | -193.57143* | 22.50057 | .000 | -240.0103 | -147.1325 |
|  |  | 20 | 203.42857* | 22.50057 | .000 | 156.9897 | 249.8675 |
|  | 20 | 5 | -587.71429* | 22.50057 | .000 | -634.1532 | -541.2754 |
|  |  | 10 | -397.00000* | 22.50057 | .000 | -443.4389 | -350.5611 |
|  |  | 15 | -203.42857* | 22.50057 | .000 | -249.8675 | -156.9897 |

*. The mean difference is significant at the 0.05 level.

Table S3. One-way ANOVA results of frequency responses for different analytes in the SARS-CoV-2 specificity comparison experiment

|  |  | Sum of Squares | df | Mean Square | F | Sig. |
| --- | --- | --- | --- | --- | --- | --- |
| R10min | Between Groups | 326436.632 | 4 | 81609.158 | 71.354 | .000 |
|  | Within Groups | 16012.000 | 14 | 1143.714 |  |  |
|  | Total | 342448.632 | 18 |  |  |  |
| R20min | Between Groups | 671016.431 | 4 | 167754.108 | 232.943 | .000 |
|  | Within Groups | 10082.095 | 14 | 720.150 |  |  |
|  | Total | 681098.526 | 18 |  |  |  |
| R30min | Between Groups | 1061403.439 | 4 | 265350.860 | 168.502 | .000 |
|  | Within Groups | 22046.667 | 14 | 1574.762 |  |  |
|  | Total | 1083450.105 | 18 |  |  |  |
| R40min | Between Groups | 1542155.373 | 4 | 385538.843 | 301.151 | .000 |
|  | Within Groups | 17923.048 | 14 | 1280.218 |  |  |
|  | Total | 1560078.421 | 18 |  |  |  |
| R50min | Between Groups | 1967533.028 | 4 | 491883.257 | 542.714 | .000 |
|  | Within Groups | 12688.762 | 14 | 906.340 |  |  |
|  | Total | 1980221.789 | 18 |  |  |  |

Table S4. LSD multiple comparisons of frequency responses among analytes in the SARS-CoV-2 specificity comparison experiment

| LSD |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dependent Variable | (I) group | (J) group | Mean Difference (I-J) | Std. Error | Sig. | 95% Confidence Interval |  |
|  |  |  |  |  |  | Lower Bound | Upper Bound |
| R10min | 1 | 2 | 10.66667 | 27.61297 | .705 | -48.5573 | 69.8906 |
|  |  | 3 | 15.00000 | 27.61297 | .596 | -44.2239 | 74.2239 |
|  |  | 4 | -4.66667 | 27.61297 | .868 | -63.8906 | 54.5573 |
|  |  | 5 | 276.66667* | 23.33722 | .000 | 226.6133 | 326.7200 |
|  | 2 | 1 | -10.66667 | 27.61297 | .705 | -69.8906 | 48.5573 |
|  |  | 3 | 4.33333 | 27.61297 | .878 | -54.8906 | 63.5573 |
|  |  | 4 | -15.33333 | 27.61297 | .587 | -74.5573 | 43.8906 |
|  |  | 5 | 266.00000* | 23.33722 | .000 | 215.9466 | 316.0534 |
|  | 3 | 1 | -15.00000 | 27.61297 | .596 | -74.2239 | 44.2239 |
|  |  | 2 | -4.33333 | 27.61297 | .878 | -63.5573 | 54.8906 |
|  |  | 4 | -19.66667 | 27.61297 | .488 | -78.8906 | 39.5573 |
|  |  | 5 | 261.66667* | 23.33722 | .000 | 211.6133 | 311.7200 |
|  | 4 | 1 | 4.66667 | 27.61297 | .868 | -54.5573 | 63.8906 |
|  |  | 2 | 15.33333 | 27.61297 | .587 | -43.8906 | 74.5573 |
|  |  | 3 | 19.66667 | 27.61297 | .488 | -39.5573 | 78.8906 |
|  |  | 5 | 281.33333* | 23.33722 | .000 | 231.2800 | 331.3867 |
|  | 5 | 1 | -276.66667* | 23.33722 | .000 | -326.7200 | -226.6133 |
|  |  | 2 | -266.00000* | 23.33722 | .000 | -316.0534 | -215.9466 |
|  |  | 3 | -261.66667* | 23.33722 | .000 | -311.7200 | -211.6133 |
|  |  | 4 | -281.33333* | 23.33722 | .000 | -331.3867 | -231.2800 |
| R20min | 1 | 2 | 10.66667 | 21.91118 | .634 | -36.3281 | 57.6615 |
|  |  | 3 | 13.66667 | 21.91118 | .543 | -33.3281 | 60.6615 |
|  |  | 4 | -9.33333 | 21.91118 | .677 | -56.3281 | 37.6615 |
|  |  | 5 | 393.04762* | 18.51833 | .000 | 353.3298 | 432.7655 |
|  | 2 | 1 | -10.66667 | 21.91118 | .634 | -57.6615 | 36.3281 |
|  |  | 3 | 3.00000 | 21.91118 | .893 | -43.9948 | 49.9948 |
|  |  | 4 | -20.00000 | 21.91118 | .377 | -66.9948 | 26.9948 |
|  |  | 5 | 382.38095* | 18.51833 | .000 | 342.6631 | 422.0988 |
|  | 3 | 1 | -13.66667 | 21.91118 | .543 | -60.6615 | 33.3281 |
|  |  | 2 | -3.00000 | 21.91118 | .893 | -49.9948 | 43.9948 |
|  |  | 4 | -23.00000 | 21.91118 | .312 | -69.9948 | 23.9948 |
|  |  | 5 | 379.38095* | 18.51833 | .000 | 339.6631 | 419.0988 |
|  | 4 | 1 | 9.33333 | 21.91118 | .677 | -37.6615 | 56.3281 |
|  |  | 2 | 20.00000 | 21.91118 | .377 | -26.9948 | 66.9948 |
|  |  | 3 | 23.00000 | 21.91118 | .312 | -23.9948 | 69.9948 |
|  |  | 5 | 402.38095* | 18.51833 | .000 | 362.6631 | 442.0988 |
|  | 5 | 1 | -393.04762* | 18.51833 | .000 | -432.7655 | -353.3298 |
|  |  | 2 | -382.38095* | 18.51833 | .000 | -422.0988 | -342.6631 |
|  |  | 3 | -379.38095* | 18.51833 | .000 | -419.0988 | -339.6631 |
|  |  | 4 | -402.38095* | 18.51833 | .000 | -442.0988 | -362.6631 |
| R30min | 1 | 2 | 40.33333 | 32.40125 | .234 | -29.1604 | 109.8271 |
|  |  | 3 | 37.33333 | 32.40125 | .269 | -32.1604 | 106.8271 |
|  |  | 4 | -6.00000 | 32.40125 | .856 | -75.4938 | 63.4938 |
|  |  | 5 | 506.66667* | 27.38406 | .000 | 447.9337 | 565.3996 |
|  | 2 | 1 | -40.33333 | 32.40125 | .234 | -109.8271 | 29.1604 |
|  |  | 3 | -3.00000 | 32.40125 | .928 | -72.4938 | 66.4938 |
|  |  | 4 | -46.33333 | 32.40125 | .175 | -115.8271 | 23.1604 |
|  |  | 5 | 466.33333* | 27.38406 | .000 | 407.6004 | 525.0663 |
|  | 3 | 1 | -37.33333 | 32.40125 | .269 | -106.8271 | 32.1604 |
|  |  | 2 | 3.00000 | 32.40125 | .928 | -66.4938 | 72.4938 |
|  |  | 4 | -43.33333 | 32.40125 | .202 | -112.8271 | 26.1604 |
|  |  | 5 | 469.33333* | 27.38406 | .000 | 410.6004 | 528.0663 |
|  | 4 | 1 | 6.00000 | 32.40125 | .856 | -63.4938 | 75.4938 |
|  |  | 2 | 46.33333 | 32.40125 | .175 | -23.1604 | 115.8271 |
|  |  | 3 | 43.33333 | 32.40125 | .202 | -26.1604 | 112.8271 |
|  |  | 5 | 512.66667* | 27.38406 | .000 | 453.9337 | 571.3996 |
|  | 5 | 1 | -506.66667* | 27.38406 | .000 | -565.3996 | -447.9337 |
|  |  | 2 | -466.33333* | 27.38406 | .000 | -525.0663 | -407.6004 |
|  |  | 3 | -469.33333* | 27.38406 | .000 | -528.0663 | -410.6004 |
|  |  | 4 | -512.66667* | 27.38406 | .000 | -571.3996 | -453.9337 |
| R40min | 1 | 2 | 48.66667 | 29.21435 | .118 | -13.9919 | 111.3252 |
|  |  | 3 | 51.00000 | 29.21435 | .103 | -11.6586 | 113.6586 |
|  |  | 4 | 5.33333 | 29.21435 | .858 | -57.3252 | 67.9919 |
|  |  | 5 | 615.57143* | 24.69064 | .000 | 562.6153 | 668.5276 |
|  | 2 | 1 | -48.66667 | 29.21435 | .118 | -111.3252 | 13.9919 |
|  |  | 3 | 2.33333 | 29.21435 | .937 | -60.3252 | 64.9919 |
|  |  | 4 | -43.33333 | 29.21435 | .160 | -105.9919 | 19.3252 |
|  |  | 5 | 566.90476* | 24.69064 | .000 | 513.9486 | 619.8609 |
|  | 3 | 1 | -51.00000 | 29.21435 | .103 | -113.6586 | 11.6586 |
|  |  | 2 | -2.33333 | 29.21435 | .937 | -64.9919 | 60.3252 |
|  |  | 4 | -45.66667 | 29.21435 | .140 | -108.3252 | 16.9919 |
|  |  | 5 | 564.57143* | 24.69064 | .000 | 511.6153 | 617.5276 |
|  | 4 | 1 | -5.33333 | 29.21435 | .858 | -67.9919 | 57.3252 |
|  |  | 2 | 43.33333 | 29.21435 | .160 | -19.3252 | 105.9919 |
|  |  | 3 | 45.66667 | 29.21435 | .140 | -16.9919 | 108.3252 |
|  |  | 5 | 610.23810* | 24.69064 | .000 | 557.2819 | 663.1942 |
|  | 5 | 1 | -615.57143* | 24.69064 | .000 | -668.5276 | -562.6153 |
|  |  | 2 | -566.90476* | 24.69064 | .000 | -619.8609 | -513.9486 |
|  |  | 3 | -564.57143* | 24.69064 | .000 | -617.5276 | -511.6153 |
|  |  | 4 | -610.23810* | 24.69064 | .000 | -663.1942 | -557.2819 |
| R50min | 1 | 2 | 56.33333* | 24.58102 | .038 | 3.6123 | 109.0544 |
|  |  | 3 | 51.00000 | 24.58102 | .057 | -1.7211 | 103.7211 |
|  |  | 4 | -.66667 | 24.58102 | .979 | -53.3877 | 52.0544 |
|  |  | 5 | 692.28571* | 20.77476 | .000 | 647.7283 | 736.8431 |
|  | 2 | 1 | -56.33333* | 24.58102 | .038 | -109.0544 | -3.6123 |
|  |  | 3 | -5.33333 | 24.58102 | .831 | -58.0544 | 47.3877 |
|  |  | 4 | -57.00000* | 24.58102 | .036 | -109.7211 | -4.2789 |
|  |  | 5 | 635.95238* | 20.77476 | .000 | 591.3950 | 680.5098 |
|  | 3 | 1 | -51.00000 | 24.58102 | .057 | -103.7211 | 1.7211 |
|  |  | 2 | 5.33333 | 24.58102 | .831 | -47.3877 | 58.0544 |
|  |  | 4 | -51.66667 | 24.58102 | .054 | -104.3877 | 1.0544 |
|  |  | 5 | 641.28571* | 20.77476 | .000 | 596.7283 | 685.8431 |
|  | 4 | 1 | .66667 | 24.58102 | .979 | -52.0544 | 53.3877 |
|  |  | 2 | 57.00000* | 24.58102 | .036 | 4.2789 | 109.7211 |
|  |  | 3 | 51.66667 | 24.58102 | .054 | -1.0544 | 104.3877 |
|  |  | 5 | 692.95238* | 20.77476 | .000 | 648.3950 | 737.5098 |
|  | 5 | 1 | -692.28571* | 20.77476 | .000 | -736.8431 | -647.7283 |
|  |  | 2 | -635.95238* | 20.77476 | .000 | -680.5098 | -591.3950 |
|  |  | 3 | -641.28571* | 20.77476 | .000 | -685.8431 | -596.7283 |
|  |  | 4 | -692.95238* | 20.77476 | .000 | -737.5098 | -648.3950 |

*. The mean difference is significant at the 0.05 level. Group 1 PBS Group 2 RSV Group 3 CSFV Group 4 H1N1 Group 5 SARS-CoV-2

Table S5. One-way ANOVA results of RSV frequency responses at different time points

|  |  | Sum of Squares | df | Mean Square | F | Sig. |
| --- | --- | --- | --- | --- | --- | --- |
| R5min | Between Groups | 72986.429 | 3 | 24328.810 | 51.180 | .000 |
|  | Within Groups | 11408.571 | 24 | 475.357 |  |  |
|  | Total | 84395.000 | 27 |  |  |  |
| R10min | Between Groups | 297262.429 | 3 | 99087.476 | 63.312 | .000 |
|  | Within Groups | 37561.429 | 24 | 1565.060 |  |  |
|  | Total | 334823.857 | 27 |  |  |  |
| R15min | Between Groups | 532214.143 | 3 | 177404.714 | 63.510 | .000 |
|  | Within Groups | 67040.286 | 24 | 2793.345 |  |  |
|  | Total | 599254.429 | 27 |  |  |  |
| R20min | Between Groups | 816827.714 | 3 | 272275.905 | 136.836 | .000 |
|  | Within Groups | 47755.143 | 24 | 1989.798 |  |  |
|  | Total | 864582.857 | 27 |  |  |  |
| R25min | Between Groups | 976128.964 | 3 | 325376.321 | 169.935 | .000 |
|  | Within Groups | 45953.143 | 24 | 1914.714 |  |  |
|  | Total | 1022082.107 | 27 |  |  |  |
| R30min | Between Groups | 1069128.964 | 3 | 356376.321 | 341.415 | .000 |
|  | Within Groups | 25051.714 | 24 | 1043.821 |  |  |
|  | Total | 1094180.679 | 27 |  |  |  |
| R35min | Between Groups | 1190470.571 | 3 | 396823.524 | 723.313 | .000 |
|  | Within Groups | 13166.857 | 24 | 548.619 |  |  |
|  | Total | 1203637.429 | 27 |  |  |  |

Table S6. LSD multiple comparisons between RSV concentration groups at different time points

| LSD |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dependent Variable | (I) concentration | (J) concentration | Mean Difference (I-J) | Std. Error | Sig. | 95% Confidence Interval |  |
|  |  |  |  |  |  | Lower Bound | Upper Bound |
| R5min | 5 | 10 | 48.14286* | 11.65403 | .000 | 24.0901 | 72.1956 |
|  |  | 15 | 91.57143* | 11.65403 | .000 | 67.5187 | 115.6242 |
|  |  | 20 | 137.71429* | 11.65403 | .000 | 113.6616 | 161.7670 |
|  | 10 | 5 | -48.14286* | 11.65403 | .000 | -72.1956 | -24.0901 |
|  |  | 15 | 43.42857* | 11.65403 | .001 | 19.3758 | 67.4813 |
|  |  | 20 | 89.57143* | 11.65403 | .000 | 65.5187 | 113.6242 |
|  | 15 | 5 | -91.57143* | 11.65403 | .000 | -115.6242 | -67.5187 |
|  |  | 10 | -43.42857* | 11.65403 | .001 | -67.4813 | -19.3758 |
|  |  | 20 | 46.14286* | 11.65403 | .001 | 22.0901 | 70.1956 |
|  | 20 | 5 | -137.71429* | 11.65403 | .000 | -161.7670 | -113.6616 |
|  |  | 10 | -89.57143* | 11.65403 | .000 | -113.6242 | -65.5187 |
|  |  | 15 | -46.14286* | 11.65403 | .001 | -70.1956 | -22.0901 |
| R10min | 5 | 10 | 92.71429* | 21.14615 | .000 | 49.0708 | 136.3578 |
|  |  | 15 | 131.14286* | 21.14615 | .000 | 87.4993 | 174.7864 |
|  |  | 20 | 285.57143* | 21.14615 | .000 | 241.9279 | 329.2149 |
|  | 10 | 5 | -92.71429* | 21.14615 | .000 | -136.3578 | -49.0708 |
|  |  | 15 | 38.42857 | 21.14615 | .082 | -5.2149 | 82.0721 |
|  |  | 20 | 192.85714* | 21.14615 | .000 | 149.2136 | 236.5007 |
|  | 15 | 5 | -131.14286* | 21.14615 | .000 | -174.7864 | -87.4993 |
|  |  | 10 | -38.42857 | 21.14615 | .082 | -82.0721 | 5.2149 |
|  |  | 20 | 154.42857* | 21.14615 | .000 | 110.7851 | 198.0721 |
|  | 20 | 5 | -285.57143* | 21.14615 | .000 | -329.2149 | -241.9279 |
|  |  | 10 | -192.85714* | 21.14615 | .000 | -236.5007 | -149.2136 |
|  |  | 15 | -154.42857* | 21.14615 | .000 | -198.0721 | -110.7851 |
| R15min | 5 | 10 | 105.42857* | 28.25064 | .001 | 47.1221 | 163.7350 |
|  |  | 15 | 169.71429* | 28.25064 | .000 | 111.4078 | 228.0207 |
|  |  | 20 | 377.71429* | 28.25064 | .000 | 319.4078 | 436.0207 |
|  | 10 | 5 | -105.42857* | 28.25064 | .001 | -163.7350 | -47.1221 |
|  |  | 15 | 64.28571* | 28.25064 | .032 | 5.9793 | 122.5922 |
|  |  | 20 | 272.28571* | 28.25064 | .000 | 213.9793 | 330.5922 |
|  | 15 | 5 | -169.71429* | 28.25064 | .000 | -228.0207 | -111.4078 |
|  |  | 10 | -64.28571* | 28.25064 | .032 | -122.5922 | -5.9793 |
|  |  | 20 | 208.00000* | 28.25064 | .000 | 149.6935 | 266.3065 |
|  | 20 | 5 | -377.71429* | 28.25064 | .000 | -436.0207 | -319.4078 |
|  |  | 10 | -272.28571* | 28.25064 | .000 | -330.5922 | -213.9793 |
|  |  | 15 | -208.00000* | 28.25064 | .000 | -266.3065 | -149.6935 |
| R20min | 5 | 10 | 101.57143* | 23.84352 | .000 | 52.3608 | 150.7820 |
|  |  | 15 | 222.71429* | 23.84352 | .000 | 173.5037 | 271.9249 |
|  |  | 20 | 458.00000* | 23.84352 | .000 | 408.7894 | 507.2106 |
|  | 10 | 5 | -101.57143* | 23.84352 | .000 | -150.7820 | -52.3608 |
|  |  | 15 | 121.14286* | 23.84352 | .000 | 71.9322 | 170.3535 |
|  |  | 20 | 356.42857* | 23.84352 | .000 | 307.2180 | 405.6392 |
|  | 15 | 5 | -222.71429* | 23.84352 | .000 | -271.9249 | -173.5037 |
|  |  | 10 | -121.14286* | 23.84352 | .000 | -170.3535 | -71.9322 |
|  |  | 20 | 235.28571* | 23.84352 | .000 | 186.0751 | 284.4963 |
|  | 20 | 5 | -458.00000* | 23.84352 | .000 | -507.2106 | -408.7894 |
|  |  | 10 | -356.42857* | 23.84352 | .000 | -405.6392 | -307.2180 |
|  |  | 15 | -235.28571* | 23.84352 | .000 | -284.4963 | -186.0751 |
| R25min | 5 | 10 | 113.71429* | 23.38934 | .000 | 65.4411 | 161.9875 |
|  |  | 15 | 284.57143* | 23.38934 | .000 | 236.2982 | 332.8447 |
|  |  | 20 | 495.00000* | 23.38934 | .000 | 446.7268 | 543.2732 |
|  | 10 | 5 | -113.71429* | 23.38934 | .000 | -161.9875 | -65.4411 |
|  |  | 15 | 170.85714* | 23.38934 | .000 | 122.5839 | 219.1304 |
|  |  | 20 | 381.28571* | 23.38934 | .000 | 333.0125 | 429.5589 |
|  | 15 | 5 | -284.57143* | 23.38934 | .000 | -332.8447 | -236.2982 |
|  |  | 10 | -170.85714* | 23.38934 | .000 | -219.1304 | -122.5839 |
|  |  | 20 | 210.42857* | 23.38934 | .000 | 162.1553 | 258.7018 |
|  | 20 | 5 | -495.00000* | 23.38934 | .000 | -543.2732 | -446.7268 |
|  |  | 10 | -381.28571* | 23.38934 | .000 | -429.5589 | -333.0125 |
|  |  | 15 | -210.42857* | 23.38934 | .000 | -258.7018 | -162.1553 |
| R30min | 5 | 10 | 134.14286* | 17.26947 | .000 | 98.5004 | 169.7853 |
|  |  | 15 | 325.71429* | 17.26947 | .000 | 290.0718 | 361.3567 |
|  |  | 20 | 516.85714* | 17.26947 | .000 | 481.2147 | 552.4996 |
|  | 10 | 5 | -134.14286* | 17.26947 | .000 | -169.7853 | -98.5004 |
|  |  | 15 | 191.57143* | 17.26947 | .000 | 155.9290 | 227.2139 |
|  |  | 20 | 382.71429* | 17.26947 | .000 | 347.0718 | 418.3567 |
|  | 15 | 5 | -325.71429* | 17.26947 | .000 | -361.3567 | -290.0718 |
|  |  | 10 | -191.57143* | 17.26947 | .000 | -227.2139 | -155.9290 |
|  |  | 20 | 191.14286* | 17.26947 | .000 | 155.5004 | 226.7853 |
|  | 20 | 5 | -516.85714* | 17.26947 | .000 | -552.4996 | -481.2147 |
|  |  | 10 | -382.71429* | 17.26947 | .000 | -418.3567 | -347.0718 |
|  |  | 15 | -191.14286* | 17.26947 | .000 | -226.7853 | -155.5004 |
| R35min | 5 | 10 | 171.57143* | 12.51992 | .000 | 145.7316 | 197.4113 |
|  |  | 15 | 361.00000* | 12.51992 | .000 | 335.1602 | 386.8398 |
|  |  | 20 | 551.42857* | 12.51992 | .000 | 525.5887 | 577.2684 |
|  | 10 | 5 | -171.57143* | 12.51992 | .000 | -197.4113 | -145.7316 |
|  |  | 15 | 189.42857* | 12.51992 | .000 | 163.5887 | 215.2684 |
|  |  | 20 | 379.85714* | 12.51992 | .000 | 354.0173 | 405.6970 |
|  | 15 | 5 | -361.00000* | 12.51992 | .000 | -386.8398 | -335.1602 |
|  |  | 10 | -189.42857* | 12.51992 | .000 | -215.2684 | -163.5887 |
|  |  | 20 | 190.42857* | 12.51992 | .000 | 164.5887 | 216.2684 |
|  | 20 | 5 | -551.42857* | 12.51992 | .000 | -577.2684 | -525.5887 |
|  |  | 10 | -379.85714* | 12.51992 | .000 | -405.6970 | -354.0173 |
|  |  | 15 | -190.42857* | 12.51992 | .000 | -216.2684 | -164.5887 |

*. The mean difference is significant at the 0.05 level.

Table S7. One-way ANOVA results of frequency responses for different analytes in the RSV specificity comparison experiment

|  |  | Sum of Squares | df | Mean Square | F | Sig. |
| --- | --- | --- | --- | --- | --- | --- |
| R5min | Between Groups | 55954.827 | 4 | 13988.707 | 30.847 | .000 |
|  | Within Groups | 6348.857 | 14 | 453.490 |  |  |
|  | Total | 62303.684 | 18 |  |  |  |
| R10min | Between Groups | 122125.298 | 4 | 30531.325 | 53.023 | .000 |
|  | Within Groups | 8061.333 | 14 | 575.810 |  |  |
|  | Total | 130186.632 | 18 |  |  |  |
| R15min | Between Groups | 285140.396 | 4 | 71285.099 | 198.852 | .000 |
|  | Within Groups | 5018.762 | 14 | 358.483 |  |  |
|  | Total | 290159.158 | 18 |  |  |  |
| R20min | Between Groups | 329339.614 | 4 | 82334.904 | 171.090 | .000 |
|  | Within Groups | 6737.333 | 14 | 481.238 |  |  |
|  | Total | 336076.947 | 18 |  |  |  |
| R25min | Between Groups | 432022.917 | 4 | 108005.729 | 355.807 | .000 |
|  | Within Groups | 4249.714 | 14 | 303.551 |  |  |
|  | Total | 436272.632 | 18 |  |  |  |
| R30min | Between Groups | 609237.023 | 4 | 152309.256 | 465.400 | .000 |
|  | Within Groups | 4581.714 | 14 | 327.265 |  |  |
|  | Total | 613818.737 | 18 |  |  |  |
| R35min | Between Groups | 776896.286 | 4 | 194224.071 | 602.150 | .000 |
|  | Within Groups | 4515.714 | 14 | 322.551 |  |  |
|  | Total | 781412.000 | 18 |  |  |  |

Table S8. LSD multiple comparisons of frequency responses among analytes in the RSV specificity comparison experiment

| LSD |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dependent Variable | (I) group | (J) group | Mean Difference (I-J) | Std. Error | Sig. | 95% Confidence Interval |  |
|  |  |  |  |  |  | Lower Bound | Upper Bound |
| R5min | 1 | 2 | -11.66667 | 17.38754 | .513 | -48.9592 | 25.6259 |
|  |  | 3 | -1.66667 | 17.38754 | .925 | -38.9592 | 35.6259 |
|  |  | 4 | -8.33333 | 17.38754 | .639 | -45.6259 | 28.9592 |
|  |  | 5 | 106.80952* | 14.69515 | .000 | 75.2916 | 138.3275 |
|  | 2 | 1 | 11.66667 | 17.38754 | .513 | -25.6259 | 48.9592 |
|  |  | 3 | 10.00000 | 17.38754 | .574 | -27.2926 | 47.2926 |
|  |  | 4 | 3.33333 | 17.38754 | .851 | -33.9592 | 40.6259 |
|  |  | 5 | 118.47619* | 14.69515 | .000 | 86.9582 | 149.9942 |
|  | 3 | 1 | 1.66667 | 17.38754 | .925 | -35.6259 | 38.9592 |
|  |  | 2 | -10.00000 | 17.38754 | .574 | -47.2926 | 27.2926 |
|  |  | 4 | -6.66667 | 17.38754 | .707 | -43.9592 | 30.6259 |
|  |  | 5 | 108.47619* | 14.69515 | .000 | 76.9582 | 139.9942 |
|  | 4 | 1 | 8.33333 | 17.38754 | .639 | -28.9592 | 45.6259 |
|  |  | 2 | -3.33333 | 17.38754 | .851 | -40.6259 | 33.9592 |
|  |  | 3 | 6.66667 | 17.38754 | .707 | -30.6259 | 43.9592 |
|  |  | 5 | 115.14286* | 14.69515 | .000 | 83.6249 | 146.6608 |
|  | 5 | 1 | -106.80952* | 14.69515 | .000 | -138.3275 | -75.2916 |
|  |  | 2 | -118.47619* | 14.69515 | .000 | -149.9942 | -86.9582 |
|  |  | 3 | -108.47619* | 14.69515 | .000 | -139.9942 | -76.9582 |
|  |  | 4 | -115.14286* | 14.69515 | .000 | -146.6608 | -83.6249 |
| R10min | 1 | 2 | -28.66667 | 19.59268 | .166 | -70.6888 | 13.3554 |
|  |  | 3 | -11.66667 | 19.59268 | .561 | -53.6888 | 30.3554 |
|  |  | 4 | -17.00000 | 19.59268 | .400 | -59.0221 | 25.0221 |
|  |  | 5 | 151.00000* | 16.55883 | .000 | 115.4848 | 186.5152 |
|  | 2 | 1 | 28.66667 | 19.59268 | .166 | -13.3554 | 70.6888 |
|  |  | 3 | 17.00000 | 19.59268 | .400 | -25.0221 | 59.0221 |
|  |  | 4 | 11.66667 | 19.59268 | .561 | -30.3554 | 53.6888 |
|  |  | 5 | 179.66667* | 16.55883 | .000 | 144.1515 | 215.1818 |
|  | 3 | 1 | 11.66667 | 19.59268 | .561 | -30.3554 | 53.6888 |
|  |  | 2 | -17.00000 | 19.59268 | .400 | -59.0221 | 25.0221 |
|  |  | 4 | -5.33333 | 19.59268 | .789 | -47.3554 | 36.6888 |
|  |  | 5 | 162.66667* | 16.55883 | .000 | 127.1515 | 198.1818 |
|  | 4 | 1 | 17.00000 | 19.59268 | .400 | -25.0221 | 59.0221 |
|  |  | 2 | -11.66667 | 19.59268 | .561 | -53.6888 | 30.3554 |
|  |  | 3 | 5.33333 | 19.59268 | .789 | -36.6888 | 47.3554 |
|  |  | 5 | 168.00000* | 16.55883 | .000 | 132.4848 | 203.5152 |
|  | 5 | 1 | -151.00000* | 16.55883 | .000 | -186.5152 | -115.4848 |
|  |  | 2 | -179.66667* | 16.55883 | .000 | -215.1818 | -144.1515 |
|  |  | 3 | -162.66667* | 16.55883 | .000 | -198.1818 | -127.1515 |
|  |  | 4 | -168.00000* | 16.55883 | .000 | -203.5152 | -132.4848 |
| R15min | 1 | 2 | -26.33333 | 15.45926 | .111 | -59.4901 | 6.8235 |
|  |  | 3 | -7.33333 | 15.45926 | .643 | -40.4901 | 25.8235 |
|  |  | 4 | -15.00000 | 15.45926 | .348 | -48.1568 | 18.1568 |
|  |  | 5 | 241.28571* | 13.06546 | .000 | 213.2631 | 269.3083 |
|  | 2 | 1 | 26.33333 | 15.45926 | .111 | -6.8235 | 59.4901 |
|  |  | 3 | 19.00000 | 15.45926 | .239 | -14.1568 | 52.1568 |
|  |  | 4 | 11.33333 | 15.45926 | .476 | -21.8235 | 44.4901 |
|  |  | 5 | 267.61905* | 13.06546 | .000 | 239.5964 | 295.6417 |
|  | 3 | 1 | 7.33333 | 15.45926 | .643 | -25.8235 | 40.4901 |
|  |  | 2 | -19.00000 | 15.45926 | .239 | -52.1568 | 14.1568 |
|  |  | 4 | -7.66667 | 15.45926 | .628 | -40.8235 | 25.4901 |
|  |  | 5 | 248.61905* | 13.06546 | .000 | 220.5964 | 276.6417 |
|  | 4 | 1 | 15.00000 | 15.45926 | .348 | -18.1568 | 48.1568 |
|  |  | 2 | -11.33333 | 15.45926 | .476 | -44.4901 | 21.8235 |
|  |  | 3 | 7.66667 | 15.45926 | .628 | -25.4901 | 40.8235 |
|  |  | 5 | 256.28571* | 13.06546 | .000 | 228.2631 | 284.3083 |
|  | 5 | 1 | -241.28571* | 13.06546 | .000 | -269.3083 | -213.2631 |
|  |  | 2 | -267.61905* | 13.06546 | .000 | -295.6417 | -239.5964 |
|  |  | 3 | -248.61905* | 13.06546 | .000 | -276.6417 | -220.5964 |
|  |  | 4 | -256.28571* | 13.06546 | .000 | -284.3083 | -228.2631 |
| R20min | 1 | 2 | -25.66667 | 17.91160 | .174 | -64.0832 | 12.7499 |
|  |  | 3 | -2.00000 | 17.91160 | .913 | -40.4166 | 36.4166 |
|  |  | 4 | -12.66667 | 17.91160 | .491 | -51.0832 | 25.7499 |
|  |  | 5 | 262.33333* | 15.13806 | .000 | 229.8654 | 294.8013 |
|  | 2 | 1 | 25.66667 | 17.91160 | .174 | -12.7499 | 64.0832 |
|  |  | 3 | 23.66667 | 17.91160 | .208 | -14.7499 | 62.0832 |
|  |  | 4 | 13.00000 | 17.91160 | .480 | -25.4166 | 51.4166 |
|  |  | 5 | 288.00000* | 15.13806 | .000 | 255.5321 | 320.4679 |
|  | 3 | 1 | 2.00000 | 17.91160 | .913 | -36.4166 | 40.4166 |
|  |  | 2 | -23.66667 | 17.91160 | .208 | -62.0832 | 14.7499 |
|  |  | 4 | -10.66667 | 17.91160 | .561 | -49.0832 | 27.7499 |
|  |  | 5 | 264.33333* | 15.13806 | .000 | 231.8654 | 296.8013 |
|  | 4 | 1 | 12.66667 | 17.91160 | .491 | -25.7499 | 51.0832 |
|  |  | 2 | -13.00000 | 17.91160 | .480 | -51.4166 | 25.4166 |
|  |  | 3 | 10.66667 | 17.91160 | .561 | -27.7499 | 49.0832 |
|  |  | 5 | 275.00000* | 15.13806 | .000 | 242.5321 | 307.4679 |
|  | 5 | 1 | -262.33333* | 15.13806 | .000 | -294.8013 | -229.8654 |
|  |  | 2 | -288.00000* | 15.13806 | .000 | -320.4679 | -255.5321 |
|  |  | 3 | -264.33333* | 15.13806 | .000 | -296.8013 | -231.8654 |
|  |  | 4 | -275.00000* | 15.13806 | .000 | -307.4679 | -242.5321 |
| R25min | 1 | 2 | -27.33333 | 14.22559 | .075 | -57.8442 | 3.1775 |
|  |  | 3 | 6.00000 | 14.22559 | .680 | -24.5109 | 36.5109 |
|  |  | 4 | -10.66667 | 14.22559 | .466 | -41.1775 | 19.8442 |
|  |  | 5 | 303.90476* | 12.02282 | .000 | 278.1184 | 329.6911 |
|  | 2 | 1 | 27.33333 | 14.22559 | .075 | -3.1775 | 57.8442 |
|  |  | 3 | 33.33333* | 14.22559 | .034 | 2.8225 | 63.8442 |
|  |  | 4 | 16.66667 | 14.22559 | .261 | -13.8442 | 47.1775 |
|  |  | 5 | 331.23810* | 12.02282 | .000 | 305.4517 | 357.0245 |
|  | 3 | 1 | -6.00000 | 14.22559 | .680 | -36.5109 | 24.5109 |
|  |  | 2 | -33.33333* | 14.22559 | .034 | -63.8442 | -2.8225 |
|  |  | 4 | -16.66667 | 14.22559 | .261 | -47.1775 | 13.8442 |
|  |  | 5 | 297.90476* | 12.02282 | .000 | 272.1184 | 323.6911 |
|  | 4 | 1 | 10.66667 | 14.22559 | .466 | -19.8442 | 41.1775 |
|  |  | 2 | -16.66667 | 14.22559 | .261 | -47.1775 | 13.8442 |
|  |  | 3 | 16.66667 | 14.22559 | .261 | -13.8442 | 47.1775 |
|  |  | 5 | 314.57143* | 12.02282 | .000 | 288.7851 | 340.3578 |
|  | 5 | 1 | -303.90476* | 12.02282 | .000 | -329.6911 | -278.1184 |
|  |  | 2 | -331.23810* | 12.02282 | .000 | -357.0245 | -305.4517 |
|  |  | 3 | -297.90476* | 12.02282 | .000 | -323.6911 | -272.1184 |
|  |  | 4 | -314.57143* | 12.02282 | .000 | -340.3578 | -288.7851 |
| R30min | 1 | 2 | -21.33333 | 14.77081 | .171 | -53.0136 | 10.3469 |
|  |  | 3 | 20.00000 | 14.77081 | .197 | -11.6802 | 51.6802 |
|  |  | 4 | -4.00000 | 14.77081 | .790 | -35.6802 | 27.6802 |
|  |  | 5 | 369.09524* | 12.48361 | .000 | 342.3205 | 395.8699 |
|  | 2 | 1 | 21.33333 | 14.77081 | .171 | -10.3469 | 53.0136 |
|  |  | 3 | 41.33333* | 14.77081 | .014 | 9.6531 | 73.0136 |
|  |  | 4 | 17.33333 | 14.77081 | .260 | -14.3469 | 49.0136 |
|  |  | 5 | 390.42857* | 12.48361 | .000 | 363.6539 | 417.2033 |
|  | 3 | 1 | -20.00000 | 14.77081 | .197 | -51.6802 | 11.6802 |
|  |  | 2 | -41.33333* | 14.77081 | .014 | -73.0136 | -9.6531 |
|  |  | 4 | -24.00000 | 14.77081 | .126 | -55.6802 | 7.6802 |
|  |  | 5 | 349.09524* | 12.48361 | .000 | 322.3205 | 375.8699 |
|  | 4 | 1 | 4.00000 | 14.77081 | .790 | -27.6802 | 35.6802 |
|  |  | 2 | -17.33333 | 14.77081 | .260 | -49.0136 | 14.3469 |
|  |  | 3 | 24.00000 | 14.77081 | .126 | -7.6802 | 55.6802 |
|  |  | 5 | 373.09524* | 12.48361 | .000 | 346.3205 | 399.8699 |
|  | 5 | 1 | -369.09524* | 12.48361 | .000 | -395.8699 | -342.3205 |
|  |  | 2 | -390.42857* | 12.48361 | .000 | -417.2033 | -363.6539 |
|  |  | 3 | -349.09524* | 12.48361 | .000 | -375.8699 | -322.3205 |
|  |  | 4 | -373.09524* | 12.48361 | .000 | -399.8699 | -346.3205 |
| R35min | 1 | 2 | -15.66667 | 14.66404 | .303 | -47.1179 | 15.7846 |
|  |  | 3 | 20.00000 | 14.66404 | .194 | -11.4512 | 51.4512 |
|  |  | 4 | .00000 | 14.66404 | 1.000 | -31.4512 | 31.4512 |
|  |  | 5 | 419.76190* | 12.39337 | .000 | 393.1808 | 446.3430 |
|  | 2 | 1 | 15.66667 | 14.66404 | .303 | -15.7846 | 47.1179 |
|  |  | 3 | 35.66667* | 14.66404 | .029 | 4.2154 | 67.1179 |
|  |  | 4 | 15.66667 | 14.66404 | .303 | -15.7846 | 47.1179 |
|  |  | 5 | 435.42857* | 12.39337 | .000 | 408.8474 | 462.0097 |
|  | 3 | 1 | -20.00000 | 14.66404 | .194 | -51.4512 | 11.4512 |
|  |  | 2 | -35.66667* | 14.66404 | .029 | -67.1179 | -4.2154 |
|  |  | 4 | -20.00000 | 14.66404 | .194 | -51.4512 | 11.4512 |
|  |  | 5 | 399.76190* | 12.39337 | .000 | 373.1808 | 426.3430 |
|  | 4 | 1 | .00000 | 14.66404 | 1.000 | -31.4512 | 31.4512 |
|  |  | 2 | -15.66667 | 14.66404 | .303 | -47.1179 | 15.7846 |
|  |  | 3 | 20.00000 | 14.66404 | .194 | -11.4512 | 51.4512 |
|  |  | 5 | 419.76190* | 12.39337 | .000 | 393.1808 | 446.3430 |
|  | 5 | 1 | -419.76190* | 12.39337 | .000 | -446.3430 | -393.1808 |
|  |  | 2 | -435.42857* | 12.39337 | .000 | -462.0097 | -408.8474 |
|  |  | 3 | -399.76190* | 12.39337 | .000 | -426.3430 | -373.1808 |
|  |  | 4 | -419.76190* | 12.39337 | .000 | -446.3430 | -393.1808 |

*. The mean difference is significant at the 0.05 level. Group 1 PBS Group 2 H1N1 Group 3 CSFV Group 4 SARS-CoV-2 Group 5 RSV

Table S9. One-way ANOVA results of H1N1 frequency responses at different time points

|  |  | Sum of Squares | df | Mean Square | F | Sig. |
| --- | --- | --- | --- | --- | --- | --- |
| R10min | Between Groups | 674203.000 | 3 | 224734.333 | 487.430 | .000 |
|  | Within Groups | 11065.429 | 24 | 461.060 |  |  |
|  | Total | 685268.429 | 27 |  |  |  |
| R20min | Between Groups | 1323022.679 | 3 | 441007.560 | 1254.050 | .000 |
|  | Within Groups | 8440.000 | 24 | 351.667 |  |  |
|  | Total | 1331462.679 | 27 |  |  |  |
| R30min | Between Groups | 2076037.286 | 3 | 692012.429 | 3574.972 | .000 |
|  | Within Groups | 4645.714 | 24 | 193.571 |  |  |
|  | Total | 2080683.000 | 27 |  |  |  |
| R40min | Between Groups | 2880574.393 | 3 | 960191.464 | 2255.673 | .000 |
|  | Within Groups | 10216.286 | 24 | 425.679 |  |  |
|  | Total | 2890790.679 | 27 |  |  |  |

Table S10. LSD multiple comparisons between H1N1 concentration groups at different time points

| LSD |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dependent Variable | (I) concentration | (J) concentration | Mean Difference (I-J) | Std. Error | Sig. | 95% Confidence Interval |  |
|  |  |  |  |  |  | Lower Bound | Upper Bound |
| R10min | 5 | 10 | 101.85714* | 11.47743 | .000 | 78.1689 | 125.5454 |
|  |  | 15 | 321.42857* | 11.47743 | .000 | 297.7403 | 345.1168 |
|  |  | 20 | 378.71429* | 11.47743 | .000 | 355.0260 | 402.4025 |
|  | 10 | 5 | -101.85714* | 11.47743 | .000 | -125.5454 | -78.1689 |
|  |  | 15 | 219.57143* | 11.47743 | .000 | 195.8832 | 243.2597 |
|  |  | 20 | 276.85714* | 11.47743 | .000 | 253.1689 | 300.5454 |
|  | 15 | 5 | -321.42857* | 11.47743 | .000 | -345.1168 | -297.7403 |
|  |  | 10 | -219.57143* | 11.47743 | .000 | -243.2597 | -195.8832 |
|  |  | 20 | 57.28571* | 11.47743 | .000 | 33.5975 | 80.9740 |
|  | 20 | 5 | -378.71429* | 11.47743 | .000 | -402.4025 | -355.0260 |
|  |  | 10 | -276.85714* | 11.47743 | .000 | -300.5454 | -253.1689 |
|  |  | 15 | -57.28571* | 11.47743 | .000 | -80.9740 | -33.5975 |
| R20min | 5 | 10 | 141.71429* | 10.02378 | .000 | 121.0262 | 162.4024 |
|  |  | 15 | 374.14286* | 10.02378 | .000 | 353.4548 | 394.8309 |
|  |  | 20 | 568.00000* | 10.02378 | .000 | 547.3119 | 588.6881 |
|  | 10 | 5 | -141.71429* | 10.02378 | .000 | -162.4024 | -121.0262 |
|  |  | 15 | 232.42857* | 10.02378 | .000 | 211.7405 | 253.1166 |
|  |  | 20 | 426.28571* | 10.02378 | .000 | 405.5976 | 446.9738 |
|  | 15 | 5 | -374.14286* | 10.02378 | .000 | -394.8309 | -353.4548 |
|  |  | 10 | -232.42857* | 10.02378 | .000 | -253.1166 | -211.7405 |
|  |  | 20 | 193.85714* | 10.02378 | .000 | 173.1691 | 214.5452 |
|  | 20 | 5 | -568.00000* | 10.02378 | .000 | -588.6881 | -547.3119 |
|  |  | 10 | -426.28571* | 10.02378 | .000 | -446.9738 | -405.5976 |
|  |  | 15 | -193.85714* | 10.02378 | .000 | -214.5452 | -173.1691 |
| R30min | 5 | 10 | 168.85714* | 7.43681 | .000 | 153.5083 | 184.2060 |
|  |  | 15 | 420.42857* | 7.43681 | .000 | 405.0798 | 435.7774 |
|  |  | 20 | 721.85714* | 7.43681 | .000 | 706.5083 | 737.2060 |
|  | 10 | 5 | -168.85714* | 7.43681 | .000 | -184.2060 | -153.5083 |
|  |  | 15 | 251.57143* | 7.43681 | .000 | 236.2226 | 266.9202 |
|  |  | 20 | 553.00000* | 7.43681 | .000 | 537.6512 | 568.3488 |
|  | 15 | 5 | -420.42857* | 7.43681 | .000 | -435.7774 | -405.0798 |
|  |  | 10 | -251.57143* | 7.43681 | .000 | -266.9202 | -236.2226 |
|  |  | 20 | 301.42857* | 7.43681 | .000 | 286.0798 | 316.7774 |
|  | 20 | 5 | -721.85714* | 7.43681 | .000 | -737.2060 | -706.5083 |
|  |  | 10 | -553.00000* | 7.43681 | .000 | -568.3488 | -537.6512 |
|  |  | 15 | -301.42857* | 7.43681 | .000 | -316.7774 | -286.0798 |
| R40min | 5 | 10 | 195.00000* | 11.02826 | .000 | 172.2388 | 217.7612 |
|  |  | 15 | 517.71429* | 11.02826 | .000 | 494.9531 | 540.4755 |
|  |  | 20 | 842.85714* | 11.02826 | .000 | 820.0959 | 865.6183 |
|  | 10 | 5 | -195.00000* | 11.02826 | .000 | -217.7612 | -172.2388 |
|  |  | 15 | 322.71429* | 11.02826 | .000 | 299.9531 | 345.4755 |
|  |  | 20 | 647.85714* | 11.02826 | .000 | 625.0959 | 670.6183 |
|  | 15 | 5 | -517.71429* | 11.02826 | .000 | -540.4755 | -494.9531 |
|  |  | 10 | -322.71429* | 11.02826 | .000 | -345.4755 | -299.9531 |
|  |  | 20 | 325.14286* | 11.02826 | .000 | 302.3817 | 347.9041 |
|  | 20 | 5 | -842.85714* | 11.02826 | .000 | -865.6183 | -820.0959 |
|  |  | 10 | -647.85714* | 11.02826 | .000 | -670.6183 | -625.0959 |
|  |  | 15 | -325.14286* | 11.02826 | .000 | -347.9041 | -302.3817 |

*. The mean difference is significant at the 0.05 level.

Table S11. One-way ANOVA results of frequency responses for different analytes in the H1N1 specificity comparison experiment

|  |  | Sum of Squares | df | Mean Square | F | Sig. |
| --- | --- | --- | --- | --- | --- | --- |
| R10min | Between Groups | 157103.724 | 4 | 39275.931 | 67.564 | .000 |
|  | Within Groups | 8138.381 | 14 | 581.313 |  |  |
|  | Total | 165242.105 | 18 |  |  |  |
| R20min | Between Groups | 303058.040 | 4 | 75764.510 | 138.538 | .000 |
|  | Within Groups | 7656.381 | 14 | 546.884 |  |  |
|  | Total | 310714.421 | 18 |  |  |  |
| R30min | Between Groups | 537557.088 | 4 | 134389.272 | 134.357 | .000 |
|  | Within Groups | 14003.333 | 14 | 1000.238 |  |  |
|  | Total | 551560.421 | 18 |  |  |  |
| R40min | Between Groups | 718826.581 | 4 | 179706.645 | 177.182 | .000 |
|  | Within Groups | 14199.524 | 14 | 1014.252 |  |  |
|  | Total | 733026.105 | 18 |  |  |  |

Table S12. LSD multiple comparisons of frequency responses among analytes in the H1N1 specificity comparison experiment

| LSD |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dependent Variable | (I) group | (J) group | Mean Difference (I-J) | Std. Error | Sig. | 95% Confidence Interval |  |
|  |  |  |  |  |  | Lower Bound | Upper Bound |
| R10min | 1 | 2 | 6.00000 | 19.68609 | .765 | -36.2225 | 48.2225 |
|  |  | 3 | 9.00000 | 19.68609 | .655 | -33.2225 | 51.2225 |
|  |  | 4 | -7.00000 | 19.68609 | .727 | -49.2225 | 35.2225 |
|  |  | 5 | 190.23810* | 16.63778 | .000 | 154.5536 | 225.9226 |
|  | 2 | 1 | -6.00000 | 19.68609 | .765 | -48.2225 | 36.2225 |
|  |  | 3 | 3.00000 | 19.68609 | .881 | -39.2225 | 45.2225 |
|  |  | 4 | -13.00000 | 19.68609 | .520 | -55.2225 | 29.2225 |
|  |  | 5 | 184.23810* | 16.63778 | .000 | 148.5536 | 219.9226 |
|  | 3 | 1 | -9.00000 | 19.68609 | .655 | -51.2225 | 33.2225 |
|  |  | 2 | -3.00000 | 19.68609 | .881 | -45.2225 | 39.2225 |
|  |  | 4 | -16.00000 | 19.68609 | .430 | -58.2225 | 26.2225 |
|  |  | 5 | 181.23810* | 16.63778 | .000 | 145.5536 | 216.9226 |
|  | 4 | 1 | 7.00000 | 19.68609 | .727 | -35.2225 | 49.2225 |
|  |  | 2 | 13.00000 | 19.68609 | .520 | -29.2225 | 55.2225 |
|  |  | 3 | 16.00000 | 19.68609 | .430 | -26.2225 | 58.2225 |
|  |  | 5 | 197.23810* | 16.63778 | .000 | 161.5536 | 232.9226 |
|  | 5 | 1 | -190.23810* | 16.63778 | .000 | -225.9226 | -154.5536 |
|  |  | 2 | -184.23810* | 16.63778 | .000 | -219.9226 | -148.5536 |
|  |  | 3 | -181.23810* | 16.63778 | .000 | -216.9226 | -145.5536 |
|  |  | 4 | -197.23810* | 16.63778 | .000 | -232.9226 | -161.5536 |
| R20min | 1 | 2 | 10.66667 | 19.09423 | .585 | -30.2864 | 51.6197 |
|  |  | 3 | 14.00000 | 19.09423 | .476 | -26.9530 | 54.9530 |
|  |  | 4 | -15.00000 | 19.09423 | .445 | -55.9530 | 25.9530 |
|  |  | 5 | 263.57143* | 16.13757 | .000 | 228.9598 | 298.1831 |
|  | 2 | 1 | -10.66667 | 19.09423 | .585 | -51.6197 | 30.2864 |
|  |  | 3 | 3.33333 | 19.09423 | .864 | -37.6197 | 44.2864 |
|  |  | 4 | -25.66667 | 19.09423 | .200 | -66.6197 | 15.2864 |
|  |  | 5 | 252.90476* | 16.13757 | .000 | 218.2931 | 287.5164 |
|  | 3 | 1 | -14.00000 | 19.09423 | .476 | -54.9530 | 26.9530 |
|  |  | 2 | -3.33333 | 19.09423 | .864 | -44.2864 | 37.6197 |
|  |  | 4 | -29.00000 | 19.09423 | .151 | -69.9530 | 11.9530 |
|  |  | 5 | 249.57143* | 16.13757 | .000 | 214.9598 | 284.1831 |
|  | 4 | 1 | 15.00000 | 19.09423 | .445 | -25.9530 | 55.9530 |
|  |  | 2 | 25.66667 | 19.09423 | .200 | -15.2864 | 66.6197 |
|  |  | 3 | 29.00000 | 19.09423 | .151 | -11.9530 | 69.9530 |
|  |  | 5 | 278.57143* | 16.13757 | .000 | 243.9598 | 313.1831 |
|  | 5 | 1 | -263.57143* | 16.13757 | .000 | -298.1831 | -228.9598 |
|  |  | 2 | -252.90476* | 16.13757 | .000 | -287.5164 | -218.2931 |
|  |  | 3 | -249.57143* | 16.13757 | .000 | -284.1831 | -214.9598 |
|  |  | 4 | -278.57143* | 16.13757 | .000 | -313.1831 | -243.9598 |
| R30min | 1 | 2 | 27.33333 | 25.82296 | .308 | -28.0514 | 82.7181 |
|  |  | 3 | 34.00000 | 25.82296 | .209 | -21.3847 | 89.3847 |
|  |  | 4 | -.33333 | 25.82296 | .990 | -55.7181 | 55.0514 |
|  |  | 5 | 363.00000* | 21.82439 | .000 | 316.1913 | 409.8087 |
|  | 2 | 1 | -27.33333 | 25.82296 | .308 | -82.7181 | 28.0514 |
|  |  | 3 | 6.66667 | 25.82296 | .800 | -48.7181 | 62.0514 |
|  |  | 4 | -27.66667 | 25.82296 | .302 | -83.0514 | 27.7181 |
|  |  | 5 | 335.66667* | 21.82439 | .000 | 288.8580 | 382.4753 |
|  | 3 | 1 | -34.00000 | 25.82296 | .209 | -89.3847 | 21.3847 |
|  |  | 2 | -6.66667 | 25.82296 | .800 | -62.0514 | 48.7181 |
|  |  | 4 | -34.33333 | 25.82296 | .205 | -89.7181 | 21.0514 |
|  |  | 5 | 329.00000* | 21.82439 | .000 | 282.1913 | 375.8087 |
|  | 4 | 1 | .33333 | 25.82296 | .990 | -55.0514 | 55.7181 |
|  |  | 2 | 27.66667 | 25.82296 | .302 | -27.7181 | 83.0514 |
|  |  | 3 | 34.33333 | 25.82296 | .205 | -21.0514 | 89.7181 |
|  |  | 5 | 363.33333* | 21.82439 | .000 | 316.5247 | 410.1420 |
|  | 5 | 1 | -363.00000* | 21.82439 | .000 | -409.8087 | -316.1913 |
|  |  | 2 | -335.66667* | 21.82439 | .000 | -382.4753 | -288.8580 |
|  |  | 3 | -329.00000* | 21.82439 | .000 | -375.8087 | -282.1913 |
|  |  | 4 | -363.33333* | 21.82439 | .000 | -410.1420 | -316.5247 |
| R40min | 1 | 2 | 48.00000 | 26.00323 | .086 | -7.7714 | 103.7714 |
|  |  | 3 | 53.00000 | 26.00323 | .061 | -2.7714 | 108.7714 |
|  |  | 4 | 6.33333 | 26.00323 | .811 | -49.4380 | 62.1047 |
|  |  | 5 | 428.14286* | 21.97674 | .000 | 381.0074 | 475.2783 |
|  | 2 | 1 | -48.00000 | 26.00323 | .086 | -103.7714 | 7.7714 |
|  |  | 3 | 5.00000 | 26.00323 | .850 | -50.7714 | 60.7714 |
|  |  | 4 | -41.66667 | 26.00323 | .131 | -97.4380 | 14.1047 |
|  |  | 5 | 380.14286* | 21.97674 | .000 | 333.0074 | 427.2783 |
|  | 3 | 1 | -53.00000 | 26.00323 | .061 | -108.7714 | 2.7714 |
|  |  | 2 | -5.00000 | 26.00323 | .850 | -60.7714 | 50.7714 |
|  |  | 4 | -46.66667 | 26.00323 | .094 | -102.4380 | 9.1047 |
|  |  | 5 | 375.14286* | 21.97674 | .000 | 328.0074 | 422.2783 |
|  | 4 | 1 | -6.33333 | 26.00323 | .811 | -62.1047 | 49.4380 |
|  |  | 2 | 41.66667 | 26.00323 | .131 | -14.1047 | 97.4380 |
|  |  | 3 | 46.66667 | 26.00323 | .094 | -9.1047 | 102.4380 |
|  |  | 5 | 421.80952* | 21.97674 | .000 | 374.6741 | 468.9449 |
|  | 5 | 1 | -428.14286* | 21.97674 | .000 | -475.2783 | -381.0074 |
|  |  | 2 | -380.14286* | 21.97674 | .000 | -427.2783 | -333.0074 |
|  |  | 3 | -375.14286* | 21.97674 | .000 | -422.2783 | -328.0074 |
|  |  | 4 | -421.80952* | 21.97674 | .000 | -468.9449 | -374.6741 |

*. The mean difference is significant at the 0.05 level. Group 1 PBS Group 2 RSV Group 3 CSFV Group 4 SARS-CoV-2 Group 5 H1N1