## Supplementary Table 2
Supplementary Table 2. Quality control and results for DNA extraction, Library Preparation and Whole-genome sequencing based on three selected samples for each DNA extraction method.
|  | gDNA before Library Prep | [6 empty] | LIBRARY PREP: Tris-HCL ph8 dilution (if needed) |  |  |  |  | LIBRARY PREP: NFW dilution (if performed TrisHCL dil, use it as base) |  |  |  |  | LIBRARY PREP: diution to 2nM | [6 empty] | Pool dilution and denaturation | [8 empty] | 1st working solution- Starting point: 20 pM, Input conc.: 1.3 pM, PhiX spike: 3% | [6 empty] | Final load on cartridge |  |  | BIONFORMATIC MAGMA OUTPUT
DNA Extraction Method/Sample ID | Genome ID | gDNA before others QC and bead cleanup (ng/uL)/ [Vol(uL)] | Total dsDNA | Nuleic Acid concentration (ng/uL) - Nanodrop | Nanodrop (280/260). Quantification of protein light absorbance against the expect DNA light absorbance | Nanodrop (280/230). Quantification of salt light absorbance against the expect DNA light absorbance | gDNA after all QCs and before bead cleanup (ng/uL) | gDNA after bead cleanup (ng/uL) ressuspended in different vol to concetrate the DNA | HS dsDNA Qubit (ng/ul) | Final vol. (ul) | Final conc. (ng/ul) | Vol. sample (ul) | Vol. Tris (ul) | gDNA input conc. (ng) | Final Vol. (ul) | Vol. sample (ul) | Vol. NFW (ul) | PCR cycles | Library conc. (ng/uL) [Qubit HS] | Library frag. Size (bp) | Libraries in nM | Final conc. (nM) | Final vol. (ul) | Vol. sample (ul) | Vol. RSB (ul) | Qubit Pool | Average fragment size | Libraries in pM | Final conc. in pM | Final vol. of 20 pM | Library Pool vol. (ul) | Vol. of 0.1 M NaOH (ul) | Vol. of 200 mM Tris-HCl, pH 7 (ul) | Vol. of HT1 Buffer (ul) | Pool of 2nM libraries | Libraries in pM | Final conc. in pM | Final vol. (ul) | PhiX % | %/100 | Library Pool vol. (ul) | 3% PhiX vol. (ul) | Vol. of library to use (ul) | Vol. HT1 buffer (ul) | AVG_INSERT_SIZE | MAPPED_PERCENTAGE | RAW_TOTAL_SEQS | AVERAGE_BASE_QUALITY | MEAN_COVERAGE | SD_COVERAGE | MEDIAN_COVERAGE | MAD_COVERAGE | ADJUSTED_COVERAGE_FOR_5_MILLION_READS | PCT_EXC_MAPQ | PCT_EXC_DUPE | PCT_EXC_BASEQ | PCT_EXC_OVERLAP | PCT_EXC_TOTAL | PCT_1X | PCT_5X | PCT_10X | PCT_30X | PCT_50X | PCT_100X
CTAB (1B) | ERS27189064 | 13,1 [25] | 327.5 | 52.4 | 2.01 | 1.31 | - | - | 9.39 | - | - | - | - | 20 | 30 | 2.1299 | 27.8701 | 10cycles | 22.4 | 490 | 69.2641 | 2 | 65 | 1.8769 | 63.1231 | 1.04 | 656 | 2400 | 20 | 1000 | 8.3333 | 8.3333 | 8.3333 | 975 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 271 | 79.77 | 5419314 | 35.2 | 107.7173 | 24.8556 | 112 | 12 | 103.3341 | 0.010969 | 0.044331 | 0.04831 | 0.14903 | 0.25264 | 0.99365 | 0.99059 | 0.98835 | 0.97745 | 0.96361 | 0.73955
CTAB (1G) | ERS27189065 | 12,5 [25] | 312.5 | 65.9 | 1.96 | 1.3 | 10 | 9,01 [9] | 9.01 | - | - | - | - | 20 | 30 | 2.2198 | 27.7802 | 10 cycles | 3.72 | 869 | 6.486 | 2 | 10 | 3.0835 | 6.9165 | 1.04 | 656 | 2400 | 20 | 1000 | 8.3333 | 8.3333 | 8.3333 | 975 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 248.8 | 75.46 | 7883246 | 35.3 | 137.8832 | 31.6673 | 144 | 14 | 91.3329 | 0.012002 | 0.055676 | 0.045553 | 0.18501 | 0.29824 | 0.99359 | 0.99036 | 0.98836 | 0.97952 | 0.9708 | 0.90931
CTAB (1H) | ERS27189066 | 11,3 [25] | 282.5 | 41.1 | 1.98 | 1.14 | - | - | 8.15 | - | - | - | - | 20 | 30 | 2.454 | 27.546 | 10cycles | 17.5 | 472 | 57.1392 | 2 | 60 | 2.1001 | 57.8999 | 0.466 | 507.75 | 1400 | 20 | 1000 | 14.2857 | 14.2857 | 14.2857 | 957.1429 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 257 | 70.19 | 6839040 | 35.5 | 116.7648 | 24.3639 | 120 | 11 | 87.7316 | 0.011032 | 0.03845 | 0.041222 | 0.17629 | 0.267 | 0.99387 | 0.99099 | 0.98929 | 0.98142 | 0.97314 | 0.85719
CTAB+RNase (2C) | ERS27189067 | 15,5 [25] | 387.5 | 54.9 | 1.96 | 1.22 | 9.28 [25] | 19.8 [10] | 19.8 | 5 | 10 | 2.5 | 2.5 | 20 | 30 | 2 | 28 | 10 cycles | 12.4 | 445 | 42.2 | 2 | 45 | 2.1 | 42.9 | 0.753 | 542.6 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 264.6 | 80.17 | 5828394 | 35.7 | 116.7442 | 23.6493 | 120 | 10 | 102.9443 | 0.010549 | 0.032143 | 0.03398 | 0.17257 | 0.24924 | 0.99355 | 0.99046 | 0.98852 | 0.97966 | 0.97249 | 0.87496
CTAB+RNase (2D) | ERS27189068 | 15,9 [25] | 397.5 | 41.9 | 1.97 | 1.23 | 9.28 | 19,8 [9] | 7.91 | - | - | - | - | 20 | 30 | 2.5284 | 27.4716 | 10cycles | 16.7 | 487 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
CTAB+RNase (2F) | ERS27189069 | 15,5 [25] | 387.5 | 53.2 | 2.02 | 1.58 | 12,8 [28] | 20,9 [10] | 26.4 | 5 | 10 | 1.8939 | 3.1061 | 20 | 30 | 2 | 28 | 10 cycles | 14.5 | 656 | 33.4904 | 2 | 40 | 2.3887 | 37.6113 | 1.04 | 656 | 2400 | 20 | 1000 | 8.3333 | 8.3333 | 8.3333 | 975 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 322.6 | 80.17 | 5637110 | 35.1 | 118.2725 | 26.9826 | 123 | 13 | 109.0985 | 0.010306 | 0.040773 | 0.050922 | 0.11463 | 0.21663 | 0.9947 | 0.9919 | 0.98975 | 0.97974 | 0.96877 | 0.84022
Zymo-DNAconc (3C) | ERS27189070 | 1,07 [50] | 53.5 | 2.4 | 4.53 | 0.43 | 0.601 | 0,478 [8] | 0.478 | - | - | - | - | 4 | 30 | 8.3682 | 21.6318 | 12cycles | 3.69 | 542 | 10.3153 | 2 | 10 | 1.9389 | 8.0611 | 1.04 | 656 | 2400 | 20 | 1000 | 8.3333 | 8.3333 | 8.3333 | 975 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 306.6 | 77.21 | 5704198 | 35.2 | 119.0718 | 31.9765 | 123 | 18 | 107.8153 | 0.009747 | 0.038671 | 0.048925 | 0.099913 | 0.19726 | 0.99338 | 0.98965 | 0.98698 | 0.97536 | 0.96084 | 0.7948
Zymo-DNAconc (3H) | ERS27189071 | 1,04 [50] | 52 | 2.8 | 2.36 | 0.5 | 0,756 [40] | 2,27 [10] | 2.65 | - | - | - | - | 16 | 30 | 6.0377 | 23.9623 | 10cycles | 9.97 | 625 | 24.1697 | 2 | 25 | 2.0687 | 22.9313 | 0.728 | 533.6 | 2100 | 20 | 1000 | 9.5238 | 9.5238 | 9.5238 | 971.4286 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 326.4 | 78.18 | 5842998 | 35.6 | 125.0363 | 26.8345 | 128 | 14 | 109.5328 | 0.009793 | 0.030292 | 0.038763 | 0.10633 | 0.18517 | 0.99497 | 0.99252 | 0.99072 | 0.9833 | 0.97589 | 0.88747
Zymo-DNAconc (3G) | No WGS data | 0,949 [50] | 47.45 | 2.7 | 2.31 | 0.71 | Undetected [16] | 0.05 [10] | 0.05 | - | - | - | - | 0.4 | 30 | 8 | 22 | 14cycles | Undetected | Undetected | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Zymo Quick Fung/Bac (4E) | ERS27189072 | Undetected [50] | Unknown | 1.2 | 7.03 | 0.02 | Undetected [25,3] | 0.059 [10] | 0.059 | - | - | - | - | 0.3 | 30 | 5.1 | 24.9 | 14cycles | 2.67 | 534 | 7.6 | 2 | 8 | 2.1 | 5.9 | 0.753 | 542.6 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 325.9 | 88.21 | 5145184 | 35.6 | 125.7328 | 25.8746 | 129 | 12 | 125.3599 | 0.009714 | 0.043772 | 0.035562 | 0.090871 | 0.17992 | 0.99451 | 0.99165 | 0.98993 | 0.98313 | 0.97385 | 0.90784
Zymo Quick Fung/Bac (4J) | ERS27189073 | Undetected [50] | Unknown | 2.8 | 2.16 | 3 | Undetected [24,4] | 0,078 [10] | 0.082 | - | - | - | - | 0.4 | 30 | 4.878 | 25.122 | 14cycles | 1.55 | 723 | 3.2483 | 2 | 10 | 6.1572 | 3.8428 | 1.04 | 656 | 2400 | 20 | 1000 | 8.3333 | 8.3333 | 8.3333 | 975 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 368.7 | 71.99 | 4891084 | 35 | 96.7202 | 24.2898 | 100 | 13 | 102.2268 | 0.01005 | 0.057295 | 0.05422 | 0.064742 | 0.18631 | 0.99521 | 0.99181 | 0.98925 | 0.97584 | 0.95144 | 0.5109
Zymo Quick Fung/Bac (4A) | No WGS data | Undetected [50] | Unknown | 7.9 | 1.55 | 0.02 | Undetected [8] | Undetected [10] | Undetected | - | - | - | - | 20 | 30 | - | - | 14cycles | 0.202 | Undetected | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
IGM (5E) | ERS27189074 | 0,075 [150] | 11.25 | 14.4 | 1.52 | 0.58 | 0.081 [100] | 0.152 [22] | 0.152 | - | - | - | - | 3.35 | 30 | 22 | 8 | 12cycles | 8.08 | 489 | 25 | 2 | 25 | 2 | 23 | 0.753 | 542.6 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 382 | 78.11 | 4536176 | 35.8 | 89.5286 | 19.6236 | 91 | 10 | 100.3048 | 0.013331 | 0.03976 | 0.032304 | 0.14901 | 0.23441 | 0.99315 | 0.98952 | 0.98622 | 0.97659 | 0.96508 | 0.27814
IGM (5H) | ERS27189075 | 0,103 [150] | 15.45 | 17.2 | 1.46 | 0.55 | - | - | 0.122 | - | - | - | - | 3.6 | 30 | 29.5082 | 0.4918 | 12 cycles | 9.91 | 485 | 30.9591 | 2 | 35 | 2.261 | 32.739 | 0.739 | 659.2 | 1700 | 20 | 1000 | 11.7647 | 11.7647 | 11.7647 | 964.7059 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 253.8 | 72.48 | 7275602 | 35.3 | 123.8256 | 27.3493 | 128 | 13 | 87.9652 | 0.01338 | 0.050287 | 0.04389 | 0.17736 | 0.28491 | 0.99349 | 0.99036 | 0.98861 | 0.98014 | 0.972 | 0.88438
IGM (5J) | ERS27189076 | 0,082 [150] | 12.3 | 15.9 | 1.48 | 0.51 | - | - | 0.275 | - | - | - | - | 3 | 30 | 10.9091 | 19.0909 | 14cycles | 12.5 | 475 | 39.8724 | 2 | 40 | 2.0064 | 37.9936 | 0.728 | 533.6 | 2100 | 20 | 1000 | 9.5238 | 9.5238 | 9.5238 | 971.4286 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 239 | 70.55 | 7556788 | 35.7 | 122.0594 | 24.5985 | 125 | 12 | 82.7071 | 0.013245 | 0.045576 | 0.033309 | 0.20707 | 0.2992 | 0.99364 | 0.99082 | 0.98933 | 0.98298 | 0.9782 | 0.8975
IGM/FP (6E) | ERS27189077 | 4,47 [150] | 670.5 | 1134.6 | 1.45 | 1.31 | 2,57 [123] | 5,90 [20] | 5.85 | - | - | - | - | 20 | 30 | 3.4188 | 26.5812 | 10cycles | 12.9 | 686 | 28.4919 | 2 | 35 | 2.4568 | 32.5432 | 0.739 | 659.2 | 1700 | 20 | 1000 | 11.7647 | 11.7647 | 11.7647 | 964.7059 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 343.1 | 76.9 | 4368014 | 35.2 | 90.8439 | 21.2434 | 93 | 11 | 106.4557 | 0.01098 | 0.030149 | 0.050967 | 0.10074 | 0.19284 | 0.98945 | 0.98747 | 0.98593 | 0.97889 | 0.96328 | 0.33196
IGM/FP (6F) | ERS27189078 | 4,46 [150] | 669 | 1126.6 | 1.44 | 1.32 | 3.34 [147] | 8.22 [20] | 8.22 | - | - | - | - | 20 | 30 | 2.4 | 27.6 | 10cycles | 16.8 | 515 | 49.4 | 2 | 50 | 2 | 48 | 0.753 | 542.6 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 319.2 | 83.91 | 4211586 | 35.6 | 97.8201 | 23.249 | 100 | 12 | 118.7201 | 0.010544 | 0.032485 | 0.036994 | 0.098093 | 0.17812 | 0.98815 | 0.98538 | 0.98331 | 0.9762 | 0.96338 | 0.5185
IGM/FP (6H) | ERS27189079 | 4,93 [150] | 739.5 | 1125.4 | 1.44 | 1.32 | - | - | 2.54 | - | - | - | - | 16 | 30 | 6.2992 | 23.7008 | 10 cycles | 5.31 | 533 | 15.0947 | 2 | 15 | 1.9875 | 13.0125 | 0.728 | 533.6 | 2100 | 20 | 1000 | 9.5238 | 9.5238 | 9.5238 | 971.4286 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 249.3 | 78.42 | 6217856 | 35.7 | 115.6796 | 24.3657 | 118 | 11 | 94.888 | 0.012531 | 0.04087 | 0.033147 | 0.19536 | 0.28191 | 0.98861 | 0.98635 | 0.98515 | 0.98151 | 0.97574 | 0.84932
Fluorolyse+Prec (7D) | ERS27189080 | 1,15 [25] | 28.75 | 36.1 | 1.6 | 1.74 | 1.24 [10] | 0.408 [10] | 0.408 | - | - | - | - | 3.7 | 30 | 9.1 | 20.9 | 12cycles | 8.22 | 730 + 373 | 17.1 | 2 | 18 | 2.1 | 15.9 | 0.753 | 542.6 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 218.2 | 67.29 | 9112654 | 35.8 | 131.2508 | 31.7169 | 134 | 17 | 73.5241 | 0.016347 | 0.050207 | 0.030308 | 0.24489 | 0.34175 | 0.99267 | 0.98966 | 0.9873 | 0.97907 | 0.97214 | 0.89324
Fluorolyse+Prec (7F) | ERS27189081 | 1,22 [25] | 30.5 | 24 | 1.71 | 2.68 | - | - | 0.2 | - | - | - | - | 2 | 30 | 10 | 20 | 14cycles | 3.18 | 558 | 8.6347 | 2 | 10 | 2.3162 | 7.6838 | 0.728 | 533.6 | 2100 | 20 | 1000 | 9.5238 | 9.5238 | 9.5238 | 971.4286 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 425.6 | 81.02 | 6090728 | 35.6 | 132.6225 | 31.5243 | 136 | 17 | 111.6451 | 0.014028 | 0.044137 | 0.036265 | 0.10287 | 0.1973 | 0.99459 | 0.99162 | 0.98981 | 0.98199 | 0.97384 | 0.89778
Fluorolyse+Prec (7H) | ERS27189082 | 1,66 [25] | 41.5 | 41.3 | 1.56 | 2.2 | - | - | 0.22 | - | - | - | - | 2 | 30 | 9.0909 | 20.9091 | 14cycles | 2.78 | 754 | 5.5864 | 2 | 10 | 3.5801 | 6.4199 | 0.739 | 659.2 | 1700 | 20 | 1000 | 11.7647 | 11.7647 | 11.7647 | 964.7059 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 242.5 | 56.59 | 9247550 | 35.4 | 119.024 | 32.6252 | 121 | 18 | 65.4227 | 0.018473 | 0.049954 | 0.042475 | 0.19207 | 0.30297 | 0.99303 | 0.98979 | 0.98759 | 0.97759 | 0.96506 | 0.78207
Genolyse+Prec (8D) | ERS27189083 | 2,13 [25] | 53.25 | 288 | 1.15 | 0.61 | 2,58 [17] | 2,61 [10] | 2.79 | - | - | - | - | 15.5 | 30 | 5.5556 | 24.4444 | 10cycles | 3.77 | 748 | 7.6365 | 2 | 10 | 2.619 | 7.381 | 0.739 | 659.2 | 1700 | 20 | 1000 | 11.7647 | 11.7647 | 11.7647 | 964.7059 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 627.2 | 81.22 | 3758584 | 35.1 | 83.9345 | 23.074 | 85 | 13 | 113.0745 | 0.016323 | 0.038451 | 0.0523 | 0.070427 | 0.1775 | 0.99544 | 0.9918 | 0.98828 | 0.97438 | 0.93899 | 0.22801
Genolyse+Prec (8E) | ERS27189084 | 2,26 [25] | 56.5 | 126.5 | 1.26 | 0.53 | 2.82 | 1,37 [7] | 1.37 | - | - | - | - | 10 | 30 | 7.2993 | 22.7007 | 10 cycles | 4.72 | 531 | 13.468 | 2 | 14 | 2.079 | 11.921 | 0.739 | 589.1375 | 2100 | 20 | 1000 | 9.5238 | 9.5238 | 9.5238 | 971.4286 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 576 | 81.73 | 6820146 | 35.7 | 146.0813 | 36.047 | 148 | 19 | 108.5021 | 0.019641 | 0.056684 | 0.032334 | 0.10258 | 0.21124 | 0.99432 | 0.99141 | 0.9898 | 0.98325 | 0.97714 | 0.9323
Genolyse+Prec (8I) | ERS27189085 | 2,23 [25] | 55.75 | 54.6 | 1.19 | 0.38 | 2,55 [24] | 2,65 [10] | 2.65 | - | - | - | - | 20 | 30 | 7.5 | 22.5 | 10cycles | 6 | 454 | 20 | 2 | 20 | 2 | 18 | 0.675 | 437 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 522.5 | 80.68 | 3115290 | 35.7 | 66.8929 | 16.7692 | 68 | 9 | 109.1391 | 0.019726 | 0.026719 | 0.035155 | 0.1181 | 0.1997 | 0.99322 | 0.98937 | 0.98547 | 0.97069 | 0.90056 | 0.018383
Xpert+purif (9F) | No WGS data | 0,28 [25] | 7 | 239.9 | 2.25 | 0.84 | 0,053 [14.4] | 0,055 [10] | 0.055 | - | - | - | - | 1 | 30 | 18.2 | 11.8 | 12cycles | Undetected | Undetected | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | -
Xpert+purif (9C) | No WGS data | 0,292 [25] | 7.3 | 244.9 | 2.24 | 0.81 | 0,414 [2] | Undetected [10] | Undetected | - | - | - | - | <1 | 30 | - | - | 14cycles | Undetected | Undetected | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Xpert+purif (9J) | No WGS data | 0,664 [25] | 16.6 | 321.7 | 2.17 | 0.86 | 0.09 | Undetected [12] | Undetected | - | - | - | - | <1 | 30 | - | - | 14cycles | Undetected | Undetected | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
PrepGem+Prec (10F) | ERS27189086 | 0,572 [25] | 14.3 | 107.7 | 2.33 | 0.36 | 0,237 [158] | 0,137 [20] | 0.137 | - | - | - | - | 2.5 | 30 | 18.2 | 11.8 | 12cycles | 2.78 | 415 | 10.1 | 2 | 10 | 2 | 8 | 0.675 | 437 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 238.8 | 75.99 | 2073026 | 35.8 | 38.0684 | 9.9785 | 39 | 6 | 94.0654 | 0.012373 | 0.016145 | 0.031832 | 0.20789 | 0.26824 | 0.99222 | 0.98777 | 0.98277 | 0.84529 | 0.10365 | 0
PrepGem+Prec (10G) | ERS27189087 | 0,546 [25] | 13.65 | 64.1 | 2.98 | 2.45 | 0,051 [184] | Undetected [20] | 0.061 | - | - | - | - | 1.22 | 30 | 20 | 10 | 14cycles | 3.48 | 623 | 8.4634 | 2 | 10 | 2.3631 | 7.6369 | 0.739 | 659.2 | 1700 | 20 | 1000 | 11.7647 | 11.7647 | 11.7647 | 964.7059 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 269.7 | 67.53 | 7002274 | 35.3 | 114.781 | 25.269 | 118 | 13 | 84.2583 | 0.012714 | 0.041019 | 0.045102 | 0.16705 | 0.26589 | 0.99491 | 0.99184 | 0.99017 | 0.984 | 0.97257 | 0.81461
PrepGem+Prec (10J) | ERS27189088 | 0,586 [25] | 14.65 | 73.2 | 3.56 | 3.99 | 0,079 [194] | 0,068 [20] | 0.068 | - | - | - | - | <1 | 30 | - | - | 14cycles | 5.25 | 485 | 16.4011 | 2 | 16 | 1.9511 | 14.0489 | 0.739 | 589.1375 | 2100 | 20 | 1000 | 9.5238 | 9.5238 | 9.5238 | 971.4286 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 257.3 | 72.24 | 7608070 | 35.7 | 134.3313 | 31.1164 | 139 | 16 | 91.3504 | 0.012 | 0.04208 | 0.032585 | 0.17625 | 0.26291 | 0.99389 | 0.99091 | 0.98939 | 0.98346 | 0.97481 | 0.90083
Xpert+precip (11E) | No WGS data | 8,95 [25] | 223.75 | 267.6 | 1.62 | 0.78 | 10,3 [23,8] | 0,554 [18] | 0.554 | - | - | - | - | 10 | 30 | 18.1 | 11.9 | 12cycles | Undetected | Undetected | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - |  | - | - | - | - | - | - | - | - | - | - | -
Xpert+precip (11B) | No WGS data | 8,85 [25] | 221.25 | 323.2 | 1.6 | 0.79 | 7,72 [18] | 0,692 [18] | 0.681 | - | - | - | - | 9 | 30 | 13.2159 | 16.7841 | 10cycles | Undetected | Undetected | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Xpert+precip (11C) | No WGS data | 8,26 [25] | 206.5 | 377.2 | 1.6 | 0.69 | - | - | 0.599 | - | - | - | - | 5.4 | 30 | 9.015 | 20.985 | 14cycles | Undetected | Undetected | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
PrepGem (12A) | ERS27189089 | 0,393 [100] | 39.3 | 26.1 | 1.16 | 0.05 | 3,07 [68] | 1,68 [20] | 1.68 | - | - | - | - | 20 | 30 | 11.9 | 18.1 | 10cycles | 1.73 | 450 | 5.8 | 2 | 6 | 2.1 | 3.9 | 0.675 | 437 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 236.8 | 61.41 | 3996632 | 35.7 | 58.1577 | 1.4576 | 59 | 8 | 73.8121 | 0.011436 | 0.016969 | 0.033547 | 0.21435 | 0.2763 | 0.992 | 0.98832 | 0.98448 | 0.96186 | 0.78541 | 0.00056
PrepGem (12C) | ERS27189090 | 0,378 [100] | 37.8 | 32.4 | 1.46 | 0.11 | 3,22 [84] | 1,94 [22] | 2.07 | - | - | - | - | 20 | 30 | 9.6618 | 20.3382 | 10cycles | 2.28 | 571 | 6 | 2 | 10 | 3.3 | 6.7 | 0.466 | 507.75 | 1400 | 20 | 1000 | 14.2857 | 14.2857 | 14.2857 | 957.1429 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 250.1 | 65.04 | 8149608 | 35.4 | 125.1986 | 29.1102 | 129 | 15 | 79.1449 | 0.011804 | 0.036194 | 0.042464 | 0.19116 | 0.28163 | 0.99418 | 0.99129 | 0.98974 | 0.98306 | 0.97259 | 0.86695
PrepGem (12F) | ERS27189091 | 0,432 [100] | 43.2 | 28.3 | 1.38 | 0.08 | 1,93 [130] | 1,32 [22] | 1.32 | - | - | - | - | 14 | 30 | 10.6061 | 19.3939 | 10cycles | 2.95 | 482 | 9.2732 | 2 | 10 | 2.1567 | 7.8433 | 0.739 | 589.1375 | 2100 | 20 | 1000 | 9.5238 | 9.5238 | 9.5238 | 971.4286 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 246.6 | 62.04 | 7456640 | 35.8 | 112.4712 | 26.0159 | 116 | 14 | 77.783 | 0.011369 | 0.030614 | 0.031861 | 0.1922 | 0.26604 | 0.99307 | 0.99036 | 0.9888 | 0.9807 | 0.96956 | 0.77211
NucleoSpin (13B) | ERS27189092 | 1,28 [50] | 64 | 1.7 | 2.32 | 5.85 | - | - | 1.29 | - | - | - | - | 15 | 30 | 11.6279 | 18.3721 | 10cycles | 14 | 477 | 44.4699 | 2 | 45 | 2.0238 | 42.9762 | 0.728 | 533.6 | 2100 | 20 | 1000 | 9.5238 | 9.5238 | 9.5238 | 971.4286 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 288.1 | 52.19 | 5636380 | 35.7 | 79.4531 | 18.3804 | 82 | 10 | 72.7417 | 0.010063 | 0.025993 | 0.035834 | 0.1264 | 0.19829 | 0.99326 | 0.98992 | 0.98759 | 0.97416 | 0.94745 | 0.093413
NucleoSpin (13G) | ERS27189093 | 1,2 [50] | 60 | 1.5 | 2.08 | 3.5 | - | - | 1.75 | - | - | - | - | 14 | 30 | 8 | 22 | 10cycles | 0.239 | Undetected | - | - | - | - | - | 0.466 | 507.75 | 1400 | 20 | 1000 | 14.2857 | 14.2857 | 14.2857 | 957.1429 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3
NucleoSpin (13H) | ERS27189094 | 1,24 [50] | 62 | 2 | 2.44 | 1.42 | 0,482 [47] | 1,84 [18] | 0.554 | - | - | - | - | 10 | 30 | 18.1 | 11.9 | 12cycles | 18.5 | 453 | 61.9 | 2 | 65 | 2.1 | 62.9 | 0.675 | 437 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 266.6 | 44.55 | 10029908 | 35.8 | 113.9557 | 22.6835 | 117 | 10 | 58.3256 | 0.010398 | 0.029742 | 0.030385 | 0.16491 | 0.23544 | 0.99356 | 0.99048 | 0.98882 | 0.98065 | 0.97283 | 0.85275
NucleoMag (14D) | ERS27189095 | 8,08 [50] | 404 | 31.6 | 3.19 | 2.29 | 5,93 [31] | 5,5 [18] | 5.5 | - | - | - | - | 20 | 30 | 3.6364 | 26.3636 | 10cycles | 13.3 | 511 | 39.4355 | 2 | 40 | 2.0286 | 37.9714 | 0.466 | 507.75 | 1400 | 20 | 1000 | 14.2857 | 14.2857 | 14.2857 | 957.1429 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 267 | 10.24 | 6319910 | 35.4 | 16.5312 | 5.2071 | 17 | 3 | 13.4496 | 0.01143 | 0.009437 | 0.045124 | 0.16504 | 0.23103 | 0.98522 | 0.97516 | 0.92538 | 0.005007 | 0 | 0
NucleoMag (14F) | ERS27189096 | 7,51 [50] | 375.5 | 48.2 | 2.5 | 1.29 | 5,57 [28] | 5,28 [18] | 6.25 | - | - | - | - | 20 | 30 | 3.2 | 26.8 | 10cycles | 14.4 | 622 | 35.0775 | 2 | 35 | 1.9956 | 33.0044 | 0.739 | 589.1375 | 2100 | 20 | 1000 | 9.5238 | 9.5238 | 9.5238 | 971.4286 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 315 | 8.46 | 6960190 | 35.6 | 16.1604 | 5.0209 | 16 | 3 | 11.4939 | 0.010555 | 0.006083 | 0.037698 | 0.12557 | 0.1799 | 0.98698 | 0.97897 | 0.92348 | 0.003879 | 0 | 0
NucleoMag (14G) | ERS27189097 | 7,88 [50] | 394 | 55.3 | 2.64 | 1.36 | 6,26 [31] | 5,81 [18] | 1.84 | - | - | - | - | 20 | 30 | 10.9 | 19.1 | 10cycles | 13.5 | 430 | 47.6 | 2 | 50 | 2.1 | 47.9 | 0.675 | 437 | 2100 | 20 | 1000 | 9.52 | 9.52 | 9.52 | 971.43 | Yes | 20 | 1.3 | 550 | 3 | 0.03 | 35.8 | 1 | 34.7 | 514.3 | 251.1 | 8.74 | 8921020 | 35.8 | 20.0413 | 5.9498 | 20 | 4 | 11.2095 | 0.010715 | 0.009531 | 0.030875 | 0.18387 | 0.23499 | 0.98509 | 0.97881 | 0.96083 | 0.04484 | 2e-06 | 0