Table S1: Bioreactor dimensions with the associated flow rates, velocity, and Reynolds numbers29.

| Fluidic component | Dimensions (mm) | Flow rate (mL/min) | Reynolds Number |
| --- | --- | --- | --- |
| Main chamber | 20 circular | 7 | 11 |
|  |  | 20 | 21 |
| Sprinkler outlets | 1 circular | 7 | 212 |
|  |  | 20 | 415 |
| Scaffold channels | 2.5 square | 7 | 75 |
|  |  | 20 | 147 |
| Bioreactor inlet/outlet | 3 circular | 7 | 71 |
|  |  | 20 | 138 |