Supporting information

Femtomolar and Locus-Specific Detection of N6-Methyladenine in DNA by Integrating Double-hindered Replication and Nucleic Acid-functionalized MB@Zr-MOF

Qingyuan Zhenga,1, Tong Wanga,1, Xinmin Lia,b, Husun Qiana, Xintong Biana, Xingrong Lia, Huijie Baia, Shijia Dinga and  Yurong Yana,*

a Key Laboratory of Clinical Laboratory Diagnostics (Ministry of Education), College of Laboratory Medicine, Chongqing Medical University, Chongqing 400016, China

b Department of Laboratory Medicine, Chongqing Hospital of Traditional Chinese Medicine, Chongqing 400016, China

Corresponding Authors

*E-mail address: yanyurong@cqmu.edu.cn (Y. Yan).

Author Contributions

1 These authors contributed equally to this work.

Table S1. DNA Sequences used in the experiment for established electrochemical biosensor.

| Name a | Sequences (5’ to 3’) |
| --- | --- |
| Prime | TCC TGC TTG TGG CAG |
| CP | AAAAAA TGG TGC TTG TGG CAG |
| LP | CGG AGC AAG GAG CGA AAAAAA |
| Target A | TCG CTC CTT GCT CCG A CTG CCA CAA GCA CCA |
| Target T | TCG CTC CTT GCT CCG T CTG CCA CAA GCA CCA |
| Target C | TCG CTC CTT GCT CCG C CTG CCA CAA GCA CCA |
| Target G | TCG CTC CTT GCT CCG G CTG CCA CAA GCA CCA |
| Target m6A | TCG CTC CTT GCT CCG m6A CTG CCA CAA GCA CCA |

Figure S1. Characterization of the modification procedure on an electrode. (A) CV and (B) EIS at (a) the bare GE, (b) capture probes immobilized electrode, (c) after blocked with MCH, (d) after hybridized with m6A DNA, (e) after hybridized with LP@MB@MOF.

Figure S2. Optimization of the concentration of Zr-MOF. All results expressed as mean ± standard variation (n = 3).

Figure S3. Evaluation of the stability of the developed biosensor. All results are expressed as mean ± standard variation (n = 3).

Table S2. The recoveries determined using the strategy by spiking m6A DNA into human serum samples.

| Target m6A added (pM) | Detected results (μA) | Recovery (%) | RSD (%) a |
| --- | --- | --- | --- |
| 0.01 | 2.85 ± 0.24 | 96.65 | 5.87 |
| 1.00 | 4.95 ± 0.32 | 102.62 | 4.70 |
| 100.00 | 7.03 ± 0.22 | 103.02 | 4.34 |
| a RSD, relative standard deviation. |  |  |  |