- Appendix

Table 5. Company names of the data logger used, type of the data loggers, logging interval, and sampling intervals for each observed location in the measurement period 2023- 2024

| Plot | Company | Range | Logging intervals | Sampling intervals | Station |
| --- | --- | --- | --- | --- | --- |
| MS | METER©, Pullman, USA | ZL6 | 10 minutes | 10 minutes | WS 5/ WS 6 |
| SS | METER©, Pullman, USA | EM50 | 10 minutes | 10 minutes | WS 3/ WS 4 |

Table 6. Measured parameters on the observed plots during the entire measuring period (2023- 2024). *above ground level** Below mineral horizon layer (see Fig. 5a-d); stations WS 1 and WS 2 only for validation of the INCA grid dataset

| plot/ stations | Measurement height (a.g.l.)* | Measurement depth (b.m.l)** | Measured parameters | Sensor type |
| --- | --- | --- | --- | --- |
| Reference (REF) WS 1 WS 2 | 2 m 2m 2 m/ 1 m 2 m/ 1 m 2 m 2 m |  | air temperature relative air humidity wind direction wind velocity global radiation precipitation | ATMOS 41 ATMOS 41 ATMOS 22 ATMOS 22 ATMOS 41 ATMOS 41 ATMOS 41 |
| Maize strip (MS) WS 5 WS 6 | 2 m/2cm/15cm 2 m 2 m/ 1 m 2 m/ 1 m |  | air temperature relative air humidity wind direction wind velocity | ATMOS 14 ATMOS 14 ATMOS 22 ATMOS 22 |
| Soybean strip (SS) W 3 W 4 | 0.5 m/ /1m/ 2 m 0.5 m/ /1m/ 2 m 2 m 2m |  | wind direction wind velocity air temperature relative air humidity | ATMOS 22 ATMOS 22 ATMOS 12 ATMOS 14 |