Supplementary materials

Significant β-carboline alkaloid harmine in different developmental states of mammals in vivo: Endogenic or exogenic?

Ning Caoa, Shuping Li a, Aimin Xue b, Xiaoguang Zou b, Zunji Ke c, Gang Deng a, Xuemei Cheng a, Changhong Wang a*

a The MOE Key Laboratory for Standardization of Chinese Medicines, Shanghai Key Laboratory of Chinese Compound Medicines, Institute of Chinese Materia Medica, Shanghai University of Traditional Chinese Medicine, Shanghai, China

b Kashi Prefecture First People’s Hospital, Kashi, Xinjiang, China

c School of Basic Medicine, Shanghai University of Chinese Medicine, Shanghai, China

* Corresponding author: Professor Changhong Wang, Tel: +86 21 51322511, Fax: +86 21 51322519, E-mail: wchcxm@shutcm.edu.cn; wchcxm@hotmail.com (C.H. Wang).

Contents of Figures and Tables

Table. S1 The optimized MS analytical parameters of alkaloids and IS

Table S2 Accuracy, precision, extraction recovery and matrix effect of harmaline, harmine, harmane and nor-harmane in plasma

Table S3 Stability of harmaline, harmine, harmane and nor-harmane in plasma

Table S4: Sampling time of pup rats and their gender. Every sampling time contain 10 rats (half male and half female) at least. (One pup rat of NO.5 rat was dead. /: no sampling)

Table S5 The analyte peak area of harmine, harmaline, harmane and nor-harmane in fodder and bedding

Fig. S1 The chromatograms of harmine, harmaline, harmane and nor-harmane

Fig S2 The amounts of harmine in various tissues with the growth process of pup rats. The line shows amount of harmine in various tissues; the column shows weight of pup rats

Table. S1 The optimized MS analytical parameters of alkaloids and IS.

| ID | Q1（Da） | Q3（Da） | DP（volts） | EP（volts） | CE（volts） | CX（volts） |
| --- | --- | --- | --- | --- | --- | --- |
| Harmaline | 215.100 | 172.000 | 18.000 | 7.000 | 42.000 | 22.000 |
| Harmine | 213.100 | 170.200 | 50.000 | 8.000 | 41.000 | 11.000 |
| Harmane | 183.100 | 115.200 | 100.000 | 5.000 | 44.000 | 10.000 |
| Nor-harmane | 169.000 | 115.100 | 135.000 | 10.000 | 46.000 | 16.000 |
| IS (tacrine) | 199.100 | 144.100 | 135.000 | 5.000 | 50.000 | 17.000 |

Table S2 Accuracy, precision, extraction recovery and matrix effect of harmaline, harmine, harmane and nor-harmane in plasma.

|  | Concentration (ng/ml) | Accuracy (%, mean±SD) | Precision (%, RSD) | Extraction recovery (%, mean±SD) | Matrix effect (%, mean±SD) |
| --- | --- | --- | --- | --- | --- |
| harmaline | 0.05 | 96.55±3.06 | 4.77 | 119.83±6.11 | 118.52±1.15 |
|  | 0.2 | 99.77±2.71 | 4.01 | 106.10±5.53 | 107.53±3.09 |
|  | 5 | 104.60±4.03 | 2.74 | 88.07±2.86 | 85.76±0.78 |
|  | 20 | 90.25±2.82 | 3.72 | 94.36±3.52 | 94.24±3.55 |
| harmine | 0.05 | 94.17±3.02 | 1.98 | 100.78±6.72 | 101.21±7.99 |
|  | 0.2 | 104.62±4.15 | 3.85 | 86.52±2.72 | 88.42±4.52 |
|  | 5 | 103.42±4.88 | 3.38 | 90.63±7.84 | 88.11±3.97 |
|  | 20 | 85.48±2.75 | 4.53 | 98.85±2.05 | 96.61±6.47 |
| harmane | 0.05 | 97.65±2.62 | 3.18 | 94.23±5.52 | 93.78±7.69 |
|  | 0.2 | 100.57±2.46 | 5.61 | 96.32±4.32 | 94.17±5.42 |
|  | 5 | 103.40±4.94 | 3.70 | 89.21±3.51 | 89.21±3.51 |
|  | 20 | 88.17±3.14 | 4.55 | 97.37±6.13 | 96.27±1.50 |
| nor-harmane | 0.05 | 99.30±2.72 | 9.03 | 98.24±12.58 | 104.35±6.68 |
|  | 0.2 | 101.52±5.39 | 7.89 | 97.17±6.57 | 93.37±4.71 |
|  | 5 | 104.55±5.34 | 5.78 | 84.52±1.07 | 90.05±1.74 |
|  | 20 | 86.65±2.78 | 5.18 | 87.17±6.83 | 84.57±2.29 |

Table S3 Stability of harmaline, harmine, harmane and nor-harmane in plasma.

|  | Concentration (ng/ml) | RT for 4h RSD (%) | Frozen for 16 months RSD (%) |  |  | Freeze-thaw RSD (%) | Prepared sample RSD (%) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| harmaline | 0.05 | 9.10 | 8.97 |  | 3.93 |  | 1.31 |  |
|  | 0.2 | 3.20 | 2.17 |  | 4.29 |  | 4.30 |  |
|  | 5 | 6.20 | 4.85 |  | 4.22 |  | 0.62 |  |
|  | 20 | 3.74 | 4.13 |  | 3.62 |  | 2.95 |  |
| harmine | 0.05 | 2.19 | 7.75 | 5.33 |  |  |  | 2.65 |
|  | 0.2 | 4.42 | 9.86 | 7.96 |  |  |  | 4.24 |
|  | 5 | 1.74 | 3.83 | 2.63 |  |  |  | 3.32 |
|  | 20 | 1.56 | 3.47 | 3.59 |  |  |  | 3.50 |
| harmane | 0.05 | 3.18 | 2.95 | 3.95 |  |  |  | 3.43 |
|  | 0.2 | 2.39 | 1.09 | 3.20 |  |  |  | 5.00 |
|  | 5 | 2.22 | 2.74 | 4.90 |  |  |  | 0.30 |
|  | 20 | 1.19 | 2.14 | 6.51 |  |  |  | 1.79 |
| nor-harmane | 0.05 | 1.36 | 8.92 | 7.65 |  |  |  | 0.49 |
|  | 0.2 | 4.00 | 6.69 | 7.57 |  |  |  | 1.80 |
|  | 5 | 5.35 | 5.54 | 6.71 |  |  |  | 1.08 |
|  | 20 | 3.52 | 3.01 | 5.65 |  |  |  | 1.97 |

| Number | Litter size | Delivery time | Sampling time (month day)/sex |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1 | 3 | 5 | 7 | 9 | 12 | 15 | 18 | 21 | 25 | 29 |
| 1 | 13 | 2019.9.21 | 9.21♂ | 9.23♀ | 9.25♀ | 9.27♂ | 9.29♂ | 10.2♂ | 10.5♀ | 10.8♀ | 10.11♀ | 10.15♀ | 10.19♂ |
| 2 | 10 | 2019.9.24 | 9.24♂ | 9.26♂ | 9.28♀ | 9.30♀ | 10.2♀ | 10.5♀ | 10.8♂ | 10.11♀ | 10.14♂ | 10.18♀ | / |
| 3 | 13 | 2019.9.21 | 9.21♂ | 9.23♀ | 9.25♀ | 9.27♂ | 9.29♀ | 10.2♂ | 10.5♂ | 10.8♀ | 10.11♂ | 10.15♀ | 10.19♀ |
| 4 | 11 | 2019.9.25 | 9.25♀ | 9.27♀ | 9.29♂ | 10.1♂ | 10.3♂ | 10.6♂ | 10.9♀ | 10.12♂ | 10.15♀ | 10.19♀ | 10.23♂ |
| 5 | 10 | 2019.9.21 | 9.21♀ | 9.23♂ | 9.25♂ | 9.27♀ | 9.29♀ | 10.2♂ | 10.5♂ | 10.8♂ | / | / | 10.19♀ |
| 6 | 9 | 2019.9.26 | 9.26♂ | 9.28♀ | 9.30♀ | 10.2♂ | 10.4♂ | 10.7♀ | / | / | 10.16♀ | 10.20♂ | 10.24♀ |
| 7 | 11 | 2019.9.27 | 9.27♀ | 9.29♂ | 10.1♂ | 10.3♀ | / | 10.8♀ | 10.11♀ | 10.14♂ | 10.17♂ | 10.21♂ | 10.25♂ |
| 8 | 10 | 2019.9.26 | 9.26♀ | 9.28♀ | 9.30♂ | / | 10.4♂ | 10.7♀ | 10.10♂ | 10.13♀ | 10.16♀ | 10.20♂ | 10.24♀ |
| 9 | 10 | 2019.9.26 | 9.26♀ | 9.28♂ | 9.30♀ | 10.2♂ | 10.4♀ | / | 10.10♂ | 10.13♂ | 10.16♂ | 10.20♂ | 10.24♂ |
| 10 | 11 | 2019.9.28 | 9.28♂ | 9.30♀ | 10.2♂ | 10.4♀ | 10.6♀ | 10.9♂ | 10.12♀ | 10.15♀ | 10.18♀ | 10.22♀ | 10.26♀ |
| 11 | 11 | 2019.9.28 | 9.28♀ | 9.30♂ | 10.2♀ | 10.4♀ | 10.6♂ | 10.9♀ | 10.12♀ | 10.15♂ | 10.18♂ | 10.22♂ | 10.26♂ |

Table S4: Sampling time of pup rats and their gender. Every sampling time contain 10 rats (half male and half female) at least. (One pup rat of NO.5 rat was dead. /: no sampling)

Table S5 The analyte peak area of harmine, harmaline, harmane and nor-harmane in fodder and bedding.

| Name | Fodder/ analyte peak area | Bedding/ Analyte peak area | LLOQ peak area |
| --- | --- | --- | --- |
| Harmine | 1.11e+004 | 5.33e+004 | 1.77e+005 |
| Harmaline | 2.08e+004 | 3.15e+004 | 7.77e+004 |
| Harmane | 2.70e+004 | 2.58e+004 | 4.87e+004 |
| Nor-harmane | 2.99e+004 | 4.58e+004 | 7.35e+004 |

Fig. S1 The chromatograms of harmine, harmaline, harmane and nor-harmane. A: Blank plasma spiked with various alkaloids at LLOQ and IS; B: Representative MRM chromatograms of blank plasma sample; C: Plasma sample. The blue line represents the chromatogram of nor-harmane; the green line represents harmane; the red line represents IS; the wathet line represents harmaline; the gray line represents harmine.

Fig S2 The amounts of harmine in various tissues with the growth process of pup rats. The line shows amount of harmine in various tissues; the column shows weight of pup rats.