# Supplementary material

UV-Vis spectrophotometry coupled to chemometric analysis for the evaluation of atrazine photolysis and photocatalysis

Ailton. J. Moreira 1,2*, Sherlan G. Lemos 3, Dyovani Coelho 1, Lucia H. Mascaro 1, Gian P. G. Freschi 2, Ernesto C. Pereira 1

1Chemistry Dept. - Universidade Federal de São Carlos, São Carlos – SP, Brazil.

2Universidade Federal de Alfenas, Campus Poços de Caldas - MG, Brazil.

3Department of Chemistry, Federal University of Paraíba, João Pessoa – PB, Brazil

*Corresponding author. Tel.: +55 16 3351-8214.

E-mail address: aijomoquim@gmail.com (Ailton J. Moreira)

Calibration curve and figures of merit for atrazine and by-products after HPLC analyzes.

| Analyte | intercept | slope | R2 | LOD /LOQ (mg L-1) |
| --- | --- | --- | --- | --- |
| DEHAT | 17966.0277 ± 51536.49194 | 1.45929E6 ± 31170.10458 | 0.9959 | - |
| DIHAT* | - | - | - | - |
| HAT | -14625.53142 ± 29351.89647 | 1.28049E6 ± 45031.54675 | 0.9890 | 0.1444 / 0.4814 |
| DIAT | 31909.12944 ± 28435.04123 | 3.25466E6 ± 74716.54484 | 0.9953 | 0.0133 /0.0442 |
| DEAT | 63566.92368 ± 37407.03564 | 3.19861E6 ± 78054.74496 | 0.9947 | 0.0087 / 0.0290 |
| ATZ | -3041.67496 ± 19885.77831 | 3.05391E6 ± 20424.07443 | 0.9996 | 0.1953 / 0.6510 |

* not calculated

Fig. S1. Chromatographic profile obtained after analysis of the (3 mg L-1) standard solution of ATZ, HAT, DIAT, DEAT, DIHAT, DEHAT, or white of deionized water.