I. Experimental design:

(i) Experimental groups:

ACLF whole blood (n=40)

(ii) Control groups:

Healthy whole blood (n=40)

II. Sample:

Volume/mass of sample processed:
A total of 6 ml of blood was collected from each study group in EDTA-coated purple-top vacutainers. Plasma was aseptically separated and stored at −80°C until further use. 200µl of whole blood was taken for RNA isolation to proceed with.

RNA Isolation
Total RNA was isolated from cell pellets using the TRIzol™ reagent (Thermo Fisher Scientific, USA, Cat: 15596018) according to the manufacturer's instructions with slight modifications for optimal yield and purity. Briefly, 1000 µL of TRIzol was added to each sample pellet and homogenized thoroughly by pipetting and gentle vortexing. The homogenized samples were incubated at room temperature for 5 minutes to allow complete dissociation of nucleoprotein complexes.

Following incubation, 200 µL of chloroform (SRL, Cat: 30792) was added to each tube, and the samples were vigorously vortexed for 15 seconds, followed by a 5-minute incubation at room temperature. Phase separation was achieved by centrifugation at 12,000×g for 15 minutes at 4°C. The upper aqueous phase, containing RNA, was carefully transferred to a new RNase-free microcentrifuge tube without disturbing the interphase.

An equal volume of isopropanol (Qualigens, Cat: Q13827) was added to the aqueous phase to precipitate RNA. Samples were incubated for 120 minutes at -20℃ temperature and centrifuged at 12,000×g for 10 minutes at 4°C. The resulting RNA pellet was washed twice with 70% ethanol, air-dried for 5–10 minutes, and resuspended in 32 µL of nuclease-free water.

RNA quantity and purity were assessed using a NanoDrop spectrophotometer. Only samples with A260/A280 ratios between 1.8 and 2.0 were included for downstream qPCR analysis.

III. qPCR target information

(i) Primer designing strategy: The primers for the selected genes were designed using the IDT PrimerQuest tool. The design parameters were set to ensure that all primers span exon-exon junctions, meeting intron-exclusion criteria. Additionally, the primers were designed to amplify mRNA splice variants. The specificity of the designed primers was verified using the NCBI BLAST platform.

(ii) Manufacturer of oligonucleotides: IDT

| Gene | Forward primer | Reverse primer | Accession no. |
| --- | --- | --- | --- |
| TLR1 | CTGGTATCTCAGGATGGTGTGC | TTGGAGTTCTTCTAAGGGTATGTTCC | NM_003263 |
| TLR2 | GGCCAGCAAATTACCTGTGTG | AGGCGGACATCCTGAACCT | NM_003264 |
| TLR3 | TCCCAAGCCTTCAACGACTG | TGGTGAAGGAGAGCTATCCACA | NM_003265 |
| TLR4 | CTGCAATGGATCAAGGACCA | TTATCTGAAGGTGTTGCACATTCC | XM_057452 |
| TLR5 | TCGAGCCCCTACAAGGGAA | CACTGAGACTCTGCTATACAAGCTA | NM_003268 |
| TLR6 | CTATTGTTAAAAGCTTCCATTTTGT | ACCTGAAGCTCAGCGATGTAGTTC | NM_006068 |
| TLR7 | TTACCTGGATGGAAACCAGCTAC | TCAAGGCTGAGAAGCTGTAAGCTA | NM_016562 |
| TLR8 | GAGAGCCGAGACAAAAACGTTC | TGTCGATGATGGCCAATCC | NM_016610 |
| TLR9 | TGGTGTTGAAGGACAGTTCTCTC | CACTCGGAGGTTTCCCAGC | NM_017442 |
| TLR10 | GAAAGGTTCCCGCAGACTTG | TGGAGTTGAAAAAGGAGGTTATAG | NM_030956 |
| 18s | GTAACCCGTTGAACCCCATT | CCATCCAATCGGTAGTAGCG |  |

IV. qPCR protocol:

(i) Complete reaction conditions: SYBR green 1 chemistry was used to determine the relative expression of the target genes. The cycling parameters are: Initial denaturation at 95°C for 3 minutes, followed by annealing, amplification and detection for 40 cycles (95°C 30’’, 60°C 20’’, 72°C 20’’) at end-point fluorescence, and melt-curve analysis at 60-95°C at 0.1 °C rise per second at continuous fluorescence to detect specific amplicons.

(ii) Reaction volume and components: Reaction volume of total 10 µl: Components were 8 µl mastermix consisting of 5 µl of SYBR Green buffer. Mastermix (Thermo Fisher Scientific Dynamo Flash: F415S), 0.2 µl of forward + 0.2 µl of reverse primers (0.4mM), 2.6 µl of nuclease-free water, and 2 µl of template cDNA.

(v) Manufacture of qPCR instruments: Agilent AriaMx Real-Time PCR system was used to carry out the qPCR experiments.

Keywords and abbreviations

MIQE: The Minimum Information for Publication of Quantitative Real-Time PCR Experiments qPCR: Quantitative real time PCR

DC: Disease controls

PCR standardization and primer efficiency:

18S rRNA was used as the housekeeping gene. Primer validations and standardization of the reaction conditions were done by temperature gradient PCR in Himedia Prima-96 Well Block system. Reaction conditions were optimized to be same for all the genes, and chosen for qPCR as follows: 95°C 3’, 95°C 30’’, 60°C 20’’, 72°C 20’’.

References:

(In accordance with the MIQE1 guidelines): http://clinchem.aaccjnls.org/content/55/4/611