Supporting information

Levels, variations and sources of 90Sr and 137Cs in environmental and food samples around Qinshan Nuclear Power Plant, China in 2012-2019

Yiyao Cao1, Zhixin Zhao2, Xiaoming Lou1, Shunfei Yu1, Meibian Zhang1, Zhiqiang Xuan1, Zhongjun Lai1, Yaoxian Zhao1, Hong Ren 1, Dongxia Zhang1, Peng Wang1*

1 Zhejiang Provincial Center for Disease Control and Prevention, 3399 Binsheng Road, Hangzhou, Zhejiang, China.

2 Hangzhou Hospital for the Prevention and Treatment of Occupational Disease, Chaohui District 2, Hangzhou, Zhejiang, China.

*Correspondence: Dr. Peng Wang

Zhejiang Provincial Center for Disease Control and Prevention, Zhejiang, China.

Tel./Fax: +86-0571-87115154

E-mail: pwang@cdc.zj.cn

Summary

The supporting information includes four tables summarizing the programmed heating conditions for microwave-assisted ashing of food samples in this work (Table S1), 137Cs and 90Sr activity concentrations and 137Cs/90Sr activity ratios in total atmospheric deposition (Table S2), source and tap waters (Table S3) and food samples (Table S4) around Qinshan Nuclear power plant (QNPP) during 2012–2019.

Table S1 Programmed heating conditions for microwave-assisted ashing of food samples in this work

| Food | Temperature（℃） | Duration（h） |
| --- | --- | --- |
| Salsola | 98 | 0.5 |
|  | 240 | 3 |
|  | 320 | 1 |
|  | 500 | 4 |
| Crucian carp and Mullet | 127 | 2 |
|  | 230 | 10 |
|  | 350 | 2 |
|  | 500 | 12 |
| Rice | 150 | 12 |
|  | 270 | 12 |
|  | 400 | 5 |
|  | 500 | 5 |

Table S2 137Cs and 90Sr activity concentrations and 137Cs/90Sr activity ratios in total atmospheric deposition during 2012–2019

| Year |  | 1st Quater |  |  | 2nd Quater |  |  | 3rd Quater |  |  | 4th Quater |  |  | Annual average |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr |
|  |  | Bq/m2 | Bq/m2 |  | Bq/m2 | Bq/m2 |  | Bq/m2 | Bq/m2 |  | Bq/m2 | Bq/m2 |  | Bq/m2 | Bq/m2 |  |
| 2012 | value | 0.435 | 0.098 | 0.222 | 0.496 | 0.098 | 0.197 | 0.471 | 0.105 | 0.219 | 0.348 | 0.109 | 0.306 | 0.438 | 0.102 | 0.236 |
|  | sd | 0.012 | 0.039 | 0.085 | 0.017 | 0.012 | 0.019 | 0.029 | 0.047 | 0.085 | 0.067 | 0.043 | 0.083 | 0.064 | 0.006 | 0.048 |
| 2013 | value | 0.518 | 0.192 | 0.370 | 0.495 | 0.140 | 0.282 | 0.415 | 0.104 | 0.246 | 0.502 | 0.137 | 0.277 | 0.483 | 0.143 | 0.294 |
|  | sd | 0.009 | 0.043 | 0.078 | 0.013 | 0.022 | 0.038 | 0.018 | 0.042 | 0.089 | 0.012 | 0.063 | 0.135 | 0.046 | 0.036 | 0.053 |
| 2014 | value | 0.491 | 0.099 | 0.202 | 0.239 | 0.112 | 0.603 | 0.717 | 0.032 | 0.045 | 0.522 | 0.223 | 0.430 | 0.492 | 0.116 | 0.320 |
|  | sd | 0.022 | 0.022 | 0.048 | 0.091 | 0.043 | 0.359 | 0.014 | 0.013 | 0.019 | 0.017 | 0.097 | 0.189 | 0.196 | 0.079 | 0.246 |
| 2015 | value | 0.558 | 0.154 | 0.294 | 0.378 | 0.181 | 0.585 | 0.812 | 0.354 | 0.580 | 0.645 | 0.233 | 0.365 | 0.598 | 0.231 | 0.456 |
|  | sd | 0.196 | 0.042 | 0.084 | 0.172 | 0.048 | 0.240 | 0.241 | 0.239 | 0.518 | 0.139 | 0.092 | 0.139 | 0.181 | 0.088 | 0.149 |
| 2016 | value | 2.726 | 0.581 | 0.213 | 1.537 | 1.754 | 1.137 | 1.305 | 1.282 | 0.984 | 1.169 | 1.067 | 0.914 | 1.684 | 1.171 | 0.812 |
|  | sd | 0.023 | 0.043 | 0.016 | 0.042 | 0.322 | 0.181 | 0.037 | 0.066 | 0.070 | 0.029 | 0.074 | 0.071 | 0.711 | 0.487 | 0.410 |
| 2017 | value | 1.435 | 0.912 | 0.642 | 1.439 | 0.735 | 0.511 | 1.870 | 0.137 | 0.074 | 1.103 | 0.365 | 0.328 | 1.462 | 0.537 | 0.389 |
|  | sd | 0.102 | 0.129 | 0.116 | 0.082 | 0.095 | 0.056 | 0.048 | 0.041 | 0.024 | 0.075 | 0.091 | 0.072 | 0.314 | 0.351 | 0.246 |
| 2018 | value | 1.030 | 0.239 | 0.234 | 1.031 | 0.327 | 0.315 | 1.759 | 0.422 | 0.241 | 1.047 | 0.535 | 0.523 | 1.217 | 0.381 | 0.328 |
|  | sd | 0.056 | 0.043 | 0.050 | 0.069 | 0.052 | 0.029 | 0.063 | 0.088 | 0.055 | 0.112 | 0.092 | 0.128 | 0.362 | 0.127 | 0.135 |
| 2019 | value | 1.140 | 0.456 | 0.402 | 1.706 | 0.481 | 0.279 | 1.196 | 0.679 | 0.566 | 1.402 | 0.473 | 0.342 | 1.361 | 0.522 | 0.397 |
|  | sd | 0.034 | 0.104 | 0.100 | 0.088 | 0.132 | 0.064 | 0.039 | 0.099 | 0.065 | 0.108 | 0.076 | 0.076 | 0.256 | 0.105 | 0.123 |

Table S3 137Cs and 90Sr activity concentrations and 137Cs/90Sr activity ratios in source and tap water during 2012–2019

| Year |  | 1st source water |  |  | 2nd source water |  |  | Source water annual average |  |  | 1st tap water |  |  | 2nd tap water |  |  | Tap water annual average |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr |
|  |  | Bq/L | Bq/L |  | Bq/L | Bq/L |  | Bq/L | Bq/L |  |  |  |  |  |  |  | Bq/L | Bq/L |  |
| 2012 | value | 5.902 | 4.984 | 0.844 | 5.617 | 4.554 | 0.811 | 5.760 | 4.769 | 0.828 | 5.788 | 2.186 | 0.378 | 5.160 | 2.238 | 0.434 | 5.474 | 2.212 | 0.406 |
|  | sd | 0.071 | 0.045 | 0.003 | 0.045 | 0.089 | 0.020 | 0.202 | 0.304 | 0.024 | 0.101 | 0.105 | 0.016 | 0.065 | 0.076 | 0.013 | 0.444 | 0.036 | 0.040 |
| 2013 | value | 4.904 | 1.198 | 0.244 | 3.726 | 1.829 | 0.491 | 4.315 | 1.514 | 0.368 | 6.617 | 4.071 | 0.615 | 7.021 | 3.953 | 0.563 | 6.819 | 4.012 | 0.589 |
|  | sd | 0.033 | 0.066 | 0.014 | 0.048 | 0.024 | 0.005 | 0.833 | 0.446 | 0.174 | 0.092 | 0.065 | 0.009 | 0.075 | 0.052 | 0.007 | 0.286 | 0.084 | 0.037 |
| 2014 | value | 4.263 | 2.439 | 0.572 | 8.987 | 1.098 | 0.122 | 6.625 | 1.769 | 0.347 | 3.120 | 1.928 | 0.618 | 6.839 | 5.472 | 0.801 | 4.979 | 3.700 | 0.709 |
|  | sd | 0.099 | 0.087 | 0.019 | 0.135 | 0.065 | 0.009 | 3.340 | 0.948 | 0.318 | 0.079 | 0.053 | 0.001 | 0.211 | 0.067 | 0.015 | 2.630 | 2.506 | 0.129 |
| 2015 | value | 9.966 | 0.847 | 0.085 | 9.833 | 0.845 | 0.086 | 9.899 | 0.846 | 0.085 | 6.193 | 0.704 | 0.114 | 6.053 | 4.142 | 0.684 | 6.123 | 2.423 | 0.399 |
|  | sd | 0.296 | 0.054 | 0.003 | 0.102 | 0.049 | 0.005 | 0.094 | 0.002 | 0.001 | 0.207 | 0.055 | 0.005 | 0.063 | 0.092 | 0.012 | 0.099 | 2.431 | 0.403 |
| 2016 | value | 6.198 | 7.327 | 1.184 | 11.892 | 6.733 | 0.567 | 9.045 | 7.030 | 0.875 | 5.837 | 1.225 | 0.210 | 6.668 | 2.373 | 0.356 | 6.252 | 1.799 | 0.283 |
|  | sd | 0.191 | 0.073 | 0.048 | 0.399 | 0.072 | 0.014 | 4.026 | 0.420 | 0.436 | 0.078 | 0.028 | 0.003 | 0.082 | 0.063 | 0.005 | 0.587 | 0.812 | 0.103 |
| 2017 | value | 11.157 | 2.884 | 0.259 | 11.052 | 4.467 | 0.404 | 11.105 | 3.676 | 0.332 | 8.704 | 5.550 | 0.638 | 7.587 | 2.819 | 0.372 | 8.145 | 4.185 | 0.505 |
|  | sd | 0.217 | 0.082 | 0.011 | 0.433 | 0.098 | 0.007 | 0.074 | 1.119 | 0.103 | 0.059 | 0.133 | 0.020 | 0.113 | 0.066 | 0.007 | 0.790 | 1.932 | 0.188 |
| 2018 | value | 9.346 | 4.965 | 0.531 | 9.447 | 2.233 | 0.236 | 9.396 | 3.599 | 0.384 | 5.915 | 1.318 | 0.223 | 5.707 | 1.489 | 0.261 | 5.811 | 1.403 | 0.242 |
|  | sd | 0.098 | 0.066 | 0.006 | 0.075 | 0.073 | 0.006 | 0.071 | 1.932 | 0.209 | 0.056 | 0.092 | 0.015 | 0.068 | 0.101 | 0.021 | 0.147 | 0.121 | 0.027 |
| 2019 | value | 8.586 | 2.131 | 0.248 | 8.972 | 4.607 | 0.513 | 8.779 | 3.369 | 0.381 | 5.022 | 2.298 | 0.458 | 5.423 | 3.145 | 0.580 | 5.223 | 2.722 | 0.519 |
|  | sd | 0.067 | 0.043 | 0.007 | 0.102 | 0.054 | 0.001 | 0.273 | 1.751 | 0.188 | 0.034 | 0.021 | 0.005 | 0.078 | 0.047 | 0.006 | 0.284 | 0.598 | 0.086 |

Table S4 137Cs and 90Sr activity concentrations and 137Cs/90Sr activity ratios in different food samples collected around QNPP during 2012–2019

| Year |  | Mullet |  |  | Rice |  |  | Salsola |  |  | Crucian carp |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr | 90Sr | 137Cs | 137Cs/90Sr |
|  |  | Bq/kg f.w. | Bq/kg f.w. |  | Bq/kg f.w. | Bq/kg f.w. |  | Bq/kg f.w. | Bq/kg f.w. |  | Bq/kg f.w. | Bq/kg f.w. |  |
| 2012 | value | 0.994 | 0.057 | 0.058 | 0.540 | 0.038 | 0.069 | 0.435 | 0.206 | 0.519 | 0.644 | 0.374 | 0.586 |
|  | sd | 0.045 | 0.022 | 0.022 | 0.069 | 0.012 | 0.021 | 0.102 | 0.045 | 0.227 | 0.032 | 0.087 | 0.157 |
| 2013 | value | 0.629 | 0.083 | 0.131 | 0.122 | 0.072 | 0.689 | 0.492 | 0.040 | 0.078 | 0.700 | 0.335 | 0.472 |
|  | sd | 0.023 | 0.025 | 0.037 | 0.045 | 0.023 | 0.295 | 0.112 | 0.016 | 0.016 | 0.074 | 0.075 | 0.059 |
| 2014 | value | 0.379 | 0.030 | 0.079 | 0.054 | 0.018 | 0.309 | 0.268 | 0.144 | 0.749 | 0.762 | 0.039 | 0.052 |
|  | sd | 0.054 | 0.008 | 0.011 | 0.017 | 0.009 | 0.066 | 0.099 | 0.067 | 0.603 | 0.045 | 0.012 | 0.017 |
| 2015 | value | 0.726 | 0.064 | 0.089 | 0.063 | 0.044 | 0.703 | 0.645 | 0.186 | 0.286 | 0.846 | 0.239 | 0.290 |
|  | sd | 0.049 | 0.026 | 0.038 | 0.023 | 0.018 | 0.092 | 0.043 | 0.076 | 0.107 | 0.097 | 0.055 | 0.094 |
| 2016 | value | 0.856 | 0.068 | 0.078 | 0.047 | 0.029 | 0.767 | 0.694 | 0.261 | 0.386 | 1.319 | 0.483 | 0.362 |
|  | sd | 0.103 | 0.023 | 0.017 | 0.016 | 0.011 | 0.535 | 0.076 | 0.079 | 0.129 | 0.155 | 0.102 | 0.037 |
| 2017 | value | 1.046 | 0.088 | 0.083 | 0.037 | 0.044 | 1.144 | 0.680 | 0.233 | 0.346 | 0.973 | 0.511 | 0.523 |
|  | sd | 0.076 | 0.029 | 0.025 | 0.008 | 0.018 | 0.261 | 0.032 | 0.077 | 0.124 | 0.076 | 0.095 | 0.070 |
| 2018 | value | 0.858 | 0.074 | 0.088 | 0.066 | 0.031 | 0.618 | 0.262 | 0.281 | 1.084 | 1.046 | 0.599 | 0.571 |
|  | sd | 0.075 | 0.034 | 0.045 | 0.029 | 0.012 | 0.343 | 0.087 | 0.092 | 0.085 | 0.122 | 0.082 | 0.015 |
| 2019 | value | 1.052 | 0.058 | 0.055 | 0.463 | 0.056 | 0.120 | 1.067 | 0.306 | 0.289 | 0.812 | 0.569 | 0.719 |
|  | sd | 0.079 | 0.021 | 0.018 | 0.066 | 0.017 | 0.026 | 0.092 | 0.074 | 0.078 | 0.089 | 0.112 | 0.209 |