Supplyment

Supplyment Table 1. Two-time S-Detect evaluation of novice operator.

| Comparison | N1: Malignant | N1: Benign | Total |
| --- | --- | --- | --- |
| N2: Malignant | 126 | 9 | 135 |
| N2: Benign | 2 | 177 | 179 |
| Total | 128 | 186 | 314 |

Note: N1, first-time assessment; N2, Repeat assessment. “Benign” and “Malignant” indicate lesions classified as “possibly benign” or “possibly malignant”, respectively.

Supplyment Table 2. Two-time S-Detect evaluation of experienced operator.

| Comparison | E1: Malignant | E1: Benign | Total |
| --- | --- | --- | --- |
| E2: Malignant | 124 | 7 | 131 |
| E2: Benign | 0 | 183 | 183 |
| Total | 124 | 190 | 314 |

Note: E1, first-time assessment; E2, Repeat assessment. “Benign” and “Malignant” indicate lesions classified as “possibly benign” or “possibly malignant”, respectively.

Supplyment Table 3. Concordance between novice and experienced operators of first run.

| Comparison | E1 Malignant | E1 Benign | Total |
| --- | --- | --- | --- |
| N1 Malignant | 122 | 6 | 128 |
| N1 Benign | 2 | 184 | 186 |
| Total | 124 | 190 | 314 |

Note: E1, first-time operated by experienced operator, N1, first-time operated by novice operator, “Benign” and “Malignant” indicate lesions classified as “possibly benign” or “possibly malignant”, respectively.

Supplyment Table 4. Concordance between novice and experienced operators of second run.

| Comparison | E2 Malignant | E2 Benign | Total |
| --- | --- | --- | --- |
| N2 Malignant | 128 | 7 | 135 |
| N2 Benign | 3 | 176 | 179 |
| Total | 131 | 183 | 314 |

Note: E2, second-time operated by experienced operator, N2, second-time operated by novice operator, “Benign” and “Malignant” indicate lesions classified as “possibly benign” or “possibly malignant”, respectively.