Supplyment
Supplyment Table 1. Two-time S-Detect evaluation of novice operator.
	Comparison
	N1: Malignant
	N1: Benign
	Total

	N2: Malignant
	126
	9
	135

	N2: Benign
	2
	177
	179

	Total
	128
	186
	314


Note: N1, first-time assessment; N2, Repeat assessment. “Benign” and “Malignant” indicate lesions classified as “possibly benign” or “possibly malignant”, respectively.
Supplyment Table 2. Two-time S-Detect evaluation of experienced operator.
	Comparison
	E1: Malignant
	E1: Benign
	Total

	E2: Malignant
	124
	7
	131

	E2: Benign
	0
	183
	183

	Total
	124
	190
	314


Note: E1, first-time assessment; E2, Repeat assessment. “Benign” and “Malignant” indicate lesions classified as “possibly benign” or “possibly malignant”, respectively.
Supplyment Table 3. Concordance between novice and experienced operators of first run.
	Comparison
	E1 Malignant
	E1 Benign
	Total

	N1 Malignant
	122
	6
	128

	N1 Benign
	2
	184
	186

	Total
	124
	190
	314


Note: E1, first-time operated by experienced operator, N1, first-time operated by novice operator, “Benign” and “Malignant” indicate lesions classified as “possibly benign” or “possibly malignant”, respectively.
Supplyment Table 4. Concordance between novice and experienced operators of second run.
	Comparison
	E2 Malignant
	E2 Benign
	Total

	N2 Malignant
	128
	7
	135

	N2 Benign
	3
	176
	179

	Total
	131
	183
	314


Note: E2, second-time operated by experienced operator, N2, second-time operated by novice operator, “Benign” and “Malignant” indicate lesions classified as “possibly benign” or “possibly malignant”, respectively.


