Technical Appendix

The complete genome sequence of Kuro-I was determined by long-read and short-read sequencing data. A genomic DNA library was prepared with an SQK-RAD004 rapid barcoding kit (Oxford Nanopore Technologies, Oxford, UK), according to the manufacturer’s instructions. The library was loaded on a SpotON MIN (R9.4.1) flow cell and sequenced using MinKNOW v.19.12.2. Raw read sequences (fast5 format) were basecalled using Guppy v.3.4.1 software. Sequencing of short reads was performed with the NovaSeq 6000 Platform (Illumina, San Diego, CA). A paired-end sequencing library was prepared with a Nextera XT DNA sample prep kit (Illumina Inc., San Diego, CA) according to the manufacturer’s instructions.

Multiplexing adapters of Nanopore sequence reads were removed by Porechop software (Galaxy Ver. 0.2.3, https://github.com/rrwick/Porechop). Short (<1000-bp) and/or low-quality (quality scores of <10) reads were filtered using Filtlong without external references (Galaxy Ver. 0.2.0, https://github.com/rrwick/Filtlong). Collected reads were de novo assembled using a Canu assembler (Galaxy Ver. 1.8) with a maximum raw overlap mismatch of 0.500, and a maximum corrected overlap mismatch of 0.144(1). The generated contig was circularized manually using ATGC assembly software (GENETYX). Illumina short-read sequences were assessed by FastQC (Galaxy Ver. 0.72+galaxy1, http://www.bioinformatics.babraham.ac.uk/projects/fastqc), mapped to the contig with minimap2 (Galaxy Ver. 2.17), and polished with Pilon (Galaxy Ver. 1.20.1)(2,3).

Raw reads of the Kuro-I strain obtained from Illumina and Nanopore MinION runs have been deposited in the NCBI Sequence Read Archive under DRX226427 and DRX226428. The circular genome assembly has been deposited in NCBI Assembly under GCA_AP023343.

Genbank files of espACD operon of M. kansasii ATCC and Kuro-I were obtained by annotator; DFAST(4). These files were converted to fasta file format by any2fasta (https://github.com/tseemann/abricate) and aligned by BLAST+(5). Alignment sequences were visualized using genoPlotR for R(6).

Downloaded raw read sequence data of SRA were assessed by FastQC (Galaxy Ver. 0.72+galaxy1, http://www.bioinformatics.babraham.ac.uk/projects/fastqc). Paired-end reads were assembled by Shovill (Galaxy Ver. 1.1.0 + galaxy 0, https://github.com/tseemann/shovill) with adaptor trimming by Trimmomatic(7).

Nucleotide identity values (percentage) between M. kansasii complex strains were calculated using the average nucleotide identity (ANI) analyzer, FastANI (Galaxy Ver. 1.3)(8). According to a previous study, we used a 95-96% cutoff score(9,10). The Kuro-I strain showed the highest similarity to the M. kansasii ATCC12478T strain isolated from diseased human(99.37%). 17 strains of M. kansasii showed a mean ANI value of 99.23% (range 98.87-99.97%).

Appendix References

1. 	Koren S, Walenz BP, Berlin K, Miller JR, Bergman NH, Phillippy AM. Canu: Scalable and accurate long-read assembly via adaptive κ-mer weighting and repeat separation. Genome Res. 2017;27(5):722–36.

2. 	Walker BJ, Abeel T, Shea T, Priest M, Abouelliel A, Sakthikumar S, et al. Pilon: An integrated tool for comprehensive microbial variant detection and genome assembly improvement. PLoS One. 2014;9(11).

3. 	Li H. Minimap2: Pairwise alignment for nucleotide sequences. Bioinformatics. 2018;34(18):3094–100.

4. 	Tanizawa Y, Fujisawa T, Nakamura Y. DFAST: a flexible prokaryotic genome annotation pipeline for faster genome publication. Hancock J, editor. Bioinformatics. 2017:1037–9.

5. 	Camacho C, Coulouris G, Avagyan V, Ma N, Papadopoulos J, Bealer K, et al. BLAST+: Architecture and applications. BMC Bioinformatics. 2009;10(1):421.

6. 	Guy L, Kultima JR, Andersson SGE, Quackenbush J. GenoPlotR: comparative gene and genome visualization in R. In: Bioinformatics. 2011. p. 2334–5.

7. 	Bolger AM, Lohse M, Usadel B. Trimmomatic: A flexible trimmer for Illumina sequence data. Bioinformatics. 2014;30(15):2114–20.

8. 	Jain C, Rodriguez-R LM, Phillippy AM, Konstantinidis KT, Aluru S. High throughput ANI analysis of 90K prokaryotic genomes reveals clear species boundaries. Nat Commun. 2018;9(1):1–8.

9. 	Goris J, Konstantinidis KT, Klappenbach JA, Coenye T, Vandamme P, Tiedje JM. DNA-DNA hybridization values and their relationship to whole-genome sequence similarities. Int J Syst Evol Microbiol. 2007;57(1):81–91.

10. 	Richter M, Rosselló-Móra R. Shifting the genomic gold standard for the prokaryotic species definition. Proc Natl Acad Sci U S A. 2009;106(45):19126–31.