Supplementary material

Technical Cleanliness analysis by Pyr-GC/MS method- performance study

Maroš Špirkoa,*, Kenichi Obayashib, Katsuhiro Nakagawac, Kazumi Kawaharad, Alexander Kaszonyie, Lívia Izsáke

a Environmental Quality Group, Panasonic Industrial Devices Slovakia s.r.o, Továrenská 13, 064 01 Stará Ľubovňa, Slovakia
b Mass Spectrometry Business Unit, Analytical and Measuring Instruments Division, Shimadzu Corporation, 1 Nishinokyo Kuwabara-cho, Nakagyo-ku, Kyoto 604-8511, Japan
c RoHS Testing Laboratory, Research Centre, Shimadzu General Service, Inc., 1 Nishinokyo Tokudaiji-cho, Nakagyo-ku, Kyoto 604-8445, Japan
d Green Solution Unit, Solutions COE, Analytical and Measuring Instruments Division, Shimadzu Corporation, 1 Nishinokyo Kuwabara-cho, Nakagyo-ku, Kyoto 604-8511, Japan
e Department of Organic Technology, Catalysis and Petroleum Chemistry, Faculty of Chemical and Food Technology, Slovak University of Technology in Bratislava, Bratislava I, 812 37 Bratislava, Slovakia

Figure 1. TIC and SIM(m/z=128) pyrogram of 10 ng PVC

Figure 2. MS spectrum of the pyrolyzed PVC sample at the maximum of SIM pyrogram
 (molecular ion of naphthalene (M+) is at m/z=128)

Table 1. S/N ratio of m/z=128 for PVC injections

| Meas. Amount | 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- | --- |
| 10.0 ng | 40.00 | 34.97 | 46.65 | 40.56 | 34.62 |
| 1.0 ng | 19.11 | 19.34 | 15.95 | 21.21 | 21.60 |
| 0.5 ng | 10.98 | 12.63 | 9.38 | 12.29 | 10.43 |

Figure 3. SIM of m/z=128 for 10.0 ng PVC injections

Figure 4. SIM of m/z=128 for 1.0 ng PVC injections

Figure 5. SIM of m/z=128 for 0.5 ng PVC injections

* Corresponding author.
E-mail addresses: maros.spirko@eu.panasonic.com, maros.spirko.work@gmail.com