Table S1. Variation in TNF-α and adalimumab pre-incubation conditions.
Goodness-of-fit parameters (R2) and EC₅₀ values from 4PL models are shown for each pre-incubation duration. Results from F-tests of parallel curve analysis and the p-values are included, in which three parameters (Hill slope, top asymptote, and bottom asymptote) were constrained to be shared across conditions. Asterisks indicate values falling outside the predefined acceptance range.

| Run (Plate) | Pre-incubation time | 4PL unconstrained model fit | Constrained model fit (Similarity test analysis) |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | R2 | EC50 (ng/mL) | F-test (3 parameters shared) | R2 |
| P1 | 45 min | 0.9754 | 66.65 | F (DFn, DFd) = "0.06497 (6, 54)" | 0.9575 |
|  | 30 min | 0.9679 | 61.20 |  |  |
|  | 15 min | 0.9316* | 88.79* | p=0.9988 |  |
| P2 | 45 min | 0.9749 | 57.13 | F (DFn, DFd) ="0.8870 (6, 54)" | 0.9492 |
|  | 30 min | 0.9774 | 63.22 |  |  |
|  | 15 min | 0.9069* | 81.65* | p=0.5109 |  |
| P3 | 45 min | 0.9788 | 53.34 | F (DFn, DFd) ="0.2358 (6, 54)" | 0.9631 |
|  | 30 min | 0.9900 | 60.45 |  |  |
|  | 15 min | 0.9507 | 79.07* | p=0.9629 |  |

Table S2. Parallel curve analysis comparing Reference adalimumab with Biosimilar 1 and Biosimilar 2. F-test results are shown for comparisons between unconstrained and constrained 4PL models, where three parameters (slope, top asymptote, and bottom asymptote) were shared across curves. P-values from the F-test and R² values from goodness-of-fit analysis are provided for each independent run. RP = relative potency.

| Sample | Run (Plate) | Constrained model fit (Similarity test analysis) |  |  | Goodness-of-fit |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | F-test (3 parameters shared) | p-value | Parallelism – RP (%) | R2 | Mean RP (%) |
| Ref vs Yusimry® BS1 | P1 | F (DFn, DFd) = "2.427 (3, 36)" | p=0.0813 | pass - 110% | 0.9898 | 103% |
|  | P2 | F (DFn, DFd) = "2.660 (3, 36)" | p=0.6280 | pass - 94% | 0.9850 |  |
|  | P3 | F (DFn, DFd) = "0.151 (3, 36)" | p=0.9282 | pass - 105% | 0.9802 |  |
| Ref vs Hadlima® BS2 | P1 | F (DFn, DFd) = "0.044 (3, 36)" | p=0.9871 | pass - 92% | 0.9668 | 96% |
|  | P2 | F (DFn, DFd) = "0.010 (3, 36)" | p=0.9991 | pass - 93% | 0.9433 |  |
|  | P3 | F (DFn, DFd) = "0.092 (3, 36)" | p=0.9637 | pass - 104% | 0.9524 |  |