Supplementary File 1. PCR methods

SARS-CoV-2 RT-PCR methods employed:

- Diagnostic testing of nasopharyngeal swab specimens for SARS-CoV-2 RNA was conducted by reverse transcription (RT) polymerase chain reaction (PCR) SARS-CoV-2 using the SARS-CoV-2 Cobas® 6800 assay (Roche diagnostics Rotkreuz, Switzerland) at the Clinical Laboratories, Aga Khan University Hospital (AKUH), Karachi, Pakistan. In this 700 ul of respiratory swab sample is directly added to a secondary tube that is loaded into the Cobas® system, Roche Diagnostics.  RNA extraction is directly followed by targeted RT-PCR for orf1ab and E gene targets. Amplification data and CT values of orf1ab and E gene targets were available.

- For variant screening assays, RNA was extracted. One hundred and forty microliters of respiratory swab specimen were used for RNA extraction using the QIAAmp RNA minikit (Qiagen, USA) using the manufacturer’s recommendation.

RT-PCR was set up using 10 ul of RNA using the;

A	Novatype II assay: Eurofins, GmBH. SARS-CoV-2 positive samples (detected on SARS-CoV-2 Cobas® 6800 assay) were screened for N501Y/A570D mutations. This assay detects two key mutations, namely N501Y (nucleotide position A23063T) and A570D (nucleotide position C23271A) located in the gene of the virus genome coding for the spike protein. Lineage B.1.1.7 carries both mutations, whereas the lineages B.1.351 and P.1 carry only N501Y. Separate detection of both mutations by using different fluorophores allows discrimination between wildtype and different mutant lineages. The three targets included in the RT-PCR kit are as follows Target 1: S-gene variants A570D/N501Y (FAM); Target 2: A570/N501 wild type (VIC); Target 3: Internal control (ROX).

B	PHOENIXDX® SARS-COV-2 MUTANT SCREEN - L452R (Procomcure Biotech). SARS-CoV-2 positive samples were screened to discrimination between wildtype SARS-CoV-2 and L452R mutant SARS-CoV-2.  The discrimination between the viral targets is achieved using of two different fluorophores that are detected in two different channels: FAM for the wildtype virus and FAM/VIC for the mutant virus.