SUPPLEMENTARY MATERIAL

Mycotoxins occurrence in dry herbs used for tea preparation: method validation, analysis of bulk samples and dietary risk assessment

Camila Suguiura Evangelista1, Denise Carvalho Mello1, Eloisa Dutra Caldas1, Patrícia Diniz Andrade1,2

1Laboratory of Toxicology, Faculty of Health Sciences, University of Brasília, Brasilia, DF 70910-900, Brazil

2Faculty of Agronomy and Veterinary Medicine, University of Brasília, DF 70910-900, Brazil

Table S1. Number of samples collected in the Federal District between 2018 and 2021.

| Sample (scientific name) | Plant part | Manufacture's recommendation (g) | N | Positive samples | Mycotoxin | Level (µg/kg) |
| --- | --- | --- | --- | --- | --- | --- |
| Angelica (Angelica officinalis L.) | Leaf | 2 - 20 | 2 | 1 | FB2 | 10.1 |
|  |  |  |  |  | OTA | Traces |
|  |  |  |  |  | ZEN | Traces |
| Arnica (Arnica montana) | Bark and leaf | 3 | 1 | < LOD |  |  |
| Arnica-do-mato (Solidago microglossa) | Leaf | 3 | 1 | < LOD |  |  |
| Artichoke (Cynara scolymus) | Leaf | 3 - 10 | 5 | 1 | FB2 | 2.9 |
| Assa-peixe (Vernonia polysphaera) | Leaf | 3 | 1 | < LOD |  |  |
| Barbatimão (Stryphnodedron barbatiman) | Bark | 3 | 1 | < LOD |  |  |
| Black mulberry (Morus nigra) | Leaf | 3 - 10 | 2 | 1 | ZEN | 52.0 |
|  |  |  |  |  | α-ZEL | Traces |
| Bladder wrack (Fucus vesiculosus) | Leaf | 9 - 12 | 3 | 1 | AFB2 | Traces |
| Boldo (Boldus boldus) | Leaf | 3 - 10 | 1 | < LOD |  |  |
| Boldo (Peumus boldus) | Leaf | 3 - 10 | 6 | < LOD |  |  |
| Canela de velho (Miconia albicans) | Leaf | NR | 2 | 1 | ZEN | Traces |
| Carqueja (Baccharis trimera) | Leaf | 10 | 1 | < LOD |  |  |
| Cáscara sagrada (Rhamnus purshiana) | Bark | 3 | 2 | < LOD |  |  |
| Cat’s claw. (Uncaria tomentosa) | Bark | 3 | 6 | 2 | AFB1 | 9.8 |
|  |  |  |  |  | AFB2 | Traces |
|  |  |  |  |  | FB2 | Traces |
|  |  |  |  |  | OTA | Traces – 10.0 |
| Chamomile (Matricaria chamomilla) | Flower | 3 - 10 | 1 | < LOD |  |  |
| Chamomile (Matricaria recutita) | Flower | 3 - 10 | 1 | 1 | ZEN | 6.6 |
| Chamomile (Matricaria chamomilla) | Flower and aerial part | 3 - 10 | 1 | < LOD |  |  |
| Chamomile (Matricaria recutita) | Flower, leaf and stem | 3 - 10 | 1 | < LOD |  |  |
| Chamomille (Matricaria recutita) | Leaf | 3 - 10 | 2 | 1 | ZEN | Traces |
| Chapéu de couro (Echinodorus macrophyllus) | Leaf | 3 | 3 | < LOD |  |  |
| Chlorella (Chlorella pyrenoidosa) | Algae | NR | 2 | < LOD |  |  |
| Comfrey (Symphytum officinale) | Leaf | 9 | 1 | 1 | ZEN | 8.3 |
| Espinheira santa (Maytenus ilicifolia) | Leaf | 10 | 5 | 1 | AFB1 | 7.8 |
| Ginkgo (Ginkgo biloba) | Leaf | 3 | 2 | 1 | FB2 | 4.7 |
|  |  |  |  |  | ZEN | 6.5 |
| Gotu kola (Hydrocotyle asiatica) | Leaf | 3 | 2 | 1 | FB2 | Traces |
|  |  |  |  |  | OTA | 11.6 |
|  |  |  |  |  | ZEN | 9.2 |
| Green tea (Camelia sinensis) | Leaf | 3 - 18 | 3 | 2 | AFG2 | 3.2 |
|  |  |  |  |  | ZEN | Traces |
| Green tea (Camelia sinensis) | Leaf andstalk | 3 - 18 | 1 | 1 | AFB2 | 47.1 |
| Guarana (Paullinia cupana) | Seed | 3 | 3 | 3 | FB2 | Traces – 2.2 |
|  |  |  |  |  | OTA | Traces |
| Hibiscus (Hibiscus sabdariffa) | Flower | 10 | 1 | 1 | FB2 | Traces |
| Hibiscus (Rosa sinensis) | Flower | 10 | 1 | < LOD |  |  |
| Horse chestnut (Aesculus hippocastanum) | Seed | 3 | 1 | 1 | AFB1 | 28.6 |
|  |  |  |  |  | FB2 | Traces |
|  |  |  |  |  | OTA | Traces |
|  |  |  |  |  | ZEN | Traces |
| Horsetail (Equisetum arvense L) | Aerial part | 3 - 10 | 2 | 2 | ZEN | 366.3-1955 |
|  |  |  |  |  | α-ZEL | 40.0 |
| Horsetail (Equisetum hyemale) | Leaf | 3 - 10 | 2 | 1 | ZEN | 867.2 |
|  |  |  |  |  | α-ZEL | 7.0 |
| Hoseradish tree (Moringa oleifera) | Leaf | 0.1 | 1 | 1 | AFG1 | 62.4 |
| Muira puama (Ptychopetalum olacoides) | Bark | 3 | 2 | 1 | AFG1 | 7.7 |
| Mulungu (Erythrina velutina) | Bark | 10 | 2 | 2 | ZEN | 13.6-49.0 |
| Myrcia (Myrcia multiflora) | Leaf | 9 - 12 | 1 | < LOD |  |  |
| Passion fruit (Passiflora alata) | Leaf | 3 | 1 | 1 | ZEN | 14.5 |
| Passion fruit (Passiflora incarnata) | Leaf and stem | 3 | 1 | 1 | ZEN | 14.5 |
| Peruvian maca (Lepidium meyenii) | Root | NR | 1 | < LOD |  |  |
| Senna (Cassia acutifolia) | Leaf | 3 - 10 | 3 | < LOD |  |  |
| Senna (Cassia acutifolia) | Leaf and bark | 3 - 10 | 1 | 1 | AFB2 | 465.2 |
| Senna (Senna alexandrina) | Leaf | 3 - 10 | 3 | < LOD |  |  |
| Senna (Cassia angustifolia) | Leaf | 3 - 10 | 3 | < LOD |  |  |
| Spirulina (Spirulina plantesis) | Algae | NR | 2 | < LOD |  |  |
| Tribulus (Tribulus terrestris) | Fruit dry extract | NR | 1 | 1 | FB2 | Traces |
|  |  |  |  |  | OTA | 2.7 |

Traces: ≥ LOD  <LOQ

Table S2.  Extraction conditions tested based on modified QuEChERS procedures.

| Test | Water, mL/ time, min | ACN, mL (% formic acid) | Dispersion salt |  | Clean-up volume (mL)a | Clean-up |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 6.5/30 | 7.5 (1) | 3.75g MgSO4+ NaOAc (4:1) | 3 |  | 0.6g MgSO4+PSA (3:1) |
| 2 | 15/15 | 15 (10) | 5g MgSO4+ NaCl (4:1) | 3 |  | 0,6g MgSO4+C18 (3:1) |
| 3 | 15/15 | 15 (10) | 5g MgSO4+ NaCl (4:1) | 3 |  | 0.6g MgSO4+PSA+C18 (6:1:1) |
| 4 | 15/30 | 15 (10) | 5g MgSO4+ NaCl (4:1) | 9 |  | 1.26g MgSO4+PSA+CGB (3:1) |

aAliquot of the extract used for clean-up.

Table S3. Optimized ESI-MS/MS parameters, chromatographic retention times, ion ratios, and internal standards (IS) used for the multi-mycotoxin LC–MS/MS analysis of dry herbs.

| Analyte | DP (V) | Transition (m/z) | CE (V) | CXP (V) | RT (min) | Ion ratio (RSD; %) |
| --- | --- | --- | --- | --- | --- | --- |
| 15-AcDON | 106 | 339.1 → 261.1 | 15 | 14 | 6.6 | 0.6 (8.5) |
|  |  | 339.1 → 137.1 | 15 | 16 |  |  |
| 3-AcDON | 96 | 339.0 → 231.1 | 15 | 12 | 6.3 | 0.5 (14.7) |
|  |  | 339.0 → 203.0 | 21 | 12 |  |  |
| U-AFB1 (IS) | 126 | 330.1→ 301.0 | 33 | 26 | 11.0 | 0.9 (2.0) |
|  |  | 330.1 → 255.0 | 51 | 28 |  |  |
| AFB1 | 121 | 313.0 → 241.0 | 49 | 26 | 11.1 | 1.2 (4.0) |
|  |  | 313.0 → 285.0 | 31 | 14 |  |  |
| AFB2 | 136 | 315.0 → 259.0 | 39 | 22 | 10.6 | 0.5 (7.1) |
|  |  | 315.0 → 243.0 | 51 | 26 |  |  |
| U-AFG1 (IS) | 16 | 346.1 → 257.1 | 37 | 30 | 10.2 | 0.7 (2.9) |
|  |  | 346.1 → 212.0 | 55 | 24 |  |  |
| AFG1 | 101 | 329.0 → 200.0 | 53 | 22 | 10.2 | 1.5 (5.2) |
|  |  | 329.0 → 243.0 | 37 | 28 |  |  |
| AFG2 | 136 | 331.0 → 245.0 | 41 | 12 | 9.8 | 1.0 (15.2) |
|  |  | 331.0 → 189.0 | 55 | 20 |  |  |
| CTV | 71 | 403.1 → 297.1 | 21 | 16 | 16.5 | 1.0 (11.6) |
|  |  | 403.1 → 139.0 | 33 | 10 |  |  |
| d1-DON (IS) | 41 | 298.1 → 249.1 | 15 | 14 | 3.0 | 0.4 (5.1) |
|  |  | 298.1 → 203.1 | 21 | 24 |  |  |
| DON | 76 | 297.1 → 249.0 | 16 | 11 | 3.0 | 0.8 (12.2) |
|  |  | 297.1 → 203.2 | 21 | 10 |  |  |
| D3G | -45 | 503.1 → 427.1 | -26 | -23 | 3.2 | 0.4 (15.2) |
|  |  | 503.1 → 247.0 | -28 | -19 |  |  |
| U-FB1 (IS) | 36 | 756.5 → 356.2 | 55 | 20 | 15.5 | 0.9 (4.0) |
|  |  | 756.5 → 374.2 | 51 | 18 |  |  |
| FB1 | 151 | 723.2 → 352.2 | 49 | 18 | 15.45 | 0.6 (7.7) |
|  |  | 723.2 → 547.2 | 39 | 26 |  |  |
| FB2 | 141 | 706.3 → 336.3 | 49 | 18 | 18.2 | 0.5 (8.4) |
|  |  | 706.3 → 318.2 | 51 | 14 |  |  |
| FB3 | 161 | 706.3 → 336.2 | 51 | 16 | 16.9 | 0.5 (1.8) |
|  |  | 706.3 → 318.3 | 51 | 16 |  |  |
| U-OTA (IS) | 51 | 424.1 → 249.9 | 33 | 28 | 16.1 | 0.5 (3.5) |
|  |  | 424.1 → 232.0 | 49 | 26 |  |  |
| OTA | 91 | 404.0 → 239.0 | 33 | 12 | 16.1 | 0.3 (4.8) |
|  |  | 404.0 → 102.0 | 85 | 12 |  |  |
| U-ZEN (IS) | -80 | 335.1 → 185.0 | -34 | -9 | 15.7 | 4.1 (19.5) |
|  |  | 335.1 → 139.9 | -40 | -11 |  |  |
| ZEN | -130 | 317.0 → 175.2 | -32 | -15 | 15.7 | 0.8 (5.2) |
|  |  | 317.0 → 130.8 | -36 | -17 |  |  |
| α-ZEL | -130 | 319.0 → 160.0 | -40 | -17 | 15.4 | 0.8 (9.8) |
|  |  | 319.0 → 130.0 | -44 | -15 |  |  |

DP = declustering potential; CE = collision energy; CXP = collision cell exit potential; RT = retention time of the analyte in the chromatographic run; Ion ratio = qualifier/quantifier obtained through the validation experiments; RSD = relative standards deviation; IS = internal standard.

Figure S1 – Chemical structures of mycotoxins analyzed in the present study

Figure S2 – Examples of dry herbs bulk samples purchased from retail stores and compounding pharmacies in the Federal District, Brazil. A) Black mulberry (Morus nigra) B) Gotu kola (Hydrocotyle asiatica) C) Chapéu de couro (Echinodorus macrophyllus) D) Passion fruit (Passiflora alata).

Figure S3 - QTRAP 6500+ UHPLC/MS/MS ion chromatogram obtained from the selected reaction monitoring mode of a matrix-matched calibration sample fortified at an intermediate level (12 to 537 µg/kg).