## Table S1
Supplemental Table S1. Quantification of chemicals with reference values in reconstituted standard reference material of human serum, NIST SRM-1958.
Quantified levels and reference levels (certified) are presented in mass fraction values. Quantified values are presented in mean and standard error (SE) measure from n=3 aliquots of NIST1958. Details of the certified values can be found in SRM1958 certificate.
Chemical | Mean (ng/kg) | SE | Certifed mass fraction values (ng/kg) | Ratio (quantified : certified) | Co-elution
PCB 18 | 254 | 7 | 407 ± 14 | 0.63 | none
PCB 28 | 254 | 25 | 402 ± 12 | 0.63 | with contribution from PCB 1
PCB 44 | 179 | 30 | 408 ± 21 | 0.44 | none
PCB 49 | 195 | 25 | 414 ± 15 | 0.47 | none
PCB 52 | 169 | 28 | 401 ± 14 | 0.42 | none
PCB 66 | 404 | 3 | 414 ± 6 | 0.98 | none
PCB 74 | 315 | 33 | 414 ± 46 | 0.76 | none
PCB 87 | 249 | 16 | 396 ± 23 | 0.63 | none
PCB 99 | 338 | 28 | 385 ± 28 | 0.88 | none
PCB 101 | 314 | 24 | 409 ± 27 | 0.77 | none
PCB 105 | 317 | 30 | 419 ± 31 | 0.76 | none
PCB 110 | 183 | 12 | 397 ± 26 | 0.46 | none
PCB 118 | 359 | 37 | 412 ± 35 | 0.87 | none
PCB 128 | 314 | 48 | 420 ± 17 | 0.75 | none
PCB 138 | 360 | 21 | 473 ± 54 | 0.76 | with PCB 158
PCB 146 | 238 | 15 | 378 ± 26 | 0.63 | none
PCB 149 | 162 | 22 | 373 ± 22 | 0.43 | none
PCB 151 | 247 | 47 | 381 ± 18 | 0.65 | none
PCB 153 | 285 | 81 | 457 ± 36 | 0.62 | with contribution from PCB 132
PCB 156 | 254 | 48 | 418 ± 19 | 0.61 | none
PCB 158 | 360 | 21 | 365 ± 48 | 0.81 | with PCB 138
PCB 157 | 342 | 45 | 420 ± 42 | 0.99 | none
PCB 167 | 303 | 24 | 403 ± 26 | 0.75 | none
PCB 170 | 186 | 19 | 422 ± 23 | 0.44 | none
PCB 172 | 369 | 17 | 395 ± 28 | 0.93 | none
PCB 177 | 315 | 9 | 392 ± 9 | 0.8 | none
PCB 178 | 333 | 58 | 386 ± 15 | 0.86 | none
PCB 180 | 375 | 54 | 459 ± 49 | 0.82 | none
PCB 183 | 277 | 2 | 407 ± 36 | 0.68 | none
PCB 187 | 316 | 40 | 411 ± 38 | 0.77 | none
PCB 189 | 304 | 90 | 402 ± 31 | 0.76 | none
PCB 194 | 336 | 24 | 387 ± 20 | 0.87 | none
PCB 195 | 364 | 11 | 385 ± 25 | 0.94 | none
PCB 196 | 305 | 9 | 397 ± 6 | 0.77 | with PCB 203
PCB 199 | 159 | 68 | 379 ± 21 | 0.42 | none
PCB 203 | 305 | 9 | 398 ± 49 | 0.77 | with PCB 196
PCB 206 | 471 | 8 | 366 ± 8 | 1.29 | none
PCB 209 | 301 | 133 | 338 ± 16 | 0.89 | none
Hexachlorobenzene | 225 | 15 | 442 ± 15 | 0.51 | none
cis-Chlordane | 150 | 15 | 412 ± 15 | 0.36 | none
cis-Nonachlor | 151 | 13 | 425 ± 13 | 0.35 | none
Mirex | 207 | 23 | 384 ± 23 | 0.54 | none
p,p'-DDE | 757 | 64 | 1250 ± 64 | 0.61 | none
o,p'-DDD | 183 | 16 | 347 ± 16 | 0.53 | none
α-HCH | 116 | 6 | 260 ± 6 | 0.45 | none
β-HCH | 165 | 10 | 278 ± 10 | 0.59 | none
γ-HCH | 143 | 14 | 315 ± 14 | 0.45 | none
PBDE-28 | 262 | 26 | 462 ± 19 | 0.57 | with contribution from PBDE-31
PBDE-47 | 424 | 43 | 651 ± 19 | 0.65 | none
PBDE-99 | 305 | 23 | 492 ± 15 | 0.62 | none
PBDE-100 | 275 | 28 | 475 ± 27 | 0.58 | none
PBDE-153 | 319 | 43 | 455 ± 54 | 0.7 | none
PBDE-154 | 350 | 32 | 441 ± 39 | 0.79 | none
PBB-153 | 211 | 20 | 421 ± 13 | 0.5 | none

## Table S2
Supplemental Table S2. Comparison of quantification results in n=20 human plasma samples, by reference standardization using SRM-1957 and/or SRM-1958 and by external standard curves (0-2 ng/mL).
Results of standard curve were corrected by recovery of [13C] labelled internal standards for each sample. Values of quantitaion are presented in ng/mL. Pearson's correlation coeffeciency of each sample quantification was calculated.
|  | Quantifiation | by reference standardization | Quantification | by standard curve | Pearson's correlation coeffeciency
Chemical class | Chemical name | Mean | SE | Mean | SE
Chlorinated pesticde | HCB | 0.026 | 0.01 | 0.033 | 0.008 | 0.98
Chlorinated pesticde | trans-nonachlor | 0.022 | 0.008 | 0.029 | 0.011 | 0.97
Chlorinated pesticde | β-HCH | 0.0017 | 0.0007 | 0.0012 | 0.0005 | 0.99
Chlorinated pesticde | p,p'-DDT | 0.085 | 0.02 | 0.095 | 0.023 | 0.96
Chlorinated pesticde | o,p'-DDT/p,p'-DDD | 0.109 | 0.022 | 0.081 | 0.017 | 0.91
Chlorinated pesticde | o,p'-DDD | 0.017 | 0.006 | 0.017 | 0.002 | 0.8
Chlorinated pesticde | p,p'-DDE | 1.01 | 0.06 | 0.76 | 0.22 | 0.93
PCB | PCB-28 | 0.01 | 0.002 | 0.013 | 0.002 | 0.96
PCB | PCB-74 | 0.0097 | 0.0029 | 0.0066 | 0.002 | 0.99
PCB | PCB-99 | 0.00078 | 0.00042 | 0.00052 | 0.00029 | 0.99
PCB | PCB-118 | 0.028 | 0.003 | 0.036 | 0.028 | 0.84
PCB | PCB-138 | 0.047 | 0.004 | 0.065 | 0.004 | 0.88
PCB | PCB-153 | 0.111 | 0.018 | 0.144 | 0.018 | 0.93
PCB | PCB-180 | 0.088 | 0.012 | 0.056 | 0.006 | 0.93
PBDE | PBDE-28 | 0.0018 | 0.0009 | 0.0015 | 0.0006 | 0.94
PBDE | PBDE-47 | 0.21 | 0.016 | 0.17 | 0.036 | 0.92
PBDE | PBDE-99 | 0.0014 | 0.0009 | 0.0015 | 0.001 | 0.99

## Table S3
Supplemental Table S3. Information of 378 chemical authentic standards on retention time, spectral information (the most abundant m/z: mz1 to mz5), linearity and limit of detection (LOD).
The calibration curves were established over a range of 0.1 ng/mL to 20 ng/mL with a subset of chemicals re-run over 0.05 ng/mL to 1 ng/mL (indicated by *).
Name | Chemical Name | CAS number | Linearity (R2) | Retention time (min) | mz1 | mz2 | mz3 | mz4 | mz5 | LOD (ng/mL)
1,2,3,4,6,7,8-HepCDD | 1,2,3,4,6,7,8-Heptachlorodibenzo-p-dioxin | 35822-46-9 | 0.9998 | 18.6785 | 423.7764 | 425.7733 | 427.77 | 421.7793 | 360.8121 | 0.043905
1,2,3,4,6,7,8-HepCDF | 1,2,3,4,6,7,8-Heptachlorodibenzofuran | 38998-75-3 | 0.9981 | 17.891 | 407.7812 | 409.7782 | 411.7754 | 405.7844 | 344.8173 | 0.060571
1,2,3,4,7,8-HxCDD | 1,2,3,4,7,8-Hexachlorodibenzo-p-dioxin | 39227-28-6 | 0.9999 | 16.4268 | 389.8151 | 391.8121 | 387.8181 | 326.8515 | 393.8092 | 0.028939
1,2,3,4,7,8-HxCDF | 1,2,3,4,7,8-Hexachlorodibenzofuran | 55684-94-1 | 0.9994 | 15.8109 | 373.8199 | 375.8169 | 371.823 | 377.8139 | 310.8565 | 0.038511
1,2,3,7,8-PCDD | 1,2,3,7,8-Pentachlorodibenzo-p-dioxin | 40321-76-4 | 1 | 14.309 | 355.8537 | 357.8508 | 353.8568 | 292.8903 | 290.8933 | 0.0092
1,2,3,7,8-PCDF | 1,2,3,7,8-Pentachlorodibenzofuran | 57117-41-6 | 0.9994 | 13.5598 | 339.859 | 341.856 | 337.862 | 276.8954 | 204.9606 | 0.031858
2,3,7,8-TCDD | 2,3,7,8-Tetrachlorodibenzo-p-dioxin | 1746-01-6 | 0.9999 | 11.99 | 321.893 | 319.896 | 323.8899 | 256.9323 | 258.9294 | 0.019565
2,3,7,8-TCDF | 2,3,7,8-Tetrachlorodibenzofuran | 1746-01-6 | 0.9996 | 11.6624 | 305.8982 | 303.9012 | 307.8952 | 170.9996 | 240.9374 | 0.031647
2,4,5-Trichlorophenol | 2,4,5-Trichlorophenol | 95-95-4 | 0.9937 | 3.0255 | 195.9243 | 197.9214 | 96.984 | 132.9606 | 199.9184 | 0.0036612
2,4,6-Trichlorophenol | 2,4,6-Trichlorophenol | 88-06-2 | 0.9986 | 3.0166 | 195.9244 | 197.9215 | 96.9841 | 131.9529 | 199.9185 | 0.06
2-Nitroaniline | 2-Nitroaniline | 88-74-4 | 0.9997 | 3.4442 | 138.0424 | 108.0444 | 92.0495 | 121.0397 | 139.0457 | 0.030106
2-Phenylphenol | o-Hydroxybiphenyl | 90-43-7 | 0.9997 | 3.9679 | 169.0648 | 170.0725 | 141.0699 | 115.0543 | 170.0684 | 0.032856
3,3'-Dichlorobenzidine | 3,3'-Dichlorobenzidine | 91-94-1 | 0.9998 | 13.9744 | 252.0217 | 254.0187 | 154.0651 | 181.076 | 253.025 | 0.038752
3-Nitroaniline | 3-Nitroaniline | 99-09-2 | 0.9992 | 4.0071 | 168.0569 | 138.0424 | 139.0542 | 92.0495 | 169.0602 | 0.043938
4-Bromophenylphenylether | 4-Bromophenylphenylether | 101-55-3 | 0.9994 | 5.1831 | 141.0699 | 247.9833 | 249.9812 | 115.0543 | 169.0647 | 0.027984
4-Chlorophenylphenylether | 4-Chlorophenylphenylether | 7005-72-3 | 0.9993 | 4.5364 | 149.0233 | 141.0699 | 204.0337 | 115.0543 | 206.0307 | 0.029163
4-Nitroaniline | 4-Nitroaniline | 100-01-6 | 0.9987 | 4.7301 | 108.0444 | 138.0424 | 92.0495 | 109.0478 | 139.0458 | 0.059924
Acenaphthene | Acenaphthene | 83-32-9 | 0.9995 | 3.8801 | 153.0698 | 152.0621 | 154.0776 | 154.0738 | 151.0543 | 0.044912
Acenaphthene_d10 | Acenaphthene-d10 | 15067-26-2 | 0.9997 | 3.8079 | 162.1263 | 164.1404 | 160.1123 | 163.1297 | 161.12 | 0.013049
Acenaphthylene | Acenaphthylene | 208-96-8 | 0.9994 | 3.664 | 152.0619 | 150.0465 | 151.0542 | 153.0654 | 179.0604 | 0.054705
Aldrin | Aldrin | 309-00-2 | 0.9991 | 8.2154 | 192.9374 | 194.9344 | 262.8566 | 260.8596 | 196.9315 | 0.13188
Anthracene | Anthracene | 120-12-7 | 0.9993 | 6.0388 | 178.0776 | 176.0621 | 152.0621 | 179.081 | 177.0698 | 0.036278
Anthraquinone | 9,10-Anthracenedione | 84-65-1 | 0.9995 | 7.5902 | 152.0621 | 208.052 | 180.057 | 151.0543 | 150.0465 | 0.059873
Atrazine | Atrazine | 1912-24-9 | 0.9952 | 5.4405 | 200.0698 | 202.0668 | 215.0933 | 173.0462 | 138.0774 | 0.099886
Azobenzene | Azobenzene | 103-33-3 | 0.9998 | 4.6829 | 105.0448 | 152.062 | 182.0838 | 153.0698 | 151.0542 | 0.016417
PBDE-100 | 2,2’,4,4’,6 -pentabromodiphenylether | 189084-64-8 | 0.9996 | 16.254 | 403.7865 | 405.7844 | 563.622 | 565.6198 | 561.624 | 0.039957 | *
PBDE-138 | 2,2’,3,4,4’,5’ -hexabromodiphenylether | 182677-30-1 | 0.999 | 20.351 | 483.6946 | 481.6968 | 485.6926 | 643.5317 | 641.5337 | 0.094968
PBDE-153 | 2,2’,4,4’,5,5’ -hexabromodiphenylether | 68631-49-2 | 0.9996 | 19.6322 | 483.6948 | 481.6968 | 485.6925 | 643.5322 | 641.5341 | 0.027433 | *
PBDE-154 | 2,2’,4,4’,5,6’ -hexabromodiphenylether | 207122-15-4 | 0.9993 | 18.9076 | 483.695 | 481.6969 | 485.6927 | 643.5323 | 641.5343 | 0.02949 | *
PBDE-155 | 2,2’,4,4’,6,6’ -hexabromodiphenylether | 35854-94-5 | 0.9999 | 18.4091 | 483.6949 | 403.7865 | 405.7843 | 643.5322 | 481.697 | 0.12369
PBDE-49 | 2,2’,4,5' -tetrabromodiphenylether | 243982-82-3 | 0.9999 | 13.4464 | 325.8759 | 323.878 | 327.8738 | 485.7103 | 483.7125 | 0.054863
PBDE-85 | 2,2’,3,4,4’ -pentabromodiphenylether | 182346-21-0 | 0.9996 | 17.7276 | 403.7863 | 405.7841 | 563.622 | 565.62 | 401.7885 | 0.12929
PBDE-1 | 2-monobromodiphenylether | 1872021 | 0.9999 | 4.8186 | 169.0648 | 141.0699 | 115.0543 | 247.9833 | N/A | 0.022699
PBDE-10 | 2,6-dibromodiphenylether | 51930-04-2 | 0.9999 | 6.5908 | 168.0569 | 327.8916 | 139.0542 | 169.0602 | N/A | 0.024986
PBDE-11 | 3,3'-dibromodiphenylether | 6903-63-5 | 0.9992 | 7.502 | 327.8916 | 168.057 | 325.8937 | 329.8895 | N/A | 0.050983
PBDE-115 | 2,3,4,4’,6 -pentabromodiphenylether | 189084-66-0 | 0.9997 | 17.0259 | 403.7864 | 405.7842 | 563.6222 | 565.6201 | N/A | 0.10365
PBDE-116 | 2,3,4,5,6 -pentabromodiphenylether | 189084-65-9 | 0.9993 | 17.2496 | 403.7864 | 405.7844 | 401.7886 | 407.7823 | N/A | 0.22087
PBDE-12 | 3,4-dibromodiphenylether | 189084-59-1 | 0.9997 | 7.6945 | 327.8915 | 168.0569 | 325.8936 | 329.8894 | N/A | 0.035207
PBDE-126 | 3,3’,4,4’,5 -pentabromodiphenylether | 366791-32-4 | 0.9999 | 18.6729 | 563.6223 | 565.6204 | 561.6241 | 567.6179 | N/A | 0.096492
PBDE-13 | 3,4'-dibromodiphenylether | 83694-71-7 | 0.9996 | 7.7528 | 327.8916 | 168.057 | 325.8936 | 329.8894 | N/A | 0.037141
PBDE-15 | 4,4'-dibromodiphenylether | 2050-47-7 | 0.9997 | 8.0077 | 327.8915 | 325.8936 | 329.8894 | 168.0569 | N/A | 0.036909
PBDE-2 | 3-monobromodiphenylether | 6876-00-2 | 0.9999 | 4.9354 | 141.0699 | 247.9833 | 249.9812 | 115.0543 | N/A | 0.018895
PBDE-3 | 4-monobromodiphenylether | 101-55-3 | 0.9999 | 5.0657 | 247.9832 | 249.9812 | 141.0699 | 115.0543 | N/A | 0.016141
PBDE-32 | 2,4',6-tribromodiphenylether | 189084-60-4 | 0.9999 | 10.1113 | 245.9675 | 247.9655 | 405.8021 | 407.8 | N/A | 0.032788
PBDE-33 | 2',3,4-tribromodiphenylether | 147217-78-5 | 0.9995 | 10.8622 | 245.9677 | 247.9656 | 405.8023 | 407.8002 | N/A | 0.049382
PBDE-35 | 3,3',4-tribromodiphenylether | 147217-80-9 | 0.9998 | 11.1715 | 405.8019 | 407.7998 | 139.0542 | 403.8042 | N/A | 0.041697
PBDE-37 | 3,4,4'-tribromodiphenylether | 147217-81-0 | 0.9997 | 11.5188 | 405.802 | 407.7999 | 139.0542 | 403.8042 | N/A | 0.044166
PBDE-66 | 2,3’,4,4’ -tetrabromodiphenylether | 189084-61-5 | 0.9997 | 13.9311 | 325.876 | 485.7105 | 483.7125 | 323.8781 | N/A | 0.075804
PBDE-7 | 2,4-dibromodiphenylether | 171977-44-9 | 0.9998 | 7.1897 | 168.0569 | 327.8915 | 139.0542 | 325.8936 | N/A | 0.037164
PBDE-77 | 3,3’,4,4’ -tetrabromodiphenylether | 93703-48-1 | 0.9998 | 14.4426 | 325.8759 | 323.878 | 327.8738 | 485.7104 | N/A | 0.093975
PBDE-8 | 2,4'-dibromodiphenylether | 147217-71-8 | 0.9999 | 7.5065 | 168.057 | 327.8915 | 325.8936 | 329.8894 | N/A | 0.019865
Benfluralin | Benfluralin | 1861-40-1 | 0.9999 | 4.8393 | 292.0543 | 264.0229 | 206.0298 | 276.0592 | 401.7885 | 0.12441
Benz(a)anthracene | Benz(a)anthracene | 56-55-3 | 0.9992 | 13.3199 | 228.0933 | 226.0778 | 229.0966 | 113.0386 | 160.0369 | 0.042881
Benzidine | Benzidine | 92-87-5 | 0.9923 | 9.7308 | 184.0994 | 185.1028 | 183.0917 | 156.0808 | 224.0621 | 0.12993
Benzo(a)pyrene | Benzo(a)pyrene | 50-32-8 | 0.9991 | 17.1478 | 252.0933 | 250.0778 | 253.0967 | 126.0464 | 166.0651 | 0.026626
Benzo(b)fluoranthene | Benzo(b)fluoranthene | 205-99-2 | 0.999 | 17.8708 | 252.0933 | 250.0778 | 253.0967 | 126.0464 | 125.0386 | 0.044152
Benzo(g,h,i)perylene | Benzo(g,h,i)perylene | 191-24-2 | 0.9967 | 20.9266 | 276.0934 | 278.109 | 274.078 | 138.0465 | 125.0386 | 0.068043
Benzo(k)fluoranthene | Benzo(k)fluoranthene | 207-08-9 | 0.9992 | 18.7665 | 252.0934 | 250.0778 | 253.0967 | 113.0386 | 277.0966 | 0.0083687
α-HCH | α-Hexachlorocyclohexane | 319-84-6 | 0.9982 | 6 | 180.9373 | 182.9344 | 218.9111 | 184.9314 | 139.0543 | 0.0073975 | *
β-HCH | β-Hexachlorocyclohexane | 319-85-7 | 0.9993 | 6.3 | 180.9373 | 182.9344 | 218.9111 | 184.9315 | 216.9141 | 0.0029177 | *
γ-HCH | γ-Hexachlorocyclohexane | 319-86-8 | 0.9986 | 6.42 | 225.0432 | 209.0118 | 207.0326 | 149.0234 | 216.9141 | 0.0052186 | *
Biphenyl | Biphenyl | 92-52-4 | 0.9992 | 3.1708 | 154.0777 | 153.0698 | 152.0621 | 155.081 | 182.1045 | 0.052727
Carbazole | Carbazole | 86-74-8 | 0.9987 | 6.592 | 167.0729 | 166.0651 | 139.0542 | 168.0762 | 149.0472 | 0.053562
Chlorbenside | Chlorbenside | 103-17-3 | 0.9993 | 8.9772 | 125.0153 | 127.0123 | 372.8254 | 374.8223 | 290.0305 | 0.048445
cis-Chlordane | Chlordane, cis- | 5103-71-9 | 0.9998 | 9.279 | 372.8253 | 374.8223 | 236.8409 | 376.8193 | 376.8193 | 0.040964 | *
trans-Chlordane | Chlordane, trans- | 5103-74-2 | 0.9995 | 8.9748 | 372.8253 | 374.8223 | 236.8409 | 376.8193 | 370.8281 | 0.035219 | *
Chlorfenson | Chlorfenson | 80-33-1 | 0.9995 | 9.6347 | 174.9615 | 139.0058 | 110.9997 | 176.9585 | 137.0027 | 0.042554
Chlorothalonil | Chlorothalonil | 1897-45-6 | 0.9998 | 5.8002 | 265.8783 | 263.8812 | 267.8753 | 264.0228 | 207.9868 | 0.023111
Chlorpropham | Chlorpropham | 101-21-3 | 0.9993 | 4.7586 | 127.0184 | 171.0082 | 129.0154 | 152.9976 | 326.015 | 0.060346
Dimethyl-Chlorthal | Chlorthal-dimethyl | 1861-32-1 | 0.9997 | 7.6435 | 300.8803 | 298.8832 | 302.8772 | 220.8959 | 286.9295 | 0.043622
Chlozolinate | Ethyl 3-(3,5-dichlorophenyl)-5-methyl-2,4-dioxo-1,3-oxazolidine-5-carboxylate | 84332-86-5 | 0.999 | 8.5288 | 185.9871 | 186.9585 | 258.9798 | 187.9841 | 296.9572 | 0.064013
Chrysene | Chrysene | 218-01-9 | 0.9986 | 14.0142 | 228.0933 | 226.0778 | 229.0967 | 224.0621 | 188.9556 | 0.04438
Chrysene-d12 | Chrysene-d12 | 1719-03-5 | 0.9995 | 13.9003 | 240.1687 | 236.1406 | 241.172 | 118.07 | 113.0386 | 0.047627
Coumaphos | Coumaphos | 56-72-4 | 0.9953 | 16.2866 | 362.0138 | 225.985 | 210.0078 | 96.9508 | 176.1071 | 0.161
Cyprodinil | Cyprodinil | 121552-61-2 | 0.9964 | 8.3223 | 224.1183 | 225.126 | 208.087 | 210.1026 | 163.0076 | 0.087512
o,p'-DDE | 2,2-(2-Chlorophenyl-4'-chlorophenyl)-1,1-dichloroethene | 3424-82-6 | 0.9996 | 9.096 | 245.9999 | 247.9969 | 176.0621 | 317.9345 | 225.1214 | 0.034276 | *
Diazinon | Oleodiazinon | 333-41-5 | 1 | 5.7823 | 137.071 | 179.1179 | 199.0631 | 124.0632 | 86.0601 | 0.026821
Dibenz(a,h)anthracene | Dibenz(a,h)anthracene | 53-70-3 | 0.9964 | 20.8233 | 276.0934 | 278.109 | 274.078 | 138.0465 | 153.1022 | 0.093195
Dibenzofuran | Dibenzofuran | 132-64-9 | 0.9999 | 4.0992 | 168.0569 | 139.0542 | 138.0424 | 169.0602 | 277.0966 | 0.017283
Dichlobenil | Dichlobenil | 1194-65-6 | 0.9991 | 3.2986 | 154.0778 | 149.0235 | 225.0432 | 153.07 | 140.0576 | 0.091866
Dichlofluanid | Dichlofluanid | 1085-98-9 | 0.9987 | 7.3501 | 123.0138 | 167.0637 | 223.9499 | 154.0121 | 152.0622 | 0.12826
3,4'-Dichloroaniline_ | 3,4-Dichloroaniline | 95-76-1 | 0.9998 | 3.4464 | 160.9794 | 162.9764 | 98.9997 | 126.0106 | 225.9469 | 0.0001124
4,4'-ichlorobenzophenone | Bis(4-chlorophenyl)methanone | 90-98-2 | 0.9997 | 7.874 | 138.9946 | 140.9916 | 215.0258 | 139.0057 | 90.0339 | 0.033731
Dicloran | Botran | 99-30-9 | 0.9998 | 5.2313 | 175.9664 | 123.9949 | 205.9645 | 177.9635 | 249.9948 | 0.030127
Dieldrin_ | Dieldrin | 60-57-1 | 0.9992 | 9.9226 | 245.9999 | 247.9969 | 317.9346 | 315.9376 | 190.9217 | 0.075038
Dimethachlor | Dimethachlor | 50563-36-5 | 0.9953 | 6.4731 | 134.0965 | 197.0603 | 148.0758 | 132.0809 | 177.0546 | 0.14475
Diphenamid | Diphenamid | 957-51-7 | 0.9974 | 8.0577 | 167.0856 | 165.07 | 152.0621 | 168.0889 | 91.0543 | 0.12869
Diphenylamine | Diphenylamine | 122-39-4 | 0.9999 | 4.5625 | 169.0885 | 168.0807 | 230.8986 | 167.0729 | 166.0778 | 0.022038
Edifenphos | Edifenphos | 17109-49-8 | 0.9926 | 11.7501 | 109.0107 | 156.9873 | 172.9821 | 96.9508 | 141.9671 | 0.19301
Endosulfan-ether | 1,7,8,9,10,10-Hexachloro-4-oxatricyclo[5.2.1.02,6]dec-8-ene | 3369-52-6 | 0.9999 | 6.3323 | 240.8955 | 236.8409 | 238.8985 | 169.9684 | 199.0309 | 0.034664
Endosulfan-I | a-endosulfan | 959-98-8 | 0.9999 | 10.703 | 236.8409 | 159.9842 | 158.9764 | 169.9685 | 271.8099 | 0.034664
Endosulfan-sulfate | THIODAN SULFATE | 1031-07-8 | 0.9992 | 11.753 | 238.099 | 308.0368 | 310.0338 | 271.8099 | 192.9374 | 0.1363
Ethalfluralin | Ethalfluralin | 55283-68-6 | 0.9998 | 4.6941 | 276.0591 | 316.0904 | 292.0542 | 202.0349 | 138.9766 | 0.16021
Fenitrothion | Phenitrothion | 122-14-5 | 0.9998 | 7.2272 | 290.0725 | 124.9821 | 276.0568 | 260.0143 | 109.005 | 0.040147
Fenson | Benzenesulfonic acid, 4-chlorophenyl ester | 80-38-6 | 0.9994 | 7.9763 | 141.0005 | 267.9958 | 98.9997 | 269.9928 | 152.062 | 0.03578
Fenthion | Fenthion | 55-38-9 | 0.9938 | 7.6653 | 278.0196 | 169.014 | 124.9821 | 245.0397 | 126.9946 | 0.097462
Fluazifop-P-butyl | Fluazifop-P-butyl | 79241-46-6 | 0.9978 | 10.7715 | 138.9946 | 282.0738 | 251.0027 | 252.9996 | 180.0352 | 0.094247
Fludioxonil | Fludioxonil | 131341-86-1 | 0.9801 | 9.7316 | 248.0393 | 127.0417 | 154.0525 | 182.0475 | 225.0785 | 0.18443
Fluoranthene | Fluoranthene | 206-44-0 | 0.9994 | 8.9938 | 202.0775 | 200.062 | 203.0809 | 201.0697 | 153.0447 | 0.054102
Fluorene | Fluorene | 86-73-7 | 0.9993 | 4.463 | 165.0698 | 166.0775 | 163.0543 | 164.062 | 101.0386 | 0.046946
Flutolanil | Flutolanil | 66332-96-5 | 0.999 | 9.7171 | 173.0209 | 145.0259 | 281.0659 | 176.107 | 166.0974 | 0.12353
Fonofos | Fonofos | 944-22-9 | 0.9987 | 5.6999 | 108.9872 | 137.0185 | 110.0185 | 246.0297 | 168.1132 | 0.053249
Heptachlor | HEPTACHLOR | 76-44-8 | 0.9992 | 6.8363 | 271.8099 | 273.807 | 236.841 | 269.8129 | 238.8379 | 0.11785
Heptachlor_epoxide (Isomer A) | Heptachlor epoxide | 28044-83-9 | 0.9994 | 8.411 | 352.8434 | 354.8405 | 350.8464 | 262.8564 | 218.9345 | 0.15948
Hexachlorobenzene | Hexachlorobenzene | 118-74-1 | 0.9999 | 6.04 | 283.8097 | 285.8067 | 281.8127 | 287.8037 | 356.8375 | 0.032536 | *
Indeno(1,2,3-cd)pyrene | Indeno(1,2,3-cd)pyrene | 193-39-5 | 0.999 | 21.2726 | 276.0934 | 138.0465 | 137.0386 | 274.078 | 112.0506 | 0.045013
Isodrin | pholedrine | 465-73-6 | 0.9991 | 12.2261 | 121.0649 | 227.1068 | 152.0622 | 122.0682 | 96.9509 | 0.13564
Linuron | Linuron | 330-55-2 | 0.9977 | 7.3268 | 123.995 | 186.9587 | 159.9716 | 132.9607 | 169.9685 | 0.16263
Methacrifos | Methacrifos | 62610-77-9 | 0.9976 | 3.852 | 180.0004 | 207.9953 | 124.9821 | 93.01 | 134.0964 | 0.082257
Methyl_parathion | Methyl parathion | 298-00-0 | 0.9989 | 6.7095 | 124.9821 | 263.0014 | 127.0155 | 109.005 | 169.0648 | 0.065646
Metolachlor | Metolachlor | 51218-45-2 | 0.9988 | 6.8453 | 162.0914 | 146.0964 | 132.0808 | 223.0759 | 245.9986 | 0.0051622
Mirex | Perchloropentacyclodecane | 2385-85-5 | 0.9757 | 14.6191 | 271.81 | 273.807 | 236.841 | 269.8129 | 224.1184 | 0.024129 | *
N-(2,4-Dimethylphenyl)formamide | N-(2,4-Dimethylphenyl)formamide | 60397-77-5 | 0.9967 | 3.7494 | 120.0809 | 149.0836 | 121.0886 | 106.0652 | 132.0808 | 0.093439
Naphthalene | Naphthalene | 91-20-3 | 0.9802 | 6.0025 | 178.0776 | 176.0621 | 152.062 | 179.081 | 177.0698 | 0.11514
Naphthalene-d8 | Naphthalene-d8 | 1146-65-2 | 0.999 | 5.9282 | 188.1403 | 184.1123 | 160.1123 | 189.1437 | 187.1342 | 0.031227
Nitrofen | Nitrofen | 1836-75-5 | 0.9999 | 10.5161 | 202.0181 | 282.9801 | 284.9771 | 139.0543 | 162.0232 | 0.03128
cis-Nonachlor__cis_ | Nonachlor, cis- | 5103-73-1 | 0.9843 | 10.8631 | 408.7837 | 406.7867 | 410.7808 | 404.7895 | 412.7779 | 0.0057708 | *
trans-Nonachlor__trans_ | Nonachlor, trans- | 39765-80-5 | 0.8592 | 9.3508 | 408.7835 | 406.7867 | 410.7807 | 404.7896 | 236.841 | 0.028855 | *
Norflurazon | Norflurazon | 27314-13-2 | 0.9911 | 11.7785 | 145.026 | 303.0383 | 173.0322 | 302.0305 | 102.0106 | 0.1379
o,p'-Methoxychlor | 2,4'-Methoxychlor | 30667-99-3 | 0.9995 | 12.2418 | 121.0649 | 227.1068 | 152.0621 | 122.0682 |  | 0.039247
OCDD | Octachlorodibenzo-p-dioxin | 3268-87-9 | 0.9981 | 20.0396 | 459.7343 | 457.7373 | 461.7312 | 455.7402 | 394.7734 | 0.080601
OCDF | Octachlorodibenzofuran | 39001-02-0 | 0.9964 | 20.0783 | 443.7392 | 441.7423 | 445.7362 | 439.7451 | 308.8409 | 0.09477
o,p'-DDT | 1,1,1-Trichloro-2-(2-chlorophenyl)-2-(4-chlorophenyl)ethane | 789-02-6 | 0.9992 | 11.0312 | 235.0078 | 165.0699 | 237.0047 | 199.031 | 176.0621 | 0.021522 | *
Oxadiazon | Oxadiazon | 19666-30-9 | 0.9991 | 10.0551 | 174.9587 | 176.9557 | 258.0323 | 111.9949 | 146.9637 | 0.073155
Oxyfluorfen | Oxyfluorfen | 42874-03-3 | 0.9998 | 10.4544 | 202.0181 | 282.9801 | 139.0543 | 284.9771 | 162.0232 | 0.08304
p,p'-DDE | 1-chloro-4-[2,2-dichloro-1-(4-chlorophenyl)ethenyl]benzene | 72-55-9 | 0.9999 | 10.3092 | 245.9999 | 247.997 | 176.0621 | 317.9345 | 247.0033 | 0.075278 | *
Parathion | Parathion | 56-38-2 | 0.9979 | 7.7431 | 96.9508 | 109.005 | 155.0035 | 109.0284 | 291.0327 | 0.1154
PBB-153 | 2,2',4,4',5,5'-Hexabromobiphenyl | 67774-32-7 | 0.9956 | 18.3667 | 467.6996 | 627.5368 | 546.6187 | 548.6167 | 625.5389 | 0.011352 | *
PBDE-100 | 2,2',4,4',6-Pentabromodiphenyl ether | 189084-64-8 | 0.9993 | 16.2522 | 403.7864 | 405.7843 | 563.6217 | 565.6198 | 561.6239 | 0.039935 | *
PBDE-153 | 2,2',4,4',5,5'-Hexabromodiphenyl ether | 68631-49-2 | 0.9945 | 19.6322 | 483.6947 | 481.6968 | 485.6925 | 643.532 | 641.534 | 0.027433 | *
PBDE-154 | 2,2',4,4',5,6'-Hexabromodiphenyl ether | 207122-15-4 | 0.9999 | 18.9079 | 483.6949 | 481.6968 | 485.6925 | 643.532 | 641.534 | 0.045431 | *
PBDE-28 | 2,4,4'-Tribromodiphenyl ether | 41318-75-6 | 0.9974 | 10.8673 | 245.9676 | 247.9655 | 405.8021 | 407.8 | 139.0542 | 0.05768 | *
PBDE-47 | 2,2',4,4'-Tetrabromodiphenyl ether | 5436-43-1 | 0.9994 | 13.9256 | 325.8758 | 485.7101 | 323.8779 | 483.7122 | 327.8736 | 0.0065741
PBDE-99 | 2,2',4,4',5-Pentabromodiphenyl ether | 189084-64-8 | 0.9986 | 16.95 | 403.7863 | 405.7841 | 563.622 | 565.62 | 401.7884 | 0.0084621
PBDE-114 | 2,3,4,4’,5 -pentabromodiphenylether | 60348-60-9 | 0.9997 | 18.7309 | 483.6949 | 403.7865 | 405.7843 | 643.5322 | N/A | 0.12351
PBDE-166 | 2,3,4,4’,5,6 -hexabromodiphenylether | 189084-58-0 | 0.9993 | 20.4026 | 483.6945 | 481.6966 | 485.6924 | 643.5317 | N/A | 0.13942
PBDE-17 | 2,2',4-tribromodiphenylether | 147217-75-2 | 0.9999 | 10.57 | 245.9675 | 247.9655 | 405.8021 | 139.0542 | N/A | 0.035541
PCB-1 | 2-Chlorobiphenyl | 2051-60-7 | 0.9996 | 4.9653 | 188.0386 | 325.88 | 190.0357 | 153.0698 | 151.0542 | 0.036462
PCB-10 | 2,6-Dichlorobiphenyl | 33146-45-1 | 0.9998 | 5.5693 | 152.0621 | 152.062 | 223.9969 | 150.0464 | 151.0542 | 0.031554
PCB-100 | 2,2',4,4',6-Pentachlorobiphenyl | 39485-83-1 | 0.9999 | 8.7029 | 325.8797 | 253.9452 | 255.9421 | 327.8767 | 323.8827 | 0.0040433 | *
PCB-101 | 2,2',4,5,5'-Pentachlorobiphenyl | 37680-73-2 | 0.9999 | 9.5683 | 325.8799 | 253.9451 | 255.9422 | 327.8768 | 323.8828 | 0.0044933
PCB-102 | 2,2',4,5,6'-Pentachlorobiphenyl | 68194-06-9 | 0.9996 | 8.9696 | 325.8798 | 253.9452 | 255.9422 | 327.8768 | 323.8828 | 0.011796
PCB-103 | 2,2',4,5',6-Pentachlorobiphenyl | 60145-21-3 | 0.9995 | 8.5882 | 325.8799 | 253.9451 | 255.9423 | 327.8769 | 323.8828 | 0.0019308
PCB-104 | 2,2',4,6,6'-Pentachlorobiphenyl | 56558-16-8 | 0.9999 | 8.1093 | 325.8799 | 253.9452 | 323.8828 | 253.9452 | 255.9422 | 0.0066687
PCB-105 | 2,3,3',4,4'-Pentachlorobiphenyl | 32598-14-4 | 0.9999 | 11.5429 | 325.8799 | 327.8768 | 323.8829 | 253.9452 | 255.9423 | 0.011647
PCB-106 | 2,3,3',4,5-Pentachlorobiphenyl | 70424-69-0 | 0.9997 | 10.9279 | 325.8798 | 327.8769 | 361.8377 | 327.8767 | 323.8827 | 0.018153
PCB-107 | 2,3,3',4',5-Pentachlorobiphenyl | 70424-68-9 | 0.9995 | 10.846 | 325.8798 | 359.8406 | 255.9423 | 290.9111 | 327.8769 | 0.0038563
PCB-108 | 2,3,3',4,5'-Pentachlorobiphenyl | 70362-41-3 | 0.9999 | 10.8067 | 325.88 | 253.9451 | 323.8829 | 253.9452 | 255.9423 | 0.013012
PCB-109 | 2,3,3',4,6-Pentachlorobiphenyl | 74472-35-8 | 0.999 | 10.2375 | 325.8798 | 327.877 | 323.8827 | 253.9452 | 255.9422 | 0.044184
PCB-11 | 3,3'-Dichlorobiphenyl | 2050-67-1 | 0.9997 | 6.4904 | 221.9998 | 221.9999 | 223.9968 | 150.0464 | 151.0542 | 0.015578
PCB-110 | 2,3,3',4',6-Pentachlorobiphenyl | 38380-03-9 | 0.9996 | 10.3163 | 325.88 | 327.8767 | 323.8828 | 253.9452 | 255.9422 | 0.032418 | *
PCB-111 | 2,3,3',5,5'-Pentachlorobiphenyl | 39635-32-0 | 0.9997 | 10.0395 | 325.8799 | 327.8768 | 323.8828 | 253.9451 | 255.9422 | 0.02936
PCB-112 | 2,3,3',5,6-Pentachlorobiphenyl | 74472-36-9 | 0.9998 | 9.7949 | 325.88 | 327.8768 | 323.883 | 253.9452 | 255.9423 | 0.0050108
PCB-113 | 2,3,3',5',6-Pentachlorobiphenyl | 68194-10-5 | 0.9999 | 9.5765 | 325.8798 | 327.877 | 323.8828 | 253.9451 | 255.9422 | 0.02253
PCB-114 | 2,3,4,4',5-Pentachlorobiphenyl | 74472-37-0 | 0.9999 | 11.1815 | 325.8799 | 327.8768 | 323.8827 | 253.9451 | 255.9422 | 0.018122
PCB-115 | 2,3,4,4',6-Pentachlorobiphenyl | 74472-38-1 | 0.9993 | 10.1026 | 325.88 | 327.8768 | 327.877 | 323.883 | 361.8378 | 0.019438 | *
PCB-116 | 2,3,4,5,6-Pentachlorobiphenyl | 18259-05-7 | 0.9996 | 10.1128 | 325.8797 | 359.8409 | 327.8768 | 323.8828 | 289.9033 | 0.056364
PCB-117 | 2,3,4',5,6-Pentachlorobiphenyl | 68194-11-6 | 0.9999 | 10.0616 | 325.8799 | 359.8406 | 323.8827 | 253.9451 | 255.9422 | 0.073592
PCB-118 | 2,3',4,4',5-Pentachlorobiphenyl | 31508-00-6 | 0.9999 | 10.9613 | 325.88 | 327.8768 | 323.8829 | 253.9452 | 255.9423 | 0.022242 | *
PCB-119 | 2,3',4,4',6-Pentachlorobiphenyl | 56558-17-9 | 0.9998 | 9.7728 | 325.88 | 327.877 | 323.8828 | 253.9452 | 255.9423 | 0.025788
PCB-12 | 3,4-Dichlorobiphenyl | 2974-92-7 | 0.9999 | 6.5633 | 221.9998 | 152.062 | 223.9968 | 150.0464 | 151.0542 | 0.017918
PCB-120 | 2,3',4,5,5'-Pentachlorobiphenyl | 68194-12-7 | 0.9997 | 9.8428 | 325.8799 | 327.8769 | 323.8829 | 253.9451 | 255.9422 | 0.036426
PCB-121 | 2,3',4,5',6-Pentachlorobiphenyl | 56558-18-0 | 0.999 | 8.8261 | 325.8799 | 327.8769 | 253.9451 | 323.8827 | 255.9422 | 0.046409
PCB-122 | 2,3,3',4',5'-Pentachlorobiphenyl | 76842-07-4 | 0.9999 | 11.2144 | 325.8799 | 327.8768 | 323.8828 | 253.9451 | 255.9422 | 0.028579
PCB-123 | 2,3',4,4',5'-Pentachlorobiphenyl | 65510-44-3 | 1 | 10.8681 | 325.8798 | 327.8768 | 323.8828 | 253.9452 | 255.9422 | 0.013382
PCB-124 | 2,3',4',5,5'-Pentachlorobiphenyl | 70424-70-3 | 0.9999 | 10.7896 | 325.8798 | 327.8768 | 323.8827 | 253.9451 | 255.9422 | 0.020747
PCB-125 | 2,3',4',5',6-Pentachlorobiphenyl | 74472-39-2 | 0.9999 | 9.9968 | 325.8799 | 327.8767 | 323.8829 | 253.9451 | 255.9422 | 0.0027418
PCB-126 | 3,3',4,4',5-Pentachlorobiphenyl | 57465-28-8 | 0.9999 | 12.3777 | 325.8798 | 327.8769 | 323.8827 | 253.9451 | 255.9422 | 0.033703
PCB-127 | 3,3',4,5,5'-Pentachlorobiphenyl | 39635-33-1 | 0.9995 | 11.6141 | 325.8799 | 327.8767 | 323.8828 | 253.9451 | 255.9422 | 0.015998
PCB-128 | 2,2',3,3',4,4'-Hexachlorobiphenyl | 38380-07-3 | 0.9999 | 12.7567 | 359.8409 | 327.8768 | 361.8379 | 287.9064 | 357.8438 | 0.010557
PCB-129 | 2,2',3,3',4,5-Hexachlorobiphenyl | 55215-18-4 | 0.9999 | 12.2687 | 359.8409 | 289.9035 | 361.8378 | 287.9063 | 324.8721 | 0.01198
PCB-13 | 3,4'-Dichlorobiphenyl | 2974-90-5 | 1 | 6.5881 | 221.9998 | 152.062 | 223.9968 | 150.0464 | 151.0542 | 0.014453
PCB-130 | 2,2',3,3',4,5'-Hexachlorobiphenyl | 52663-66-8 | 0.9998 | 11.9755 | 359.8406 | 289.9033 | 361.8377 | 287.9063 | 324.872 | 0.0016451
PCB-131 | 2,2',3,3',4,6-Hexachlorobiphenyl | 61798-70-7 | 0.9999 | 11.1772 | 359.8408 | 289.9033 | 361.8378 | 287.9063 | 324.8721 | 0.012722
PCB-132 | 2,2',3,3',4,6'-Hexachlorobiphenyl | 38380-05-1 | 0.9994 | 11.4937 | 359.8408 | 289.9033 | 361.8378 | 287.9063 | 357.8436 | 0.0011901
PCB-133 | 2,2',3,3',5,5'-Hexachlorobiphenyl | 35694-04-3 | 0.9995 | 11.1669 | 359.8409 | 289.9033 | 361.8378 | 324.8721 | 287.9063 | 0.0050622
PCB-134 | 2,2',3,3',5,6-Hexachlorobiphenyl | 52704-70-8 | 0.9999 | 11.0702 | 359.8409 | 289.9033 | 324.8721 | 361.8379 | 287.9063 | 0.018405
PCB-135 | 2,2',3,3',5,6'-Hexachlorobiphenyl | 52744-13-5 | 0.9998 | 10.6693 | 359.8408 | 289.9033 | 361.8378 | 287.9063 | 324.8721 | 0.011822
PCB-136 | 2,2',3,3',6,6'-Hexachlorobiphenyl | 38411-22-2 | 0.9999 | 10.2459 | 359.841 | 289.9033 | 289.9035 | 357.8438 | 287.9064 | 0.0038874
PCB-137 | 2,2',3,4,4',5-Hexachlorobiphenyl | 35694-06-5 | 0.9999 | 11.91 | 393.8017 | 361.8379 | 359.8408 | 361.8377 | 289.9032 | 0.018352
PCB-138 | 2,2',3,4,4',5'-Hexachlorobiphenyl | 35065-28-2 | 1 | 12.1265 | 359.8409 | 395.7986 | 289.9035 | 287.9064 | 357.8438 | 0.023799
PCB-139 | 2,2',3,4,4',6-Hexachlorobiphenyl | 56030-56-9 | 1 | 10.848 | 359.8407 | 361.8379 | 289.9032 | 287.9062 | 357.8438 | 0.022094
PCB-14 | 3,5-Dichlorobiphenyl | 34883-41-5 | 0.9999 | 6.2328 | 221.9998 | 152.062 | 223.9968 | 150.0464 | 151.0542 | 0.017449
PCB-140 | 2,2',3,4,4',6'-Hexachlorobiphenyl | 59291-64-4 | 0.9989 | 10.9269 | 359.8407 | 361.8377 | 289.9033 | 287.9063 | 357.8436 | 0.040309
PCB-141 | 2,2',3,4,5,5'-Hexachlorobiphenyl | 52712-04-6 | 0.9998 | 11.7817 | 359.8409 | 361.8377 | 289.9033 | 357.8438 | 287.9063 | 0.10503
PCB-142 | 2,2',3,4,5,6-Hexachlorobiphenyl | 41411-61-4 | 0.9991 | 11.1772 | 359.8407 | 361.8378 | 361.8376 | 287.9061 | 324.8719 | 0.046514
PCB-143 | 2,2',3,4,5,6'-Hexachlorobiphenyl | 68194-15-0 | 0.9992 | 11.0332 | 359.8408 | 289.9032 | 361.8377 | 287.9063 | 357.8436 | 0.03514
PCB-144 | 2,2',3,4,5',6-Hexachlorobiphenyl | 68194-14-9 | 1 | 10.7009 | 359.8409 | 289.9033 | 289.9035 | 287.9064 | 357.8438 | 0.044687
PCB-145 | 2,2',3,4,6,6'-Hexachlorobiphenyl | 74472-40-5 | 0.9997 | 10.0619 | 359.8408 | 361.8379 | 289.9032 | 357.8438 | 287.9063 | 0.03555
PCB-146 | 2,2',3,4',5,5'-Hexachlorobiphenyl | 51908-16-8 | 0.9996 | 11.3378 | 359.8407 | 361.8377 | 289.9034 | 287.9064 | 357.8437 | 0.029339 | *
PCB-147 | 2,2',3,4',5,6-Hexachlorobiphenyl | 68194-13-8 | 0.9996 | 10.7488 | 359.8409 | 361.8378 | 361.8378 | 287.9063 | 357.8437 | 0.032947
PCB-148 | 2,2',3,4',5,6'-Hexachlorobiphenyl | 74472-41-6 | 0.9989 | 10.1357 | 325.8797 | 289.9033 | 327.8768 | 323.8828 | 289.9033 | 0.049363
PCB-149 | 2,2',3,4',5',6-Hexachlorobiphenyl | 38380-04-0 | 0.9999 | 10.8663 | 359.8409 | 499.6787 | 495.6847 | 427.744 | 361.8378 | 0.0057696 | *
PCB-15 | 4,4'-Dichlorobiphenyl | 2050-68-2 | 0.9998 | 6.6709 | 221.9998 | 152.062 | 223.9969 | 225.043 | 149.0234 | 0.027045
PCB-150 | 2,2',3,4',6,6'-Hexachlorobiphenyl | 68194-08-1 | 0.9992 | 9.774 | 359.8408 | 359.8406 | 327.877 | 323.883 | 287.9062 | 0.03292
PCB-151 | 2,2',3,5,5',6-Hexachlorobiphenyl | 52663-63-5 | 1 | 10.5797 | 359.841 | 361.8377 | 289.9033 | 357.8436 | 324.8722 | 0.050099 | *
PCB-152 | 2,2',3,5,6,6'-Hexachlorobiphenyl | 68194-09-2 | 0.9997 | 9.9068 | 291.919 | 289.9034 | 361.8379 | 287.9063 | 289.9033 | 0.017592
PCB-153 | 2,2',4,4',5,5'-Hexachlorobiphenyl | 35065-27-1 | 0.9999 | 11.4894 | 359.8407 | 359.8408 | 289.9219 | 361.8377 | 287.9064 | 0.018565 | *
PCB-154 | 2,2',4,4',5,6'-Hexachlorobiphenyl | 60145-22-4 | 0.9999 | 10.3322 | 359.8408 | 361.8378 | 289.9034 | 357.8437 | 357.8436 | 0.0042356
PCB-155 | 2,2',4,4',6,6'-Hexachlorobiphenyl | 33979-03-2 | 0.9992 | 9.3191 | 359.8409 | 361.8377 | 289.9032 | 287.9062 | 287.9064 | 0.032142
PCB-156 | 2,3,3',4,4',5-Hexachlorobiphenyl | 38380-08-4 | 0.9999 | 13.4093 | 359.8408 | 361.8378 | 289.9034 | 357.8439 | 363.8347 | 0.024007
PCB-157 | 2,3,3',4,4',5'-Hexachlorobiphenyl | 69782-90-7 | 0.9997 | 13.5276 | 359.8408 | 361.8378 | 357.8438 | 289.9032 | 363.8348 | 0.038623 | *
PCB-158 | 2,3,3',4,4',6-Hexachlorobiphenyl | 74472-42-7 | 1 | 12.1548 | 359.8408 | 361.8378 | 357.8439 | 289.9033 | 287.9063 | 0.041405 | *
PCB-159 | 2,3,3',4,5,5'-Hexachlorobiphenyl | 39635-35-3 | 0.9999 | 12.5735 | 359.841 | 361.8378 | 357.8437 | 289.9033 | 287.9064 | 0.012782
PCB-16 | 2,2',3-Trichlorobiphenyl | 38444-78-9 | 0.9999 | 6.8348 | 186.0231 | 152.062 | 255.9609 | 257.9579 | 222.989 | 0.026771
PCB-160 | 2,3,3',4,5,6-Hexachlorobiphenyl | 41411-62-5 | 0.9999 | 12.0975 | 359.8408 | 361.8379 | 357.8439 | 289.9034 | 287.9063 | 0.022228
PCB-161 | 2,3,3',4,5',6-Hexachlorobiphenyl | 74472-43-8 | 0.9999 | 11.3134 | 359.8406 | 361.8377 | 289.9033 | 357.8438 | 287.9063 | 0.01452
PCB-162 | 2,3,3',4',5,5'-Hexachlorobiphenyl | 39635-34-2 | 0.9999 | 12.7248 | 359.8408 | 361.8377 | 289.9033 | 357.8436 | 287.9063 | 0.026087
PCB-163 | 2,3,3',4',5,6-Hexachlorobiphenyl | 74472-44-9 | 1 | 12.0793 | 359.8408 | 361.8377 | 357.8439 | 289.9032 | 287.9062 | 0.014667
PCB-164 | 2,3,3',4',5',6-Hexachlorobiphenyl | 74472-45-0 | 0.9998 | 12.0752 | 359.8408 | 361.8377 | 357.8436 | 289.9032 | 324.8721 | 0.0064305
PCB-165 | 2,3,3',5,5',6-Hexachlorobiphenyl | 74472-46-1 | 0.9998 | 11.2347 | 325.8798 | 289.9034 | 361.8378 | 287.9063 | 323.8827 | 0.028111
PCB-166 | 2,3,4,4',5,6-Hexachlorobiphenyl | 41411-63-6 | 0.9997 | 12.4098 | 359.8409 | 359.8406 | 361.8377 | 327.8767 | 287.9063 | 0.02612
PCB-167 | 2,3',4,4',5,5'-Hexachlorobiphenyl | 52663-72-6 | 1 | 12.8706 | 359.8408 | 361.8378 | 357.8439 | 289.9033 | 357.8436 | 0.011818
PCB-168 | 2,3',4,4',5',6-Hexachlorobiphenyl | 59291-65-5 | 0.9999 | 11.4834 | 359.8408 | 361.8378 | 393.8018 | 395.7988 | 287.9063 | 0.006232
PCB-169 | 3,3',4,4',5,5'-Hexachlorobiphenyl | 32774-16-6 | 0.9994 | 14.403 | 359.8408 | 361.8377 | 289.9033 | 357.8438 | 363.8346 | 0.017861
PCB-17 | 2,2',4-Trichlorobiphenyl | 37680-66-3 | 0.9999 | 6.6131 | 186.0231 | 220.992 | 257.9579 | 220.992 | 188.0201 | 0.01126
PCB-170 | 2,2',3,3',4,4',5-Heptachlorobiphenyl | 35065-30-6 | 0.9999 | 14.5558 | 393.802 | 361.8377 | 357.8438 | 289.9033 | 391.805 | 0.037401 | *
PCB-171 | 2,2',3,3',4,4',6-Heptachlorobiphenyl | 52663-71-5 | 0.9999 | 13.3346 | 393.802 | 395.7989 | 323.8642 | 397.796 | 321.8672 | 0.041655 | *
PCB-172 | 2,2',3,3',4,5,5'-Heptachlorobiphenyl | 52663-74-8 | 0.9999 | 13.6709 | 393.802 | 395.7989 | 323.8642 | 325.8613 | 321.8672 | 0.022075
PCB-173 | 2,2',3,3',4,5,6-Heptachlorobiphenyl | 68194-16-1 | 0.9994 | 13.4513 | 393.8019 | 395.7989 | 323.8642 | 325.8612 | 325.8613 | 0.014805
PCB-174 | 2,2',3,3',4,5,6'-Heptachlorobiphenyl | 38411-25-5 | 0.9995 | 13.09 | 393.8018 | 395.7989 | 323.8642 | 358.8329 | 321.8672 | 0.037889 | *
PCB-175 | 2,2',3,3',4,5',6-Heptachlorobiphenyl | 40186-70-7 | 0.9999 | 12.4206 | 393.8019 | 395.7988 | 323.8643 | 325.8613 | 325.8611 | 0.017381
PCB-176 | 2,2',3,3',4,6,6'-Heptachlorobiphenyl | 52663-65-7 | 1 | 11.9452 | 393.8017 | 395.7989 | 323.8641 | 358.8327 | 289.9032 | 0.010137
PCB-178 | 2,2',3,3',5,5',6-Heptachlorobiphenyl | 52663-67-9 | 1 | 12.2875 | 393.8019 | 393.8019 | 393.8019 | 393.8019 | 325.8613 | 0.022769
PCB-179 | 2,2',3,3',5,6,6'-Heptachlorobiphenyl | 52663-64-6 | 0.9999 | 11.755 | 393.802 | 395.7988 | 323.8642 | 358.8329 | 391.805 | 0.039854 | *
PCB-18 | 2,2',5-Trichlorobiphenyl | 37680-65-2 | 1 | 6.5871 | 186.023 | 255.9609 | 257.9579 | 220.992 | 150.0464 | 0.033753 | *
PCB-180 | 2,2',3,4,4',5,5'-Heptachlorobiphenyl | 35065-29-3 | 0.9999 | 13.8507 | 393.8021 | 395.799 | 323.8642 | 397.796 | 325.8613 | 0.0098932
PCB-181 | 2,2',3,4,4',5,6-Heptachlorobiphenyl | 74472-47-2 | 0.9995 | 13.2061 | 393.8019 | 395.7991 | 323.8642 | 397.7961 | 397.7959 | 0.042907
PCB-182 | 2,2',3,4,4',5,6'-Heptachlorobiphenyl | 60145-23-5 | 0.9998 | 13.0981 | 393.802 | 395.7988 | 323.8643 | 325.8613 | 321.8671 | 0.017771
PCB-183 | 2,2',3,4,4',5',6-Heptachlorobiphenyl | 52663-69-1 | 0.9999 | 12.6441 | 393.802 | 395.7989 | 323.8641 | 325.8612 | 325.8613 | 0.013498
PCB-184 | 2,2',3,4,4',6,6'-Heptachlorobiphenyl | 74472-48-3 | 0.9998 | 11.431 | 393.8018 | 395.7989 | 323.8642 | 397.7959 | 391.8048 | 0.010998
PCB-186 | 2,2',3,4,5,6,6'-Heptachlorobiphenyl | 74472-49-4 | 0.9995 | 12.136 | 393.802 | 361.8378 | 393.8019 | 395.7988 | 391.805 | 0.028765
PCB-187 | 2,2',3,4',5,5',6-Heptachlorobiphenyl | 52663-68-0 | 0.9999 | 12.5034 | 393.8018 | 395.799 | 323.8642 | 397.796 | 321.8672 | 0.013563
PCB-188 | 2,2',3,4',5,6,6'-Heptachlorobiphenyl | 74487-85-7 | 0.9994 | 11.2432 | 393.8018 | 395.7988 | 323.8642 | 325.8613 | 391.8048 | 0.042437
PCB-189 | 2,3,3',4,4',5,5'-Heptachlorobiphenyl | 39635-31-9 | 0.9999 | 15.361 | 393.8017 | 395.7987 | 323.8641 | 397.7958 | 391.8049 | 0.02086
PCB-19 | 2,2',6-Trichlorobiphenyl | 38444-73-4 | 0.9998 | 6.2751 | 186.0231 | 255.9609 | 255.9609 | 257.9579 | 222.989 | 0.0033317
PCB-190 | 2,3,3',4,4',5,6-Heptachlorobiphenyl | 41411-64-7 | 0.9999 | 14.5567 | 393.802 | 395.7986 | 397.7958 | 323.8642 | 391.805 | 0.013055
PCB-191 | 2,3,3',4,4',5',6-Heptachlorobiphenyl | 74472-50-7 | 0.9998 | 13.9676 | 393.8017 | 395.799 | 323.8642 | 397.7961 | 391.805 | 0.0094133
PCB-192 | 2,3,3',4,5,5',6-Heptachlorobiphenyl | 74472-51-8 | 0.9997 | 13.6352 | 393.802 | 395.7987 | 323.8643 | 397.7959 | 391.8049 | 0.009551
PCB-193 | 2,3,3',4',5,5',6-Heptachlorobiphenyl | 69782-91-8 | 0.9996 | 13.8577 | 429.76 | 395.7988 | 323.8642 | 397.796 | 431.757 | 0.013208
PCB-194 | 2,2',3,3',4,4',5,5'-Octachlorobiphenyl | 35694-08-7 | 0.9998 | 16.2627 | 429.7598 | 427.763 | 393.8019 | 395.7989 | 431.7567 | 0.0078621
PCB-195 | 2,2',3,3',4,4',5,6-Octachlorobiphenyl | 52663-78-2 | 0.9997 | 15.6511 | 429.7601 | 427.7628 | 357.8251 | 359.822 | 431.7571 | 0.0099182
PCB-196 | 2,2',3,3',4,4',5,6'-Octachlorobiphenyl | 42740-50-1 | 0.9999 | 14.9226 | 429.7599 | 427.7631 | 357.8252 | 359.8221 | 431.7569 | 0.0095156
PCB-197 | 2,2',3,3',4,4',6,6'-Octachlorobiphenyl | 33091-17-7 | 0.9999 | 13.7035 | 429.76 | 427.7629 | 357.8252 | 359.8221 | 431.757 | 0.022413
PCB-198 | 2,2',3,3',4,5,5',6-Octachlorobiphenyl | 68194-17-2 | 0.9996 | 14.6719 | 429.7599 | 427.763 | 393.8019 | 395.7989 | 431.7568 | 0.034017
PCB-199 | 2,2',3,3',4,5,5',6'-Octachlorobiphenyl | 52663-75-9 | 0.9995 | 14.7685 | 429.7599 | 357.8252 | 427.7629 | 359.8221 | 431.7568 | 0.0032072
PCB-2 | 3-Chlorobiphenyl | 2051-61-8 | 0.9994 | 5.3372 | 188.0387 | 152.062 | 190.0357 | 153.0698 | 189.0419 | 0.010372
PCB-20 | 2,3,3'-Trichlorobiphenyl | 38444-84-7 | 0.9996 | 7.4316 | 255.9608 | 220.992 | 186.023 | 259.9549 | 150.0464 | 0.027855
PCB-200 | 2,2',3,3',4,5,6,6'-Octachlorobiphenyl | 52663-73-7 | 1 | 14.0941 | 429.7597 | 427.7629 | 357.8252 | 359.8221 | 359.8219 | 0.023736
PCB-201 | 2,2',3,3',4,5',6,6'-Octachlorobiphenyl | 40186-71-8 | 0.9998 | 13.485 | 429.7596 | 427.7629 | 431.7569 | 357.825 | 359.822 | 0.015747
PCB-202 | 2,2',3,3',5,5',6,6'-Octachlorobiphenyl | 2136-99-4 | 0.9999 | 13.2775 | 429.7598 | 427.7626 | 431.7566 | 357.8249 | 359.8219 | 0.011621
PCB-203 | 2,2',3,4,4',5,5',6-Octachlorobiphenyl | 52663-76-0 | 1 | 14.9104 | 429.7599 | 427.7629 | 431.7569 | 357.825 | 359.8222 | 0.021469
PCB-204 | 2,2',3,4,4',5,6,6'-Octachlorobiphenyl | 74472-52-9 | 0.9985 | 13.55 | 429.7596 | 427.7628 | 357.8252 | 431.7568 | 359.822 | 0.031892
PCB-205 | 2,3,3',4,4',5,5',6-Octachlorobiphenyl | 74472-53-0 | 0.9999 | 16.351 | 429.7599 | 427.7626 | 431.7566 | 357.825 | 359.8223 | 0.039784
PCB-206 | 2,2',3,3',4,4',5,5',6-Nonachlorobiphenyl | 40186-72-9 | 0.9998 | 17.1805 | 463.7207 | 427.7629 | 431.7569 | 357.8252 | 393.7832 | 0.059736 | *
PCB-207 | 2,2',3,3',4,4',5,6,6'-Nonachlorobiphenyl | 52663-79-3 | 0.9996 | 15.8587 | 463.7209 | 461.724 | 465.7178 | 391.7864 | 393.7832 | 0.032798
PCB-208 | 2,2',3,3',4,5,5',6,6'-Nonachlorobiphenyl | 52663-77-1 | 0.9997 | 15.6186 | 463.7207 | 461.7243 | 465.7179 | 391.7863 | 393.7831 | 0.019589
PCB-209 | Decachlorobiphenyl | 2051-24-3 | 0.9997 | 17.8007 | 497.6818 | 461.7241 | 465.7178 | 391.7863 | 207.0324 | 0.0038207
PCB-21 | 2,3,4-Trichlorobiphenyl | 55702-46-0 | 0.9999 | 7.3996 | 255.9608 | 257.9579 | 186.023 | 150.0463 | 259.9549 | 0.016225
PCB-22 | 2,3,4'-Trichlorobiphenyl | 38444-85-8 | 0.9998 | 7.5629 | 255.9608 | 257.9579 | 186.023 | 259.955 | 150.0464 | 0.010937
PCB-23 | 2,3,5-Trichlorobiphenyl | 55720-44-0 | 0.999 | 6.9906 | 255.9609 | 257.9579 | 186.0231 | 150.0464 | 259.9549 | 0.037781
PCB-24 | 2,3,6-Trichlorobiphenyl | 55702-45-9 | 0.9994 | 6.7245 | 255.9608 | 257.9579 | 186.023 | 150.0464 | 259.955 | 0.036547
PCB-25 | 2,3',4-Trichlorobiphenyl | 55712-37-3 | 0.9999 | 7.1783 | 255.9609 | 257.9579 | 186.0231 | 259.955 | 150.0464 | 0.020783
PCB-26 | 2,3',5-Trichlorobiphenyl | 38444-81-4 | 0.9999 | 7.1569 | 255.9608 | 257.9579 | 186.023 | 259.955 | 150.0464 | 0.014884
PCB-27 | 2,3',6-Trichlorobiphenyl | 38444-76-7 | 0.9997 | 6.7188 | 255.9608 | 257.9578 | 186.023 | 150.0464 | 259.9549 | 0.025675
PCB-28 | 2,4,4'-Trichlorobiphenyl | 7012-37-5 | 1 | 7.2999 | 255.9608 | 257.9578 | 186.023 | 259.9549 | 150.0464 | 0.033043 | *
PCB-29 | 2,4,5-Trichlorobiphenyl | 15862-07-4 | 0.9994 | 7.05 | 255.9609 | 257.9578 | 186.023 | 259.955 | 150.0464 | 0.03495
PCB-3 | 4-Chlorobiphenyl | 2051-62-9 | 0.9998 | 5.3825 | 188.0387 | 152.062 | 190.0357 | 153.0698 | 189.042 | 0.011232
PCB-30 | 2,4,6-Trichlorobiphenyl | 35693-92-6 | 0.9989 | 6.3842 | 255.9609 | 257.9579 | 186.023 | 150.0464 | 259.955 | 0.052653
PCB-31 | 2,4',5-Trichlorobiphenyl | 16606-02-3 | 0.9995 | 7.2959 | 255.9609 | 257.9579 | 186.0231 | 259.955 | 150.0464 | 0.036809
PCB-32 | 2,4',6-Trichlorobiphenyl | 38444-77-8 | 0.9998 | 6.8609 | 255.9608 | 257.9579 | 186.023 | 259.9549 | 150.0464 | 0.026763
PCB-33 | 2,3',4'-Trichlorobiphenyl | 38444-86-9 | 0.9999 | 7.4326 | 255.9608 | 257.9579 | 186.023 | 259.955 | 150.0464 | 0.022223
PCB-34 | 2,3',5'-Trichlorobiphenyl | 37680-68-5 | 0.9998 | 6.9843 | 255.9608 | 257.9579 | 186.023 | 150.0464 | 259.9549 | 0.0018628
PCB-35 | 3,3',4-Trichlorobiphenyl | 37680-69-6 | 0.9999 | 8.1871 | 255.9607 | 257.9578 | 186.023 | 259.9549 | 150.0463 | 0.020328
PCB-36 | 3,3',5-Trichlorobiphenyl | 38444-87-0 | 0.9986 | 7.6893 | 255.9609 | 257.9578 | 186.023 | 259.9549 | 150.0464 | 0.029847
PCB-37 | 3,4,4'-Trichlorobiphenyl | 38444-90-5 | 0.9999 | 8.3302 | 255.9608 | 257.9579 | 186.023 | 259.955 | 150.0464 | 0.027557
PCB-38 | 3,4,5-Trichlorobiphenyl | 53555-66-1 | 0.9999 | 7.9658 | 255.9608 | 257.9579 | 291.9189 | 186.023 | 219.9841 | 0.02478
PCB-39 | 3,4',5-Trichlorobiphenyl | 38444-88-1 | 0.9986 | 7.8375 | 255.9608 | 257.9578 | 186.023 | 259.9549 | 150.0463 | 0.040923
PCB-4 | 2,2'-Dichlorobiphenyl | 13029-08-8 | 1 | 5.5672 | 152.062 | 152.062 | 221.9997 | 223.9967 | 150.0464 | 0.019379
PCB-40 | 2,2',3,3'-Tetrachlorobiphenyl | 38444-93-8 | 0.9997 | 8.5695 | 219.9842 | 257.9578 | 291.9191 | 256.9501 | 221.9812 | 0.018534
PCB-41 | 2,2',3,4-Tetrachlorobiphenyl | 52663-59-9 | 0.9996 | 8.4285 | 219.9841 | 254.9531 | 289.9219 | 221.9811 | 293.916 | 0.0061921
PCB-42 | 2,2',3,4'-Tetrachlorobiphenyl | 36559-22-5 | 0.9999 | 8.2684 | 219.9841 | 291.919 | 289.9218 | 221.9812 | 254.953 | 0.016768
PCB-43 | 2,2',3,5-Tetrachlorobiphenyl | 70362-46-8 | 0.9993 | 7.8858 | 219.9841 | 291.919 | 221.9812 | 289.9219 | 254.953 | 0.036534
PCB-44 | 2,2',3,5'-Tetrachlorobiphenyl | 41464-39-5 | 0.9995 | 8.2151 | 219.9841 | 291.919 | 289.9218 | 221.9812 | 254.953 | 0.023508 | *
PCB-45 | 2,2',3,6-Tetrachlorobiphenyl | 70362-45-7 | 0.9997 | 7.6195 | 219.9842 | 291.9189 | 289.9219 | 221.9812 | 254.953 | 0.008592
PCB-46 | 2,2',3,6'-Tetrachlorobiphenyl | 41464-47-5 | 0.9996 | 7.7487 | 291.9189 | 291.919 | 325.8799 | 219.9841 | 293.9159 | 0.0053947
PCB-47 | 2,2',4,4'-Tetrachlorobiphenyl | 2437-79-8 | 1 | 7.9906 | 291.919 | 289.9219 | 289.9219 | 221.9812 | 293.916 | 0.010626
PCB-48 | 2,2',4,5-Tetrachlorobiphenyl | 70362-47-9 | 0.9999 | 7.9786 | 219.9841 | 219.9841 | 221.9812 | 254.953 | 256.9501 | 0.016019
PCB-49 | 2,2',4,5'-Tetrachlorobiphenyl | 41464-40-8 | 1 | 7.9399 | 291.9189 | 291.919 | 289.9218 | 221.9812 | 293.9159 | 0.015884
PCB-5 | 2,3-Dichlorobiphenyl | 16605-91-7 | 1 | 6.0451 | 221.9998 | 187.0309 | 223.9968 | 150.0464 | 151.0542 | 0.019238
PCB-50 | 2,2',4,6-Tetrachlorobiphenyl | 62796-65-0 | 0.9999 | 7.2251 | 219.984 | 219.9841 | 289.9218 | 221.9811 | 254.9529 | 0.025182
PCB-51 | 2,2',4,6'-Tetrachlorobiphenyl | 68194-04-7 | 0.9997 | 7.5059 | 219.9841 | 291.9189 | 289.9218 | 221.9811 | 293.9159 | 0.025019
PCB-52 | 2,2',5,5'-Tetrachlorobiphenyl | 35693-99-3 | 0.9994 | 7.8788 | 291.919 | 291.9189 | 289.9219 | 221.9812 | 293.916 | 0.0077243
PCB-53 | 2,2',5,6'-Tetrachlorobiphenyl | 41464-41-9 | 0.9999 | 7.4224 | 219.9841 | 219.9841 | 289.9219 | 221.9811 | 254.953 | 0.0080961
PCB-54 | 2,2',6,6'-Tetrachlorobiphenyl | 15968-05-5 | 0.9999 | 7.0379 | 291.919 | 291.9189 | 219.9841 | 221.9812 | 293.9159 | 0.0046892
PCB-55 | 2,3,3',4-Tetrachlorobiphenyl | 74338-24-2 | 0.9995 | 9.2185 | 291.919 | 289.9218 | 219.9841 | 293.916 | 221.9812 | 0.03766
PCB-56 | 2,3,3',4'-Tetrachlorobiphenyl | 41464-43-1 | 1 | 9.0648 | 291.919 | 289.922 | 219.9841 | 293.916 | 221.9811 | 0.020311
PCB-57 | 2,3,3',5-Tetrachlorobiphenyl | 70424-67-8 | 0.9999 | 8.6409 | 291.9189 | 289.922 | 219.984 | 293.9159 | 221.9811 | 0.030085
PCB-58 | 2,3,3',5'-Tetrachlorobiphenyl | 41464-49-7 | 0.9997 | 8.7706 | 291.919 | 289.9218 | 219.9841 | 293.916 | 221.9812 | 0.028277
PCB-59 | 2,3,3',6-Tetrachlorobiphenyl | 74472-33-6 | 1 | 8.2462 | 291.9189 | 289.922 | 219.984 | 293.9158 | 221.9811 | 0.010746
PCB-6 | 2,3'-Dichlorobiphenyl | 25569-80-6 | 1 | 5.9744 | 221.9997 | 152.062 | 223.9968 | 150.0464 | 151.0542 | 0.013646
PCB-60 | 2,3,4,4'-Tetrachlorobiphenyl | 33025-41-1 | 0.9996 | 9.4049 | 291.919 | 289.9218 | 219.9841 | 293.9159 | 221.9812 | 0.0078545
PCB-61 | 2,3,4,5-Tetrachlorobiphenyl | 33284-53-6 | 0.9999 | 8.8785 | 291.9189 | 289.9219 | 219.9841 | 293.9159 | 221.9812 | 0.027814
PCB-62 | 2,3,4,6-Tetrachlorobiphenyl | 54230-22-7 | 0.9988 | 8.0269 | 291.919 | 289.9219 | 219.9841 | 293.916 | 221.9812 | 0.041348
PCB-63 | 2,3,4',5-Tetrachlorobiphenyl | 74472-34-7 | 0.9999 | 8.8425 | 291.9189 | 289.922 | 219.9841 | 293.9159 | 221.9812 | 0.010386
PCB-64 | 2,3,4',6-Tetrachlorobiphenyl | 52663-58-8 | 0.9999 | 8.4507 | 291.9189 | 289.9219 | 325.8799 | 219.9841 | 293.9159 | 0.017402
PCB-65 | 2,3,5,6-Tetrachlorobiphenyl | 33284-54-7 | 0.9992 | 8.0014 | 255.9608 | 289.9219 | 257.9578 | 289.9219 | 219.9841 | 0.027814
PCB-66 | 2,3',4,4'-Tetrachlorobiphenyl | 32598-10-0 | 0.9998 | 9.3858 | 291.919 | 291.9189 | 219.9841 | 293.916 | 221.9811 | 0.02634 | *
PCB-67 | 2,3',4,5-Tetrachlorobiphenyl | 73575-53-8 | 0.9999 | 8.7361 | 291.919 | 289.922 | 219.9841 | 293.916 | 221.9812 | 0.019741
PCB-68 | 2,3',4,5'-Tetrachlorobiphenyl | 73575-52-7 | 0.9986 | 8.472 | 291.9191 | 289.922 | 219.9841 | 293.916 | 221.9812 | 0.043983
PCB-69 | 2,3',4,6-Tetrachlorobiphenyl | 60233-24-1 | 0.9999 | 7.7983 | 291.919 | 289.922 | 219.9842 | 293.916 | 221.9812 | 0.010693
PCB-7 | 2,4-Dichlorobiphenyl | 33284-50-3 | 0.9999 | 5.8579 | 221.9998 | 152.062 | 223.9968 | 150.0464 | 151.0542 | 0.025069
PCB-70 | 2,3',4',5-Tetrachlorobiphenyl | 32598-11-1 | 0.9998 | 9.0253 | 219.9841 | 289.922 | 289.9219 | 221.9811 | 254.953 | 0.016363
PCB-71 | 2,3',4',6-Tetrachlorobiphenyl | 41464-46-4 | 0.9998 | 8.4048 | 291.9189 | 291.9189 | 219.9841 | 293.9159 | 221.9812 | 0.01332
PCB-72 | 2,3',5,5'-Tetrachlorobiphenyl | 41464-42-0 | 0.9998 | 8.4193 | 291.919 | 289.9219 | 219.9841 | 293.916 | 221.9812 | 0.014619
PCB-73 | 2,3',5',6-Tetrachlorobiphenyl | 74338-23-1 | 1 | 7.8207 | 291.9189 | 289.9219 | 219.9841 | 293.9159 | 221.9811 | 0.013338
PCB-74 | 2,4,4',5-Tetrachlorobiphenyl | 32690-93-0 | 0.9999 | 8.9305 | 291.919 | 289.9219 | 219.9841 | 293.9159 | 221.9812 | 0.028729 | *
PCB-75 | 2,4,4',6-Tetrachlorobiphenyl | 32598-12-2 | 1 | 7.9876 | 291.9189 | 289.9219 | 219.984 | 293.9159 | 221.981 | 0.0076516
PCB-76 | 2,3',4',5'-Tetrachlorobiphenyl | 70362-48-0 | 0.9992 | 8.9807 | 291.919 | 289.9218 | 219.9841 | 293.916 | 221.9812 | 0.040501
PCB-77 | 3,3',4,4'-Tetrachlorobiphenyl | 32598-13-3 | 0.9999 | 10.3802 | 291.919 | 289.922 | 293.9159 | 219.9841 | 221.9812 | 0.014288
PCB-78 | 3,3',4,5-Tetrachlorobiphenyl | 70362-49-1 | 0.9999 | 9.9318 | 291.919 | 289.9219 | 289.9219 | 361.8377 | 289.9033 | 0.016619
PCB-79 | 3,3',4,5'-Tetrachlorobiphenyl | 41464-48-6 | 0.9998 | 9.7273 | 291.919 | 359.8408 | 293.916 | 219.9841 | 221.9812 | 0.011725
PCB-8 | 2,4'-Dichlorobiphenyl | 34883-43-7 | 0.9998 | 6.0553 | 221.9998 | 152.0621 | 223.9968 | 150.0464 | 151.0542 | 0.0021903
PCB-80 | 3,3',5,5'-Tetrachlorobiphenyl | 33284-52-5 | 0.9983 | 9.0963 | 325.8798 | 289.922 | 253.9451 | 255.9422 | 327.8769 | 0.061702
PCB-81 | 3,4,4',5-Tetrachlorobiphenyl | 70362-50-4 | 0.9999 | 10.1476 | 291.9189 | 291.919 | 293.9159 | 219.9841 | 221.9811 | 0.01914
PCB-82 | 2,2',3,3',4-Pentachlorobiphenyl | 52663-62-4 | 0.9995 | 10.5488 | 325.88 | 289.9219 | 255.9423 | 290.9112 | 327.8769 | 0.011152
PCB-83 | 2,2',3,3',5-Pentachlorobiphenyl | 60145-20-2 | 0.9999 | 9.8573 | 325.88 | 253.9452 | 323.8828 | 253.9452 | 255.9422 | 0.018187
PCB-84 | 2,2',3,3',6-Pentachlorobiphenyl | 52663-60-2 | 0.9997 | 9.468 | 325.8799 | 327.8768 | 255.9423 | 290.9111 | 327.8769 | 0.010959
PCB-85 | 2,2',3,4,4'-Pentachlorobiphenyl | 65510-45-4 | 1 | 10.1905 | 325.8798 | 253.9452 | 255.9423 | 327.8769 | 323.8829 | 0.0080276
PCB-86 | 2,2',3,4,5-Pentachlorobiphenyl | 55312-69-1 | 0.9992 | 9.9734 | 325.8799 | 253.9453 | 255.9423 | 327.8769 | 323.8828 | 0.00011027
PCB-87 | 2,2',3,4,5'-Pentachlorobiphenyl | 38380-02-8 | 1 | 10.1215 | 325.8799 | 253.9452 | 255.9423 | 327.8769 | 323.8829 | 0.040686 | *
PCB-88 | 2,2',3,4,6-Pentachlorobiphenyl | 55215-17-3 | 0.999 | 9.0739 | 291.919 | 253.9452 | 325.8798 | 253.9451 | 255.9422 | 0.046409
PCB-89 | 2,2',3,4,6'-Pentachlorobiphenyl | 73575-57-2 | 0.9998 | 9.5121 | 325.8798 | 289.9219 | 255.9422 | 327.8768 | 323.8828 | 0.017841
PCB-9 | 2,5-Dichlorobiphenyl | 34883-39-1 | 1 | 5.8605 | 221.9998 | 152.062 | 223.9968 | 150.0464 | 151.0542 | 0.014538
PCB-90 | 2,2',3,4',5-Pentachlorobiphenyl | 68194-07-0 | 0.9999 | 9.5305 | 325.8798 | 253.9452 | 255.9422 | 327.8768 | 323.8827 | 0.018512
PCB-91 | 2,2',3,4',6-Pentachlorobiphenyl | 68194-05-8 | 1 | 9.1691 | 325.8799 | 253.9451 | 255.9422 | 327.8769 | 323.8828 | 0.017044
PCB-92 | 2,2',3,5,5'-Pentachlorobiphenyl | 52663-61-3 | 0.9999 | 9.434 | 325.88 | 253.9451 | 255.9423 | 327.877 | 323.8829 | 0.0064083
PCB-93 | 2,2',3,5,6-Pentachlorobiphenyl | 73575-56-1 | 0.9999 | 9.0045 | 325.8799 | 253.9452 | 255.9422 | 290.9112 | 327.8768 | 0.0061848
PCB-94 | 2,2',3,5,6'-Pentachlorobiphenyl | 73575-55-0 | 0.999 | 8.8159 | 325.8799 | 253.9452 | 255.9422 | 290.9112 | 327.877 | 0.038529
PCB-95 | 2,2',3,5',6-Pentachlorobiphenyl | 38379-99-6 | 0.9996 | 9.0507 | 291.9189 | 253.9452 | 325.8799 | 219.9841 | 293.9159 | 0.0050854
PCB-96 | 2,2',3,6,6'-Pentachlorobiphenyl | 73575-54-9 | 0.9996 | 8.5053 | 325.8799 | 289.9219 | 323.8828 | 253.9451 | 255.9422 | 0.018398
PCB-97 | 2,2',3,4',5'-Pentachlorobiphenyl | 41464-51-1 | 1 | 9.9732 | 325.8798 | 327.8769 | 255.9423 | 327.8769 | 323.8829 | 0.01434
PCB-98 | 2,2',3,4',6'-Pentachlorobiphenyl | 60233-25-2 | 0.9998 | 8.9678 | 325.8798 | 253.9453 | 255.9422 | 327.8769 | 323.8829 | 0.017141
PCB-99 | 2,2',4,4',5-Pentachlorobiphenyl | 38380-01-7 | 0.9999 | 9.6564 | 325.88 | 253.9452 | 327.8769 | 255.9423 | 323.8829 | 0.037975 | *
PCB-177 | 2,2',3,3',4,5',6'-Heptachlorobiphenyl | 52663-70-4 | 0.9998 | 12.4983 | 393.8019 | 395.799 | 323.8644 | 358.8331 | 325.8613 | 0.017771
PCB-185 | 2,2',3,4,5,5',6-Heptachlorobiphenyl | 52712-05-7 | 0.9999 | 12.9001 | 359.8407 | 361.8378 | 393.8019 | 395.7988 | 357.8436 | 0.013563
Pendimethalin | Pendimethalin | 40487-42-1 | 0.9985 | 8.3019 | 252.098 | 162.0788 | 191.069 | 208.0717 | 161.071 | 0.15057
Pentachloroaniline | Pentachloroaniline | 527-20-8 | 0.9997 | 6.2843 | 264.8597 | 266.8568 | 262.8627 | 268.8538 | 191.9169 | 0.0015961
Pentachloroanisole | Pentachloroanisole | 1825-21-4 | 0.9998 | 5.1773 | 236.841 | 264.8359 | 279.8593 | 238.838 | 234.8439 | 0.027388
Pentachlorobenzene | Pentachlorobenzene | 608-93-5 | 1 | 3.9584 | 249.8488 | 251.8458 | 247.8517 | 253.8427 | 214.8798 | 0.0072049
Pentachlorobenzonitrile | Pentachlorobenzonitrile | 20925-85-3 | 0.9993 | 5.5166 | 274.8442 | 276.8412 | 272.8472 | 132.9715 | 278.8382 | 0.041933
Pentachlorothioanisole | Pentachlorothioanisole | 1825-19-0 | 1 | 7.2378 | 295.8364 | 245.8441 | 297.8335 | 262.8566 | 293.8396 | 0.0070872
Perylene-d12 | Perylene-d12 | 1520-96-3 | 0.9989 | 18.9085 | 264.1688 | 260.1407 | 265.1721 | 132.0841 | 130.0701 | 0.0042881
Phenanthrene | Phenanthrene | 85-01-8 | 0.9989 | 6.2027 | 178.0775 | 176.062 | 152.062 | 179.0809 | 177.0698 | 0.050197
Phenanthrene_d10 | Phenanthrene-d10 | 1517-22-2 | 0.9997 | 5.9888 | 188.1403 | 184.1123 | 160.1123 | 189.1437 | 187.1342 | 0.028564
Phorate | Phorate | 298-02-2 | 0.998 | 5.0028 | 96.9508 | 230.9732 | 93.0101 | 121.0413 | 128.9228 | 0.090185
Phosalone | Benzophosphate | 2310-17-0 | 0.9989 | 14.2874 | 182.0003 | 132.0444 | 121.0413 | 183.9973 | 104.0495 | 0.18848
Pirimiphos-ethyl | Primicid | 23505-41-1 | 0.9997 | 8.1232 | 168.0591 | 180.1132 | 318.1037 | 152.0819 | 166.0975 | 0.030131
Pirimiphos-methyl | Pirimifosmethyl | 29232-93-7 | 0.9998 | 7.2072 | 290.0725 | 124.9821 | 276.0567 | 180.1131 | 260.0142 | 0.025204
p,p'-DDD | 1-chloro-4-[2,2-dichloro-1-(4-chlorophenyl)ethyl]benzene | 72-54-8 | 0.9992 | 11.0312 | 235.0078 | 165.0699 | 237.0047 | 199.031 | 176.0621 | 0.021522 | *
Procymidone | Procymidone | 32809-16-8 | 0.9946 | 8.7429 | 283.0164 | 96.057 | 285.0134 | 112.0506 | 128.0024 | 0.093362
Propachlor | Propachlor | 1918-16-7 | 0.9974 | 7.5027 | 162.1277 | 238.0995 | 162.0914 | 163.1311 | 146.0965 | 0.039671
Propanil | Propanil | 709-98-8 | 0.9928 | 6.5113 | 134.0965 | 160.9794 | 162.9764 | 132.0809 | 146.0965 | 0.13592
Propyzamide | Propyzamide | 23950-58-5 | 0.997 | 5.7135 | 172.9557 | 174.9526 | 172.9667 | 254.0135 | 174.9638 | 0.086495
Pyrene | Pyrene | 129-00-0 | 0.9993 | 9.6584 | 202.0775 | 200.062 | 203.081 | 201.0698 | 101.0386 | 0.062411
Pyrimethanil | Pyrimethanil | 53112-28-0 | 0.9965 | 5.826 | 198.1026 | 199.1103 | 199.1059 | 183.0791 | 197.0948 | 0.080381
Quinalphos | Quinalphos | 13593-03-8 | 0.9999 | 8.694 | 146.0475 | 118.0526 | 157.076 | 156.0682 | 129.0448 | 0.082803
Quintozene | Pentachloronitrobenzene | 82-68-8 | 0.9999 | 16.8812 | 225.0431 | 149.0234 | 91.0543 | 209.0117 | 115.0543 | 0.017345
Sulfotep | Sulfotep | 3689-24-5 | 0.9966 | 4.8661 | 322.0221 | 145.9256 | 173.9568 | 209.8969 | 237.9284 | 0.079622
Sulprofos | Merdafos | 35400-43-2 | 0.9934 | 11.4835 | 156.0062 | 140.0291 | 112.928 | 322.0279 | 139.0213 | 0.10668
Tebufenpyrad | Tebufenpyrad | 119168-77-3 | 0.9971 | 13.9319 | 171.032 | 318.1368 | 173.029 | 276.09 | 333.1603 | 0.12307
Tecnazene | Tecnazene | 117-18-0 | 0.9991 | 4.3398 | 202.8798 | 200.8827 | 204.8769 | 260.8729 | 258.8758 | 0.056575
Terbutylazine | Terbutylazine | 5915-41-3 | 0.9931 | 5.5699 | 214.0855 | 173.0463 | 138.0775 | 216.0826 | 172.0385 | 0.12978
2,3,5,6-Tetrachloroaniline_ | 2,3,5,6-Tetrachloroaniline_ | 3481-20-7 | 0.9978 | 4.5513 | 169.0885 | 168.0807 | 230.8986 | 167.0729 | 228.9016 | 0.053487
Tetradifon | Tetradifon | 116-29-0 | 0.9998 | 14.0743 | 158.9667 | 228.8858 | 226.8888 | 160.9636 | 355.8807 | 0.031387
Tolclofosp-methyl | Tolclofos-methyl | 57018-04-9 | 0.9698 | 11.1424 | 268.9259 | 96.9509 | 324.9884 | 270.9228 | 296.9571 | 0.10813
Trifluralin | Trifluralin | 1582-09-8 | 0.9996 | 4.8011 | 264.0229 | 306.0699 | 206.0298 | 248.028 | 290.075 | 0.13184
Vinclozolin | Vinclozolin | 50471-44-8 | 0.997 | 6.6755 | 178.0418 | 212.0029 | 197.9872 | 214 | 186.9586 | 0.086187

## Table S4
Supplemental Table S4. Raw intenisity and quantification of 80 human plasma samples collected via Center of Health Discovery and Well Being (CHDWB).
Chemicals are sorted by the order from top to bottom in the heatmap of Figure 5A. Quantified levels were calculated by reference standardization using NIST SRM1958 and SRM 1957 (ng/g whole weight of plasma). For those chemicals that do not have reference values, quantitation was not performed (marked N/A).
[5 empty] | Raw intensity |  |  | Quantitation (ng/g whole weight)
Order | primary m/z | Retention time (min) | Chemical | Median intensity | 75% percentile | 95% percentile | Median level | 75% percentile | 95 percentile
1 | 235.0077 | 11.2202 | o,p'-DDT + p,p'-DDD | 357.5 | 1771.25 | 18202.6 | 0.008 | 0.03 | 0.248
2 | 235.0081 | 12.1369 | p,p'-DDT | 573.5 | 3810.25 | 23306.75 | 0.011 | 0.054 | 0.537
3 | 117.9371 | 3.3746 | Hexachlorobutadiene | 0 | 0 | 122.75 | N/A | N/A | N/A
4 | 235.0077 | 10.3597 | o,p'-DDD | 337 | 1772.5 | 29809.65 | 0.003 | 0.01 | 0.278
5 | 186.023 | 6.5963 | PCB-18 | 0 | 113.5 | 212.95 | 0.004 | 0.004 | 0.006
6 | 245.9675 | 10.6201 | PBDE-17 | 0 | 0 | 138.75 | 0 | 0 | 0.003
7 | 219.9841 | 8.2151 | PCB-44 | 0 | 0 | 232.6 | 0 | 0 | 0.002
8 | 262.8568 | 8.8896 | Heptachlor epoxide (Isomer B) | 0 | 0 | 361.15 | N/A | N/A | N/A
9 | 359.8412 | 10.8794 | PCB-149 | 0 | 0 | 267.7 | 0 | 0 | 0.004
10 | 271.8098 | 14.6747 | Mirex | 0 | 0 | 490.3 | 0 | 0 | 0.008
11 | 359.841 | 12.8914 | PCB-167 | 0 | 0 | 197.7 | 0 | 0 | 0.001
12 | 325.8798 | 11.5608 | PCB-105 | 0 | 0 | 162 | 0 | 0 | 0.001
13 | 255.9609 | 7.315 | PCB-28 | 449 | 1371.5 | 4227.6 | 0.005 | 0.008 | 0.019
14 | 291.919 | 9.081 | PCB-56 | 0 | 185 | 434 | N/A | N/A | N/A
15 | 393.8021 | 12.657 | PCB-183 | 0 | 0 | 267.8 | 0 | 0 | 0.004
16 | 325.8797 | 9.6692 | PCB-99 | 0 | 155 | 1487.5 | 0 | 0 | 0.004
17 | 359.8412 | 11.3433 | PCB-146 | 0 | 0 | 822.3 | 0 | 0 | 0.011
18 | 359.841 | 13.4295 | PCB-156 | 0 | 329.75 | 1645.25 | 0 | 0.003 | 0.016
19 | 393.8022 | 14.5597 | PCB-170 | 0 | 359.25 | 2936.7 | 0.003 | 0.015 | 0.033
20 | 429.7596 | 16.2646 | PCB-194 | 0 | 0 | 331.05 | 0 | 0 | 0.005
21 | 429.7603 | 14.9251 | PCB-196 | 0 | 0 | 243.55 | 0 | 0 | 0.004
22 | 393.802 | 12.5227 | PCB-187 | 0 | 158.75 | 1020.8 | 0 | 0.002 | 0.016
23 | 429.7596 | 14.778 | PCB-199 | 0 | 0 | 194.55 | 0 | 0 | 0.007
24 | 359.841 | 13.5469 | PCB-157 | 0 | 0 | 230.05 | 0 | 0 | 0.002
25 | 463.7206 | 17.168 | PCB-206 | 0 | 0 | 0 | 0 | 0 | 0
26 | 291.9189 | 7.9541 | PCB-49 | 0 | 0 | 287 | 0 | 0 | 0.001
27 | 245.9677 | 11.0984 | PBDE-28 | 0 | 90 | 1108.1 | 0 | 0 | 0.004
28 | 403.7869 | 16.2518 | PBDE-100 | 0 | 0 | 154.95 | 0 | 0 | 0.006
29 | 403.7866 | 17.0061 | PBDE-99 | 0 | 0 | 1208.2 | 0 | 0 | 0.017
30 | 245.9999 | 10.2312 | p,p'-DDE | 41272 | 99356.75 | 252270.25 | 0.971 | 1.282 | 2.044
31 | 359.8409 | 11.5127 | PCB-153 | 5334 | 11419.75 | 27492.6 | 0.07 | 0.149 | 0.258
32 | 393.8021 | 13.8733 | PCB-180 | 1712 | 5844.75 | 17681.7 | 0.066 | 0.116 | 0.219
33 | 359.8411 | 12.1497 | PCB-138 | 551.5 | 3095 | 14086.5 | 0.037 | 0.047 | 0.149
34 | 325.8799 | 10.9874 | PCB-118 | 493.5 | 2490.75 | 9382.25 | 0.021 | 0.043 | 0.095
35 | 291.919 | 8.946 | PCB-74 | 1010 | 4621 | 7918.7 | 0.007 | 0.027 | 0.054
36 | 325.8759 | 14.001 | PBDE-47 | 1448.5 | 5559.25 | 22447.85 | 0.076 | 0.18 | 0.388
37 | 283.8098 | 6.0707 | Hexachlorobenzene | 5344 | 7714.75 | 11904.6 | 0.032 | 0.045 | 0.076
38 | 408.7837 | 9.7271 | trans-Nonachlor | 700.5 | 3037.75 | 11620.7 | 0.028 | 0.058 | 0.108
39 | 408.7835 | 11.1126 | ciss-Nonachlor | 0 | 0 | 1776.9 | 0 | 0 | 0.058
40 | 325.8801 | 10.3388 | PCB-110 | 0 | 0 | 318.7 | 0 | 0 | 0.003
41 | 325.8799 | 9.5753 | PCB-101 | 0 | 0 | 232.15 | 0 | 0 | 0.002
42 | 227.1068 | 13.6192 | Methoxychlor | 0 | 2592 | 8455.5 | N/A | N/A | N/A
43 | 325.876 | 14.4907 | PBDE-66 | 0 | 93 | 4915.35 | 0 | 0.002 | 0.083
44 | 182.9343 | 6.0323 | α-HCH | 155.5 | 523 | 2113.4 | 0.002 | 0.008 | 0.035
45 | 182.9343 | 6.3536 | β-HCH | 434.5 | 1212.5 | 15262.6 | 0.004 | 0.018 | 0.113
46 | 359.8409 | 10.6026 | PCB-151 | 0 | 0 | 0 | 0 | 0 | 0
47 | 246 | 9.4863 | o,p'-DDE | 0 | 0 | 491.2 | 0 | 0 | 0.008
48 | 393.8021 | 15.3723 | PCB-189 | 0 | 0 | 159.9 | 0 | 0 | 0.002
49 | 393.8018 | 13.6899 | PCB-172 | 0 | 0 | 141.8 | 0 | 0 | 0.002

## Table S5
Supplemental Table S5. Concentration (ng/g tissue weight) of chemicals measured by reference standardization in 11 human lungs.
Chemicals in Fig 4C are sorted in the order of correlation clustering. Other chemicals were detected only in 1 out of 11 samples and were not included in Fig 4C.
Sample_ID | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | L9 | L10 | L11 | Note
p,p'-DDE | 0.052 | 22.15 | 2.566 | 0 | 0.271 | 0.251 | 0.291 | 0.327 | 0 | 0 | 0.642 | Fig 4C
PCB-138 | 0 | 0.099 | 0 | 0 | 0.033 | 0 | 0 | 0.009 | 0 | 0 | 0.019 | Fig 4C
PBDE-28 | 0 | 0 | 0.024 | 0 | 0.029 | 0 | 0 | 0 | 0 | 0 | 0 | Fig 4C
PCB-110 | 0 | 0 | 0 | 0 | 0 | 0 | 0.033 | 0 | 0 | 0 | 0.009 | Fig 4C
PCB-44 | 0.014 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.012 | 0 | Fig 4C
PCB-156 | 0 | 0.012 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.015 | Fig 4C
PCB-128 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005 | 0.006 | Fig 4C
o,p'-DDT/p,p'-DDD | 0 | 0.019 | 0.024 | 0.215 | 0 | 0 | 0 | 0.021 | 0 | 0.062 | 0 | Fig 4C
PCB-66 | 0 | 0 | 0.008 | 0 | 0.011 | 0 | 0 | 0 | 0 | 0.008 | 0 | Fig 4C
Hexachlorobenzene | 0.038 | 0.294 | 0.227 | 0.435 | 0.154 | 0.102 | 0.153 | 0.073 | 0.035 | 0 | 0.048 | Fig 4C
o,p'-DDE | 0 | 0 | 0 | 0.027 | 0.007 | 0 | 0 | 0 | 0 | 0 | 0 | Fig 4C
PCB-74 | 0 | 0.055 | 0 | 0 | 0.102 | 0 | 0 | 0 | 0 | 0 | 0 | Fig 4C
PCB-99 | 0 | 0.048 | 0.006 | 0 | 0.013 | 0 | 0 | 0 | 0 | 0 | 0 | Fig 4C
PBDE-47 | 0.779 | 0.098 | 0.349 | 0 | 0 | 0.12 | 0 | 0 | 0 | 0 | 0 | Fig 4C
PCB-194 | 0 | 0 | 0.042 | 0.127 | 0 | 0 | 0 | 0 | 0 | 0 | 0.018 | Fig 4C
PCB-49 | 0 | 0 | 0.033 | 0 | 0 | 0 | 0 | 0 | 0.042 | 0 | 0 | Fig 4C
PCB-118 | 0 | 0 | 0.039 | 0 | 0 | 0 | 0 | 0 | 0.056 | 0 | 0 | Fig 4C
PCB-18 | 0.013 | 0.017 | 0.01 | 0.046 | 0 | 0.058 | 0.354 | 0.01 | 0.05 | 0.033 | 0.082 | Fig 4C
PCB-146 | 0 | 0.009 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011 | 0 | 0 | Fig 4C
PCB-153 | 0 | 0.374 | 0 | 0 | 0.5 | 0.02 | 0 | 0.02 | 0 | 0 | 0.181 | Fig 4C
PCB-180 | 0 | 0 | 0 | 0 | 0.142 | 0 | 0 | 0.027 | 0 | 0 | 0.112 | Fig 4C
PCB-28 | 0.031 | 0.106 | 0.333 | 0 | 0.115 | 0.025 | 0.05 | 0.078 | 0.118 | 0.05 | 0.042 | Fig 4C
BDE-100 | 0 | 0.025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | other
BDE-153 | 0 | 0 | 0 | 0 | 0 | 0.148 | 0 | 0 | 0 | 0 | 0 | other
PBDE-100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.026 | 0 | 0 | 0 | other
PBDE-99 | 0.089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | other
PCB-101 | 0 | 0 | 0 | 0 | 0 | 0.011 | 0 | 0 | 0 | 0 | 0 | other
PCB-105 | 0 | 0 | 0 | 0 | 0.011 | 0 | 0 | 0 | 0 | 0 | 0 | other
PCB-151 | 0.009 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | other
PCB-170 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011 | 0 | 0 | 0 | other
PCB-183 | 0 | 0 | 0 | 0 | 0.066 | 0 | 0 | 0 | 0 | 0 | 0 | other
PCB-189 | 0 | 0 | 0 | 0 | 0 | 0.023 | 0 | 0 | 0 | 0 | 0 | other

## Table S6
Supplemental Table S6. Concentration (ng/g tissue weight) of chemicals measured by reference standardization in 5 human thyroids.
Chemicals in Fig 4C are sorted in the order of correlation clustering. Other chemical were detected only in 1 out of 5 samples and were not included in Fig 4C.
Sample ID | T1 | T2 | T3 | T4 | T5 | Note
PCB-153 | 6.435 | 0 | 1.409 | 0 | 1.593 | Fig 4C
PCB-170 | 0.906 | 0 | 0 | 0 | 0.075 | Fig 4C
PCB-101 | 2.836 | 0 | 0.061 | 0 | 0.065 | Fig 4C
Hexachlorobenzene | 7.425 | 0.093 | 0.735 | 0.128 | 1.348 | Fig 4C
p,p'-DDE | 9.125 | 0 | 2.195 | 0.541 | 6.975 | Fig 4C
PCB-138 | 7.817 | 0 | 1.273 | 0 | 1.75 | Fig 4C
PCB-74 | 5.057 | 0 | 0.347 | 0 | 0.294 | Fig 4C
PCB-28 | 0.474 | 0 | 0.014 | 0.009 | 0.009 | Fig 4C
PCB-44 | 0.052 | 0 | 0 | 0.023 | 0 | Fig 4C
PCB-66 | 0.092 | 0.017 | 0 | 0 | 0.01 | Fig 4C
beta-BHC | 0.024 | 0.02 | 0 | 0 | 0 | Fig 4C
PBDE-47 | 0.342 | 0 | 4.815 | 0 | 0 | Fig 4C
PCB-49 | 0 | 0 | 0 | 0.016 | 0.012 | Fig 4C
PCB-180 | 10.579 | 0 | 0 | 0 | 0 | other

## Table S7
Supplemental Table S7. Concentration (ng/kg wet weight) of chemicals measured by reference standardization in 6 human stool samples.
Chemicals in Fig 4C are sorted in the order of correlation clustering. Other chemicals were detected only in 1 out of 6 samples and were not included in Fig 4C.
Sample ID | S1 | S2 | S3 | S4 | S5 | S6 | Note
Hexachlorobenzene | 212 | 84 | 11 | 89 | 29 | 25 | Fig 4C
p,p'-DDT | 0 | 95 | 0 | 2499 | 0 | 0 | Fig 4C
PCB-153 | 0 | 35 | 0 | 5 | 1275 | 0 | Fig 4C
o,p'-DDD | 0 | 51 | 0 | 0 | 14 | 0 | Fig 4C
PCB-74 | 50 | 0 | 0 | 2145 | 0 | 0 | Fig 4C
PCB-87 | 0 | 0 | 0 | 59 | 0 | 22 | Fig 4C
PCB-18 | 0 | 0 | 0 | 428 | 31 | 491 | Fig 4C
PBDE-28 | 0 | 0 | 1123 | 852 | 0 | 1229 | Fig 4C
PCB-52 | 0 | 0 | 0 | 278 | 0 | 4 | Fig 4C
PCB-66 | 12 | 0 | 0 | 0 | 41 | 2292 | Fig 4C
PCB-149 | 1 | 0 | 0 | 0 | 39 | 0 | Fig 4C
PCB-138 | 32 | 0 | 23 | 0 | 0 | 0 | Fig 4C
PCB-28 | 47 | 18 | 35 | 0 | 56 | 0 | Fig 4C
PCB-156 | 0 | 0 | 41 | 0 | 20 | 0 | Fig 4C
PCB-118 | 0 | 0 | 0 | 0 | 896 | 1723 | Fig 4C
o,p'-DDE | 0 | 0 | 4 | 0 | 0 | 0 | Other
PCB-167 | 0 | 0 | 0 | 14 | 0 | 0 | Other
PCB-187 | 0 | 0 | 285 | 0 | 0 | 0 | Other
PCB-196 | 0 | 0 | 10 | 0 | 0 | 0 | Other
PCB-49 | 228 | 0 | 0 | 0 | 0 | 0 | Other
PBDE-47 | 0 | 0 | 0 | 176 | 0 | 0 | Other