Supplemental data

Figure S1. Schematic overview of the diesel exposure setup.

Table S1A. Temperature program inlet

|  | Rate (C/min) | temp | Hold time (min) | Run time (min) |
| --- | --- | --- | --- | --- |
| Initial |  | 40 ºC | 0,01 | 0,01 |
| Ramp | 700 | 320 ºC | 0 | 22 |

Table S2. Temperature program oven (see Figure S2)

|  | Rate (C/min) | temp | Hold time (min) | Run time (min) |
| --- | --- | --- | --- | --- |
| Initial |  | 60 ºC | 1 | 1 |
| Ramp 1 | 10 | 100 ºC | 0 | 5 |
| Ramp 2 | 20 | 320 | 6 | 22 |

Figure S2. Temperature program for PAH analysis

Figure S3. Reference FTIR spectrum of nylon-6,6

Figure S4. Reference FTIR spectrum of PET