Supplementary material

In vitro adsorption of Fumonisin B1 by multiple algae-modified clay formulations

Letícia Aliberti Galego Alves da Silvaa, Morgane Malardb, Patricia Aparecida de Campos Bragaa, Adriana Pavesi Arissetto Bragottoa, Marie Gallissotb, Pi Nyvall Collenb, Juliana Buenoc, Liliana de Oliveira Rochaa,*

a State University of Campinas (UNICAMP), Food Engineering School (FEA), Department of Food Science and Nutrition (DECAN), Campinas, São Paulo, Brazil (leticia.aliberti@hotmail.com; pbraga@unicamp.br; pavesi@unicamp.br; lrocha@unicamp.br).

b Olmix Group, Bréhan, France (mmalard@olmix.com; mariegalissot@hotmail.com; pnyvall@olmix.com)

c Olmix Group, Piracicaba, Brazil (jbueno@olmix.com).

*Corresponding author: Rocha, L. O. Department of Food Science and Nutrition (DECAN), Food Engineering Faculty (FEA), State University of Campinas (UNICAMP), Monteiro Lobato Street, 80, Campinas, São Paulo, Brazil, 13083- 862. E-mail: lrocha@unicamp.br.

Fig. S1. Calibration curves for FB1 in citrate buffer at pH 3, 5 and 7. A: Calibration curve for FB1 at pH 3 (R2 0.9923); B: Calibration curve for FB1 at pH 5 (R2 0.9994); C: Calibration curve for FB1 at pH 7 (R2 0.9966).

Table S1. Limits of detection (LOD) and quantification (LOQ) for FB1 in citrate buffer at pH 3, 5, and 7.

| Matrix | LOD (µg/mL) | LOQ (µg/mL) |
| --- | --- | --- |
| Citrate Buffer pH 3 | 0.013 | 0.039 |
| Citrate Buffer pH 5 | 0.061 | 0.184 |
| Citrate Buffer pH 7 | 0.127 | 0.385 |

Table S2. Method precision for FB1 analysis. Intra-day precision was evaluated using five replicates at each FB1 concentration on the same day at pH 5. Inter-day precision was assessed over three separate days, with five replicates per level analyzed each day at pH 5.

|  |  |  | Precision |  |
| --- | --- | --- | --- | --- |
| FB1 concentration (µg/mL) | Mean FB1 levels recovered (µg/mL) | SD | Intra-day (%) | Inter-day (%) |
| 2.5 | 2.04 | 0.23 | 8.9% | 11.4% |
| 5.0 | 4.63 | 0.59 | 13.5% | 12.7% |
| 7.5 | 7.71 | 0.12 | 7.3% | 1.5% |

SD: standard deviation.

Figure S2. Selectivity results for FB1 analysis. A: Blank of citrate buffer at pH 3; B: FB1 qualifier transition peak (m/z 722 → 334) in citrate buffer at pH 3 (RT: 1.928 min); C: Blank of citrate buffer at pH 5; D: FB1 qualifier transition peak (m/z 722 → 334) in citrate buffer at pH 5 (RT: 1.955 min); E: Blank of citrate buffer at pH 7; F: FB1 qualifier transition peak (m/z 722 → 334) in citrate buffer at pH 7 (RT: 1.935 min.