Supplementary files 2 : Characteristics of Included studies

| Study ID | Author(s) | Year of Publication | Index Test | Reference Standard | Population (OPMD) | Sample Size (only OPMD) | FVL/LAF, loss of auto- fluorescence (n) or Fluorescence Negative | FVR, retention of autofluorescence(n) or Fluorescence Positive | Malignant | Not Malignant | Malignant transformation among Auto Positive cases (FVL/LAF) | TP | TN | FP | FN | Sensitivity | SE_Sen | Specificity | SE_Sep | Positive Predictive Value (PPV) | Negative Predictive Value (NPV) | Diagnostic Accuracy |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Amirchaghmaghi | 2018 | Fluorescence light | Conventional oral examination/ Biopsy | Yes | 30 | 4 | 26 | 1 | 29 | 1/26 | 1 | 4 | 0 | 25 | 100.00% | 0% | 13.80% | 6.4 % | 4% | 100% | 16.70% |
| 2 | Lajolo C et.al | 2022 | Autofluorscence (GOCCLES) | Biopsy | Yes | 41 | 23 | 18 | 4 | 14 | 66.70% | 8 | 14 | 15 | 4 | 66.70% | 13.60% | 48.3 | 9.3 % | 34.80% | 77.80% | 53.70% |
| 3 | Li C et. al | 2022 | VELscope | Biopsy | Yes | 184 | 124 | 60 | 18 | 106 | 14.52% | 106 | 14 | 18 | 46 | 100% | 0.05 | 40 | 8.7 | 25.0(8.9-53.2) | 100(61.0-100) | 65.20% |
| 4 | Hanken et al | 2013 | VELscope | Conventional oral examination/ Biopsy | Yes | 60 | 5 | 55 | 1 | 54 | 1.80% | 0 | 54 | 1 | 5 | 97.9 | 14.35 | 41.7 | 6.71 | - | - | - |
| 5 | Mehrotra et. al | 2010 | VELscope | Biopsy | Yes | 156 | 94 | 62 | 1 | 61 | 8.40% | 6 | 56 | 88 | 6 | 50% | 14.40% | 38.90% | 4.10% | 6.40% | 90.30% | 39.70% |
| 6 | Moro et. al | 2015 | goCClES | Biopsy | Yes | 12 | - | - | - | - | - | 32 | 1 | 32 | 1 | 96.97 | 2.98 | 3.03 | 2.98 | 92% | 100% | - |
| 7 | Jain S et al | 2021 | Velscope | Biopsy | Yes | 40 | 31 | 9 | 9 | 31 | 2/31 | 2 | 0 | 29 | 9 | 18.18% | 1.17% | 0% | 0% | 6.45% | 0% | 5% |
| 8 | Moro A et al | 2010 | Velscope | Biopsy | Yes | 12 | 8 | 4 |  |  |  | 6 | 4 | 0 | 2 | 100% | 0% | 66.70% | 1.92% | 75% | 100% | 88.33% |
| 9 | Caijiao et al | 2022 | Velscope | Biopsy | OPMD | 33 | 22 | 37 | 20 | 17 | 54.05% | 20 | 16 | 17 | 6 | 76.90% | 8.27% | 48.50% | 8.70% | 54.10% | 72.70% | 61.00% |