Supplementary Digital Content

Biochemical procedures for sampling, storage and measurement of biomarkers.

Measurement of NSE, S100B, hs-TPN, nGAL, HIF-1alpha and acetyl-CoA

Commercially available ELISA kit were used to measure neuron specific enolase (NSE) (Quantikine ELISA Kit Human Enolase 2/Neuron-specific Enolase Catalog Number DENL201, S100B (S100B Abnova S100B (Human) ELISA Kit Catalog Number KA0037, high sensitive troponin (Abcam Human Cardiac Troponin 1 SimpleStep ELISA® Kit Catalog Number ab200016), nGAL (Quantikine® ELISA Human NGAL Immunoassay Catalog Number DLCN20), HIF-1alpha ((Human SimpleStep ELISA® Kit HIF1a Catalog Number ab171577 – HIF1a) and acetyl-CoA (Abnova Acetyl – CoA Assay Kit Catalog Number KA0803) concentration. The assays were performed according to the manufacturer's protocol. Briefly, each sample was incubated with specific primary antibody, anti-rabbit immunoglobulin G and horseradish peroxidase conjugates, in successive order. Absorbance was measured at a wave- length of 450 nm, and biomarker concentration was calculated from a standard curve generated with purified proteins. The limit of detection as specified by the manufacturer were 0.012 ng/mL ng/ml (NGAL), 0.020 ng/mL (NSE), 42 pg/mL (HIF-1a), 10 pg/mL (S100B) Each measurement was performed in triplicate, and means were reported.

Lipid hydroperoxide (LOOH) determination

LOOH levels were evaluated following the oxidation of Fe2+ to Fe3+ in the presence of xylenol orange. The assay mixture contained, in a total volume of 1 ml/100 ml of plasma sample, 100 mmol/l xylenol orange, 250 mmol/l ammonium ferrous sulfate, 90% methanol, 4 mmol/l butylated hydroxytoluene and 25 mmol/l H2SO4. Following incubation for 30 minutes at room temperature, the absorbance was measured using a U2000 Hitachi spectrophotometer (Hitachi, Ltd., Tokyo, Japan) at a wavelength of 560 nm. Calibration was obtained using hydrogen peroxide (0.2-20 mmol/l). The limit of detection for this assay is ~0.25 nmol/l.

Measurement of reduced glutathione (GSH)

Plasma levels of GSH were measured using a spectrophotometric assay based on the reaction of thiol groups with 2,2-dithio-bis-nitrobenzoic acid at a wavelength of 412 nm (εM=13,600 M-1 cm-1, where εM is a wavelength‐dependent molar absorptivity coefficient). Measurements were performed in duplicate.