Supplementary Appendix

Table S1. PET image reconstruction conditions (analog vs digital)

| Item | Analog (~Dec 2020) | Digital (Apr 2021–) |
| --- | --- | --- |
| Manufacturer | GE | GE |
| Scanner model | Discovery STE | Discovery MI.v |
| Reconstruction method | OSEM (subsets 20, iterations 2) | Q.Clear (β = 600) |
| Noise-reduction filter | Gaussian Filter（FWHM 5.14mm） | Not user-selectable (vendor-managed within Q.Clear) |
| Scatter correction | Model Based | Model Based |
| Attenuation correction | CTAC | CTAC |
| Random correction | Singles | Singles |
| Time-of-flight (TOF) | Not applied | Applied |
| Point spread function (PSF) modeling | Not applied | Applied |

Table S2. FDG injected dose by period (MBq)

| Period | Mean | Min | Max |
| --- | --- | --- | --- |
| 2020/4/1~2021/3/31 | 251.7 | 122.4 | 342 |
| 2021/4/1~2021/9/30 | 257.6 | 134.8 | 361.9 |
| 2021/10/1~2022/3/1 | 256.5 | 135.8 | 350.2 |
| 2022/4/1~2022/9/30 | 245.2 | 126 | 348.2 |
| 2022/10/1~2023/3/31 | 256 | 134 | 347 |
| 2023/4/1~2023/9/30 | 248 | 110 | 347 |
| 2023/10/1~2024/3/31 | 247 | 114 | 346 |
| 2024/4/1~2024/9/30 | 245.4 | 113.1 | 349 |
| 2024/10/1~2025/3/31 | 244.1 | 136.4 | 352 |
| 2025/4/1~2025/9/30 | 221.8 | 122 | 339.3 |