Table 1. Calibration curve, linerity range, limits of detections (LODs), and maximum residue limits (MRLs) for the determination of 12 pyrethroid pesticides in C. morifolium sample.

| Pyrethroids | Calibration curve |  | R2 |  | MEs | Linerity range (μg·L-1) | LODs (μg·kg-1) | LOQs (μg·kg-1) | MRLs (mg·kg-1) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Matrix | Solvent | Matrix | Solvent |  |  |  |  |  |
| Tetramethrin | y = 10823x + 4663.9 | y = 9228.8x + 7734.4 | 0.9997 | 0.9993 | 1.17 | 0.2-100 | 0.5 | 1.7 | / |
| Bifenthrin | y = 29604x - 16748 | y = 27167x - 14149 | 0.9985 | 0.9989 | 1.09 | 0.2-100 | 0.5 | 1.5 | 5*, 2#, 30.0& |
| Fenpropathrin | y = 2696.9x - 661.65 | y = 2597.9x - 1444.2 | 0.9994 | 0.9989 | 1.04 | 0.5-100 | 1.2 | 3.8 | 5*, 2.0& |
| Lambda-cyhalothrin | y = 4651.1x - 5782.3 | y = 4000.9x - 3661.9 | 0.9981 | 0.9984 | 1.16 | 0.2-100 | 0.5 | 1.6 | 15*, 0.1#, 0.01& |
| Acrinathrin | y = 1577.5x + 2827.5 | y = 1405.6x + 2711.1 | 0.9984 | 0.9986 | 1.12 | 0.5-100 | 1.4 | 4.0 | 0.05& |
| Biopermethrin | y = 2177.6x + 2901.7 | y = 1926.6x + 2525.2 | 0.9984 | 0.9985 | 1.13 | 0.2-100 | 0.6 | 1.7 | / |
| Cyfluthrin | y = 2036x - 3532.1 | y = 1672.7x - 1356.5 | 0.9980 | 0.9996 | 1.22 | 0.5-100 | 1.4 | 3.9 | 1*, 0.05& |
| Cypermethrin | y = 3262.5x - 2260.5 | y = 3104.3x - 1334.2 | 0.9995 | 0.9999 | 1.05 | 0.5-100 | 1.4 | 4.1 | 20*, 2#, 0.5& |
| Flucythrinate | y = 5409.3x - 2846 | y = 4864x - 628.26 | 0.9994 | 0.9999 | 1.11 | 0.2-100 | 0.6 | 1.5 | 20*, 0.05& |
| Fenvalerate | y = 3524.4x + 2539.8 | y = 3299.5x + 1422.7 | 0.9997 | 0.9999 | 1.07 | 0.2-100 | 0.6 | 1.5 | 0.1*, 3#, 0.1& |
| Fluvalinate | y = 1580.8x - 485.72 | y = 1447.3x - 56.154 | 0.9996 | 0.9994 | 1.09 | 0.5-100 | 1.4 | 3.9 | 0.05& |
| Deltamethrin | y = 1374.4x - 463.68 | y = 1335.6x - 611.73 | 0.9989 | 0.9987 | 1.03 | 0.5-100 | 1.3 | 3.9 | 10*, 5.0& |

Note: * means the MRLs are referred to the standards for tea in China; & denote tea in European Commission; # represent the flower and fruit-based medicinal plants in China.

Table 2. Intra-day and inter-day precisions and relative recoveries (n=3) obtained using the proposed method for 12 pyrethroid pesticides in C. morifolium sample.

| Pyrethroids | Mean recovery and RSD (%) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Spiking level (intra-day) |  |  | Spiking level (inter-day) 0.10 mg·kg-1 |
|  | 0.01 mg·kg-1 | 0.05 mg·kg-1 | 0.10 mg·kg-1 |  |
| Tetramethrin | 88.6 ± 2.2 | 90.3 ± 3.4 | 97.1 ± 1.8 | 94.5 ± 2.6 |
| Bifenthrin | 85.7 ± 1.5 | 81.2 ± 1.6 | 87.4 ± 3.3 | 84.0 ± 3.8 |
| Fenpropathrin | 79.8 ± 4.6 | 84.1 ± 3.1 | 82.9 ± 2.3 | 82.1 ± 2.5 |
| Lambda-cyhalothrin | 74.9 ± 4.3 | 73.9 ± 2.5 | 78.4 ± 4.4 | 76.8 ± 2.8 |
| Acrinathrin | 92.7 ± 4.0 | 89.8 ± 0.8 | 96.5 ± 1.9 | 97.9 ± 1.7 |
| Biopermethrin | 84.8 ± 4.0 | 88.4 ± 3.2 | 83.3 ± 5.4 | 81.1 ± 2.4 |
| Cyfluthrin | 98.4 ± 2.9 | 95.2 ± 4.1 | 101.2 ± 4.6 | 99.0 ± 2.0 |
| Cypermethrin | 74.4 ± 3.9 | 79.4 ± 3.2 | 84.9 ± 3.7 | 81.3 ± 4.0 |
| Flucythrinate | 103.8 ± 3.1 | 102.7 ± 3.3 | 106.0 ± 1.8 | 108.7 ± 2.2 |
| Fenvalerate | 75.4 ± 5.7 | 77.3 ± 3.6 | 85.2 ± 3.9 | 86.7 ± 3.5 |
| Fluvalinate | 80.6 ± 4.0 | 85.1 ± 4.0 | 87.1 ± 4.0 | 84.3 ± 4.3 |
| Deltamethrin | 75.0 ± 3.3 | 81.6 ± 3.9 | 79.0 ± 2.9 | 78.0 ± 1.4 |

Table 3. Comparative analysis of the proposed method with existing methods in the literature for the determination of pyrethroid pesticides.

| Sample matrix | Numbers of pyrethroid pesticides | Sample preparation |  |  | Detection technique | Recovery (%) | LODs (μg·kg-1) | LOQs (μg·kg-1) | R2 | Reference |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Method | Number of processing steps | Processing time (min) |  |  |  |  |  |  |
| Cabbage | 4 | SPE | 19 | 45 | UPC2 | 80.4-102.0 | - | 100.0-200.0 | ≥0.9992 | (Zhang, Jiang, Xiu, Bao, Hu, & Xu, 2025) |
| Jasmine | 13 | QuEChERS | 10 | 42 | GC-MS/MS | 76.2-118.7 | - | 20.0-50.0 | ≥0.9983 | (Dai et al., 2024) |
| Fruit juices | 6 | GCT-DES-EVA- DLLME | 9 | 35 | GC-MS | 83.0-92.0 | 9.0-21.0 | 31.0-69.0 | ≥0.99 | (Nemati et al., 2022) |
| Fresh fruits and herbal leaves | 9 | MEASO-LLE | 3 | 3 | GC-ECD | 84.7-115.6 | 0.7-3.5 | - | ≥0.99 | (Fu et al., 2025) |
| Wolfberry | 4 | SHS-HLLME | 4 | 3 | LC-UV | 71.4-94.1 | 0.2-0.5 | 1.0-2.0 | ≥0.9911 | (Di, Zhang, Yang, & Guo, 2021) |
| Edible fungi | 3 | MEA-SHS-DLLME | 5 | 9 | LC-UV | 81.0-97.4 | 6.7-32.9 | 22.4-109.6 | ≥0.9903 | (Qiao et al., 2023) |
| C. morifolium | 12 | MEALLE | 3 | 3 | GC-MS/MS | 73.9-108.7 | 0.5-1.4 | 1.5-4.1 | ≥0.998 | This work |

Note: SPE: solid-phase extraction; UPC2: ultra-performance convergence chromatography; QuEChERS: quick, easy, cheap, effective, rugged, safe; GCT-DES-EVA- DLLME: gas-controlled-deep eutectic solvent-based evaporation-assisted dispersive liquid-liquid microextraction; MEASO-LLE: magnetic effervescence-assisted salting-out liquid-liquid extraction; SHS-HLLME: sensitive homogeneous liquid–liquid microextraction; MEA-SHS-DLLME: magnetic effervescence-assisted switchable solvent dispersive liquid-liquid microextraction; MEALLE: magnetic effervescence-assisted liquid-liquid extraction.