Additional file 3: Table S1. Impact of pre-processing on standard PLS calibration models. Accuracy is compared using the mean average difference between the predicted and true age (root-mean-square deviation, RMSD, in days).

| Pre-processing method | Laboratory mosquitoes |  | Field-derived mosquitoes |  |
| --- | --- | --- | --- | --- |
|  | Number of components | RMSD | Number of components | RMSD |
| Mean-centred | 7 | 3.12 | 7 | 4.22 |
| Mean normalize | 6 | 3.04 | 2 | 4.18 |
| SNV | 7 | 2.83 | 2 | 4.13 |
| Detrend-SNV | 9 | 2.35 | 12 | 3.10 |
| Savitzky-Golay (2,2,28,57)* | 3 | 2.57 | 7 | 3.60 |

*Numbers within SG filtering represents the order of derivative, polynomial order, smoothing points for each sides of the plot and total smoothing points.