Supporting information

Bioaccumulation and toxicity effects of flubendiamide in zebrafish (Danio rerio)

Zhiyuan Menga, Zhichao Wanga, Xiaojun Chena *, Yueyi Songa, Miaomiao Teng b, Tianle Fan a, Yang Zheng a, Jiajia Cui a, Wangjing Xu a

a School of Horticulture and Plant Protection, Yangzhou University/Joint International Research Laboratory of Agriculture & Agri-Product Safety (Yangzhou University), Jiangsu Yangzhou, 225009, China

b State Key Laboratory of Environmental Criteria and Risk Assessment, Chinese Research Academy of Environmental Sciences, Beijing 100012, China

*Corresponding author:

Xiaojun Chen, Department of Plant Protection, School of Horticulture and Plant Protection, Yangzhou University, Yangzhou, Jiangsu 225009, China.

E-mail: cxj@yzu.edu.cn

LC-MS/MS analysis of flubendiamide

HPLC analysis was performed with an Agilent 1200HPLC system equipped with a binary pump, auto plate sampler, column oven, and diode-array detector. Separation was performed on Agilent Eclipse Plus chromatographic columns C18 (4.6 mm * 150 mm (i.d.), 5 μm) at 20℃, with mobile solvents consisting of methanol: ammonium acetate with 1 % 5 mmol/L acetic acid = 60:40(V: V), isocratic at1 mL/min. Aliquots of 5 μL were injected directly to the LC–MS/MS system to test flubendiamide and quantified with external standard peak area. Mass spectra were recorded on an Agilent 6460 triple quadrupole (QQQ) mass spectrometer equipped with an ESI source. System control and data acquisition were controlled by Agilent Mass Hunter software. Detailed MS conditions were: cluster voltage: -120 V; gas temperature: 300℃, gas flow 10 L/min, nebulizer pressure: 15 psi, sheath gas temperature: 250℃; sheath gas flow: 7 L/min, capillary voltage: 4 kV, nozzle voltage: 500 V. ESI was operated in the negative ion mode in the MRM (multiple reaction monitoring).

Reference:

Chen X, Lu C, Fan S, Lu H, Cui H, Meng Z, Yang Y (2012): Determination of Residual Flubendiamide in the Cabbage by QuEChERS-Liquid Chromatography-Tandem Mass Spectrometry. Bulletin of Environmental Contamination and Toxicology 89, 1021-1026

Table S1 Primer sequence for the quantitative reserve transcription-polymerase chain reaction

| Genus | Primer sequences (5'–3') | Genes number |
| --- | --- | --- |
| β-Actin | Forward: CGAGCAGGAGATGGGAACC Reverse: CAACGGAAACGCTCATTGC | AF057040 |
| p53 | Forward: GGGCAATCAGCGAGCAAA Reverse: ACTGACCTTCCTGAGTCTCCA | AF365873 |
| bax | Forward: GGCTATTTCAACCAGGGTTCC Reverse: TGCGAATCACCAATGCTGT | AF231015 |
| bcl-2 | Forward: TCACTCGTTCAGACCCTCAT Reverse: ACGCTTTCCACGCACAT | NM001030253 |
| puma | Forward: TGGAAAGCAGAGTGGACGAA Reverse: GATGGCAGGGCTGGATGA | NM001045472 |
| apaf-1 | Forward: TTCTACAGTAAACGCCCACC Reverse: TATCTAGTATTTCCCCATATTCC | AF251502 |
| caspase-9 | Forward: AAATACATAGCAAGGCAACC Reverse: CACAGGGAATCAAGAAAGG | NM152884 |
| caspase-3 | Forward: CCGCTGCCCATCACTA Reverse: ATCCTTTCACGACCATCT | NM131877 |