# Supplementary information

Formula 1a. Normalization of vesicular albumin to suspension volume and volume of urine

vesicular albumin concentrationpgmLx EV suspension volume (mL)Volume of urine used (mL)

Formula 1b. Normalization of vesicular podocalyxin to suspension volume and volume of urine

vesicular podocalyxin concentration pgmLx EV suspension volume (mL)Volume of urine used (mL)

Formula 2a. Normalization of vesicular albumin concentration on urinary creatinine concentration

vACR ngg=normalized vesicular albumin concentration ngLurinary creatinine mgdL*100

Formula 2b. Normalization of vesicular podocalyxin concentration on urinary creatinine concentration

vPCR ngg=normalized vesicular podocalyxin concentration ngLurinary creatinine mgdL*100

Formula 3a. Calculation of intra-assay coefficient of variation (CV)

CV=Standard deviationmean

Formula 3b. Calculation of inter-assay coefficient of variation (CV)

CV=Standard deviation of plate means/valuesmean of plate means/values

Vesicular albumin and podocalyxin concentrations were determined on two different days a week apart in triplicate (n = 26). Intra- and inter-assay CVs were calculated and the mean, as well as the minimum and maximum of the individual CVs is reported in Supplementary Table 1. After the initial single determination of vesicular albumin and podocalyxin concentrations lysed samples were stored for up to 17 months at -80°C before concentrations of the two markers were determined again as part of the triplicate measurements. Inter-assay CV was also calculated between the two triplicate measurements and the initial vesicular albumin and podocalyxin measurement.

Supplementary Table 1. Intra- and inter-assay CVs of triplicate measurements of vesicular albumin and podocalyxin.

|  | Vesicular albumin (n = 26) | Vesicular podocalyxin (n = 26) |
| --- | --- | --- |
| Intra-assay CV | 5.29% (0.06 – 16.86%) 9.76% (0.64 – 49.88%) | 5.53% (0.95 – 16.14%) 4.78% (1.60 – 13.85%) |
| Inter-assay CV (within one week) | 16.76% (0.51 – 137.62%) | 5.98% (0.57 – 23.29%) |
| Inter-assay CV (after 15 – 17 months) | 27.28% (8.57 – 166.77%) | 13.12% (2.96 – 37.13%) |

Mean (Min – Max) of individual CVs.

Isolation of urinary vesicles and quantification of vesicular albumin and podocalyxin

In the pilot study from one sample, 1403 vesicles were counted from which 269 were podocalyxin-positive. Based on this first estimation 19.1% of urinary vesicles seem to be derived from podocytes. Furthermore, these results lead to the assumption that podocalyxin is part of the vesicle membrane, as the antibody binds without prior permeabilization of the vesicle membrane (Supplementary Figure 1).

Supplementary Figure 1. Co-staining of the lipid bilayer of urinary extracellular vesicles with MemGlowTM 560 (purple) and the podocyte-specific marker podocalyxin with the antibody PODXL488 (cyan).

Supplementary Figure 2. Box plots visualising vACR (left) and vPCR (right) distributions (log-scale on y axis) at baseline over age groups (A, B) and by sex (C, D). vPCR significantly differed by age and vACR by sex.

Supplementary Figure 3. Spaghetti plots for change in vACR (top) and vPCR (bottom) between baseline and three years follow-up over baseline age.