### Chromatographic Method Development and Validation for Nitroglycerin Determination in Semi-Solid Dosage Forms by RP-HPLC

### Pradip Patil1, Bhavin Dhaduk1, Pankajkumar Nariya1, Shamkumar P. Deshmukh2, Mahesh Savant1*

### 1 Department of Chemical Sciences, Faculty of Science, Atmiya University, Rajkot

### 2Department of Chemistry, D.B.F. Dayanand College of Arts and Science, Solapur, 413004 India.

### *Email: mahesh.savant@atmiyauni.ac.in.

### Supplementary Material

### Table S1. Analytical eco-scale (EAS) calculation for the proposed HPLC method

| ### Category | ### Details | ### Penalty points (PP) |
| --- | --- | --- |
| ### Reagent |  |  |
| ### Reagent amount | ### 15 mL / run | ### 2 |
| ### Reagent Hazardous (Methanol) | ### More severe hazard | ### 2 |
| ### Total PP = |  | ### ∑ 2+2 = 4 |
| ### Instruments |  |  |
| ### Energy consumption (HPLC) | ### < 0.1 kWh/sample | ### 0 |
| ### Waste generation | ### > 10 mL/sample | ### 5 |
| ### Occupational Hazard | ### Controlled lab use. ### But might be exposure to air | ### 3 |
| ### Heater (column temperature) | ### 25 0C | ### 0 |
| ### pH of the method (Mobile phase) | ### 6.5 | ### 0 |
| ### Conditioning and washing time | ### Normal | ### 0 |
| ### Total PP = |  | ### ∑ 1+5+3 = 9 |
| ### Analytical eco scale (EAS) score = 100 - 13 |  | ### 87 |

### Table S2. Assessment of greenness for the proposed method

| ### Method | ### Chromatographic Conditions | ### MoGAPI | ### EAS | ### AGREE prep. |
| --- | --- | --- | --- | --- |
| ### Proposed method | ### RP- HPLC method, for determination of NTG and its mono and dinitrate metabolites, using water and methanol in a 60:40 (v/v) ratio. |  | ### 1+5+3 = 9 ### ∑ = 89 |  |