Disagreement between anterior segment optical coherence tomography devices in eyes with a shallow anterior chamber

Journal name: International Ophthalmology

Bruno L. B. Esporcatte MD PhD, Arthur F. Brun MD, Norton S. Yanagimori MD, Luiz Alberto S. Melo Jr MD PhD, Roberto M. Vessani MD PhD, Guilherme H. Bufarah MD, Norma Allemann MD PhD, Ivan Maynart Tavares MD PhD

Authors’ affiliation: Department of Ophthalmology and Visual Sciences, Paulista School of Medicine, Federal University of Sao Paulo, São Paulo – SP, Brazil

Corresponding author: Ivan Maynart Tavares, MD

E-mail: im.tavares@unifesp.br

Supplemental Table 1 Scleral Spur detection by anterior segment optical coherence tomography on studied quadrants

|  |  | DRI OCT Triton® |  |  |
| --- | --- | --- | --- | --- |
| Quadrante |  | SS visible | SS non-visible | p |
| Superior |  |  |  |  |
| Visante® OCT |  |  |  | 0,27 |
| SS visible |  | 30 (68) | 9 (20) |  |
| SS non-visible |  | 4 (9) | 1 (2) |  |
| Nasal |  |  |  |  |
| Visante® OCT |  |  |  | 1,00 |
| SS visible |  | 37 (84) | 3 (7) |  |
| SS non-visible |  | 3 (7) | 1 (2) |  |
| Inferior |  |  |  |  |
| Visante® OCT |  |  |  | 0,27 |
| SS visible |  | 30 (68) | 9 (20) |  |
| SS non-visible |  | 4 (9) | 1 (2) |  |
| Temporal |  |  |  |  |
| Visante® OCT |  |  |  | 0,32 |
| SS visible |  | 39 (89) | 1 (2) |  |
| SS non-visible |  | 3 (7) | 1 (2) |  |
| * McNemar's test; OCT = optical coherence tomography; |  |  |  |
| SS = scleral spur; all values were expressed as number of eyes and percentual of sample (%) |  |  |  |